TENDER SPECIFICATIONS

The application "AEL-EMSS" includes the following modules:

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3 PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 300 mA AC 6 KA.

• EMT7/1K. 1 kW/1P Asynchronous Three-Phase Motor of Squirrel Cage.

Nominal power: 1100 W.

Nominal voltage: 3 x 230/400 VAC Δ/Y.

Frequency: 50/60 Hz

Number of poles: 2.

Speed: 2730 rpm.

Nominal current: 2.52 / 1.45 A.

• FRECP. Eddy Current Brake.

Maximum supply voltage: 60 VDC.

Nominal current: 1.67 A.

Maximum current: 1.8 A.

Maximum braking torque: 1.4 Nm.

• N-VVCC/M. DC Motor Speed Controller (Intermediate option).

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

GND terminal.

• N-MED82. AC Voltmeter (0-500V).

Measuring range: 0-500 VAC.

Terminals:

Measurement terminal.

GND terminal.

• N-MED10. AC Ammeter (0-5 A).

Measuring range: 0-5 A.

Terminals:

Measurement terminal.

GND terminal.

• N-ARR12. Direct Starter Module.

Nominal voltage: 400 VAC.

Maximum contacts current: 10 A.

Two positions commutator (ON-OFF):

0: Open circuit.

1: Closed circuit.

Additonal recommended elements (Not included):

• EM-SCADA. Control and Data Acquisition System Software for Electrical Machines.

Power supply: 230 VAC.

Input Signals:

Current signal (x2).

RMS current signal (x2).

Voltage signal (x2).

RMS voltage signal (x2).

Torque and speed signals.

Output Signals:

Torque and speed control signal for the servomotor control.

Speed control signal for the servomotor.

The three softwares are part of the SCADA system.

Compatible with actual Windows operating systems. Graphic and intuitive simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and simultaneous way.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

It allows the registration of the alarms state and the graphic representation in real time.

Comparative analysis of the obtained data, after the process and modification of the conditions during the process.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

• N-VVCA. Advanced AC Motor Speed Controller.

Supply voltage: 230 VAC.

Nominal power: 0,75 kW.

PWM output voltage connections:

Three-Phases: 230 VAC.

Digital inputs control panel: 5 configurable digital inputs.

Analog inputs control panel:

0-10 V analog input for speed control.

4-20 mA analog input for speed control.

10 K, potentiometer for the induction motor control speed.

2 relay outputs for alarms configuration: 2 outputs NO/NC.

50 mA, 2 transistor outputs for alarms configuration.

Setting and visualization display of the machine parameters.

• N-ARR16. Electronic Soft Starter. Nominal Voltage: 400 VAC.

Nominal current: 3.6 A.

Nominal Power: 1.5 kW.

IP: IP20.

Three poles.

Regulating potentiometer for setting the acceleration/deceleration ramp.

Regulating potentiometer for starting voltage.

• N-ARR01. Manual Star-Delta starter.

Nominal voltage: 400 VAC.

Maximum contacts current: 10 A.

Star-Delta three positions commutator:

0: Open circuit.

Y: Star connection.

Δ: Delta connection.

• N-TRANS03. Three-Phase Autotransformer Module 400/230 VAC, 1KVA.

Three-phase autotransformer.

Nominal supply voltage: 400 VAC (3PH).

Nominal output voltage: 3 x 230 VAC (3PH+N).

Nominal power: 1 kVA.

Transformer connection: YY0.

Start/stop commutator for instantaneous connection/disconnection of the grid transformer.

Fuses: 3 x 5 A.

• FLYW. Flywheel.

Weight: 2 kg.

Maximum recommended speed: 4000 r.p.m.

Moment of inertia: 0.0025 kgm ².

• N-SERV1K. 1 kW Servomotor Module.

Dynamic and static four-quadrant operation.

Speed and torque displays.

Four-quadrant monitor.

Thermal monitoring of the machine under test.

Testing for the presence of a shaft cover.

Connection voltage: 400 V.

Frequency: 50 Hz.

Maximum power output: 10 kVA.

Maximum speed: 4000 rpm.

Maximum torque 4 Nm.

Temperature monitoring.

• N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition.

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters ofthe AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Single and three-phase voltage. Up to 690 VAC L-L.

Phase and line current. Current range up to 200%. Measurement from 0-10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz y 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85-265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

THD voltage and current, TDD and K-factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage.

Harmonics analyzer:

THD voltage and current, TDD current and K-factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053-22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, 4 energy/demand records of total tariffs.

8 tariffs, 4 seasons, 4 types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

Modbus TCP communication protocol with Ethernet interface.

• All necessary cables to realize the practical exercises are included.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 1380 x 840 x 2010 mm approx. (54.33 x 33.07 x 79.13 inches approx.). Weight: 85 Kg approx. (187 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

Additional practical possibilities with Electronic Soft starter:

1.-  Wiring of electronic soft starter.

2.-  Setting of the starting voltage parameter.

3.-  Measuring of the induction motor electrical parameters with different starting voltage configurations.

4.-  Setting of acceleration ramp parameter.

5.-  Measuring of the induction motor electrical parameters with different acceleration ramp configurations.

6.-  Setting of deceleration ramp parameter.

7.-  Comparing the starting methods through frequency controller, electronic osft starter and star/delta starter (depending on the acquired options).

8.-  Braking test with the servomotor and its controller.

9.-  Starting of the induction motor with constant load.

10.-Starting of the induction motor with variable load.

11.-Visualization of Torque VS Speed, Current VS Speed with the additional recommended element EM-SCADA.

Additional practical possibilities with Frequency Controller:

12.-Wiring of the frequency controller.

13.-Basic programming of the frequency controller.

14.-Soft starting of the induction motor through manual speed control.

15.-Run investment soft control of the induction motor.

16.-Setting of acceleration time.

17.-Setting of deceleration time.

18.-Braking test with servomotor and controller.

19.-Starting of the induction motor with constant load.

20.-Starting of the induction motor with variable load.

21.-Comparing the starting methods through frequency controller, electronic soft starter and star/delta starter (depending on the acquired options).

22.-Visualization of Torque VS Speed, Current VS Speed with the additional recommended element EM-SCADA.

Additional practical possibilities with Star-delta Starter and Autotransformer:

23.-Wiring of the manual star/delta starter.

24.-Star/Delta starting of the induction motor of squirrel cage.

25.-Measuring of electrical parameters of the induction motor of squirrel cage durgin star/delta starting procedure.

26.-Comparing the starting methods through frequency controller, electronic soft starter and star/delta starter (depending on the acquired options).

Additional practical possibilities with the Servo motor and EM-SCADA:

27.-Braking test with the servomotor and its controller.

28.-Starting of the induction motor with constant load.

29.-Starting of the induction motor with variable load.

30.-Visualization of Torque VS Speed, Current VS Speed with the additional recommended element EM-SCADA.

Additional practical possibilities with the EM-SCADA:

31.-Visualization of torque/current VS speed of the induction motor with the electronic soft starter.

32.-Visualization of torque/current VS speed of the induction motor with the advanced frequency controller.

33.-Visualization of torque/current VS speed of the induction motor with the star/delta starter.

34.-Comparison of graphs of the different starting types.

Optional

AEL-EMSS/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.