TENDER SPECIFICATIONS

The “AEL-FCLL” application includes the following elements:

• N-FC/1kW. 1kW Fuel Cell Module.

Fuel cell stack.

Power: 1000 W.

Fan.

DC converter.

• N-EL/150W. 150 W Electronic Load Module.

Maximum power: 150 W.

Voltage: 1...24 V.

Maximum current: 5 A.

ON/OFF switch.

• N-MHSCSV. Metal Hydride Storage Cell Module and Solenoid Valve.

Single level pressure regulator with manometers.

3 mm hydrogen connection line with quick action coupling system.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions:  2000 x 400 x 2000 mm approx. (78.74 x 15.75 x 78.74 inches approx.) - Weight: 50 Kg approx. (110 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Basic fuel cell operations.

2.- Design and operation of a metal hydride storage cell.

3.- Calculation of the efficiency of a PEM fuel cell.

4.- Study of the influence of the air consumption and the hydrogen consumption on the efficiency of a PEM fuel cell.

5.- Study of the energy density of a PEM fuel cell.

6.- Representation of the polarisation curve of a PEM fuel cell.

7.- Determination of the voltage and current density characteristics of a PEM fuel cell.

8.- Study of the influence of hydrogen consumption in the generation of electrical energy.

9.- Study of the influence of the power generated on the efficiency of a PEM fuel cell.

10.- Study of the influence of the flow of reagents in the generation of electricity.

11.- Study of voltage conversion.

Additional practices with the electrolyser:

12.- Study of the electrolyser.

13.- Study of the independent power supply.

- Several other exercises can be done and designed by the user.

Optional

AEL-FCLL/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.