TENDER SPECIFICATIONS

The application includes the following modules:

• N-ALI01. Industrial Main Power Supply.

Supply voltage: 400 V AC, 3PH+N+G.

Removable key with two ON-OFF positions.

Output voltage connections:

Three-Phase + Neutral: 400 V AC.

Single-Phase: 230 V AC.

Three-Phase supply hose with IP44 3PN+E 32 A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

• EMT6C. Permanent Magnets 3PH Synchronous Motor-Generator, 8 poles, 24 Vac..

Nominal power: 0.6 kVA.

Nominal voltage: 24 V AC.

RPM: 850 rpm.

Poles number: 8.

• EMT7C. Asynchronous three-phase motor of squirrel cage (8 poles).

Nominal power: 550 W.

Nominal voltage: 3 x 230 / 400 VCA Δ/Y.

Frequency: 50/60 Hz.

Poles number: 8.

RPM: 750 rpm.

Nominal Current: 3.6 / 2 A.

Shaft height: 71 mm.

• N-VVCA/M. AC Motors Speed Controller (Intermediate option).

ON/OFF Switch.

Supply voltage: 230 V AC.

Nominal power: 750 W.

PWM output voltage connections:

Three-Phases: 230 V AC.

10 K, potentiometer for the induction motor control speed.

Setting and visualization display of the machine parameters.

GND terminal.

• N-REV01. Single-Phase Variable Resistor Module 0-700 Ohm.

0 - 700 Ohm variable resistor.

Maximum Power: 500 W.

Potentiometer.

Terminals:

Three terminals for taking the maximum resistance or a variable value.

• N-REF. Single-Phase Fixed Resistor.

Resistance value: 150 ohm.

Maximum power: 500 W.

Switch:

Position 0: circuit opened.

Position 1: circuit closed.

Fuse: 2 A.

GND terminal.

• N-TPAD-3PH/400V. 400V Three-Phase AC/DC Converter Module.

16 A fuses.

Three-phase input terminals.

ON/OFF switch.

Auxiliary ON/OFF switch.

DC output terminals.

Input voltage range: 0 – 400 V AC.

Output voltage range: 0 – 400 V DC.

• BAT6. Lead - Acid Battery 6 (2 units).

Battery voltage: 12 V.

Charge and discharge current: 23 A.

Battery capacity: 7 Ah.

• MED65. Digital Multimeter (2 units).

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• N-LAM31. 2 LED Lamps Module with Commutators, 24 VDC.

Supply voltage: 24 V DC.

Two Lamps.

Two switches.

• N-REG02. Current Electronic Regulator Module 2.

Automatic detection of operating voltage of 12 V or 24 V.

Monitoring of parameters:

Voltage.

Current.

Charge level of the battery.

Charging current.

State.

Devices to protect itself, battery and loads.

Additional recommended elements (Not included):

• N-INV01. Single-Phase Isolated Inverter Module 01.

ON/OFF switch.

Power: 300 W.

Output voltage: 230 V AC.

Efficiency: 90%

Safety functions:

Cut out for excess battery voltage.

Over temperature and overload protection.

Short-circuit protection.

Pole reversal protection.

• N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition.

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Single and three-phase voltage. Up to 690 V AC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz y 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85-265 V AC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

THD voltage and current, TDD and K-factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

THD voltage and current, TDD current and K-factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053-22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons, four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

Modbus TCP communication protocol with Ethernet interface.

• N-LAM16. Halogen Lamp.

Nominal voltage: 230 V AC (PH+N).

Halogen lamp.

Power: 60 W.

• PMSWG. Permanent Magnet Small Wind Turbine.

Wind Turbine:

Nominal power: 500 W.

Nominal voltage: 24 V AC + 3 PH.

Regulator:

Three-Phase 24 V AC input terminals.

Two DC output terminals for battery charging.

2 fuses of 16 A.

Brake switch.

Potentiometer to set the level voltage charging.

Display for battery voltage level.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

-Dimensions: 1600 x 550 x 2000 mm approx. (62.99 x 21.65 x 78.74 inches approx.) -Weight: 85 Kg approx. (97 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Voltage-Speed Characteristics of a Wind Turbine Generator.

2.- Connection of energy-saving lamps to the DC circuit.

3.- Power vs Wind Turbine Speed.

4.- Storing Energy from a Wind Turbine into Batteries.

5.- Battery charging fundamentals.

6.- Drop voltage in the wind generator.

7.- Wind turbine power supply circuit.

8.- Battery power supply circuit.

Some possible practices with the additional recommended elements N-INV01, N-LAM16 and N-EALD:

9.- Analysis of the operation of the single-phase inverter for island networks.

10.- Connection of resistive loads to the single-phase inverter and reading of currents and voltages in the different parts of the circuit.

11.- Study of the lighting circuit in AC with halogen lamp.

12.- Advanced analysis of AC circuits with the network analyser.

Some possible practices with the PMSWG wind turbine:

13.- Connection of a real turbine.

14.- Power generation with real wind.

15.-  Installation and commissioning of a real wind turbine

- Several other exercises can be done and designed by the user.

Optional

AEL-WPT/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.