TENDER SPECIFICATIONS

Bench-top unit with adjustable legs.

Anodized aluminum frame and panels made of painted steel.

The "EEFCR" unit mainly consists of:

Temperature conditioning box made of methacrylate. Here, the adequate temperature conditions to carry out the experiment are created:

Inside it, the specimen which will be experimented is located.

To reach the temperature, an isotherm bag will be used.

To know the experiment conditions, there is a thermometer at the upper part of the box, range:  -10ºC – 110ºC.

Load arm:

It is a stainless steel beam on which the loads are applied to the specimen.

It pivots on a shaft inserted in the support column.

Tensile stress range: 0 – 35 N/mm².

Support screw for supporting the load arm before starting the experiment.

Clamps. They are into the space to fasten the specimens.

Dial indicator:

To measure  the elongation of the specimen which is under the load and temperature concrete conditions.

Range: 0 – 10 mm.

Accuracy: 0.01 mm.

Allen key to adjust the dial indicator.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Required elements (Not included):

- SET C. Steel Hook and Mass Set 3 kg.

Each SET C includes:

1 Weight of 1000 gr (2.20 pounds approx.)

2 Weights of 500 gr (1.10 pounds approx.)

2 Weights of 200 gr (0.44 pounds approx.)

6 Weights of 100 gr (0.22 pounds approx.)

1 Support hook of 500 gr (1.10 pounds approx.)

Additional recommended elements (Not included):

- EEFCR-SP. Set of additional specimens.

Includes:

Flat type.

Made in different plastic materials: PVC and polypropylene.

They have a section of 5 mm x 2 mm to make the experiments easier.

Dimensions: 700 x 350 x 600 mm approx. (27.56 x 13.78 x 23.62 inches approx.). Weight: 25 Kg approx. (55.1 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Experimental analyze the behaviour of different plastic materials.

2.- Experimental determination of the creep limit of different plastic materials.

3.- Determination of the temperature effect in the creep behaviour of a plastic material.

4.- Relation of the deformation caused by the creep in function of the time. Phases of the creep.

Optional

EEFCR/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

BDAS. Data Acquisition System and Sensors:

For being used with mechanical units.

BDAS is designed to monitor the measurements of each mechanical unit from a computer.