TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

This multimanometer has been designed for operating with Pitot’ s tube.

It allows finding the pressure between two points or two fluids.

Two U-shape glass manometers, length: 500 mm.

Millimeter precision rules, length: 500 mm.

Three points for pressure measurement.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 250 x 500 x 870 mm approx. (9.84 x 19.68 x 34.25 inches approx.) - Weight: 3 Kg approx. (6.61 pounds approx.)