TENDER SPECIFICATIONS

The application “AEL-AD33” includes the following elements:

• N-ALI02. Domestic Main Power Supply Module.

Supply voltage (single-phase): 230 VAC, 1PH + N.

ON / OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-shase supply hose connecting plug.

Differential magnetothermal, 2 poles, 25 A, 30 mA AC, 6 KA.

Emergency stop push-button.

• MED65. Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• N-TRANS01. Single-phase Galvanic  Isolation Transformer 230/230 VAC, 500 VA, Module.

Rated power: 500 VA.

Input voltage: 230 VAC.

Output voltage: 230 VAC.

Earth-neutral connection switch.

2 A fuses.

ON /OFF switch.

Virtual GND connector.

• N-DIF. Differential Protection RCD Module.

Rated voltage: 230 VAC.

Rated current: 25 A.

Sensitivity: 30 mA.

L, N: current inlet terminals.

L, N: current outlet terminals.

• N-DIFVS. Differential Protection with Variable Sensivity RCD Module.

Inputs:

Auxiliary voltage UH: AC/DC 12 V, AC/DC 24 … 230 V.

Voltage range:

AC: 0.8 ... 1.1 UN.

DC: 0.9 ... 1.25 UN.

Nominal frequency UH: 50 … 400 Hz.

Nominal consumption:

AC 230 V: 4 VA.

AC 24 V: 1.6 VA.

DC 24 V: 1 W.

Measuring value adjustable via rotational switch:

AC 0.01; 0.03 A; 0.1 A; 0.3 A; 0.6 A; 1 A; 2 A; 5 A; 10 A.

Frequency range: 20 Hz ... 2 kHz at failure current < 50 Hz and the “auto reset” function, a time delay must be adjusted, so that the relay does not buzz before switching.

Hysteresis: approx. 4 % of trip value, fixed.

Accuracy: ≤ ± 15 %.

Repeat accuracy: ≤ ± 1 %.

Temperature drift: ≤ ± 0.05 % / K.

Reaction time: 10 … 30 ms.

Response delay tv: 0 ... 10 s adjustable (logarithmic scale in order to allow also short time delay to be adjusted without problems).

• N-DIFR. Differential Protection with Automatic Reset RCD Module.

Test button on residual current device.

Control lever.

Auto ON / OFF selection flap:

Auto OFF: recloser OFF.

RED test = residual current device.

Auto ON: recloser ON.

RED test = residual current device + automatic restart.

Operating mode LED.

• N-FAULT. Fault Injection Module with Human Body Impedance Selector.

Fault injection push-button.

Human impedance selector: 1 Ω, 2 Ω, 20 Ω, 200 Ω.

Input connections (a, b).

• N-TSTF. Leakage to Ground Tester Module.

Injection push-button.

Transformer center earth connection.

Differential protection center.

User fault impedance connection.

Load connection.

Variable earth impedance.

• N-MVA. Analog Voltmeter Module.

Range: 0 – 150 VAC.

Input terminals: Va, Vb.

Accuracy: 1.5 %.

Scale: 90 °.

• N-MCA. Analog Ammeter Module.

Range: 0 – 500 mA.

Input terminal: Va.

Output terminal: Vb.

Accuracy: 1.5 %.

Scale: 90 °.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 640 x 320 x 670 mm approx.  (25.19 x 12.59 x 26.37 inches approx.)  - Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study the basic concepts of differential protection.

2.- Study of differential protection with variable sensitivity.

3.- Study of differential protection with automatic restore.

4.- Adjustment of the protection sensibility of the differential protection.

5.- Study of single-phase ground short-circuit with basic differential protection.

6.- Study of single-phase ground short-circuit with short-circuit impedance and basic differential protection.

7.- Study of single-phase ground short-circuit with differential protection with variable sensitivity.

8.- Study of single-phase ground short-circuit with short-circuit impedance and differential protection with variable sensitivity.

9.- Study of single-phase ground short-circuit with differential protection with automatic restore.

10.- Study of single-phase ground short-circuit with short-circuit impedance and differential protection with automatic restore.

11.- Study of isolation coordination.

Optional

AEL-AD33/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.