Tender Specifications

The “AEL-AD3A” application includes the following elements:

• N-ALI02. Domestic Main Power Supply Module.

Supply voltage (single–phase): 230 VAC, 1PH + N.

ON / OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-phase supply hose with connecting plug.

Differential magnetothermal 2 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-ALI03. AC Auxiliary Power Supply Module.

Voltage supply (Single–Phase): 230 VAC 1PH + N.

Output voltage:

Single–Phase 24 VAC / 12 VAC.

24 VDC.

0 – 24 VDC through potentiometer.

• N-ALA02. Battery Powered Fire Alarm Station Module.

Two control zones.

Voltage supply, 230 VAC.

Ground connection.

Input to activate the remote reset.

Input to deactivate the programmed delays.

Normally open fail contactor.

Normally open alarm contactor.

• N-SEL21. Indoor Siren Module.

Volume configuration through voltage, 12 – 24 VDC.

87 – 112 dB.

12 – 30 mA.

32 tones.

• N-SEL17. Fire Indicator Module & Bell.

Voltage supply, 19 – 28 VDC.

Current consumption: 20 mA.

Sound output: 95 dB.

Range of temperature: from - 10 to + 55ºC.

Pushbutton:

Inner resistor: 100 ohm.

Maximum current/voltage ratio: 2A / 30 VDC.

• N-DET06. Smoke Detector Module for Domestic Control.

Output voltage, 9 – 28 VDC.

Consumption of 85 uA in standby and <100 mA in alarm.

Operation temperature from –10 to 70 ºC.

• N-DET10. Water Solenoid Valve Module.

Voltage supply, 230 VAC.

Normally closed position.

Maximum pressure, 1.5 MPa.

• N-DET21. Fire Detector Module with Lonization.

Working voltage, 9 – 28 VDC.

Current of 85 uA in standby and <100 mA in alarm.

Operation temperature from - 10 to 70 ºC.

• N-DET22. Thermal Fire Detector Module.

Operation voltage: 9 – 28 VDC.

Current of 85 uA in standby and <100 mA in alarm.

Pre-warning indication: LED flickering.

Alarm indication: fixed LED.

Operation temperature from - 10 to 70 °C.

• All necessary cables to realize the practical exercises are included.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 640 x 320 x 920 mm approx. (25.19 x 12.59 x 32.22 inches approx.) – Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-   Checking and measuring the main power supply.

2.-   Checking the working of the auxiliary power supply.

3.-   Checking the operation and control of the Fire Alarm Station.

4.-   Simulate situations in two safety zones managed by the Fire Alarm Station.

5.-   Checking the operation of the air ionization sensor.

6.-   Checking the operation of the temperature sensor.

7.-   Checking the operation of the smoke detector.

8.-   Checking the operation of the indoor siren.

9.-   Checking the operation of the bell.

10.- Checking the operation of the water solenoid valve.

11.- Combine the different types of sensors with the alarms to simulate different situations.

Optional

AEL-AD3A/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.