TENDER SPECIFICATIONS

The “AEL-AI12” application includes the following elements:

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3PH + N.

ON / OFF removable key.

Output voltage connections:

Three-phase + Neutral: 400 VAC.

Single-phase: 230 VAC.

Three-phase supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-ALI03. AC Auxiliary Power Supply (24 Vac) Module.

Voltage supply (single-phase): 230 VAC, 1PH + N.

Output voltage:

Single–phase 24 VAC / 12 VAC.

24 VDC.

0 – 24 VDC through potentiometer.

• N-PUL48. Three Double Chamber Push-Buttons Module (2 units).

Two independent chambers.

Nominal voltage: 24 VAC.

Three double chamber push-buttons (green and red).

Contacts:

Three normally open contacts (NO) for green switch.

Three normally close contacts (NC) for red switch.

• N-LAM02. Auxiliary Lamps Module.

Nominal voltage: 24 VAC.

Three lamps (red, yellow and green).

• N-CON01. Three-Pole Contactor Module (24 Vac) (4 units).

Nominal voltage for power contacts: 400 VAC.

Nominal voltage for control contacts: 24 VAC.

Nominal voltage for the control coil: 24 VAC.

Contacts:

Three-phase normally open contact (NO) for power circuit.

Three normally open contacts (NO) for control circuit.

Two normally close contacts (NC) for control circuit.

• N-VAR09. Frequency Variator Module.

Supply voltage: 230 VAC.

ON / OFF power switch.

PWM output voltage connections:

Three-phases: 230 VAC.

Wheel to regulate the frequency.

Setting and visualization display of the machine parameters.

• N-REL30. Synchronization Relay Module.

Nominal voltage for power contacts: 400 VAC.

Nominal voltage for control contacts: 24 VAC.

Nominal voltage for the control coil: 24 VAC.

Contacts:

Three-phase normally open contact (NO) for power circuit.

Three auxiliary contacts:

Instantaneous normally open contact (NO).

Time normally open contact (NO).

Time normally close contact (NC).

• N-REL47. Thermal Relay Module (2 units).

Nominal voltage for power contacts: 400 VAC.

Nominal voltage for the control coil: 24 VAC.

Contacts:

Three-phase normally open vontact (NO) for power circuit.

• N-REL45. Module with Disjunctor.

Nominal voltage for power contacts: 400 VAC.

Three-phase relay:

Selecting wheel to make an adjustment: 6 A and 10 A.

Two switches:

Start (ON): It closes the switch and allows the passage of the current through the terminals.

Stop (OFF): It opens the switch.

Contacts:

Three-phase normally open contact (NO) for power circuit.

• N-IAM31. 4-pole Magneto-thermal Automatic Switch Module 4 A, Curve C.

Nominal voltage: 400 VAC, 3PH + N.

Protection against overloads: 4 A.

Curve: “C” type.

• TRA06. Custom-made Three-Phase Power Transformer.

Nominal supply voltage: 400 (3PH).

Nominal output voltage: 4230 (3PH + N).

Nominal power: 1 kVA.

Ground terminal.

• N-CAR10. Custom-made Capacitive Load Module.

Nominal voltage: 230 V.

Inductances: 4 x 7 µF.

• N-FUS10. Module with Three 20 A Power Fuses and One 4 A Control Fuse.

Four fuseholders and their respective fuses:

Three fuses of 20 A.

Fuse of 32 A.

Input terminals: 3PH + N.

Output terminals: 3PH + N.

• EMT7. 3PH Squirrel-Cage Motor.

Nominal power: 370 W.

Nominal voltage: 3 x 230 / 400 VAC  Δ/Y.

Frequency: 50 / 60 Hz.

Number of poles: 2.

Speed: 2730 rpm.

Nominal current: 1.67 / 0.97 A.

Shaft height: 71 mm.

• EMT9. Dahlander Motor, Two Speeds.

Nominal power: 370 W.

Nominal voltage: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Number of poles: 4.

Speed: 1400 / 2800 rpm.

Nominal current: 1.2 / 1.55 A.

Shaft height: 71 mm.

• EMT16. 1PH Squirrel-Cage Motor with Starting and Running Capacitor.

Supply voltage: 110 – 220 V.

Power: 370 W.

Speed: 2780 rpm.

Frequency: 50 / 60 Hz.

Armature current: 1.85 A.

Shaft height: 71 mm.

• N-MED60. Network Analyzer Module.

ON / OFF switch.

Supply voltage: 400 VAC.

Input terminals: input connection with the measurement point.

Output terminals: output connection with the measurement point.

Fuses: 3 x 10 A.

Display of the network analyzer, where it is shown:

Active, reactive and apparent power.

Active, reactive and apparent energies.

Lines and phase currents.

Line and phase voltages.

Frequencies.

Power factor.

Additional recommended elements (Not included):

• EMT8. 3PH Wound Motor.

Nominal power: 300 W.

Nominal voltage: 3 x 230 / 400 VAC Δ / Y.

Frequency: 50 / 60 Hz.

Pole number: 2.

Speed: 2870 rpm.

Nominal current: 1 / 0,5 A.

Shaft height: 71 mm.

• EMT10. 3PH Squirrel-Cage Motor, Two Speeds.

Nominal power: 240 / 370 W.

Nominal voltage: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Speed: 900 / 1420 rpm.

Nominal current: 1.05 / 1.35 A.

Shaft height: 71 mm.

• EMT11. 1PH Squirrel-Cage Motor with Starting Capacitor.

Nominal power: 370 W.

Nominal voltage: 3 x 230 VAC.

Frequency: 50 / 60 Hz.

Speed: 2780 rpm.

Nominal current: 2.53 A.

Shaft height: 71 mm.

• EMT20. Asynchronous Single-Phase Motor with Split Phase.

Supply voltage: 220 V.

Power: 370 W.

Speed: 2780 rpm.

Frequency: 50 Hz.

Induced current: 2.53 A.

Shaft height: 71 mm.

• EMT21. 3PH Reluctance Motor.

Nominal power: 300 W.

Nominal voltage: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Speed: 3000 rpm.

Nominal current: 1.4 A.

Shaft height: 71 mm.

• EMT22. 1PH Shaded Pole Motor.

Power: 16 W.

Speed: 1550 rpm.

Frequency: 50 / 60 Hz.

V. Armadura: 230 / 240 V.

I. Armadura: 0.42 A.

Shaft height: 71 mm.

• N-CONT. Three-phase Commutable Capacitive Load Module.

Nominal voltage: 400 VAC.

Capacitor value: 3 x 7 µF.

Manual commutator to switch activate/deactivate the capacitors.

Fuses: 3 x 4 A.

Terminals:

Four inputs terminals (3PH + N).

Four outputs terminals (3PH + N).

• N-INDT. Three-phase Commutable Inductive Load Module.

Nominal voltage: 400 VAC.

Inductance value: 1.4 H.

Nominal current: 1.6 A.

Manual commutator to switch activate/deactivate the inductances.

Fuses: 3 x 2 A.

Terminals:

Four inputs terminals (3PH + N).

Four outputs terminals (3PH + N).

• N-REFT. Three-phase Commutable Resistor Load Module.

Nominal voltage: 400 VAC.

Resistance: 3 x 150 Ohm.

Nominal current: 1.6 A.

Manual switch to turn activate/deactivate resistors.

Fuses: 3 x 2 A.

Terminals:

Four input terminals (3PH + N).

Four output terminals (3PH + N).

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 1380 x 840 x 2010 mm approx. (54.33 x 33.07 x 79.13 inches approx.). - Weight: 90 Kg approx. (198 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Identification of the element of the main power supply.

2.- Study of the elements in the control of AC motors.

3.- Study of the protection elements for AC motors.

4.- Direct starting of a three-phase motor through contactor, with some stop and start push-buttons.

5.- Configuration of a magnetic protection system, with stop mush room button.

6.- Direct starting of a three-phase motor with thermal relay with control coil.

7.- Direct starting of a three-phase motor through impulses contactor.

8.- Direct starting of a three-phase motor with thermal relay and with push-buttons and signalling.

9.- Turning inverted starter of a three-phase motor stopping before turning in the opposite direction.

10.- Turning inverted starter of a three-phase motor without stopping before turning in the opposite direction.

11.- Turning inverted starter of a three-phase motor with microswitch and push-buttons box.

12.- Star/delta starting with a turn inverter of a three-phase motor.

13.- Automatic star-delta starting of a three phase motor.

14.- Turning inverted starter of a three-phase motor with micro switch, with start push-buttons, stop and function cycle. (Direct).

15.- Manual star-delta starting of a three-phase motor.

16.- Control of a single phase motor direct and, with time-delay connection and disconnection.

17.- Starting of a three-phase motor with single phase voltage.

18.- Motor speed control with a frequency variator.

19.- Parameters of the motor.

20.- Starting and control of a two-speed Dahlander motor.

21.- Measurement with digital measurement system of the voltage, current, power factor and active power parameters of electric motors and transformers.

22.- Study of control systems with push-buttons, lamps Signaling, relays, timers and contactors.

Additional practical possibilities to be carried out with the recommended additional elements (Not included):

23.- Direct start of the asynchronous three-phase motor with rotor coiled.

24.- Star/delta starting of the asynchronous three-phase motor with wound rotor with pushers and contactors.

25.- Start and reverse rotation of the asynchronous three-phase motor with wound rotor with pushers and contactors.

26.- Direct start-up of the asynchronous three-phase motor with two independent speeds.

27.- Direct start and motor speed switching of three-phase asynchronous with two independent speeds with push buttons and contactors.

28.- Start and reverse rotation of the asynchronous three-phase motor with two independent speeds with pushers and contactors.

29.- Direct starting of the asynchronous single-phase motor with capacitor.

30.- Direct starting of the asynchronous single-divided phase.

31.- Direct start of three-phase reluctance motor.

32.- Star/delta starting of three-phase reluctance motor with pushers and contactors.

33.- Direct starting with reluctance motor reversal three-phase with pushers and contactors.

34.- Direct starting of single-phase motor with short-circuited winding auxiliary.

Optional

AEL-AI12/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.