TENDER SPECIFICATIONS

The “AEL-AI13-A” application includes the following elements:

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3PH + N.

ON / OFF removable key.

Output voltage connections:

Three-phase + Neutral: 400 VAC.

Single-phase: 230 VAC.

Three-phase supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-ALI10. Power Supply Module.

Supply voltage (single-phase): 230 VAC, 1PH + N.

Output voltage:

15 – 0 – 15 VAC.

24 VAC.

24 VDC.

0 – 24 VDC (adjustable).

• N-CAR30. Inductances Module.

Nominal voltage: 24 V.

Inductances:

Two 1 mH inductances.

One 2.2 mH inductance.

Two 3.3 mH inductances.

Two 10 mH inductances.

Two 22 mH inductances.

• N-CAR31. Capacitors Module.

Nominal voltage: 24 V.

Capacitors:

One 47 µF non-polarised capacitor.

One 68 µF non-polarised capacitor.

Two 100 µF non-polarised capacitors.

One 220 µF non-polarised capacitor.

One 330 µF non-polarised capacitor.

One 470 µF non-polarised capacitor.

One 220 µF polarised capacitor.

One 470 µF polarised capacitor.

• N-CAR32. Rectifier Diodes Module.

Nominal voltage: 230 V.

Rectifiers: 6 x 40 A rectifier diodes.

• N-CAR33: Resistive Components Module.

Nominal voltage: 24 V.

Resistors:

Three 47 k Ohm resistors.

Three 51 k Ohm resistors.

Two 82 k Ohm resistors.

Two 100 k Ohm resistors.

One 120 k Ohm resistors.

Three 150 k Ohm resistors.

One 10 k Ohm linear 5 W wound potentiometer.

One 50 k Ohm linear potentiometer.

One 10 k Ohm logarithmic potentiometer.

One 50 k Ohm logarithmic potentiometer.

• MED65. Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 640 x 320 x 920 mm approx.(25.19 x 12.59 x 36.22 inches approx.) - Weight: 45 Kg approx. (99 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Resistance measurement.

2.- Resistors in series association.

3.- Resistors in parallel association.

4.- Coils in series association.

5.- Coils in parallel association.

6.- Capacity measurement of a capacitor.

7.- Capacitors series association.

8.- Capacitors parallel association.

9.- Charge analysis of a capacitor.

10.- Discharge analysis of a capacitor.

11.- Calcule the time constant of a filter.

12.- Analysis of a RL circuit in series.

13.- Analysis of a RL circuit in parallel.

14.- Analysis of a RC circuit in series.

15.- Analysis of a RC circuit in parallel.

16.- Low-pass filter.

17.- High-pass filter.

18.- Star/delta transformation.

19.- Delta/star transformation.

Optional

AEL-AI13-A/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.