TENDER SPECIFICATIONS

The application “AEL-DCEMT” includes the following elements:

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3PH + N.

ON/OFF removable key.

Output voltage connections:

Three-phase + Neutral: 400 VAC.

Single-phase: 230 VAC.

Three-phase supply hose with IP44 3PN+E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-MED17. DC Voltmeter Module (0-200 V).

Measurement range: 0 – 200 VDC.

Terminals:

Measurement terminals.

• N-MED05. DC Ammeter Module (0-1.5 A).

Measurement range: 0 – 2 VDC.

Terminals:

Measurement terminals.

Fuse: 3 A.

• MED65. Digital Multimeter.

Digital multimeter with 3 ½ digits, with 4 mm double connector termination cables to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• N-SERV1K. 1 kW Servomotor Module.

Dynamic and static operating regime in four quadrants.

Speed and torque signals.

Power supply terminals: 3 x 400 VAC.

Frequency: 50/60 Hz.

Nominal power: 1 kW.

Maximum power: 3 kW.

Maximum speed: 5000 rpm.

Nominal torque: 3.18 Nm.

Maximum torque: 9.55 Nm.

Temperature control.

Speed control potentiometer.

Torque control potentiometer.

Mode selection switch: torque/speed control.

Motor turning reversal switch.

• TECNEL/TM. Hand Tachometer.

Two AA batteries.

Three positions switch to choice the measurement method.

Speed recording push-button.

Speed measurement push-button.

Disassemble pieces for different shafts.

Speed digital display.

Required elements (at least one) (Not included):

DCEMT-K1. DC Independent Excitation Motor-Generator Kit.

• EMT1. DC Independent Excitation Motor-Generator.

Nominal power: 250 W.

Armature voltage: 200 VDC.

Excitation voltage: 190 VDC.

Armature current: 1.5 A.

Excitation current: 0.3 A.

Speed: 3000 rpm.

Shaft height: 71 mm.

• N-REV. Single-Phase Variable Resistor Module.

Variable resistor of 150 Ohm.

Maximum power: 500 W.

Potentiometer.

Terminals:

Three terminals to choose all resistance or variable resistance.

Fuse: 2 A.

• N-VVCC/M. DC Motor Speed Controller (Intermediate Option) Module (2 units).

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• N-MED17. DC Voltmeter Module (0-200 V).

Measurement range: 0 – 200 VDC.

Terminals:

Measurement terminals.

• N-MED05. DC Ammeter Module (0-1.5 A).

Measurement range: 0 – 2 VDC.

Terminals:

Measurement terminals.

Fuse: 3 A.

DCEMT-K2. DC Series Excitation Motor-Generator Kit.

• EMT2. DC Series Excitation Motor-Generator.

Nominal power: 300 W.

Armature voltage: 200 VDC.

Armature current: 1.5 A.

Speed: 7500 rpm.

Shaft height: 71 mm.

• N-REV. Single-Phase Variable Resistor Module.

Variable resistor of 150 Ohm.

Maximum power: 500 W.

Potentiometer.

Terminals:

Three terminals to choose all resistance or variable resistance.

Fuse: 2 A.

• N-VVCC/M. N-VVCC/M. DC Motor Speed Controller (Intermediate Option) Module.

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

DCEMT-K3: DC Shunt Excitation Motor-Generator Kit.

• EMT3. DC Shunt Excitation Motor-Generator.

Nominal power: 300 W.

Nominal voltage: 200 V.

Nominal current: 1.5 A.

Speed: 3400 rpm.

Shaft height: 71 mm.

• N-REV. Single-Phase Variable Resistor Module.

Variable resistor of 150 Ohm.

Maximum power: 500 W.

Potentiometer.

Terminals:

Three terminals to choose all resistance or variable resistance.

Fuse: 2 A.

• N-VVCC/M. N-VVCC/M. DC Motor Speed Controller (Intermediate Option) Module.

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• N-MED17. DC Voltmeter Module (0-200 V).

Measurement range: 0 – 200 VDC.

Terminals:

Measurement terminals.

• N-MED05. DC Ammeter Module (0-1.5 A).

Measurement range: 0 – 2 VDC.

Terminals:

Measurement terminals.

Fuse: 3 A.

DCEMT-K4: DC Compound Excitation Motor-Generator Kit.

• EMT4. DC Compound Excitation Motor-Generator.

Nominal power: 250 W.

Armature voltage: 200 VDC.

Armature current: 1.5 A

Excitation current: 0.3 A.

Speed: 3000 rpm.

Shaft height: 71 mm.

• N-REV. Single-Phase Variable Resistor Module.

Variable resistor of 150 Ohm.

Maximum power: 500 W.

Potentiometer.

Terminals:

Three terminals to choose all resistance or variable resistance.

Fuse: 2 A.

• N-VVCC/M. N-VVCC/M. DC Motor Speed Controller (Intermediate Option) Module.

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• N-MED17. DC Voltmeter Module (0-200 V).

Measurement range: 0 – 200 VDC.

Terminals:

Measurement terminals.

• N-MED05. DC Ammeter Module (0-1.5 A).

Measurement range: 0 – 2 VDC.

Terminals:

Measurement terminals.

Fuse: 3 A.

DCEMT-K5: DC Shunt/Series/Compound Excitation Motor-Generator Kit.

• EMT5. DC Shunt/Series/Compound Excitation Motor-Generator.

Nominal power: 300 W.

Armature voltage: 200 VDC.

Excitation voltage: 230 VDC.

Armature current: 1.5 A.

Excitation current: 0.4 A.

Speed: 3400 / 7500 rpm.

Shaft height: 71 mm.

• N-REV. Single-Phase Variable Resistor Module.

Variable resistor of 150 Ohm.

Maximum power: 500 W.

Potentiometer.

Terminals:

Three terminals to choose all resistance or variable resistance.

Fuse: 2 A.

• N-VVCC/M. N-VVCC/M. DC Motor Speed Controller (Intermediate Option) Module (2 units).

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• N-MED17. DC Voltmeter Module (0-200 V).

Measurement range: 0 – 200 VDC.

Terminals:

Measurement terminals.

• N-MED05. DC Ammeter Module (0-1.5 A).

Measurement range: 0 – 2 VDC.

Terminals:

Measurement terminals.

Fuse: 3 A.

Additional recommended elements (Not included):

• N-VVCC. Advanced DC Motor Speed Controller Module.

Supply voltage: 230 VAC (PH + N).

Three ON/OFF switches:

ON/OFF power switch.

Star/stop control activation switch.

Internal tacho dynamo feedback switch.

Two potentiometers:

Speed control.

Torque control.

Terminals:

Rotor terminals.

Excitation terminals.

Tacho dynamo terminals.

Three driver status LEDs: (red, yellow and green).

Variable output voltage: 0 – 300 VDC.

Fuses:

One of 1 A.

One of 2 A.

• N-DMC01. Torque and Speed Measurement Module 1.

Digital torque meter:

Torque signal connector.

Auxiliary contact NO.

Digital speed meter:

Speed signal connector.

Auxiliary contact NO.

IP66 protection.

• EM-SCADA. Control and Data Acquisition System Software for Electrical Machines.

Power supply: 230 VAC.

Input signals:

Current signal (x2).

RMS current signal (x2).

Voltage signal (x2).

RMS voltage signal (x2).

Torque and speed signals.

Output signals:

Torque control signal for the servomotor.

Speed control signal for the servomotor.

The three softwares are part of the SCADA system.

Compatible with actual Windows operating systems. Graphic and intuitive simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and simultaneous way.

Management, processing, comparison and storage of data.

It allows graphic representation in real time.

Comparative analysis of the obtained data, after the process and modification of the conditions during the process.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 1380 x 840 x 660 mm approx. (54.33 x 33.07 x 25,98 inches approx). - Weight: 75 Kg approx. (165 pounds approx).

EXERCISES AND PRACTICAL POSSIBILITIES

Some practical possibilities with DC Independent Excitation Motor-Generator Kit (DCEMT-K1):

1.- Wiring of the DC independent excitation motor.

2.- Starting and speed and torque control with the speed controller.

3.- Braking test with the servomotor.

4.- Measurement of the armature current and resistance.

5.- Computation of the counter-electromotive force (CEMF).

6.- Computation of the electromagnetic power and losses of the DC independent excitation motor.

7.- Obtaining of torque vs. speed curve for the DC independent excitation motor.

Some practical possibilities with DC Series Excitation Motor-generator Kit (DCEMT-K2):

8.- Wiring of the DC series excitation motor.

9.- Starting and speed and torque control with the speed controller.

10.- Braking test with the servomotor.

11.- Measurement of the armature current and resistance.

12.- Computation of the counter-electromotive force (CEMF)

13.- Computation of the electromagnetic power and losses of the DC series excitation motor.

14.- Obtaining of torque vs. speed curve for the DC series excitation motor.

Some practical possibilities with DC Shunt Excitation Motor-generator Kit (DCEMT-K3):

15.- Wiring of the DC shunt excitation motor.

16.- Starting and speed and torque control with the speed controller.

17.- Braking test with the servomotor.

18.- Measurement of the armature current and resistance.

19.- Computation of the counter-electromotive force (CEMF)

20.- Computation of the electromagnetic power and losses DC shunt excitation motor.

21.- Obtaining of torque-speed curve for the DC shunt excitation motor.

Some practical possibilities with DC Compound Excitation Motor-generator Kit (DCEMT-K4):

22.- Wiring of the DC compound excitation motor.

23.- Starting and speed and torque control with the speed controller.

24.- Braking test with the servomotor.

25.- Measurement of the armature current and resistance.

26.- Computation of the counter-electromotive force (CEMF).

27.- Computation of the electromagnetic power and losses of the DC compound excitation motor.

28.- Obtaining of torque vs. speed curve for the DC compound excitation motor.

Some practical possibilities with DC Shunt/Series/Compound Excitation Motor-Generator Kit (DCEMT-K5):

29.- Desired wiring of the DC motor excitation; independent, series, shunt or compound.

30.- Starting and speed and torque control with the speed controller.

31.- Braking test with the servomotor.

32.- Use of the motor as a generator.

33.- Measurement of the armature current and resistance.

34.- Computation of the electromotive force (EMF)

35.- Computation of the electromagnetic power and losses of the DC generator.

36.- Obtaining of torque vs. speed curve for the DC generator.

Practical exercises with the recommended Control and Data Acquisition System Software for Electrical Machines, with SCADA, “EM-SCADA”:

37.- Real time torque measurement.

38.- Real time speed measurement.

39.- Real time current and voltage RMS values.

40.- Real time current and voltage waveforms measurement.

41.- Electrodynamical study of the motor.

42.- Obtaining characteristic curves (torque-speed curve, torque-current curve etc).

43.- Obtaining the saved results.

44.- Manual and automatic braking test and real time monitoring of the results.

- Several other exercises can be done and designed by the user.

Optional

AEL-DCEMT/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.