TENDER SPECIFICATIONS

The application “AEL-DCSE” includes the following elements:

• N-ALI02. Domestic Main Power Supply Module.

Supply voltage (single–phase): 230 VAC, 1PH + N.

ON / OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-phase supply hose with connecting plug.

Differential magnetothermal 2 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-PUL48. Three Double Chamber Push-Buttons Module.

Two independent chambers.

Nominal voltage: 24 VAC.

Three double chamber push-buttons (green and red).

Contacts:

Three normally open contacts (NO) for green switch.

Three normally close contacts (NC) for red switch.

• N-LAM02. Auxiliary Lamps Module.

Nominal voltage: 24 VAC.

Three lamps (red, yellow and green).

• N-CON01. Three-Pole Contactor Module (24 VAC). (3 units).

Nominal voltage for power contacts: 400 VAC.

Nominal voltage for control contacts: 24 VAC.

Nominal voltage for the control coil: 24 VAC.

Contacts:

Three-phase normally open contact (NO) for power circuit.

Three normally open contacts (NO) for control circuit.

Two normally close contacts (NC) for control circuit.

• N-ALI03. AC Auxiliary Power Supply (24 Vac) Module.

Voltage supply (single-phase): 230 VAC, 1PH + N.

Output voltage:

Single–Phase 24 VAC / 12 VAC.

24 VDC.

0 – 24 VDC through potentiometer.

• FLYW. Flywheel.

Weight: 2 kg.

Recommended maximum speed: 4000 rpm.

Moment of inertia: 0.0025 kgm².

• N-VVCC/M. DC Motor Speed Controller (Intermediate option) Module.

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• N-REV. Single Phase Variable Resistor Module.

Variable resistor: 150 Ohm.

Maximum power: 500 W.

Potentiometer.

Terminals:

Three terminals to choose all resistance or variable resistance.

Fuse: 2 A.

• EMT2. DC Series Excitation Motor-Generator.

Nominal power: 300 W.

Armature voltage: 200 VDC.

Armature current: 1.5 A.

Speed: 7500 rpm.

Shaft height: 71 mm.

• TECNEL/TM. Hand Tachometer.

Two AA batteries.

Three positions switch to choice the measurement method.

Speed recording push button.

Speed measurement push button.

Disassemble pieces for different shafts.

Speed digital display.

Additional recommended elements (Not included):

• N-MED17. DC Voltimeter Module (0-200 V).

Measurement range: 0 – 200 VDC.

Terminals:

Measurement terminals.

• N-MED16. DC Voltmeter Module (0-50 V).

Analogue voltmeter.

Connection terminals.

Voltage range: 0 – 50 V.

• N-MED05. DC Amperimeter Module (0-1.5 A).

Measurement range: 0 – 200 VDC.

Terminals:

Measurement terminals.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 640 x 320 x 920 mm approx. (25.19 x 12.59 x 36.26 inches approx.) - Weight: 50 Kg approx. (119 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- DC motor speed control.

2.- DC machine turning direction control.

3.- DC machine speed reading.

4.- Excitation current control.

Some possible practices with the recommended additional elements:

5.- Rotor current measurement and torque estimation.

6.- Measurement of armature voltage.

Optional

AEL-DCSE/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.