TENDER SPECIFICATIONS

The “AEL-ESAT” application includes the following elements:

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3PH + N.

ON/OFF removable key.

Output voltage connections:

Three-phase + Neutral: 400 VAC.

Single-phase: 230 VAC.

Three-phase supply hose with IP44 3PN+E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-FTAC. Fault Injection Module for Three-phase Transformers.

With this module, the user will be able to cause non-destructive faults in a three-phase transformer. This module contains:

Three switches to open each of the primary side transformer phases.

Three switches to open each of the secondary side transformer phases.

Four switches to cause any kind of short circuit in the primary side of the transformer.

Ungrounded:

Two-phase short circuits:

UV Fault type.

VW Fault type.

UW Fault type.

Three-phase short circuit:

UVW Fault type.

Grounded:

Single phase-to-ground short circuits:

UG Fault type.

VG Fault type.

WG Fault type.

Two-phases-to-ground short circuits:

UVG Fault type.

VWG Fault type.

UWG Fault type

Three-phase-to-ground short circuit:

UVWG Fault type.

• MED65. Digital Multimeter.

This This 3 ½ digit digital multimeter, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• N-TRANS09. Three-Phase Galvanic Isolation Transformer Module, 400/400 VAC, 1 kVA.

Nominal power: 1 kVA.

Primary winding voltage: 400 VAC Y – 230VAC  Δ.

Secondary winding voltage: 400 VAC Y – 230VAC Y.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This application is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.) - Weight: 50 Kg approx. (110 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Wiring the three-phase transformer according to different configurations.

2.- Detection of a three-phase transformer feeding fault.

3.- Three phase transformer impedance measurements with one open ended coil.

4.- Identification of open-ended coils in three-phase transformers.

5.- Recognition of short circuits between different phases in the primary winding of a three-phase transformer.

6.- Identification of grounded short circuits in the primary winding of a three-phase transformer.

7.- Detection of short circuited coils.

- Several other exercises can be done and designed by the user.

Optional

AEL-ESAT/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.