TENDER SPECIFICATIONS

The “AEL-FTM” application includes the following elements:

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3PH + N.

ON / OFF removable key.

Output voltage connections:

Three-phase + Neutral: 400 VAC.

Single-phase: 230 VAC.

Three-phase supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

• MED65. Digital Multimeter (2 units).

Digital multimeter with 3 ½ digits, with 4 mm double connector termination cables to facilitate interconnections.

With this digital multimeter we can measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• STRO. Stroboscope.

Flash speed: 100 – 10000 flash per minute.

Speed rate: 100 – 10000 rpm.

Display: flash speed.

Required elements (at least one) (Not included):

• EMT1-T-DC-KIT. Transparent and Functional DC Independent Excitation Motor-Generator Study Kit.

• EMT1-T. Transparent and Functional DC Independent Excitation Motor-Generator.

Nominal power: 250 W.

Armature voltage: 200 VDC.

Excitation voltage: 190 VDC.

Armature current: 1.5 A.

Excitation current: 0.3 A.

Speed: 3000 rpm.

Shaft height: 71 mm.

• N-VVCC/M. DC Motor Speed Controller Module (intermediate option) (2 units).

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• EMT2-T-DC-KIT. Transparent and Functional DC Series Excitation Motor-Generator Study Kit.

• EMT2-T. Transparent and Functional DC Series Excitation Motor-Generator.

Nominal power: 300 W.

Armature voltage: 200 VDC.

Armature current: 1.5 A.

Speed: 7500 rpm.

Shaft height: 71 mm.

• N-VVCC/M. DC Motor Speed Controller Module (intermediate option).

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• EMT3-T-DC-KIT. Transparent and Functional DC Shunt Excitation Motor-Generator Study Kit.

• EMT3-T. Transparent and Functional DC Shunt Excitation Motor-Generator.

Nominal power: 300 W.

Nominal voltage: 200 VDC.

Nominal current: 1.5 A.

Speed: 3400 rpm.

Shaft height: 71 mm.

• N-VVCC/M. DC Motor Speed Controller Module (intermediate option).

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• EMT4-T-DC-KIT. Transparent and Functional DC Compound Excitation Motor-Generator Study Kit.

• EMT4-T. Transparent and Functional DC Compound Excitation Motor-Generator.

Nominal power: 250 W.

Armature voltage: 200 VDC.

Armature current: 1.5 A.

Excitation current: 0.3 A.

Speed: 3000 rpm.

Shaft height: 71 mm.

• N-VVCC/M. DC Motor Speed Controller Module (intermediate option).

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• EMT5-T-DC-KIT. Transparent and Functional DC Serie/Shunt/Compound Excitation Motor-Generator Study Kit.

• EMT5-T. Transparent and Functional DC Shunt/Series/Compound Excitation Motor-Generator.

Nominal power: 300 W.

Armature voltage: 200 VDC.

Excitation voltage: 230 VDC.

Armature current: 1.5 A.

Excitation current: 0.4 A.

Speed: 3400 / 7500 rpm.

Shaft height: 71 mm.

• N-VVCC/M. DC Motor Speed Controller Module (intermediate option) (2 units).

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• EMT6-T-AC-KIT. Transparent and Functional Independent Excitation 3PH Synchronous Motor-Generator Study Kit.

• EMT6-T. Transparent and Functional Independent Excitation 3PH Synchronous Motor-Generator.

Nominal power: 250 W.

Nominal output voltage: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Speed: 3000 rpm.

Nominal output current: 1 A.

Nominal excitation current: 0.25 A.

Shaft height: 71 mm.

• N-VVCC/M. DC Motor Speed Controller Module (intermediate option).

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• EMT7. 3PH Squirrel-Cage Motor.

Nominal power: 370 W.

Nominal voltage: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Speed: 900 / 1420 rpm.

Nominal current: 1.05 / 1.35 A.

Shaft height: 71 mm.

• N-VVCA/M. AC Motors Speed Controller Module (intermediate option).

ON / OFF switch.

Supply voltage: 230 VAC.

Nominal power: 750 W.

PWM output voltage connections:

Three-phases: 230 VAC.

10 K potentiometer for the induction motor control speed.

Setting and visualization display of the machine parameters.

• N-REFTI. Three-Phase Independent Resistor Module.

Nominal voltage: 400 VAC.

Resistor value: 3 x 150 Ohm.

Nominal power: 3 x 352 W.

Manual commutator to switch ON / OFF the resistors.

Fuses: 3 x 5 A.

Terminals:

Three input terminals (3PH).

Three output terminals (3PH).

• EMT7-T-AC-KIT. Transparent and Functional 3PH Squirrel-Cage Industrial Motor Study Kit.

• EMT7-T. Transparent and Functional 3PH Squirrel-Cage Industrial Motor.

Nominal power: 370 W.

Nominal voltage: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Speed: 900 / 1420 rpm.

Nominal current: 1.05 / 1.35 A.

Shaft height: 71 mm.

• N-ARR01. Manual Star-Delta Starter Module.

Nominal voltage: 400 VAC.

Maximum contacts current: 10 A.

Star-delta three positions commutator:

0: Open circuit.

Y: Star connection.

Δ: Delta connection.

• N-TRANS03. Three-Phase Autotransformer 400/230 VAC, 1 kVA, Module.

Three-phase autotransformer.

Input voltage: 400 VAC (3PH).

Output voltage: 3 x 230 VAC (3PH).

Nominal power: 1 kVA.

Three-phase ON / OFF switch.

Fuses: 3 x 5 A.

• EMT8-T-AC-KIT. Transparent and Functional 3PH Wound Motor Study Kit.

• EMT8-T. Transparent and Functional 3PH Wound Motor.

Nominal power: 300 W.

Nominal voltage: 3 x 230 / 400 VAC Δ/Y.

Frequency: 50 / 60 Hz.

Poles number: 2.

Speed: 2870 rpm.

Nominal current: 1 / 0.5 A.

Shaft height: 71 mm.

• N-TRANS03. Three-Phase Autotransformer  400/230 VAC, 1 kVA, Module.

Three-phase autotransformer.

Input voltage: 400 VAC (3PH).

Output voltage: 3 x 230 VAC (3PH).

Nominal power: 1 kVA.

Three-phase ON / OFF switch.

Fuses: 3 x 5 A.

• N-ARR01. Manual Star-Delta Starter Module.

Nominal voltage: 400 VAC.

Maximum contacts current: 10 A.

Star-delta three positions commutator:

0: Open circuit.

Y: Star connection.

Δ: Delta connection.

• N-REFTI. Three-Phase Independent Resistor Module (3 units).

Nominal voltage: 400 VAC.

Resistor value: 3 x 150 Ohm.

Nominal power: 3 x 352 W.

Manual commutator to switch ON / OFF the resistors.

Fuses: 3 x 5 A.

Terminals:

Three input terminals (3PH).

Three output terminals (3PH).

• EMT9-T-AC-KIT. Transparent and Functional Dahlander Motor, 2 speeds Study Kit.

• EMT9-T. Transparent and Functional Dahlander Motor, 2 speeds.

Nominal power: 370 W.

Nominal voltage: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Poles number: 4.

Speed: 1400 / 2800 rpm.

Nominal current: 1.2 / 1.55 A.

Shaft height: 71 mm.

• N-ARR07. Manual Dahlander Commutator Module, 2 speeds.

Nominal voltage: 400 VAC.

Maximum contacts current: 10 A.

Three positions commutator:

0: Open circuit.

1: Low speed.

2: High speed.

• EMT10-T-AC-KIT. Transparent and Functional 3PH Squirrel-Cage Motor, 2 speeds Study Kit.

• EMT10-T. Transparent and Functional 3PH Squirrel-Cage Motor, 2 speeds.

Nominal power: 240 / 370 W.

Nominal voltage: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Speed: 900 / 1420 rpm.

Nominal Current: 1.05 / 1.35 A.

Shaft height: 71 mm.

• N-ARR09. Manual Independent Windings Commutator Module, 2 speeds.

Nominal voltage: 400 VAC.

Maximum contacts current: 10 A.

Three positions commutator:

0: Open circuit.

1: Winding 1.

2: Winding 2.

• EMT12-T-DC-KIT. Transparent and Functional Universal Motor Study Kit.

• EMT12-T. Transparent and Functional Universal Motor.

Nominal power: 230 W.

Nominal voltage: 110 – 240 VAC / VDC.

Speed: 9000 rpm.

Shaft height: 71 mm.

• N-REV. Single Phase Variable Resistor Module.

Variable resistor: 150 Ohm.

Maximum power: 500 W.

Potentiometer.

Terminals:

Three terminals to choose all resistance or variable resistance.

Fuse: 2 A.

• N-VVCC/M. DC Motor Speed Controller Module (intermediate option).

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• EMT15-T-DC-KIT. Transparent and Functional DC Permanent Magnet Motor Study Kit.

• EMT15-T. Transparent and Functional DC Permanent Magnet Motor.

Nominal power: 300 W.

Nominal voltage: 200 VDC.

Nominal current: 0.5 A.

Speed: 3400 rpm.

Shaft height: 71 mm.

• N-VVCC/M. DC Motor Speed Controller Module (intermediate option).

Supply voltage: 230 VAC.

Variable output voltage: 0 – 300 VDC.

Fuse: 2 A.

• EMT20-T-AC-KIT. Transparent and Functional 1PH Squirrel-Cage Motor with Split Phase Study Kit.

• EMT20-T. Transparent and Functional 1PH Squirrel-Cage Motor with Split Phase.

Nominal power: 370 W.

Nominal voltage: 220 VAC.

Speed: 2780 rpm.

Frequency: 50 Hz.

Armature current: 2.53 A.

Shaft height: 71 mm.

• N-VVCA/M. AC Motors Speed Controller Module (Intermediate option).

ON / OFF switch.

Supply voltage: 230 VAC.

Nominal power: 750 W.

PWM output voltage connections:

Three-phases: 230 VAC.

10 K potentiometer for the induction motor control speed.

Setting and visualization display of the machine parameters.

• EMT21-T-AC-KIT. Transparent and Functional 3PH Reluctance Motor Study Kit.

• EMT21-T. Transparent and Functional 3PH Reluctance Motor.

Nominal power: 300 W.

Nominal voltage: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Speed: 3000 rpm.

Nominal current: 1.4 A.

Shaft height: 71 mm.

• N-VVCA/M. AC Motors Speed Controller Module (Intermediate option).

ON / OFF switch.

Supply voltage: 230 VAC.

Nominal power: 750 W.

PWM output voltage connections:

Three-phases: 230 VAC.

10 K potentiometer for the induction motor control speed.

Setting and visualization display of the machine parameters.

• EMT11-T. Transparent and Functional 1PH Squirrel-Cage Motor with Starting Capacitor.

Nominal power: 370 W.

Nominal voltage: 3 x 230 VAC.

Frequency: 50 / 60 Hz.

Speed: 2780 rpm.

Nominal current: 2.53 A.

Shaft height: 71 mm.

• EMT16-T. Transparent and Functional 1PH Squirrel-Cage Motor with Starting and Running Capacitor.

Nominal power: 370 W.

Nominal voltage: 110 / 220 VAC.

Speed: 2780 rpm.

Frequency: 50 / 60 Hz.

Nominal current: 1.85 A.

Shaft height: 71 mm.

• EMT22-T. Transparent and Functional 1PH Shaded Pole Motor.

Nominal power: 34 W.

Nominal voltage: 230 / 240 VAC.

Frequency: 50 / 60 Hz.

Speed: 1550 rpm.

Shaft height: 71 mm.

Recommended additional elements (Not included):

• FRECP. Eddy Current Brake.

Maximum supply voltage: 60 VDC.

Nominal current: 1.67 A.

Maximum current: 1.8 A.

Maximum braking torque: 1.4 Nm.

Shaft height: 71 mm.

• FRENP. Magnetic Powder Brake.

Nominal torque: 5 Nm.

Maximum power dissipation: 100 W.

Maximum output current adjustment.

Operating modes “freewheel “ and “blocking”.

Nominal voltage: 24 VAC / VDC.

Maximum output current: 2 A.

Output load (resistor): 4 – 20 Ohm.

Maximum power consumed: 70 W.

Remote voltage control: 0 – 10 VDC.

Weight: 4 Kg.

• FRE-FE. Electronic Brake.

The electronic brake is a unit that allows the braking torque of a motor to be regulated.

The unit is composed of two main elements:

Control module:

Front panel:

Braking torque control.

ON / OFF switch.

Electrical parameters indicator.

Display manipulation: Key “FUNC / DATA”. Keys “RUN” / “STOP”.

Forward / reverse switch.

Braking motor mounted on a bench-support.

Cable to connect the two elements.

Power: 370 W.

Armature voltage: 220 / 240 VDC.

The motor braking torque is controlled by a control potentiometer located on the front of the control module.

The direction of the braking motor is controlled by a switch located on the front panel of the control module.

In addition, the user will be able to visualize on a display various electrical parameters (such as: current, frequency, active power, etc.).

• FREPR. Prony Brake.

Two dynamometers: 50 N.

Rotating wheel for braking torque regulation.

Aluminum pulley brake.

External diameter: 136 mm.

Throat diameter: 125 mm.

Leather strap.

Shaft height: 71 mm.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Rack: - Dimensions: 640 x 320 x 920 mm approx. (25.19 x 12.59 x 36.22 inches approx.) - Weight: 35 Kg approx. (77 pounds approx.)

Motors: - Dimensions: 330 x 400 x 300 mm approx. (12.99 x 15.74 x 11.81 inches approx.) - Weight: 5 Kg approx. (88 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

Some practical possibilities with Transparent and Functional DC Independent Excitation Motor-Generator Study Kit (EMT1T-DC-KIT).

1.- Wiring and starting of DC independent excitation motor.

2.- Study of the control parameters of DC current motors.

3.- Visualization of the rotor rotating.

4.- Visualization of the internal elements of the motor.

5.- Usage of the stroboscope for the static visualization of the rotor.

6.- DC machine turning direction control.

7.- Excitation current control.

Some practical possibilities with Transparent and Functional DC Series Excitation Motor-Generator Study Kit (EMT2T-DC-KIT).

8.- Wiring and starting of DC independent excitation motor.

9.- Study of the control parameters of DC current motors.

10.- Visualization of the rotor rotating.

11.- Visualization of the internal elements of the motor.

12.- Usage of the stroboscope for the static visualization of the rotor.

13.- DC machine turning direction control.

14.- Excitation current control.

Some practical possibilities with Transparent and Functional DC Shunt Excitation Motor-Generator Study Kit (EMT3-T-DC-KIT).

15.- Wiring and starting of DC independent excitation motor.

16.- Study of the control parameters of DC current motors.

17.- Visualization of the rotor rotating.

18.- Visualization of the internal elements of the motor.

19.- Usage of the stroboscope for the static visualization of the rotor.

20.- DC machine turning direction control.

21.- Excitation current control.

Some practical possibilities with Transparent and Functional DC Compound Excitation Motor-Generator Study Kit (EMT4-T-DC-KIT).

22.- Wiring and starting of DC independent excitation motor.

23.- Study of the control parameters of DC current motors.

24.- Visualization of the rotor rotating.

25.- Visualization of the internal elements of the motor.

26.- Usage of the stroboscope for the static visualization of the rotor.

27.- DC machine turning direction control.

28.- Excitation current control.

Some practical possibilities with Transparent and Functional DC Serie/Shunt/Compound Excitation Motor-Generator Study Kit (EMT5-T-DC-KIT).

29.- Wiring and starting of DC independent excitation motor.

30.- Study of the control parameters of DC current motors.

31.- Visualization of the rotor rotating.

32.- Visualization of the internal elements of the motor.

33.- Usage of the stroboscope for the static visualization of the rotor.

34.- DC machine turning direction control.

35.- Excitation current control.

Some practical possibilities with Transparent and Functional Independent Excitation 3PH Synchronous Motor-Generator Study Kit (EMT6-T-AC-KIT).

36.- Checking the main power supply.

37.- Wiring and starting the AC synchronous motor.

38.- Visualization of the rotor rotating.

39.- Visualization of the internal elements of the motor.

40.- Usage of the stroboscope for the static visualization of the rotor.

41.- Study of drop voltage of synchronous motor with load.

Some practical possibilities with Transparent and Functional 3PH Squirrel-Cage Industrial Motor Study Kit (EMT-7-T-AC-KIT).

42.- Checking the main power supply.

43.- Wiring and starting the three-phase asynchronous motor of squirrel cage.

44.- Visualization of the rotor rotating.

45.- Visualization of the internal elements of the motor.

46.- Usage of the stroboscope for the static visualization of the rotor.

47.- Manual reversing operations of the three-phase asynchronous motor of squirrel cage.

Some practical possibilities with Transparent and Functional 3PH Wound Motor Study Kit (EMT8-T-AC-KIT).

48.- Checking the main power supply.

49.- Wiring and starting the three-phase asynchronous motor of wound rotor.

50.- Visualization of the rotor rotating.

51.- Visualization of the internal elements of the motor.

52.- Usage of the stroboscope for the static visualization of the rotor.

53.- Manual reversing operations of the three-phase asynchronous motor of wound rotor.

Some practical possibilities with Transparent and Functional Dahlander Motor, 2 speeds Study Kit (EMT9-T-AC-KIT).

54.- Checking the main power supply.

55.- Wiring and starting the three-phase dahlander motor tor.

56.- Visualization of the rotor rotating.

57.- Visualization of the internal elements of the motor.

58.- Usage of the stroboscope for the static visualization of the rotor.

59.- Manual reversing operations of the three-phase Dahlander motor rotor.

60.- Manual speed variation of a Dahlander motor.

Some practical possibilities with Transparent and Functional 3PH Squirrel-Cage Motor, 2 Speeds Study Kit (EMT10-T-AC-KIT).

61.- Checking the main power supply.

62.- Wiring and starting the asynchronous three-Phase motor of two independent speeds.

63.- Visualization of the rotor rotating.

64.- Visualization of the internal elements of the motor.

65.- Usage of the stroboscope for the static visualization of the rotor.

66.- Manual reversing operations of the asynchronous three-phase motor of two independent speeds.

67.- Manual speed variation of an Asynchronous three-phase motor of two independent speeds.

Some practical possibilities with Transparent and Functional 1PH Squirrel-Cage Motor with Starting Capacitor (EMT11-T).

68.- Checking the main power supply.

69.- Wiring and starting the Asynchronous single-phase motor with starting capacitor.

70.- Visualization of the rotor rotating.

71.- Visualization of the internal elements of the motor.

72.- Usage of the stroboscope for the static visualization of the rotor.

73.- Manual reversing operations of the asynchronous single-phase motor with starting capacitor.

Some practical possibilities with Transparent and Functional Universal Motor Study Kit (EMT12-T-DC-KIT).

74.- Checking the main power supply.

75.- Wiring and starting the universal motor.

76.- Visualization of the rotor rotating.

77.- Visualization of the internal elements of the motor.

78.- Usage of the stroboscope for the static visualization of the rotor.

79.- Manual reversing operations of the universal motor.

Some practical possibilities with Transparent and Functional DC Permanent Magnet Motor Study Kit (EMT15-T-DC-KIT).

80.- Wiring and starting of Permanent Magnet DC Motor.

81.- Study of the control parameters of permanent magnet DC motor.

82.- Visualization of the rotor rotating.

83.- Visualization of the internal elements of the motor.

84.- Usage of the stroboscope for the static visualization of the rotor.

85.- Permanent Magnet DC Motor turning direction control.

86.- Excitation current control.

Some practical possibilities with Transparent and Functional 1PH Squirrel-Cage Motor with starting and running capacitor (EMT16-T).

87.- Checking the main power supply.

88.- Wiring and starting the asynchronous single-phase motor with starting and running capacitor.

89.- Visualization of the rotor rotating.

90.- Visualization of the internal elements of the motor.

91.- Usage of the stroboscope for the static visualization of the rotor.

92.- Manual reversing operations of the asynchronous single-phase motor with starting and running capacitor.

Some practical possibilities with Transparent and Functional 1PH Squirrel-Cage Motor with split phase Study Kit (EMT20-T-AC-KIT).

93.- Checking the main power supply.

94.- Wiring and starting the asynchronous single-phase motor with split phase.

95.- Visualization of the rotor rotating.

96.- Visualization of the internal elements of the motor.

97.- Usage of the stroboscope for the static visualization of the rotor.

98.- Manual reversing operations of the asynchronous single-phase motor with split phase.

Some practical possibilities with Transparent and Functional 3PH Reluctance Motor Study Kit (EMT21-T-AC-KIT)

99.- Checking the main power supply.

100.- Wiring and starting the three-phase reluctance motor.

101.- Visualization of the rotor rotating.

102.- Visualization of the internal elements of the motor.

103.- Usage of the stroboscope for the static visualization of the rotor.

104.- Manual reversing operations of the three-phase reluctance motor.

Some practical possibilities with Transparent and functional 1PH Shaded Pole Motor (EMT22-T).

105.- Checking the main power supply.

106.- Wiring and starting the single-phase shaded pole motor.

107.- Visualization of the rotor rotating.

108.- Visualization of the internal elements of the motor.

109.- Usage of the stroboscope for the static visualization of the rotor.

110.- Manual reversing operations of the single-phase shaded pole motor.

Optional

AEL-FTM/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.