TENDER SPECIFICATIONS

• N-VPS01. AC 3PH Variable Power Supply.

ON-OFF removable key.

Input Voltage: 400 VAC, 3PH+N.

Output Voltage:

0…450 VAC.

0…240 VDC.

Maximum current: 2A.

Frequency: 50/60 Hz.

Wheel to regulate the voltage.

Three lamps.

Measurement commutators:

One commutator to measure the voltage:

6 positions: L1-N ; L2-N ; L3-N ; L1-L2 ; L1-L3 ; L2-L3.

One commutator to measure the current:

3 positions: L1, L2, L3.

Three-Phase supply hose with IP44 3PN+E 32A 400V connecting plug.

Differential magnetothermal, 4 poles, 25A, 300mA AC 6KA.

• N-AE1/1K. 1KVA Transmission Line Simulator Module.

Phase Resistance: 4 Ohm; 8 Ohm.

Phase Inductance: 125mH 250mH.

Phase Capacity:

Line-to-line: 2 x 100nF; 175nF.

Line-to-ground: 2 x 0,4µF; 0,8µF.

Maximum power: 1kVA.

Nominal Voltage: 3 x 400V; 50/60Hz.

Maximum Current: 4,5 A.

• N-DCTL1. Outgoins DC Transmission Line.

This module consists of  an inverter station which converts AC voltage from the grid  into DC voltage. After this, the energy is transported through a DC transmission line and another inverter station converts from DC to AC.

DC link circuit voltage adjustable up to 730 VDC.

Supply voltage: 3x400VAC 50/60Hz.

• N-DCTL2. Ingoins DC Transmission Line.

This module consists of an inverter station which converts DC voltage from the DC BUS into AC voltage. After this, the energy is transported through three-phase transmission lines or consumed by different three-phase loads.

DC link circuit voltage adjustable up to 730 VDC.

Supply voltage: 3x400VAC 50/60Hz.

• N-REVT/1K. 1kW Three-Phase Variable Resistors Module.

Parallel, series, star and delta connection.

Resistance: 3 x 750 Ohm.

Current: 3 x 2 A.

• N-FRT. Fault Ride Through Module.

This module simulates different faults in the transmission lines:

Investigating the response of wind power plants to system faults.

Exploring symmetrical fault scenarios.

Exploring asymmetrical fault scenarios.

Adjusting controller parameters.

The grid fault simulator has the following features:

Adjustable power failure durations from 50ms to 500ms.

4-level, adjustable voltage drop for all phases.

Symmetrical and asymmetrical grid faults can be set up.

Adjustable start angle fault-ride-through analysis.

Touch screen display.

Connector voltage: 3 x 400V, 50...60Hz.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions:  1380 x 840 x 2010 mm approx. (54.33 x 33.07 x 79.13 inches approx.)  - Weight: 40 Kg approx. (88 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of power losses in DC Transmission Lines according to different length lines.

2.- Advantages of High Voltage DC Transmission Lines.

3.- Relation between length of line and costs in AC and DC lines.

4.- Measurement of every losses with different load consumption.

- Several other exercises can be done and designed by the user.

Optional

AEL-HVDC/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.