TENDER SPECIFICATIONS

The “AEL-KNX-HVAC” unit includes the following elements:

• N-KNX1. KNX/EIB Heating Actuator Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX17. N-KNX17. KNX/EIB Movement Sensor Module.

Movement sensor for bus system KNX.

Max. transmission range frontally 7 m.

Number of channels: 1.

• N-KNX29. KNX/EIB Temperature Sensor Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Range measurement: 0 – 40 °C (approx.).

• N-KNX33. KNX/EIB Window/Door Contact Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Additional recommended elements (Not included):

• EH-KNX. Electric Heating Unit with Remote Control 0 – 10 V.

Nominal voltage: 230 VAC.

Thermal resistance: 700 W.

Manual ON/OFF switch.

NTC temperature probe.

230 VAC fan.

• N-KNX10. KNX/EIB Energy Meter Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

This module allows measure:

Active power.

Active energy.

Current.

Voltage.

• N-VVCA. Advanced AC Motor Speed Controller Module.

Supply voltage: 230 VAC.

Nominal power: 0.75 kW.

PWM output voltage connections:

Three-Phases: 230 VAC.

Digital inputs control panel: 5 configurable digital inputs.

Analog inputs control panel:

0 – 10 V analog input for speed control.

4 – 20 mA analog input for speed control.

0 K, potentiometer for the induction motor control speed.

Two relay outputs for alarms configuration: 2 outputs NO/NC.

50 mA, two transistor outputs for alarms configuration.

Setting and visualization display of the machine parameters.

Required elements (Not included):

• AEL-KNX-UB. AEL-KNX Base Unit.

• N-KNX34. KNX/EIB USB Programming Interface Module.

Power supply: KNX line, 21…30 VDC.

Current consumption (max.): < 5 mA.

USB connection: USB2.0 connector.

• N-KNX18. KNX/EIB Power Supply Module.

Power supply: 230 VAC.

Maximum load: 640 mA.

Output voltage: 24 VDC.

• N-KNX4. KNX/EIB Binary Input Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX5. KNX/EIB Binary Output Module. (2 units).

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX30. Módulo de Panel Táctil KNX/EIB.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX35. KNX/EIB Infrared Transmitter/Receiver Module.

The IR remote is powered by two batteries of type alkaline (LR03/AAA; 1,5V).

Normal functions:

Switching.

Switching and dimming.

Control of blinds.

• MED65. Digital Multimeter.

Digital multimeter with 3 ½ digits, with 4 mm double connector termination cables to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.)  - Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Basic Integration of the HVAC System: connection and configuration of the power supply and application of wiring techniques to ensure a safe installation.

2.-	Connection of the KNX Room Controller: integration of the KNX room controller for centralized climate control, configuration of functions and temperature parameters.

3.-	Connection of the Temperature and Presence Sensor: connection and integration of the KNX temperature and presence sensor, programming for automatic adjustment of the climate control according to the ambient conditions.

4.-	KNX Fan Coil Control: connection and configuration of the KNX four-pipe and two-pipe fan coil controller, setting of ventilation and temperature parameters.

5.-	Room Temperature Simulation with Integrated Potentiometer: use of the potentiometer for the simulation of temperature variations. Evaluation of the response of the HVAC system to simulated changes. Use of 0-10V analog voltmeters for monitoring air conditioning control signals.

6.-	Adjusting Temperature Parameters from the Touch Screen Controller: making adjustments to climate control parameters from the touch screen controller. Exploration of advanced functions and configuration of scenarios.

Creating Projects in ETS and Topology Definition:

7.-	Creation of a New Project in ETS: development of a new project from scratch with the ETS software and definition of general characteristics and establishment of basic topology of the KNX system.

8.-	Bus Topology Definition: configuration of the KNX bus topology, identification of devices and establishment of physical addresses.

9.-	Physical Address Assignment: assignment of physical addresses to KNX devices in the project and following of addressing standards and recommendations.

10.-	Topology Verification: verification of configuration consistency and compliance with KNX system requirements.

KNX Device Diagnostics:

11.-	Use of Diagnostic Tools: use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

12.-	Communication Testing: performing communication tests between KNX devices and the bus and identification and resolution of possible connection problems.

13.-	Telegram Analysis: analysis of telegrams sent and received by KNX devices, identification of possible errors or interferences in the network.

14.-	Troubleshooting: diagnosis and resolution of configuration or connection errors in KNX devices and use of diagnostic tools available in the ETS software.

15.-	Event Logging: use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

Additional practice with the recommended modules EH-RC, N-KNX10, N-VVCA:

16.-	Actual temperature control of the heating unit. Connection of the control signals from the fan coil module to the frequency converter, connection of the frequency converter to the fan, connection of the temperature sensor to the input terminals of the fan coil controller. Commissioning the system and setting the control parameters.

17.-	Measurement of energy consumption of electric heating and programming of conditions according to consumption.

Optional

AEL-KNX-HVAC/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.