TENDER SPECIFICATIONS (for main items)

1 AEL-MEPD-01. UNIT.

• N-ALI12. Power Supply Module with Phase Sensor 3PH+N/400 VAC.

Supply voltage: 400 VAC, 3PH + N.

ON / OFF removable key.

Verification of phase sequence.

Output voltage connections:

Three-Phase + Neutral: 400 VAC and Single-Phase: 230 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

• N-BUS10. Busbar with Two Switches and Feeder Module. (2 units)

Nominal voltage: 230 VAC.

Two busbar connection terminals.

Three feeder terminals.

Five indicator lamps:

Status lamp.

Blocked KM1 lamp.

Blocked KM2 lamp.

KM1 state indicator lamp.

KM2 state indicator lamp.

Four push buttons:

Open KM1 push button.

Close KM1 push button.

Open KM2 push button.

Close KM2 push button.

Voltage detector lamp:

Nominal voltage: 400 VAC.

Two circuit breakers.

• N-BUS11. Busbar with Link Switch Module. (4 units)

Nominal voltage: 230 VAC.

Two busbar connection terminals.

One switch to enable synchronization.

Four indicator lamps:

Status lamp.

Blocked KM1 lamp.

Checking phases lamp.

KM1 state indicator lamp.

Two push buttons:

Open KM1 push button.

Close KM1 push button.

Two voltage detector lamps:

Nominal voltage: 400 VAC.

Circuit breaker.

Two auxiliary contacts:

Normally open contact.

Normally closed contact

• N-BUS12. Busbar with Dual Feeder and Switches Module. (4 units)

Nominal voltage: 230 VAC.

Two busbar connection terminals.

Two feeder terminals.

Five indicator lamps:

Status lamp.

Blocked KM1 lamp.

Blocked KM2 lamp.

KM1 state indicator lamp.

KM2 state indicator lamp.

Four push buttons:

Open KM1 push button.

Close KM1 push button.

Open KM2 push button.

Close KM2 push button.

Voltage detector lamp:

Nominal voltage: 400 VAC.

Two circuit breakers.

• N-EALD/M. Power Network Analyzer with Modbus TCP/IP Module. (5 units)

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and current THD, TDD and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and current THD, current TDD and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

MODBUS TCP/IP communication.

• N-ERP-PGC03. Power Generation, Control, Measurement, and Protection Module. (2 units)

Three-phase wattmeter:

Measured range: 0 – 1.5 kW.

Three-phase varmeter:

Measured range: 0 – 1.5 KVAr.

Voltmeter:

Measured range: 0 – 500 V.

Frequency meter:

Measured range: 45 – 55 Hz.

DC meter:

Measured range: 0 – 10 A.

Generator protection relay module.

Single-phase supply voltage: 230 VAC.

“Island grid/parallel grid” control switch.

“Local/remote” control switch.

Manual control switches of the relay:

SW1, emergency stop.

SW2, automatic start of the generator-motor group.

SW3, protections reset pushbutton.

SW4, generator frequency control activation.

SW5, 52 G1 synchronization circuit breaker closure manual permission.

State light indicators.

Alarm light indicators.

Synchronization safety key.

Emergency stop pushbutton.

ON / OFF switch.

Connection terminals.

The “N-ERP-PGC-03” Turbine Protection and Control Module:

Enables to connect up to 16 generators in parallel-island with distribution of active and  reactive  load and start/stop operation control in function of the load demand.

Enables to connect one generator in parallel with the grid.

Enables different switches control modes, such as opening, closing and synchronization.

Includes analogical outputs to control voltage and frequency regulators available in the market.

Three-phase measurement of the grid and generator voltage.

Three-phase measurement of the generator current and power.

Single-phase measurement of the grid current.

Protections:

Generator protections: max/min. voltage (59/27), max/min. frequency (81O/U), voltage asymmetry, dead bus detection, overload (32), unbalance load (46/F), reverse power/reduce (32R/F), overcurrent time define curve (50/51), inverse time overcurrent (IEC255), fault ground (50N/51N), phases, breakers fault.

Motor: over/sub speed (12).

Mains: max/min. voltage (59/27), max/min. frequency (81O/U), vector surge.

• GEC-KIT-1. Generator Excitation Circuit Kit 1. (2 units)

• N-AVR/P. Automatic Voltage Regulator Module. (2 units)

Input voltage: 0 – 100 VDC.

Input for voltage regulation signal through PWM control.

Terminals for PWM signals monitoring.

Output voltage: 0 – 100 VDC.

DC ammeter for output current measurement, 0 – 4 A.

3-pin female connector for connection to the excitation input of a generator.

Fuse 5 A.

• N-TRANS04. Single-Phase Transformer Module 230 VAC/2x35 VAC, 300 VA. (2 units)

230 VAC single-phase input terminals.

70 VAC single-phase output terminals.

35 VAC single-phase output terminals for two outputs.

Two-position switch: 0 (open)/1 (closed).

Fuses:

Primary side: 2 A.

Secondary side: 5 A.

• N-SPAD01. Single-Phase AC/DC Converter Module 1. (2 units)

0 – 230 VAC single-phase input terminals.

AC/DC rectifier.

DC output terminals.

Filter capacitor for voltage ripple reduction.

Bypass terminals for filter capacitor connection.

Fuse 5 A.

• GMG4.5K3PH. 4.5 kW Generator-Motor Group. (2 units)

Motor-generator group coupled in an aluminum frame with wheels.

Generator nominal power: 4.5 kVA.

Generator nominal speed: 3000 rpm.

Generator nominal output current: 6.5 A.

Generator nominal excitation current: 4 A.

Generator power factor: 0.8.

Generator nominal output voltage: 3 x 400 VAC.

Frequency: 50/60 Hz.

Motor nominal power: 5 kVA.

Motor nominal current: 7.2 A.

Motor nominal speed: 3000 rpm.

• N-REFT-E/1K. Adjustable Three-Phase Resistive Electronic Load Module of 0-1000 W.

Power consumed:

0 – 1000 W.

Six 10 A fuses.

One circuit breaker:

Nominal voltage: 230 VAC.

Nominal current: 9 A.

One resistor:

330 ohms.

Two yellow voltage detectors:

Nominal voltage: 400 VAC.

• N-INDT-E/1K. Three-Phase Inductive Electronic Load Module of 3X300 Var.

Power consumed:

Three inductance banks of 300 Var each one.

Six 10 A fuses.

Three circuit breakers:

Nominal voltage: 230 VAC.

Nominal current: 9 A.

Three inductance banks:

3 x 5 H inductances.

Two yellow voltage detectors:

Nominal voltage: 400 VAC.

• N-REF-E/300W. Single-Phase 300W Resistive Electronic Load Module.

Line terminal of the resistor.

Circuit breaker with its lamp indicator.

150 Ohms and 300 W resistor.

Neutral terminal of the resistor.

Selector:

Position OFF: circuit opened.

Position ON: circuit closed.

Two 2 A fuses and one 5 A fuses.

Over temperature indicator.

Status indicator.

• N-SEL04. Four Light Indicator Module.

Two red lamps:

Input voltage: 2 terminals for each lamp of 230 VAC.

Two green lamps:

Input voltage: 2 terminals for each lamp of 230 VAC.

• N-UPS-1PH/2K. 1PH Uninterruptible Power Supply of 2 kVA Module.

Nominal voltage: 230 VAC.

2 voltage detector lams.

Nominal voltage: 230 VAC.

UPS:

Nominal voltage: 208 / 220 / 230 / 240 V.

Nominal frequency: 50 / 60Hz (auto-detection).

Frequency range: ± 5 Hz.

Total Harmonic Distortion (THDv):<2% linear load / <5% non-linear load.

Waveform (battery mode): Pure sinusoidal.

• SHPR/2K. Set for Ship Propulsion of 2.2 kW. (2 units).

Frequency drive:

Input voltage: Three phase 400 VAC.

Rated power: 3 kW.

Blower pump:

Nominal power: 2200 W.

Nominal voltage: 380 VAC.

Maximum air pressure: 36 kpa.

Maximum suction pressure: 33 m³/h.

Noise: 70 dB.

Conduct diameter: 60 mm.

Weight: 36 Kg.

Engineguard:

Protection range: 2.4 A – 4 A.

• AEL-PC. Touch Screen and Computer.

Touch screen:

Energy efficiency class: A.

Screen diagonal: 68.6 cm (27 inch (s)).

Power consumption (operating): 26 watts.

Annual energy consumption: 38 kWh.

Power consumption (standby/off): 0.49 watts.

Screen resolution: 1920 x 1080 pixels.

Computer:

Processor number: Intel Core i7-6600U Processor (4M Cache, up to 3.40 GHz).

Cache: 4 MB Intel Smart Cache.

Clock speed: 2.6 GHz.

# Of cores/# of threads: 2/4.

Max. TDP/Power: 15 W.

Memory types: DDR4-2133, LPDDDR3-1866, DDR3L-1600.

Graphics: Intel HD graphics 530.

Slot for PCI Express.

Required elements (Not included):

• AEL-WBMG. Electrical Workbench (Mobile Big). (2 units)

Anodized aluminum structure.

Melamine board, 19 mm.

Four wheels for an easy movement of the bench, two of them with safety brakes.

Fluorescent tube, 58 W.

ON / OFF selector switch.

Dimensions: Height 2000 mm (78,74016 inches), width 2000 (78,74016 inches) depth 600 mm (23,622 inches).

• All necessary cables to realize the practical exercises are included.

The complete unit includes as well:

Realistic modeling of shipboard power generation, distribution, and load management.

Real-time control of ship propulsion using frequency drives.

Real-time visualization of power system behavior and dynamic load adjustments.

Built-in protections against overload, voltage imbalances, and phase faults.

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user, as well as remote support from EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 AEL-MEPD-01/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

3 Cables and Accessories, for normal operation.

4 Manuals:

This unit is supplied with 8 manuals: Required services, Assembly and Installation, Control software, Starting-up, Safety, Maintenance, Calibration & Practices manuals.

*	References 1 to 4 are the main items: AEL-MEPD-01 + AEL-MEPD-01/CIB + DAB + AEL-MEPD-01/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Main bus and ring configuration distribution system wiring.

2.- Circuit breaker maneuvers in ship distribution systems using local controls.

3.- Circuit breaker maneuvers in ship distribution systems using SCADA.

4.- Power flow study of ring topology under shore power conditions.

5.- Monitoring and adjusting ship power demand in real time.

6.- Study of the impact of different electrical loads (resistive and inductive)

7.- Response of the electrical system to circuit breaker openings under fault conditions.

8.- Start-up of a turbine-generator set.

9.- Study of voltage regulation/excitation and frequency control in synchronous generator.

10.- Analysis of propulsion systems  and performance evaluation using Wageningen series.

11.- Analyzing of power curves to optimize energy efficiency during cruising.

12.- Study of the electric system behavior with two generators in island mode.

13.- Synchronization and decoupling of two generators.

14.- Operation of ship’s electrical system with two generators operating in parallel.

15.- Study of the automatic load sharing in ship power systems.

16.- Coupling of ship’s electrical system to shore power during docking process.

17.- Load transfer from shore power to onboard generation during casting off process

18.- Operation of a ship’s electrical system with two generators running in parallel with shore power.

19.- Study of blackout in ship power systems.

20.- Emergency power requirements during a blackout or system failure until recovery using an interruptible power supply.

Other possibilities to be done with this unit:

21.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

22.- Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

23.-The Computer Control System with SCADA allows a real industrial simulation.

24.-This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

25.-This unit can be used for doing applied research.

26.-This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

- Several other exercises can be done and designed by the user.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

5 AEL-MEPD-01/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

b) Multipost Expansions options

6 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.