COMPLETE CONFIGURATIONS

AEL-MPSS-01C. Smart Grid Power Systems, Renewable Energies and Diesel Engine with Protection Relays, 5kW.

AEL-MPSS-02C. Smart Grid Power Systems, Renewable Energies with Protection Relays, 5kW.

AEL-MPSS-03C. Smart Grid Power Systems and Protection Relays, 5kW.

AEL-MPSS-04C. Smart Grid Power Systems, 5kW.

CUSTOM MADE CONFIGURATIONS

AEL-MPSS/G. Modular Smart Grid Power Generation Application, 5kW.

AEL-MPSS/T. Modular Smart Grid Power Transmission Application, 5kW.

AEL-MPSS/DL. Modular Smart Grid Power Distribution and Loads Application, 5kW.

COMPLETE CONFIGURATIONS

AEL-MPSS-01C.

SMART GRID POWER SYSTEMS, RENEWABLE ENERGIES AND DIESEL ENGINE WITH PROTECTION RELAYS, 5KW

TENDER SPECIFICATIONS (for main items)

1 AEL-MPSS-01C. Unit:

The “AEL-MPSS-01C” includes the following elements: “a”, “b”, “c”, “d”:

a) POWER GENERATION INCLUDED ELEMENTS:

N-ALI01. Industrial Main Power Supply:

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-PPIM2. Instrumentation Module 2.

Three-Phase wattmeter:

Measured range: 0 - 5 kW.

Three-Phase varmeter:

Measured range: 0 - 5 kVar.

Voltmeter:

Measured range: 0 - 500 VAC.

Frequency meter:

Measured range: 45 - 55 Hz.

DC meter:

Measured range: 0 - 5 A.

N-PSUB3. Power Generation Substation Module 3.

Supply voltage: 400 VAC, 3PH+N.

ON/OFF switch.

Power and signals connection:

Auxiliary connection.

Three-phase turbine supply hose with IP44 3PN+E 32A 400V connecting plug.

Three-phase generator supply hose with IP44 3PN+E 32A 400V connecting plug.

Three switches to choose between the different modes:

Local and remote control mode.

Manual and automatic speed control.

Manual and automatic excitation control

Three control switches to:

Start and stop the turbine.

Give permission to synchronize the generator with the grid.

Give permission to close 52NET circuit breaker.

Two potentiometers to regulate:

Turbine speed.

Generator excitation.

Emergency stop button.

Two circuit breakers for synchronization and stand-alone operations.

Different terminals to measure.

Ethernet connection: RJ45 communication port for SCADA remote control.

Automatic speed and voltage controller (easygen):

Enables to connect up to 16 electric generators in parallel-island with distribution of active and reactive load and start/stop in function of the load demand.

Enables to connect a generator in parallel with the grid.

Enables different switches control modes, such as opening, closing and synchronization.

Analogical outputs to control voltage and frequency regulators.

Three-phase measurement of the grid and the generator voltage.

Three-phase measurement of the generator intensity and power.

Single-phase measurement of the grid intensity.

Protection system.

Generator:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), voltage asymmetry, detection of dead busbars, overvoltage (32), load unbalance (46), negative sequence power/reduced power (32R/F), overcurrent by defined curve (50/51), inverse time overcurrent (IEC255), measured ground fault (50N/51N), phase rotation, switches faults.

Network:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), vector jump, phase rotation.

Six alarms:

Alarm 1: Reverse power.

Alarm 2: Overcurrent.

Alarm 3: Over/undervoltage.

Alarm 4: Inverse time overcurrent.

Alarm 5: Over/under frequency.

Alarm 6: Shutdown alarms.

Four operation signals:

Ready for operation.

Start request.

Synchronization conditions.

Permission for synchronization.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

TRANS3/5KGR. Grid Transformer, 400/400 VAC, 5 kVA.

5KVA Three-Phase Grid transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

TRANS3/5KSU. Three-Phase step-up Transformer, 400/400 VAC, 5 kVA.

5KVA Step-Up transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

GMG4.5K3PH. 4.5 kW Generator-Motor group.

Generator-Motor group coupled in an aluminum frame with wheels.

Rated power of the generator: 4.5 KVA.

Stator nominal: 6.5 A.

Excitation nominal: 4 A.

RPM: 3000 rpm.

Motor rated power I: 5 KVA.

Nominal I: 7.2 A.

Protection Relays for Power Generation:

- N-ERP-PDF01. Differencial Protection Relay Module.

Differential Protection Relay.

Power supply: 230 VAC.

Eight overcurrent elements for winding 1:

Phase: Instanteneous 50P1H, Define time 50P1, Inverser time 51P1.

Negative Sequence: Define time 50Q1, Inverser time 51Q1.

Residual: Instanteneous 50N1H, Define time 50N1, Inverser time 51N1.

Eight overcurrent elements for winding 2:

Phase: Instanteneous 50P2H, Define time 50P2, Inverser time 51P2.

Negative Sequence: Define time 50Q2, Inverser time 51Q2.

Residual: Instanteneous 50N2H, Define time 50N2, Inverser time 51N2.

Selogic Control Equations.

Event Reports.

ASCII. Binary, and Distributed Port Switch Communications.

Phase, Ground, Negative-Sequence, Differential and Harmonic Metering.

Restrained and Unrestrained Differential Elements.

Second- and Fourth Harmonic Restraint.

Fifth-Harmonic and DC Blocking.

CT and Transformer Connection Compensation.

Accuracy: +- 5%.

Current: 5 A (A. C.)

Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

- N-ERP-SFT01. Overcurrent and Earth Fault Protection Relay Module.

Overcurrent protection relay module.

Power supply: 230 VAC.

TRIP indicator lamps.

Overcurrent and Earth fault protection.

Communications connector DB9 RS-232.

Signals connector SUB-D 62 pin.

ON-OFF Switch.

Terminal connections.

Characteristics:

Phase, ground and negative sequence overcurrent protection.

Time-Overcurrent curves of US and IEC.

Reclosing relays of multiple trips with sequence coordination.

SELOGIC® enhanced control equations to develop traditional or advanced schemes.

Logic of local / remote control to change the schemes, operating circuit breakers, etc.

Recorder of the sequence of events (SER) and reports of events stored in nonvolatile memory.

Supports ASCII, SEL LMD, and Modbus RTU protocols.

- N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA remote control.

- N-PSM. Power Switch Module (2 units).

Supply voltage: single-phase 230 VAC.

Power terminals:

Four power input terminals (3PH+N).

Four power output terminals (3PH+N).

Auxiliary contacts:

One “NO” contact.

One “NC” contact.

Two push-buttons to open / close the power terminals and auxiliary contacts.

Two control contacts of 24 VDC.

Two voltage supply outputs of 24 VDC.

AEL-PC. Touch Screen and Computer.

Touch Screen:

Energy efficiency class: A.

Screen diagonal: 68.6 cm (27 inch (s)).

Power consumption (operating): 26 watts.

Annual energy consumption: 38 kWh.

Power consumption (standby / off) 0.49 watts.

Screen resolution: 1920 x 1080 pixels.

Computer:

Processor Number: Intel Core i7-6600U Processor (4M Cache, up to 3,40 GHz).

Cache: 4 MB Intel Smart Cache.

Clock speed: 2.6 GHz.

# Of Cores/# of Threads: 2/4.

Max. TDP/Power: 15 W.

Memory Types: DDR4-2133, LPDDR3-1866, DDR3L-1600.

Graphics: Intel HD 530.

AEL-WBMG. Electrical Workbench (Mobile Big).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 2000 mm, depth 600 mm.

Computer Control + Data Acquisition + Data Management Software of Smart Grid Power Systems.

Note: Other Generation applications included (see “d”).

b) POWER TRANSMISSION INCLUDED ELEMENTS

N-ALI01. Industrial Main Power Supply.

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

N-AE1CD. Transmission Lines Simulation Digital Unit (2 units).

Power supply voltage: 230 VAC +GND.

Line Voltages: 400 VAC + N.

Three-phase line with variable parameters.

Concentrated parameters line.

Two capacitances Banks between line and ground composed

by three capacitances of 2 μF.

Resistance of the line that can be wired independently:

One resistor of 15 Ω.

One resistor of 33 Ω.

Inductance of the line with several values: 32 mH, 72 mH.

Neutral resistor of 15 Ω.

Fuse: 1 A.

N-REG16. Voltage Regulation Module 1.

230 VAC+GND Power Supply terminals.

24 VDC output terminal.

24 VDC input terminal (up voltage).

24 VDC input terminal (down voltage).

Slide commutator with three positions.

Power connector. Signal connector.

Fuses: 3 x 10 A.

Input power terminals: Power input connections: L1, L2, L3, N.

Output power terminals: Power output connections: L1, L2, L3, N.

Ground Terminal.

TRANS3/5KRM. Three-Phase Autotransformer with Motor Voltage Regulator, 400/400 VAC, 5 kVA.

5 KVA distribution autotransformer.

Rated power: 5 KVA.

Voltage in primary winding: 400 VAC star.

Voltage in secondary winding: 400 VAC delta.

Signal connection to receive step up and down signals from the voltage regulator module.

Protection Relays for Transmission Lines:

- N-ERP-PD01. Distance Protection Relay Module.

It is used to enable investigations into protection and monitoring of overhead transmission lines and underground cables. It enables a wide range of test and investigations and it

demonstrates the latest relay technology.

Modern industrial application distance protection relay presented in an educational and teaching format.

The connections are via safety sockets.

The main functions:

Two zones of Phase Mho Distance Protection Element (21P).

Two zones of Ground Mho Distance Protection Element (21G).

Directional Phase Overcurrent Protection Element (67P).

Directional Ground Overcurrent Protection Element (67G).

Phase Overcurrent Protection Element (50P).

Ground Overcurrent Protection Element (50G).

Phase Time-Overcurrent Protection Element (51P).

Ground Time-Overcurrent Protection Element (51G).

Event Reports.

Breaker Wear Monitor.

Fault Locator.

Local Display.

Synchronophasors.

Load Encroachment.

Metering and Monitoring Functions.

Creating fault and disturbance records.

Blocking of any one protection element.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%. Current: 5 A (A. C.). Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

- N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA remote control.

- N-PSM. Power Switch Module (2 units).

Supply voltage: single-phase 230 VAC.

Power terminals:

Four power input terminals (3PH+N).

Four power output terminals (3PH+N).

Auxiliary contacts:

One “NO” contact.

One “NC” contact.

Two push-buttons to open / close the power terminals and auxiliary contacts.

Two control contacts of 24 VDC.

Two voltage supply outputs of 24 VDC.

AEL-WBMG. Electrical Workbench (Mobile Big).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 2000 mm, depth 600 mm.

c) POWER DISTRIBUTION AND LOADS INCLUDED ELEMENTS

N-ALI01. Industrial Main Power Supply.

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

N-BUS08. Distribution Busbar Module (4 units).

Supply Voltage: 230 VAC.

Double busbar topology, with two disconnectors and one circuit breaker.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

N-BUS09. Coupling Busbar Module.

Supply Voltage: 230 VAC.

Double busbar topology, with two disconnectors and one circuit breaker.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

PFC-KIT. Power Factor Controller Kit:

-N-CFP. Advanced Power Factor Controller Module.

Automatic Power Factor Controller.

Power supply: 400 VAC.

4 x Input terminals.

4 x Output terminals.

Nominal current: 5A.

-N-CAR19T4D. Three-phase Digital capacitor Banks Module.

Four banks with three three-phase capacitors of 2 μF.

Nominal voltage: 400V AC.

Nominal power: 4 x (3 x 300) VAr.

Protection Relays for Distribution and Loads.

-N-ERP-MA01. Feeder Management Relay Module.

This protection relay is used to test different short circuits in any point of the power system.

This protection relay allows investigations into protection and monitoring of overhead lines, underground cables and feeders.

The connections are via safety sockets.

The main functions:

Four levels of Phase Instantaneous Overcurrent Element (50P).

Four levels of Negative-Sequence Overcurrent Element (50Q).

Four levels of Residual Overcurrent Element (50G).

Four levels of Neutral Overcurrent Element (50G).

Two levels of Phase Time-Overcurrent Element (51P).

Two levels of Residual Time-Overcurrent Element (51G).

Two levels of Ground Time-Overcurrent Element (51G).

One level of Negative-Sequence Time-Overcurrent Element (51Q).

Phase to Ground Overvoltage (59G).

Phase to Phase Overvoltage (59P).

Negative-Sequence Overvoltage (59Q).

Residual Overvoltage (59G).

Phase to Ground Undervoltage (27G).

Phase to Phase Undervoltage (27P).

Six levels of Secure Overfrequency (81O).

Six levels of Secure Underfrequency (81U).

Two levels of Negative Power Flow with Definite Time Delay (32).

Two levels of Positive Power Flow with Definite Time Delay (32).

Station Battery Monitor.

Breaker Wear Monitoring.

Synchrophasor Protocol.

Peak Demand and Demand Metering.

Auto-Reclosing.

Creating fault and disturbance records.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%. Current: 5 A (A. C.). Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

-N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA remote control.

AEL-WBMG. Electrical Workbench (Mobile Big).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 2000 mm, depth 600 mm.

d) RENEWABLE AND CONVENTIONAL ENERGIES INCLUDED ELEMENTS

- AEL-PHVGC. Computer Controlled Photovoltaic Power Plants Application.

- AEL-WPPIC. Wind Power Plants with Induction Generator Application, with SCADA.

- TDEGC. Computer Controlled Diesel Engine Electrical Generator Application.

e) REQUIRED ELEMENTS (AT LEAST ONE) (NOT INCLUDED):

- TPEL/1800W. Single-phase AC/DC Electronic Load of 1800W (3 units).

The TPEL/1800W electrical load stands out for its versatility in operating in both AC and DC. With a wide power range from 0 to 1800VA and an adjustable frequency from 45 Hz to 450 Hz, this electronic source offers exceptional capabilities.

With its advanced measurement capabilities, 7-inch LCD display, and features such as the built-in oscilloscope, the TPEL/1800W is the ideal solution for laboratory testing of most of EDIBON’s unit such as UPS, inverters, AC power supplies, electrical generators and AC electronic components. In addition, its connectivity via LAN and USB interfaces ensures reliable and fast control, adding an additional level of efficiency to its capabilities.

Technical Features:

Frequency Range: 45 Hz~450 Hz.

Power Range: 0~1.8 kVA

Voltage Range: 50-420 Vrms, 15-260 Vrms

Parallel Connection/Three Phase Control: Capacity can be extended up to 43.2 kVA

7 Inch LCD Display: Provides a clear and accessible interface.

Oscilloscope Function: Allows display of voltage and current waveforms.

High Speed AD Sampling: Captures real-time waveforms.

Measurement Modes: Includes Vrms, Vpk, Vdc, Irms, Ipk, Idc, W, VA, VAR, CF, PF and FREQ.

Harmonic Measurement: Up to harmonic 50 (THD-V).

AC Electronic Load: DC/CR/CP modes.

DC Electronic Load: DC/CR/CP/CV modes.

External Analog Control: 0~10 V analog input, with voltage and current monitoring functions.

Protection Functions: OTP, OCP, OVP, UVP and OPP.

Communication Interfaces: LAN and USB, plus external interface for USB flash disk.

- RCL-KIT-1C. Loads Kit with SCADA Control:

-N-CAR36T3D. Three-phase Digital Bank of Commutable Inductances Module.

Configurable Star and Delta connection.

Three Banks with three-phase inductances of 5 H each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3x300) VAr.

-N-CAR19T3D. Three-phase Digital Bank of Commutable Capacitors Module.

Configurable Star and Delta connection.

Three Banks with three-phase capacitors of 2 μF each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) VAr.

-N-CAR35T3D. Three-phase Digital Bank of Commutable Resistors Module.

Configurable Star and Delta connections.

Three banks with three-phase resistors of 1600 Ω each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) W.

Digital bank of commutable resistors module.

e) ADDITIONAL RECOMMENDED ELEMENTS (AT LEAST ONE) (NOT INCLUDED):

-  PSV-BPP-SOF. Biomass Power Plants Simulator.

The PSV-BPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of Rankine cycle biomass power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters by means of the mathematical models integrated in the simulator.

The basic principle of biomass power plants is to transform the intrinsic energy of a fuel that can be considered renewable into electrical energy that will be delivered to the grid. Thus, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of thermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these factors.

By means of this software the student will be able to understand that every thermal cycle of power generation or thermal machine can be represented as a function of the net generated power and the incoming or outgoing thermal powers, according to the fundamental equations of thermodynamics for each element and thermal process of the cycle.

-  PSV-GSPP-SOF. Gas Power Plants Simulator.

The PSV-GSPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of Brayton cycle gas turbine power plants, exposing in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of gas turbine power plants is to transform the intrinsic energy of a fuel into electrical energy to be delivered to the grid. Likewise, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of thermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these parameters.

-  PSV-HPPS-SOF. Hydroelectric Power Plants Simulator.

The PSV-HPPS-SOF software has been designed by EDIBON to show the user the basic principles of operation of hydraulic power plants, exposing in a didactic way the elements and parameters involved in the generation process, as well as the interrelations between these parameters thanks to the mathematical models integrated in the simulator.

The application offers various levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of hydroelectric power plants. In this way it will be possible to carry out a previous configuration of the plant’s operating conditions, to later control and manage it based on these parameters.

-  PSV-HSPP-SOF. Heliothermic Solar Power Plants Simulator.

The PSV-HSPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of solar thermal power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of solar thermal power plants is the use of heat energy from solar radiation to obtain electrical energy. There are different types of plants such as tower plants and parabolic trough plants. Solar towers consist of a large glass surface in the centre of which is a very high chimney fitted with devices similar to wind turbines. In this way, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of solar thermal power plants, where this energy transformation takes place.

-  PSV-WPPP-SOF. Wind Powered Power Plants Simulator.

The PSV-WPPP-SOF software has been designed by EDIBON to show the user the basic principles of operation of wind power plants, exposing in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters thanks to the mathematical models integrated in the simulator.

The application offers various levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of this type of power plant. Consequently, it will be possible to carry out a previous configuration of the plant’s operating conditions, for subsequent control and management based on these factors.

-  PSV-GPP-SOF. Geothermal Power Plants Simulator.

The PSV-GPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of geothermal power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of geothermal power plants is the extraction of heat from the ground in the form of electrical energy to be fed into the grid. Thus, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of geothermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these factors.

- TPEL/1800W. Single-phase AC/DC Electronic Load of 1800W (3 units).

The TPEL/1800W electrical load stands out for its versatility in operating in both AC and DC. With a wide power range from 0 to 1800VA and an adjustable frequency from 45 Hz to 450 Hz, this electronic source offers exceptional capabilities.

With its advanced measurement capabilities, 7-inch LCD display, and features such as the built-in oscilloscope, the TPEL/1800W is the ideal solution for laboratory testing of most of EDIBON’s unit such as UPS, inverters, AC power supplies, electrical generators and AC electronic components. In addition, its connectivity via LAN and USB interfaces ensures reliable and fast control, adding an additional level of efficiency to its capabilities.

Technical Features:

Frequency Range: 45 Hz~450 Hz.

Power Range: 0~1.8 kVA

Voltage Range: 50-420 Vrms, 15-260 Vrms

Parallel Connection/Three Phase Control: Capacity can be extended up to 43.2 kVA

7 Inch LCD Display: Provides a clear and accessible interface.

Oscilloscope Function: Allows display of voltage and current waveforms.

High Speed AD Sampling: Captures real-time waveforms.

Measurement Modes: Includes Vrms, Vpk, Vdc, Irms, Ipk, Idc, W, VA, VAR, CF, PF and FREQ.

Harmonic Measurement: Up to harmonic 50 (THD-V).

AC Electronic Load: DC/CR/CP modes.

DC Electronic Load: DC/CR/CP/CV modes.

External Analog Control: 0~10 V analog input, with voltage and current monitoring functions.

Protection Functions: OTP, OCP, OVP, UVP and OPP.

Communication Interfaces: LAN and USB, plus external interface for USB flash disk.

The complete unit includes as well:

EDIBON SCADA System (Supervisory, Control and Data Acquisition) always included.

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user´s knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON SCADA-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 Cables and Accessories, for normal operation.

3 Manuals:

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

*References 1 to 3 are the main items: AEL-MPSS-01C + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Study of generation, transmission and distribution power systems.

2.- Analysis of the measurements of the power flows of the synchronous generator, transmission lines and loads.

3.- Analysis of the active and reactive power of the synchronous generator against load variations.

4.- Automatic synchronization maneuvers of synchronous generator with the mains.

5.- Study of the synchronous generator in island operation mode.

6.- Study of the Micro-Grids.

7.- Study of the synchronous generator in grid parallel operation mode.

8.- Study of excitation/voltage regulation of synchronous generator in island mode.

9.- Study of turbine regulation (frequency control) in island mode.

10.-Study of excitation/voltage regulation of synchronous generator in parallel grid operation mode.

11.-Study of turbine regulation (frequency control) in parallel grid operation mode.

12.-Study of the power factor regulation of synchronous generator in parallel grid operation mode.

13.-Analysis and calculus of energy loses in transmission lines according to the line electrical parameters.

14.-Capacitive effect influence in transmission lines.

15.-Analysis of the reactive energy excess in transmission lines.

16.-Analysis of the influence of one or more line losses in the electric system.

17.-Power factor compensation and the effects in the power system.

18.-Single-Pole, Two-Pole and three-Pole faults with and without impedance.

19.-Double bus bar coupling maneuver.

20.-Operation logic with circuit breakers and disconnectors in a double bus bar substation.

21.-Load sharing with different feeders.

22.-Bus bar changeover without interruption.

Some practical exercises possibilities with the SCADA:

23.-Remotely control of generation power systems.

24.-Analysis with the SCADA software of synchronous generator power flows.

25.-Analysis with SCADA software of active and reactive power of synchronous generator.

26.-Remotely control of manual synchronization of synchronous generator with the mains.

27.-Remotely control of automatic synchronization of synchronous generator with the mains.

28.-Remotely control of synchronous generator in island grid operation mode.

29.-Study of Micro-Grids.

30.-Remotely control of synchronous generator in parallel grid operation mode.

31.-Remotely control of excitation/voltage regulation of synchronous generator in island mode.

Some practical exercises possibilities with the Computer Controlled Photovoltaic Power Plants Application, “AEL-PHVGC”:

32.-Measurement and calculation of the active power consumed by a three-phase variable resistive load.

33.-Measurement and calculation of the total power consumed by a three-phase R-L load.

34.-Configuration of the programmable power supply as PV Array.

35.-Maximum production of photovoltaic power with grid injection through the grid inverter.

36.-Maximum production of photovoltaic power with grid injection and local energy consumption.

37.-Dynamic control of active power with the photovoltaic inverter. Zero injection control.

38.-Dynamic control of active power with the photovoltaic inverter. Grid injection control.

39.-Static control of active power with the photovoltaic power. Configuration of control conditions with digital signals.

40.-Experimental calculation of I-V curve of a photovoltaic panel.

41.-Variation of solar radiation with the halogen lamps panel. Measurement of I-V characteristics.

Some practical exercises possibilities with the Wind Power Plants with Induction Generator Application, with SCADA, “AEL-WPPIC”:

42.-Commissioning of the induction generator.

43.-Wiring procedure of the induction generator to the grid.

44.-Study of operation regimes of the wind turbines with threephase induction generator of squirrel cage.

45.-Analysis of the induction generators coupled to the grid in sub-synchronous state.

46.-Analysis of the induction generators coupled to the grid in synchronous state.

47.-Analysis of the induction generators coupled to the grid in super-synchronous state.

48.-Study of electrical parameters of the induction generator coupled to the grid in sub-synchronous state.

49.-Study of electrical parameters of the induction generator coupled to the grid in synchronous state.

50.-Study of electrical parameters of the induction generator coupled to the grid in super-synchronous state.

51.-Efficiency study of the induction generator comparing the injected power in the grid with the mechanical power shaft of the turbine.

52.-Power factor influence with the speed variations and analysis of the possible solutions to automate the regulation of the power factor.

53.-Active power compensation by mean capacitor banks and electrical measurement of the electrical machine response.

Some practical exercises possibilities with the Computer Controlled Diesel Engine Electrical Generator Application, “TDEGC”:

54.-Automatic speed control of the engine and generator in island.

55.-Manual speed control of the engine in island.

56.-Automatic excitation control of the three-phase synchronous generator.

57.-Manual excitation control of the three-phase synchronous generator.

58.-Automatic speed control of the engine in parallel with the grid.

59.-Manual speed control of the engine in parallel with the grid.

60.-Automatic excitation control of the synchronous generator in parallel with the grid.

61.-Manual excitation control of the synchronous generator in parallel with the grid.

62.-Control of the engine and generator in parallel generation mode (working with other generators).

63.-Coordination of energy needs and generating capacity in standalone grids.

64.-Active power waves measurement in real time and comparison with PID speed signal and engine.

65.-Smart Meter to measure the generated energy by the generator.

66.-Manual control of voltage, frequency, power factor and torque.

67.-Manual control of voltage and frequency of the generator in a standalone and in parallel operation (with any other generator).

68.-Automatic control of voltage and frequency of the generator/engine in a stand-alone or in parallel operation (with any other generator).

69.- Study of energy requirements and energy generation in stand-alone grid.

70.- Studying of synchronous generator/engine response when a change in load is produced.

71.-Synchronization operations of the one synchronous generator and the grid.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

4 AEL-MPSS-01C/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

AEL-MPSS-02C.

SMART GRID POWER SYSTEMS, RENEWABLE ENERGIES WITH PROTECTION RELAYS, 5KW

TENDER SPECIFICATIONS (for main items)

1 AEL-MPSS-02C. Unit:

The “AEL-MPSS-02C” includes the following elements: “a”, “b”, “c”, “d”:

a) POWER GENERATION INCLUDED ELEMENTS:

N-ALI01. Industrial Main Power Supply:

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-PPIM2. Instrumentation Module 2.

Three-Phase wattmeter:

Measured range: 0 - 5 kW.

Three-Phase varmeter:

Measured range: 0 - 5 kVar.

Voltmeter:

Measured range: 0 - 500 VAC.

Frequency meter:

Measured range: 45 - 55 Hz.

DC meter:

Measured range: 0 - 5 A.

N-PSUB3. Power Generation Substation Module 3.

Supply voltage: 400 VAC, 3PH+N.

ON/OFF switch.

Power and signals connection:

Auxiliary connection.

Three-phase turbine supply hose with IP44 3PN+E 32A 400V connecting plug.

Three-phase generator supply hose with IP44 3PN+E 32A 400V connecting plug.

Three switches to choose between the different modes:

Local and remote control mode.

Manual and automatic speed control.

Manual and automatic excitation control

Three control switches to:

Start and stop the turbine.

Give permission to synchronize the generator with the grid.

Give permission to close 52NET circuit breaker.

Two potentiometers to regulate:

Turbine speed.

Generator excitation.

Emergency stop button.

Two circuit breakers for synchronization and stand-alone operations.

Different terminals to measure.

Ethernet connection: RJ45 communication port for SCADA remote control.

Automatic speed and voltage controller (easygen):

Enables to connect up to 16 electric generators in parallel-island with distribution of active and reactive load and start/stop in function of the load demand.

Enables to connect a generator in parallel with the grid.

Enables different switches control modes, such as opening, closing and synchronization.

Analogical outputs to control voltage and frequency regulators.

Three-phase measurement of the grid and the generator voltage.

Three-phase measurement of the generator intensity and power.

Single-phase measurement of the grid intensity.

Protection system.

Generator:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), voltage asymmetry, detection of dead busbars, overvoltage (32), load unbalance (46), negative sequence power/reduced power (32R/F), overcurrent by defined curve (50/51), inverse time overcurrent (IEC255), measured ground fault (50N/51N), phase rotation, switches faults.

Network:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), vector jump, phase rotation.

Six alarms:

Alarm 1: Reverse power.

Alarm 2: Overcurrent.

Alarm 3: Over/undervoltage.

Alarm 4: Inverse time overcurrent.

Alarm 5: Over/under frequency.

Alarm 6: Shutdown alarms.

Four operation signals:

Ready for operation.

Start request.

Synchronization conditions.

Permission for synchronization.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

TRANS3/5KGR. Grid Transformer, 400/400 VAC, 5 kVA.

5KVA Three-Phase Grid transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

TRANS3/5KSU. Three-Phase step-up Transformer, 400/400 VAC, 5 kVA.

5KVA Step-Up transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

GMG4.5K3PH. 4.5 kW Generator-Motor group.

Generator-Motor group coupled in an aluminum frame with wheels.

Rated power of the generator: 4.5 KVA.

Stator nominal: 6.5 A.

Excitation nominal: 4 A.

RPM: 3000 rpm.

Motor rated power I: 5 KVA.

Nominal I: 7.2 A.

Protection Relays for Power Generation:

- N-ERP-PDF01. Differencial Protection Relay Module.

Differential Protection Relay.

Power supply: 230 VAC.

Eight overcurrent elements for winding 1:

Phase: Instanteneous 50P1H, Define time 50P1, Inverser time 51P1.

Negative Sequence: Define time 50Q1, Inverser time 51Q1.

Residual: Instanteneous 50N1H, Define time 50N1, Inverser time 51N1.

Eight overcurrent elements for winding 2:

Phase: Instanteneous 50P2H, Define time 50P2, Inverser time 51P2.

Negative Sequence: Define time 50Q2, Inverser time 51Q2.

Residual: Instanteneous 50N2H, Define time 50N2, Inverser time 51N2.

Selogic Control Equations.

Event Reports.

ASCII. Binary, and Distributed Port Switch Communications.

Phase, Ground, Negative-Sequence, Differential and Harmonic Metering.

Restrained and Unrestrained Differential Elements.

Second- and Fourth Harmonic Restraint.

Fifth-Harmonic and DC Blocking.

CT and Transformer Connection Compensation.

Accuracy: +- 5%.

Current: 5 A (A. C.)

Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

- N-ERP-SFT01. Overcurrent and Earth Fault Protection Relay Module.

Overcurrent protection relay module.

Power supply: 230 VAC.

TRIP indicator lamps.

Overcurrent and Earth fault protection.

Communications connector DB9 RS-232.

Signals connector SUB-D 62 pin.

ON-OFF Switch.

Terminal connections.

Characteristics:

Phase, ground and negative sequence overcurrent protection.

Time-Overcurrent curves of US and IEC.

Reclosing relays of multiple trips with sequence coordination.

SELOGIC® enhanced control equations to develop traditional or advanced schemes.

Logic of local / remote control to change the schemes, operating circuit breakers, etc.

Recorder of the sequence of events (SER) and reports of events stored in nonvolatile memory.

Supports ASCII, SEL LMD, and Modbus RTU protocols.

- N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA remote control.

- N-PSM. Power Switch Module (2 units).

Supply voltage: single-phase 230 VAC.

Power terminals:

Four power input terminals (3PH+N).

Four power output terminals (3PH+N).

Auxiliary contacts:

One “NO” contact.

One “NC” contact.

Two push-buttons to open / close the power terminals and auxiliary contacts.

Two control contacts of 24 VDC.

Two voltage supply outputs of 24 VDC.

AEL-PC. Touch Screen and Computer.

Touch Screen:

Energy efficiency class: A.

Screen diagonal: 68.6 cm (27 inch (s)).

Power consumption (operating): 26 watts.

Annual energy consumption: 38 kWh.

Power consumption (standby / off) 0.49 watts.

Screen resolution: 1920 x 1080 pixels.

Computer:

Processor Number: Intel Core i7-6600U Processor (4M Cache, up to 3,40 GHz).

Cache: 4 MB Intel Smart Cache.

Clock speed: 2.6 GHz.

# Of Cores/# of Threads: 2/4.

Max. TDP/Power: 15 W.

Memory Types: DDR4-2133, LPDDR3-1866, DDR3L-1600.

Graphics: Intel HD 530.

AEL-WBMG. Electrical Workbench (Mobile Big).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 2000 mm, depth 600 mm.

Computer Control + Data Acquisition + Data Management Software of Smart Grid Power Systems.

Note: Other Generation applications included (see “d”).

b) POWER TRANSMISSION INCLUDED ELEMENTS

N-ALI01. Industrial Main Power Supply.

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

N-AE1CD. Transmission Lines Simulation Digital Unit (2 units).

Power supply voltage: 230 VAC +GND.

Line Voltages: 400 VAC + N.

Three-phase line with variable parameters.

Concentrated parameters line.

Two capacitances Banks between line and ground composed by three capacitances of 2 μF.

Resistance of the line that can be wired independently:

One resistor of 15 Ω.

One resistor of 33 Ω.

Inductance of the line with several values: 32 mH, 72 mH.

Neutral resistor of 15 Ω.

Fuse: 1 A.

N-REG16. Voltage Regulation Module 1.

230 VAC+GND Power Supply terminals.

24 VDC output terminal.

24 VDC input terminal (up voltage).

24 VDC input terminal (down voltage).

Slide commutator with three positions.

Power connector. Signal connector.

Fuses: 3 x 10 A.

Input power terminals: Power input connections: L1, L2, L3, N.

Output power terminals: Power output connections: L1, L2, L3, N.

Ground Terminal.

TRANS3/5KRM. Three-Phase Autotransformer with Motor Voltage Regulator, 400/400 VAC, 5 kVA.

5 KVA distribution autotransformer.

Rated power: 5 KVA.

Voltage in primary winding: 400 VAC star.

Voltage in secondary winding: 400 VAC delta.

Signal connection to receive step up and down signals from the voltage regulator module.

Protection Relays for Transmission Lines:

- N-ERP-PD01. Distance Protection Relay Module.

It is used to enable investigations into protection and monitoring of overhead transmission lines and underground cables. It enables a wide range of test and investigations and it

demonstrates the latest relay technology.

Modern industrial application distance protection relay presented in an educational and teaching format.

The connections are via safety sockets.

The main functions:

Two zones of Phase Mho Distance Protection Element (21P).

Two zones of Ground Mho Distance Protection Element (21G).

Directional Phase Overcurrent Protection Element (67P).

Directional Ground Overcurrent Protection Element (67G).

Phase Overcurrent Protection Element (50P).

Ground Overcurrent Protection Element (50G).

Phase Time-Overcurrent Protection Element (51P).

Ground Time-Overcurrent Protection Element (51G).

Event Reports.

Breaker Wear Monitor.

Fault Locator.

Local Display.

Synchronophasors.

Load Encroachment.

Metering and Monitoring Functions.

Creating fault and disturbance records.

Blocking of any one protection element.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%. Current: 5 A (A. C.). Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

- N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA remote control.

- N-PSM. Power Switch Module (2 units).

Supply voltage: single-phase 230 VAC.

Power terminals:

Four power input terminals (3PH+N).

Four power output terminals (3PH+N).

Auxiliary contacts:

One “NO” contact.

One “NC” contact.

Two push-buttons to open / close the power terminals and auxiliary contacts.

Two control contacts of 24 VDC.

Two voltage supply outputs of 24 VDC.

AEL-WBMG. Electrical Workbench (Mobile Big).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 2000 mm, depth 600 mm.

c) POWER DISTRIBUTION AND LOADS INCLUDED ELEMENTS

N-ALI01. Industrial Main Power Supply.

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

N-BUS08. Distribution Busbar Module (4 units).

Supply Voltage: 230 VAC.

Double busbar topology, with two disconnectors and one circuit breaker.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

N-BUS09. Coupling Busbar Module.

Supply Voltage: 230 VAC.

Double busbar topology, with two disconnectors and one circuit breaker.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

PFC-KIT. Power Factor Controller Kit:

-N-CFP. Advanced Power Factor Controller Module.

Automatic Power Factor Controller.

Power supply: 400 VAC.

4 x Input terminals.

4 x Output terminals.

Nominal current: 5A.

-N-CAR19T4D. Three-phase Digital capacitor Banks Module.

Four banks with three three-phase capacitors of 2 μF.

Nominal voltage: 400V AC.

Nominal power: 4 x (3 x 300) VAr.

Protection Relays for Distribution and Loads.

-N-ERP-MA01. Feeder Management Relay Module.

This protection relay is used to test different short circuits in any point of the power system.

This protection relay allows investigations into protection and monitoring of overhead lines, underground cables and feeders.

The connections are via safety sockets.

The main functions:

Four levels of Phase Instantaneous Overcurrent Element (50P).

Four levels of Negative-Sequence Overcurrent Element (50Q).

Four levels of Residual Overcurrent Element (50G).

Four levels of Neutral Overcurrent Element (50G).

Two levels of Phase Time-Overcurrent Element (51P).

Two levels of Residual Time-Overcurrent Element (51G).

Two levels of Ground Time-Overcurrent Element (51G).

One level of Negative-Sequence Time-Overcurrent Element (51Q).

Phase to Ground Overvoltage (59G).

Phase to Phase Overvoltage (59P).

Negative-Sequence Overvoltage (59Q).

Residual Overvoltage (59G).

Phase to Ground Undervoltage (27G).

Phase to Phase Undervoltage (27P).

Six levels of Secure Overfrequency (81O).

Six levels of Secure Underfrequency (81U).

Two levels of Negative Power Flow with Definite Time Delay (32).

Two levels of Positive Power Flow with Definite Time Delay (32).

Station Battery Monitor.

Breaker Wear Monitoring.

Synchrophasor Protocol.

Peak Demand and Demand Metering.

Auto-Reclosing.

Creating fault and disturbance records.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%. Current: 5 A (A. C.). Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

-N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA

remote control.

AEL-WBMG. Electrical Workbench (Mobile Big).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 2000 mm, depth 600 mm.

d) RENEWABLE ENERGIES INCLUDED ELEMENTS

- AEL-PHVGC. Computer Controlled Photovoltaic Power Plants Application.

- AEL-WPPIC. Wind Power Plants with Induction Generator Application, with SCADA.

e) REQUIRED ELEMENTS (AT LEAST ONE) (NOT INCLUDED):

- TPEL/1800W. Single-phase AC/DC Electronic Load of 1800W (3 units).

The TPEL/1800W electrical load stands out for its versatility in operating in both AC and DC. With a wide power range from 0 to 1800VA and an adjustable frequency from 45 Hz to 450 Hz, this electronic source offers exceptional capabilities.

With its advanced measurement capabilities, 7-inch LCD display, and features such as the built-in oscilloscope, the TPEL/1800W is the ideal solution for laboratory testing of most of EDIBON’s unit such as UPS, inverters, AC power supplies, electrical generators and AC electronic components. In addition, its connectivity via LAN and USB interfaces ensures reliable and fast control, adding an additional level of efficiency to its capabilities.

Technical Features:

Frequency Range: 45 Hz~450 Hz.

Power Range: 0~1.8 kVA

Voltage Range: 50-420 Vrms, 15-260 Vrms

Parallel Connection/Three Phase Control: Capacity can be extended up to 43.2 kVA

7 Inch LCD Display: Provides a clear and accessible interface.

Oscilloscope Function: Allows display of voltage and current waveforms.

High Speed AD Sampling: Captures real-time waveforms.

Measurement Modes: Includes Vrms, Vpk, Vdc, Irms, Ipk, Idc, W, VA, VAR, CF, PF and FREQ.

Harmonic Measurement: Up to harmonic 50 (THD-V).

AC Electronic Load: DC/CR/CP modes.

DC Electronic Load: DC/CR/CP/CV modes.

External Analog Control: 0~10 V analog input, with voltage and current monitoring functions.

Protection Functions: OTP, OCP, OVP, UVP and OPP.

Communication Interfaces: LAN and USB, plus external interface for USB flash disk.

- RCL-KIT-1C. Loads Kit with SCADA Control:

-N-CAR36T3D. Three-phase Digital Bank of Commutable Inductances Module.

Configurable Star and Delta connection.

Three Banks with three-phase inductances of 5 H each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3x300) VAr.

-N-CAR19T3D. Three-phase Digital Bank of Commutable Capacitors Module.

Configurable Star and Delta connection.

Three Banks with three-phase capacitors of 2 μF each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) VAr.

-N-CAR35T3D. Three-phase Digital Bank of Commutable Resistors Module.

Configurable Star and Delta connections.

Three banks with three-phase resistors of 1600 Ω each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) W.

Digital bank of commutable resistors module.

e) ADDITIONAL RECOMMENDED ELEMENTS (AT LEAST ONE) (NOT INCLUDED):

-  PSV-BPP-SOF. Biomass Power Plants Simulator.

The PSV-BPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of Rankine cycle biomass power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters by means of the mathematical models integrated in the simulator.

The basic principle of biomass power plants is to transform the intrinsic energy of a fuel that can be considered renewable into electrical energy that will be delivered to the grid. Thus, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of thermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these factors.

By means of this software the student will be able to understand that every thermal cycle of power generation or thermal machine can be represented as a function of the net generated power and the incoming or outgoing thermal powers, according to the fundamental equations of thermodynamics for each element and thermal process of the cycle.

-  PSV-GSPP-SOF. Gas Power Plants Simulator.

The PSV-GSPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of Brayton cycle gas turbine power plants, exposing in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of gas turbine power plants is to transform the intrinsic energy of a fuel into electrical energy to be delivered to the grid. Likewise, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of thermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these parameters.

-  PSV-HPPS-SOF. Hydroelectric Power Plants Simulator.

The PSV-HPPS-SOF software has been designed by EDIBON to show the user the basic principles of operation of hydraulic power plants, exposing in a didactic way the elements and parameters involved in the generation process, as well as the interrelations between these parameters thanks to the mathematical models integrated in the simulator.

The application offers various levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of hydroelectric power plants. In this way it will be possible to carry out a previous configuration of the plant’s operating conditions, to later control and manage it based on these parameters.

-  PSV-HSPP-SOF. Heliothermic Solar Power Plants Simulator.

The PSV-HSPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of solar thermal power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of solar thermal power plants is the use of heat energy from solar radiation to obtain electrical energy. There are different types of plants such as tower plants and parabolic trough plants. Solar towers consist of a large glass surface in the centre of which is a very high chimney fitted with devices similar to wind turbines. In this way, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of solar thermal power plants, where this energy transformation takes place.

-  PSV-WPPP-SOF. Wind Powered Power Plants Simulator.

The PSV-WPPP-SOF software has been designed by EDIBON to show the user the basic principles of operation of wind power plants, exposing in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters thanks to the mathematical models integrated in the simulator.

The application offers various levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of this type of power plant. Consequently, it will be possible to carry out a previous configuration of the plant’s operating conditions, for subsequent control and management based on these factors.

-  PSV-GPP-SOF. Geothermal Power Plants Simulator.

The PSV-GPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of geothermal power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of geothermal power plants is the extraction of heat from the ground in the form of electrical energy to be fed into the grid. Thus, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of geothermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these factors.

- TPEL/1800W. Single-phase AC/DC Electronic Load of 1800W (3 units).

The TPEL/1800W electrical load stands out for its versatility in operating in both AC and DC. With a wide power range from 0 to 1800VA and an adjustable frequency from 45 Hz to 450 Hz, this electronic source offers exceptional capabilities.

With its advanced measurement capabilities, 7-inch LCD display, and features such as the built-in oscilloscope, the TPEL/1800W is the ideal solution for laboratory testing of most of EDIBON’s unit such as UPS, inverters, AC power supplies, electrical generators and AC electronic components. In addition, its connectivity via LAN and USB interfaces ensures reliable and fast control, adding an additional level of efficiency to its capabilities.

Technical Features:

Frequency Range: 45 Hz~450 Hz.

Power Range: 0~1.8 kVA

Voltage Range: 50-420 Vrms, 15-260 Vrms

Parallel Connection/Three Phase Control: Capacity can be extended up to 43.2 kVA

7 Inch LCD Display: Provides a clear and accessible interface.

Oscilloscope Function: Allows display of voltage and current waveforms.

High Speed AD Sampling: Captures real-time waveforms.

Measurement Modes: Includes Vrms, Vpk, Vdc, Irms, Ipk, Idc, W, VA, VAR, CF, PF and FREQ.

Harmonic Measurement: Up to harmonic 50 (THD-V).

AC Electronic Load: DC/CR/CP modes.

DC Electronic Load: DC/CR/CP/CV modes.

External Analog Control: 0~10 V analog input, with voltage and current monitoring functions.

Protection Functions: OTP, OCP, OVP, UVP and OPP.

Communication Interfaces: LAN and USB, plus external interface for USB flash disk.

The complete unit includes as well:

EDIBON SCADA System (Supervisory, Control and Data Acquisition) always included.

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user´s knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON SCADA-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 Cables and Accessories, for normal operation.

3 Manuals:

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

*References 1 to 3 are the main items: AEL-MPSS-02C + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Study of generation, transmission and distribution power systems.

2.- Analysis of the measurements of the power flows of the synchronous generator, transmission lines and loads.

3.- Analysis of the active and reactive power of the synchronous generator against load variations.

4.- Automatic synchronization maneuvers of synchronous generator with the mains.

5.- Study of the synchronous generator in island operation mode.

6.- Study of the Micro-Grids.

7.- Study of the synchronous generator in grid parallel operation mode.

8.- Study of excitation/voltage regulation of synchronous generator in island mode.

9.- Study of turbine regulation (frequency control) in island mode.

10.-Study of excitation/voltage regulation of synchronous generator in parallel grid operation mode.

11.- Study of turbine regulation (frequency control) in parallel grid operation mode.

12.-Study of the power factor regulation of synchronous generator in parallel grid operation mode.

13.-Analysis and calculus of energy loses in transmission lines according to the line electrical parameters.

14.-Capacitive effect influence in transmission lines.

15.-Analysis of the reactive energy excess in transmission lines.

16.-Analysis of the influence of one or more line losses in the electric system.

17.-Power factor compensation and the effects in the power system.

18.-Single-Pole, Two-Pole and three-Pole faults with and without impedance.

19.-Double bus bar coupling maneuver.

20.-Operation logic with circuit breakers and disconnectors in a double bus bar substation.

21.-Load sharing with different feeders.

22.-Bus bar changeover without interruption.

Some practical exercises possibilities with the SCADA:

23.-Remotely control of generation power systems.

24.-Analysis with the SCADA software of synchronous generator power flows.

25.-Analysis with SCADA software of active and reactive power of synchronous generator.

26.-Remotely control of manual synchronization of synchronous generator with the mains.

27.-Remotely control of automatic synchronization of synchronous generator with the mains.

28.-Remotely control of synchronous generator in island grid operation mode.

29.-Study of Micro-Grids.

30.-Remotely control of synchronous generator in parallel grid operation mode.

31.-Remotely control of excitation/voltage regulation of synchronous generator in island mode.

Some practical exercises possibilities with the Photovoltaic Application with Connection to Grid:

32.-Measurement and calculation of the active power consumed by a three-phase variable resistive load.

33.-Measurement and calculation of the total power consumed by a three-phase R-L load.

34.-Configuration of the programmable power supply as PV Array.

35.-Maximum production of photovoltaic power with grid injection through the grid inverter.

36.-Maximum production of photovoltaic power with grid injection and local energy consumption.

37.-Dynamic control of active power with the photovoltaic inverter. Zero injection control.

38.-Dynamic control of active power with the photovoltaic inverter. Grid injection control.

39.-Static control of active power with the photovoltaic power. Configuration of control conditions with digital signals.

40.-Experimental calculation of I-V curve of a photovoltaic panel.

41.- Variation of solar radiation with the halogen lamps panel. Measurement of I-V characteristics.

Some practical exercises possibilities with the Wind Power Plants with Induction Generator Application, with SCADA, “AEL-WPPIC”:

42.- Commissioning of the induction generator.

43.- Wiring procedure of the induction generator to the grid.

44.- Study of operation regimes of the wind turbines with three phase induction generator of squirrel cage.

45.- Analysis of the induction generators coupled to the grid in sub-synchronous state.

46.- Analysis of the induction generators coupled to the grid in synchronous state.

47.- Analysis of the induction generators coupled to the grid in super-synchronous state.

48.-Study of electrical parameters of the induction generator coupled to the grid in sub-synchronous state.

49.-Study of electrical parameters of the induction generator coupled to the grid in synchronous state.

50.-Study of electrical parameters of the induction generator coupled to the grid in super-synchronous state.

51.- Efficiency study of the induction generator comparing the injected power in the grid with the mechanical power shaft of the turbine.

52.-Power factor influence with the speed variations and analysis of the possible solutions to automate the regulation of the power factor.

53.- Active power compensation by mean capacitor banks and electrical measurement of the electrical machine response.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

4 AEL-MPSS-02C/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources

AEL-MPSS-03C.

SMART GRID POWER SYSTEMS AND PROTECTION RELAYS, 5KW

TENDER SPECIFICATIONS (for main items)

1 AEL-MPSS-03C. Unit:

The “AEL-MPSS-03C” includes the following elements:

“a”, “b”, “c”:

a) POWER GENERATION INCLUDED ELEMENTS:

N-ALI01. Industrial Main Power Supply:

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-PPIM2. Instrumentation Module 2.

Three-Phase wattmeter:

Measured range: 0 - 5 kW.

Three-Phase varmeter:

Measured range: 0 - 5 kVar.

Voltmeter:

Measured range: 0 - 500 VAC.

Frequency meter:

Measured range: 45 - 55 Hz.

DC meter:

Measured range: 0 - 5 A.

N-PSUB3. Power Generation Substation Module 3.

Supply voltage: 400 VAC, 3PH+N.

ON/OFF switch.

Power and signals connection:

Auxiliary connection.

Three-phase turbine supply hose with IP44 3PN+E 32A 400V connecting plug.

Three-phase generator supply hose with IP44 3PN+E 32A 400V connecting plug.

Three switches to choose between the different modes:

Local and remote control mode.

Manual and automatic speed control.

Manual and automatic excitation control

Three control switches to:

Start and stop the turbine.

Give permission to synchronize the generator with the grid.

Give permission to close 52NET circuit breaker.

Two potentiometers to regulate:

Turbine speed.

Generator excitation.

Emergency stop button.

Two circuit breakers for synchronization and stand-alone operations.

Different terminals to measure.

Ethernet connection: RJ45 communication port for SCADA remote control.

Automatic speed and voltage controller (easygen):

Enables to connect up to 16 electric generators in parallel-island with distribution of active and reactive load and start/stop in function of the load demand.

Enables to connect a generator in parallel with the grid.

Enables different switches control modes, such as opening, closing and synchronization.

Analogical outputs to control voltage and frequency regulators.

Three-phase measurement of the grid and the generator voltage.

Three-phase measurement of the generator intensity and power.

Single-phase measurement of the grid intensity.

Protection system.

Generator:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), voltage asymmetry, detection of dead busbars, overvoltage (32), load unbalance (46), negative sequence power/reduced power (32R/F), overcurrent by defined curve (50/51), inverse time overcurrent (IEC255), measured ground fault (50N/51N), phase rotation, switches faults.

Network:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), vector jump, phase rotation.

Six alarms:

Alarm 1: Reverse power.

Alarm 2: Overcurrent.

Alarm 3: Over/undervoltage.

Alarm 4: Inverse time overcurrent.

Alarm 5: Over/under frequency.

Alarm 6: Shutdown alarms.

Four operation signals:

Ready for operation.

Start request.

Synchronization conditions.

Permission for synchronization.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

TRANS3/5KGR. Grid Transformer, 400/400 VAC, 5 kVA.

5KVA Three-Phase Grid transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

TRANS3/5KSU. Three-Phase step-up Transformer, 400/400 VAC, 5 kVA.

5KVA Step-Up transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

GMG4.5K3PH. 4.5 kW Generator-Motor group.

Generator-Motor group coupled in an aluminum frame with wheels.

Rated power of the generator: 4.5 KVA.

Stator nominal: 6.5 A.

Excitation nominal: 4 A.

RPM: 3000 rpm.

Motor rated power I: 5 KVA.

Nominal I: 7.2 A.

Protection Relays for Power Generation:

- N-ERP-PDF01. Differencial Protection Relay Module.

Differential Protection Relay.

Power supply: 230 VAC.

Eight overcurrent elements for winding 1:

Phase: Instanteneous 50P1H, Define time 50P1, Inverser time 51P1.

Negative Sequence: Define time 50Q1, Inverser time 51Q1.

Residual: Instanteneous 50N1H, Define time 50N1, Inverser time 51N1.

Eight overcurrent elements for winding 2:

Phase: Instanteneous 50P2H, Define time 50P2, Inverser time 51P2.

Negative Sequence: Define time 50Q2, Inverser time 51Q2.

Residual: Instanteneous 50N2H, Define time 50N2, Inverser time 51N2.

Selogic Control Equations.

Event Reports.

ASCII. Binary, and Distributed Port Switch Communications.

Phase, Ground, Negative-Sequence, Differential and Harmonic Metering.

Restrained and Unrestrained Differential Elements.

Second- and Fourth Harmonic Restraint.

Fifth-Harmonic and DC Blocking.

CT and Transformer Connection Compensation.

Accuracy: +- 5%.

Current: 5 A (A. C.)

Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

- N-ERP-SFT01. Overcurrent and Earth Fault Protection Relay Module.

Overcurrent protection relay module.

Power supply: 230 VAC.

TRIP indicator lamps.

Overcurrent and Earth fault protection.

Communications connector DB9 RS-232.

Signals connector SUB-D 62 pin.

ON-OFF Switch.

Terminal connections.

Characteristics:

Phase, ground and negative sequence overcurrent protection.

Time-Overcurrent curves of US and IEC.

Reclosing relays of multiple trips with sequence coordination.

SELOGIC® enhanced control equations to develop traditional or advanced schemes.

Logic of local / remote control to change the schemes, operating circuit breakers, etc.

Recorder of the sequence of events (SER) and reports of events stored in nonvolatile memory.

Supports ASCII, SEL LMD, and Modbus RTU protocols.

- N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA remote control.

- N-PSM. Power Switch Module (2 units).

Supply voltage: single-phase 230 VAC.

Power terminals:

Four power input terminals (3PH+N).

Four power output terminals (3PH+N).

Auxiliary contacts:

One “NO” contact.

One “NC” contact.

Two push-buttons to open / close the power terminals and auxiliary contacts.

Two control contacts of 24 VDC.

Two voltage supply outputs of 24 VDC.

AEL-PC. Touch Screen and Computer.

Touch Screen:

Energy efficiency class: A.

Screen diagonal: 68.6 cm (27 inch (s)).

Power consumption (operating): 26 watts.

Annual energy consumption: 38 kWh.

Power consumption (standby / off) 0.49 watts.

Screen resolution: 1920 x 1080 pixels.

Computer:

Processor Number: Intel Core i7-6600U Processor (4M Cache, up to 3,40 GHz).

Cache: 4 MB Intel Smart Cache.

Clock speed: 2.6 GHz.

# Of Cores/# of Threads: 2/4.

Max. TDP/Power: 15 W.

Memory Types: DDR4-2133, LPDDR3-1866, DDR3L-1600.

Graphics: Intel HD 530.

AEL-WBMG. Electrical Workbench (Mobile Big).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 2000 mm, depth 600 mm.

Computer Control + Data Acquisition + Data Management Software of Smart Grid Power Systems.

Note: Other Generation applications recommended (see “d”).

b) POWER TRANSMISSION INCLUDED ELEMENTS

N-ALI01. Industrial Main Power Supply.

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

N-AE1CD. Transmission Lines Simulation Digital Unit (2 units).

Power supply voltage: 230 VAC +GND.

Line Voltages: 400 VAC + N.

Three-phase line with variable parameters.

Concentrated parameters line.

Two capacitances Banks between line and ground composed

by three capacitances of 2 μF.

Resistance of the line that can be wired independently:

One resistor of 15 Ω.

One resistor of 33 Ω.

Inductance of the line with several values: 32 mH, 72 mH.

Neutral resistor of 15 Ω.

Fuse: 1 A.

N-REG16. Voltage Regulation Module 1.

230 VAC+GND Power Supply terminals.

24 VDC output terminal.

24 VDC input terminal (up voltage).

24 VDC input terminal (down voltage).

Slide commutator with three positions.

Power connector. Signal connector.

Fuses: 3 x 10 A.

Input power terminals: Power input connections: L1, L2, L3, N.

Output power terminals: Power output connections: L1, L2, L3, N.

Ground Terminal.

TRANS3/5KRM. Three-Phase Autotransformer with Motor Voltage Regulator, 400/400 VAC, 5 kVA.

5 KVA distribution autotransformer.

Rated power: 5 KVA.

Voltage in primary winding: 400 VAC star.

Voltage in secondary winding: 400 VAC delta.

Signal connection to receive step up and down signals from the voltage regulator module.

Protection Relays for Transmission Lines:

- N-ERP-PD01. Distance Protection Relay Module.

It is used to enable investigations into protection and monitoring of overhead transmission lines and underground cables. It enables a wide range of test and investigations and it

demonstrates the latest relay technology.

Modern industrial application distance protection relay presented in an educational and teaching format.

The connections are via safety sockets.

The main functions:

Two zones of Phase Mho Distance Protection Element (21P).

Two zones of Ground Mho Distance Protection Element (21G).

Directional Phase Overcurrent Protection Element (67P).

Directional Ground Overcurrent Protection Element (67G).

Phase Overcurrent Protection Element (50P).

Ground Overcurrent Protection Element (50G).

Phase Time-Overcurrent Protection Element (51P).

Ground Time-Overcurrent Protection Element (51G).

Event Reports.

Breaker Wear Monitor.

Fault Locator.

Local Display.

Synchronophasors.

Load Encroachment.

Metering and Monitoring Functions.

Creating fault and disturbance records.

Blocking of any one protection element.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%. Current: 5 A (A. C.). Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

- N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA remote control.

- N-PSM. Power Switch Module (2 units).

Supply voltage: single-phase 230 VAC.

Power terminals:

Four power input terminals (3PH+N).

Four power output terminals (3PH+N).

Auxiliary contacts:

One “NO” contact.

One “NC” contact.

Two push-buttons to open / close the power terminals and auxiliary contacts.

Two control contacts of 24 VDC.

Two voltage supply outputs of 24 VDC.

AEL-WBMG. Electrical Workbench (Mobile Big).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 2000 mm, depth 600 mm.

c) POWER DISTRIBUTION AND LOADS INCLUDED ELEMENTS

N-ALI01. Industrial Main Power Supply.

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

N-BUS08. Distribution Busbar Module (4 units).

Supply Voltage: 230 VAC.

Double busbar topology, with two disconnectors and one circuit breaker.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

N-BUS09. Coupling Busbar Module.

Supply Voltage: 230 VAC.

Double busbar topology, with two disconnectors and one circuit breaker.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

PFC-KIT. Power Factor Controller Kit:

-N-CFP. Advanced Power Factor Controller Module.

Automatic Power Factor Controller.

Power supply: 400 VAC.

4 x Input terminals.

4 x Output terminals.

Nominal current: 5A.

-N-CAR19T4D. Three-phase Digital capacitor Banks Module.

Four banks with three three-phase capacitors of 2 μF.

Nominal voltage: 400V AC.

Nominal power: 4 x (3 x 300) VAr.

Protection Relays for Distribution and Loads.

-N-ERP-MA01. Feeder Management Relay Module.

This protection relay is used to test different short circuits in any point of the power system.

This protection relay allows investigations into protection and monitoring of overhead lines, underground cables and feeders.

The connections are via safety sockets.

The main functions:

Four levels of Phase Instantaneous Overcurrent Element (50P).

Four levels of Negative-Sequence Overcurrent Element (50Q).

Four levels of Residual Overcurrent Element (50G).

Four levels of Neutral Overcurrent Element (50G).

Two levels of Phase Time-Overcurrent Element (51P).

Two levels of Residual Time-Overcurrent Element (51G).

Two levels of Ground Time-Overcurrent Element (51G).

One level of Negative-Sequence Time-Overcurrent Element (51Q).

Phase to Ground Overvoltage (59G).

Phase to Phase Overvoltage (59P).

Negative-Sequence Overvoltage (59Q).

Residual Overvoltage (59G).

Phase to Ground Undervoltage (27G).

Phase to Phase Undervoltage (27P).

Six levels of Secure Overfrequency (81O).

Six levels of Secure Underfrequency (81U).

Two levels of Negative Power Flow with Definite Time Delay (32).

Two levels of Positive Power Flow with Definite Time Delay (32).

Station Battery Monitor.

Breaker Wear Monitoring.

Synchrophasor Protocol.

Peak Demand and Demand Metering.

Auto-Reclosing.

Creating fault and disturbance records.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%. Current: 5 A (A. C.). Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

-N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA remote control.

AEL-WBMG. Electrical Workbench (Mobile Big).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 2000 mm, depth 600 mm.

d) OTHER RECOMMENDED POWER GENERATION APPLICATIONS FOR MORE SMART GRIDS STUDIES

Renewable Energies:

-AEL-PHVGC. Computer Controlled Photovoltaic Power Plants Application.

-AEL-WPPIC. Wind Power Plants with Induction Generator Application, with SCADA.

-AEL-WPTC. Wind Power Application with Permanent Magnets Synchronous Generator, with SCADA.

-AEL-HPPPA. Advanced Hydroelectric Power Plants Application with Pelton Turbine.

-AEL-WPP. Wind Power Plants with Double Feed Induction Generator Application.

-AEL-HPPK. Hydroelectric Power Plants Application with Kaplan Turbine.

-AEL-HPPF. Hydroelectric Power Plants Application with Francis Turbine.

-AEL-SGSB. Smart Grids Battery Storage Application.

Conventional Energies:

-TDEGC. Computer Controlled Diesel Engine Electrical Generator Application.

e) REQUIRED ELEMENTS (AT LEAST ONE) (NOT INCLUDED):

- TPEL/1800W. Single-phase AC/DC Electronic Load of 1800W (3 units).

The TPEL/1800W electrical load stands out for its versatility in operating in both AC and DC. With a wide power range from 0 to 1800VA and an adjustable frequency from 45 Hz to 450 Hz, this electronic source offers exceptional capabilities.

With its advanced measurement capabilities, 7-inch LCD display, and features such as the built-in oscilloscope, the TPEL/1800W is the ideal solution for laboratory testing of most of EDIBON’s unit such as UPS, inverters, AC power supplies, electrical generators and AC electronic components. In addition, its connectivity via LAN and USB interfaces ensures reliable and fast control, adding an additional level of efficiency to its capabilities.

Technical Features:

Frequency Range: 45 Hz~450 Hz.

Power Range: 0~1.8 kVA

Voltage Range: 50-420 Vrms, 15-260 Vrms

Parallel Connection/Three Phase Control: Capacity can be extended up to 43.2 kVA

7 Inch LCD Display: Provides a clear and accessible interface.

Oscilloscope Function: Allows display of voltage and current waveforms.

High Speed AD Sampling: Captures real-time waveforms.

Measurement Modes: Includes Vrms, Vpk, Vdc, Irms, Ipk, Idc, W, VA, VAR, CF, PF and FREQ.

Harmonic Measurement: Up to harmonic 50 (THD-V).

AC Electronic Load: DC/CR/CP modes.

DC Electronic Load: DC/CR/CP/CV modes.

External Analog Control: 0~10 V analog input, with voltage and current monitoring functions.

Protection Functions: OTP, OCP, OVP, UVP and OPP.

Communication Interfaces: LAN and USB, plus external interface for USB flash disk.

- RCL-KIT-1C. Loads Kit with SCADA Control:

-N-CAR36T3D. Three-phase Digital Bank of Commutable Inductances Module.

Configurable Star and Delta connection.

Three Banks with three-phase inductances of 5 H each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3x300) VAr.

-N-CAR19T3D. Three-phase Digital Bank of Commutable Capacitors Module.

Configurable Star and Delta connection.

Three Banks with three-phase capacitors of 2 μF each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) VAr.

-N-CAR35T3D. Three-phase Digital Bank of Commutable Resistors Module.

Configurable Star and Delta connections.

Three banks with three-phase resistors of 1600 Ω each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) W.

Digital bank of commutable resistors module.

e) ADDITIONAL RECOMMENDED ELEMENTS (AT LEAST ONE) (NOT INCLUDED):

-  PSV-BPP-SOF. Biomass Power Plants Simulator.

The PSV-BPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of Rankine cycle biomass power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters by means of the mathematical models integrated in the simulator.

The basic principle of biomass power plants is to transform the intrinsic energy of a fuel that can be considered renewable into electrical energy that will be delivered to the grid. Thus, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of thermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these factors.

By means of this software the student will be able to understand that every thermal cycle of power generation or thermal machine can be represented as a function of the net generated power and the incoming or outgoing thermal powers, according to the fundamental equations of thermodynamics for each element and thermal process of the cycle.

-  PSV-GSPP-SOF. Gas Power Plants Simulator.

The PSV-GSPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of Brayton cycle gas turbine power plants, exposing in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of gas turbine power plants is to transform the intrinsic energy of a fuel into electrical energy to be delivered to the grid. Likewise, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of thermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these parameters.

-  PSV-HPPS-SOF. Hydroelectric Power Plants Simulator.

The PSV-HPPS-SOF software has been designed by EDIBON to show the user the basic principles of operation of hydraulic power plants, exposing in a didactic way the elements and parameters involved in the generation process, as well as the interrelations between these parameters thanks to the mathematical models integrated in the simulator.

The application offers various levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of hydroelectric power plants. In this way it will be possible to carry out a previous configuration of the plant’s operating conditions, to later control and manage it based on these parameters.

-  PSV-HSPP-SOF. Heliothermic Solar Power Plants Simulator.

The PSV-HSPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of solar thermal power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of solar thermal power plants is the use of heat energy from solar radiation to obtain electrical energy. There are different types of plants such as tower plants and parabolic trough plants. Solar towers consist of a large glass surface in the centre of which is a very high chimney fitted with devices similar to wind turbines. In this way, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of solar thermal power plants, where this energy transformation takes place.

-  PSV-WPPP-SOF. Wind Powered Power Plants Simulator.

The PSV-WPPP-SOF software has been designed by EDIBON to show the user the basic principles of operation of wind power plants, exposing in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters thanks to the mathematical models integrated in the simulator.

The application offers various levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of this type of power plant. Consequently, it will be possible to carry out a previous configuration of the plant’s operating conditions, for subsequent control and management based on these factors.

-  PSV-GPP-SOF. Geothermal Power Plants Simulator.

The PSV-GPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of geothermal power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of geothermal power plants is the extraction of heat from the ground in the form of electrical energy to be fed into the grid. Thus, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of geothermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these factors.

- TPEL/1800W. Single-phase AC/DC Electronic Load of 1800W (3 units).

The TPEL/1800W electrical load stands out for its versatility in operating in both AC and DC. With a wide power range from 0 to 1800VA and an adjustable frequency from 45 Hz to 450 Hz, this electronic source offers exceptional capabilities.

With its advanced measurement capabilities, 7-inch LCD display, and features such as the built-in oscilloscope, the TPEL/1800W is the ideal solution for laboratory testing of most of EDIBON’s unit such as UPS, inverters, AC power supplies, electrical generators and AC electronic components. In addition, its connectivity via LAN and USB interfaces ensures reliable and fast control, adding an additional level of efficiency to its capabilities.

Technical Features:

Frequency Range: 45 Hz~450 Hz.

Power Range: 0~1.8 kVA

Voltage Range: 50-420 Vrms, 15-260 Vrms

Parallel Connection/Three Phase Control: Capacity can be extended up to 43.2 kVA

7 Inch LCD Display: Provides a clear and accessible interface.

Oscilloscope Function: Allows display of voltage and current waveforms.

High Speed AD Sampling: Captures real-time waveforms.

Measurement Modes: Includes Vrms, Vpk, Vdc, Irms, Ipk, Idc, W, VA, VAR, CF, PF and FREQ.

Harmonic Measurement: Up to harmonic 50 (THD-V).

AC Electronic Load: DC/CR/CP modes.

DC Electronic Load: DC/CR/CP/CV modes.

External Analog Control: 0~10 V analog input, with voltage and current monitoring functions.

Protection Functions: OTP, OCP, OVP, UVP and OPP.

Communication Interfaces: LAN and USB, plus external interface for USB flash disk.

The complete unit includes as well:

EDIBON SCADA System (Supervisory, Control and Data Acquisition) always included.

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user´s knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON SCADA-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 Cables and Accessories, for normal operation.

3 Manuals:

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

*References 1 to 3 are the main items: AEL-MPSS-03C + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Study of generation, transmission and distribution power systems.

2.- Analysis of the measurements of the power flows of the synchronous generator, transmission lines and loads.

3.- Analysis of the active and reactive power of the synchronous generator against load variations.

4.- Automatic synchronization maneuvers of synchronous generator with the mains.

5.- Study of the synchronous generator in island operation mode.

6.- Study of the synchronous generator in grid parallel operation mode.

7.- Study of excitation/voltage regulation of synchronous generator in island mode.

8.- Study of turbine regulation (frequency control) in island mode.

9.-Study of excitation/voltage regulation of synchronous generator in parallel grid operation mode.

10.-Study of turbine regulation (frequency control) in parallel grid operation mode.

11.-Study of the power factor regulation of synchronous generator in parallel grid operation mode.

12.-Analysis and calculus of energy loses in transmission lines according to the line electrical parameters.

13.-Capacitive effect influence in transmission lines.

14.-Analysis of the reactive energy excess in transmission lines.

15.-Analysis of the influence of one or more line losses in the electric system.

16.-Power factor compensation and the effects in the power system.

17.-Single-Pole, Two-Pole and three-Pole faults with and without impedance.

18.-Double bus bar coupling maneuver.

19.-Operation logic with circuit breakers and disconnectors in a double bus bar substation.

20.-Load sharing with different feeders.

21.-Bus bar changeover without interruption.

Some practical exercises possibilities with the SCADA:

22.-Remotely control of generation power systems.

23.-Analysis with the SCADA software of synchronous generator power flows.

24.-Analysis with SCADA software of active and reactive power of synchronous generator.

25.-Remotely control of manual synchronization of synchronous generator with the mains.

26.-Remotely control of automatic synchronization of synchronous generator with the mains.

27.-Remotely control of synchronous generator in island grid operation mode.

28.-Study of Micro-Grids.

29.-Remotely control of synchronous generator in parallel grid operation mode.

30.-Remotely control of excitation/voltage regulation of synchronous generator in island mode.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

4 AEL-MPSS-03C/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

AEL-MPSS-04C.

SMART GRID POWER SYSTEMS, 5KW

TENDER SPECIFICATIONS (for main items)

1 AEL-MPSS-04C. Unit:

The “AEL-MPSS-04C” includes the following elements:

“a”, “b”, “c”:

a) POWER GENERATION INCLUDED ELEMENTS:

N-ALI01. Industrial Main Power Supply:

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-PPIM2. Instrumentation Module 2.

Three-Phase wattmeter:

Measured range: 0 - 5 kW.

Three-Phase varmeter:

Measured range: 0 - 5 kVar.

Voltmeter:

Measured range: 0 - 500 VAC.

Frequency meter:

Measured range: 45 - 55 Hz.

DC meter:

Measured range: 0 - 5 A.

N-PSUB3. Power Generation Substation Module 3.

Supply voltage: 400 VAC, 3PH+N.

ON/OFF switch.

Power and signals connection:

Auxiliary connection.

Three-phase turbine supply hose with IP44 3PN+E 32A 400V connecting plug.

Three-phase generator supply hose with IP44 3PN+E 32A 400V connecting plug.

Three switches to choose between the different modes:

Local and remote control mode.

Manual and automatic speed control.

Manual and automatic excitation control

Three control switches to:

Start and stop the turbine.

Give permission to synchronize the generator with the grid.

Give permission to close 52NET circuit breaker.

Two potentiometers to regulate:

Turbine speed.

Generator excitation.

Emergency stop button.

Two circuit breakers for synchronization and stand-alone operations.

Different terminals to measure.

Ethernet connection: RJ45 communication port for SCADA remote control.

Automatic speed and voltage controller (easygen):

Enables to connect up to 16 electric generators in parallel-island with distribution of active and reactive load and start/stop in function of the load demand.

Enables to connect a generator in parallel with the grid.

Enables different switches control modes, such as opening, closing and synchronization.

Analogical outputs to control voltage and frequency regulators.

Three-phase measurement of the grid and the generator voltage.

Three-phase measurement of the generator intensity and power.

Single-phase measurement of the grid intensity.

Protection system.

Generator:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), voltage asymmetry, detection of dead busbars, overvoltage (32), load unbalance (46), negative sequence power/reduced power (32R/F), overcurrent by defined curve (50/51), inverse time overcurrent (IEC255), measured ground fault (50N/51N), phase rotation, switches faults.

Network:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), vector jump, phase rotation.

Six alarms:

Alarm 1: Reverse power.

Alarm 2: Overcurrent.

Alarm 3: Over/undervoltage.

Alarm 4: Inverse time overcurrent.

Alarm 5: Over/under frequency.

Alarm 6: Shutdown alarms.

Four operation signals:

Ready for operation.

Start request.

Synchronization conditions.

Permission for synchronization.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

TRANS3/5KGR. Grid Transformer, 400/400 VAC, 5 kVA.

5KVA Three-Phase Grid transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

TRANS3/5KSU. Three-Phase step-up Transformer, 400/400 VAC, 5 kVA.

5KVA Step-Up transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

GMG4.5K3PH. 4.5 kW Generator-Motor group.

Generator-Motor group coupled in an aluminum frame with wheels.

Rated power of the generator: 4.5 KVA.

Stator nominal: 6.5 A.

Excitation nominal: 4 A.

RPM: 3000 rpm.

Motor rated power I: 5 KVA.

Nominal I: 7.2 A.

AEL-PC. Touch Screen and Computer.

Touch Screen:

Energy efficiency class: A.

Screen diagonal: 68.6 cm (27 inch (s)).

Power consumption (operating): 26 watts.

Annual energy consumption: 38 kWh.

Power consumption (standby / off) 0.49 watts.

Screen resolution: 1920 x 1080 pixels.

Computer:

Processor Number: Intel Core i7-6600U Processor (4M Cache, up to 3,40 GHz).

Cache: 4 MB Intel Smart Cache.

Clock speed: 2.6 GHz.

# Of Cores/# of Threads: 2/4.

Max. TDP/Power: 15 W.

Memory Types: DDR4-2133, LPDDR3-1866, DDR3L-1600.

Graphics: Intel HD 530.

AEL-WBMG. Electrical Workbench (Mobile Big).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 2000 mm, depth 600 mm.

Computer Control + Data Acquisition + Data Management Software of Smart Grid Power Systems.

Note: Other Generation applications recommended (see “d”).

b) POWER TRANSMISSION INCLUDED ELEMENTS

N-ALI01. Industrial Main Power Supply.

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

N-AE1CD. Transmission Lines Simulation Digital Unit (2 units).

Power supply voltage: 230 VAC +GND.

Line Voltages: 400 VAC + N.

Three-phase line with variable parameters.

Concentrated parameters line.

Two capacitances Banks between line and ground composed

by three capacitances of 2 μF.

Resistance of the line that can be wired independently:

One resistor of 15 Ω.

One resistor of 33 Ω.

Inductance of the line with several values: 32 mH, 72 mH.

Neutral resistor of 15 Ω.

Fuse: 1 A.

N-REL09. Time Electronic Relay against Overcurrents Module (0-16 A).

Nominal voltage: 230 / 24 VAC.

Contacts:

Normally Open Contact (NO).

Normally Close Contact (NC).

Common point of normally close/open contacts.

N-REG16. Voltage Regulation Module 1.

230 VAC+GND Power Supply terminals.

24 VDC output terminal.

24 VDC input terminal (up voltage).

24 VDC input terminal (down voltage).

Slide commutator with three positions.

Power connector. Signal connector.

Fuses: 3 x 10 A.

Input power terminals: Power input connections: L1, L2, L3, N.

Output power terminals: Power output connections: L1, L2, L3, N.

Ground Terminal.

TRANS3/5KRM. Three-Phase Autotransformer with Motor Voltage Regulator, 400/400 VAC, 5 kVA.

5 KVA distribution autotransformer.

Rated power: 5 KVA.

Voltage in primary winding: 400 VAC star.

Voltage in secondary winding: 400 VAC delta.

Signal connection to receive step up and down signals from the

voltage regulator module.

AEL-WBMP. Electrical Workbench (Mobile Small).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 1600 mm, depth 600 mm.

c) POWER DISTRIBUTION AND LOADS INCLUDED ELEMENTS

N-ALI01. Industrial Main Power Supply.

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

N-BUS08. Distribution Busbar Module (4 units).

Supply Voltage: 230 VAC.

Double busbar topology, with two disconnectors and one circuit breaker.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

N-BUS09. Coupling Busbar Module.

Supply Voltage: 230 VAC.

Double busbar topology, with two disconnectors and one circuit breaker.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

AEL-WBMG. Electrical Workbench (Mobile Big).

Electrical Workbench with three levels stands.

Aluminum structure with wheels.

Dimensions: High 2000 mm, width 2000 mm, depth 600 mm.

d) OTHER RECOMMENDED POWER GENERATION APPLICATIONS FOR MORE SMART GRIDS STUDIES

Renewable Energies:

-AEL-PHVGC. Computer Controlled Photovoltaic Power Plants Application.

-AEL-WPPIC. Wind Power Plants with Induction Generator Application, with SCADA.

-AEL-WPTC. Wind Power Application with Permanent Magnets Synchronous Generator, with SCADA.

-AEL-HPPPA. Advanced Hydroelectric Power Plants Application with Pelton Turbine.

-AEL-WPP. Wind Power Plants with Double Feed Induction Generator Application.

-AEL-HPPK. Hydroelectric Power Plants Application with Kaplan Turbine.

-AEL-HPPF. Hydroelectric Power Plants Application with Francis Turbine.

-AEL-SGSB. Smart Grids Battery Storage Application.

Conventional Energies:

-TDEGC. Computer Controlled Diesel Engine Electrical Generator Application.

e) REQUIRED ELEMENTS (AT LEAST ONE) (NOT INCLUDED):

- TPEL/1800W. Single-phase AC/DC Electronic Load of 1800W (3 units).

The TPEL/1800W electrical load stands out for its versatility in operating in both AC and DC. With a wide power range from 0 to 1800VA and an adjustable frequency from 45 Hz to 450 Hz, this electronic source offers exceptional capabilities.

With its advanced measurement capabilities, 7-inch LCD display, and features such as the built-in oscilloscope, the TPEL/1800W is the ideal solution for laboratory testing of most of EDIBON’s unit such as UPS, inverters, AC power supplies, electrical generators and AC electronic components. In addition, its connectivity via LAN and USB interfaces ensures reliable and fast control, adding an additional level of efficiency to its capabilities.

Technical Features:

Frequency Range: 45 Hz~450 Hz.

Power Range: 0~1.8 kVA

Voltage Range: 50-420 Vrms, 15-260 Vrms

Parallel Connection/Three Phase Control: Capacity can be extended up to 43.2 kVA

7 Inch LCD Display: Provides a clear and accessible interface.

Oscilloscope Function: Allows display of voltage and current waveforms.

High Speed AD Sampling: Captures real-time waveforms.

Measurement Modes: Includes Vrms, Vpk, Vdc, Irms, Ipk, Idc, W, VA, VAR, CF, PF and FREQ.

Harmonic Measurement: Up to harmonic 50 (THD-V).

AC Electronic Load: DC/CR/CP modes.

DC Electronic Load: DC/CR/CP/CV modes.

External Analog Control: 0~10 V analog input, with voltage and current monitoring functions.

Protection Functions: OTP, OCP, OVP, UVP and OPP.

Communication Interfaces: LAN and USB, plus external interface for USB flash disk.

- RCL-KIT-1C. Loads Kit with SCADA Control:

-N-CAR36T3D. Three-phase Digital Bank of Commutable Inductances Module.

Configurable Star and Delta connection.

Three Banks with three-phase inductances of 5 H each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3x300) VAr.

-N-CAR19T3D. Three-phase Digital Bank of Commutable Capacitors Module.

Configurable Star and Delta connection.

Three Banks with three-phase capacitors of 2 μF each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) VAr.

-N-CAR35T3D. Three-phase Digital Bank of Commutable Resistors Module.

Configurable Star and Delta connections.

Three banks with three-phase resistors of 1600 Ω each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) W.

Digital bank of commutable resistors module.

e) ADDITIONAL RECOMMENDED ELEMENTS (AT LEAST ONE) (NOT INCLUDED):

-  PSV-BPP-SOF. Biomass Power Plants Simulator.

The PSV-BPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of Rankine cycle biomass power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters by means of the mathematical models integrated in the simulator.

The basic principle of biomass power plants is to transform the intrinsic energy of a fuel that can be considered renewable into electrical energy that will be delivered to the grid. Thus, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of thermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these factors.

By means of this software the student will be able to understand that every thermal cycle of power generation or thermal machine can be represented as a function of the net generated power and the incoming or outgoing thermal powers, according to the fundamental equations of thermodynamics for each element and thermal process of the cycle.

-  PSV-GSPP-SOF. Gas Power Plants Simulator.

The PSV-GSPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of Brayton cycle gas turbine power plants, exposing in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of gas turbine power plants is to transform the intrinsic energy of a fuel into electrical energy to be delivered to the grid. Likewise, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of thermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these parameters.

-  PSV-HPPS-SOF. Hydroelectric Power Plants Simulator.

The PSV-HPPS-SOF software has been designed by EDIBON to show the user the basic principles of operation of hydraulic power plants, exposing in a didactic way the elements and parameters involved in the generation process, as well as the interrelations between these parameters thanks to the mathematical models integrated in the simulator.

The application offers various levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of hydroelectric power plants. In this way it will be possible to carry out a previous configuration of the plant’s operating conditions, to later control and manage it based on these parameters.

-  PSV-HSPP-SOF. Heliothermic Solar Power Plants Simulator.

The PSV-HSPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of solar thermal power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of solar thermal power plants is the use of heat energy from solar radiation to obtain electrical energy. There are different types of plants such as tower plants and parabolic trough plants. Solar towers consist of a large glass surface in the centre of which is a very high chimney fitted with devices similar to wind turbines. In this way, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of solar thermal power plants, where this energy transformation takes place.

-  PSV-WPPP-SOF. Wind Powered Power Plants Simulator.

The PSV-WPPP-SOF software has been designed by EDIBON to show the user the basic principles of operation of wind power plants, exposing in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters thanks to the mathematical models integrated in the simulator.

The application offers various levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of control, operation and functioning of this type of power plant. Consequently, it will be possible to carry out a previous configuration of the plant’s operating conditions, for subsequent control and management based on these factors.

-  PSV-GPP-SOF. Geothermal Power Plants Simulator.

The PSV-GPP-SOF software has been designed by EDIBON with the aim of showing the user the basic principles of operation of geothermal power plants, presenting in a didactic way the elements and parameters present in the generation process, as well as the interrelations between these parameters through the mathematical models integrated in the simulator.

The basic principle of geothermal power plants is the extraction of heat from the ground in the form of electrical energy to be fed into the grid. Thus, the application offers different levels of training that will provide the user with the essential knowledge and skills on the fundamental principles of operation and functioning of geothermal power plants, where this energy transformation takes place. In this way it will be possible to carry out a previous configuration of the operating conditions of the plant, to later carry out the control and management based on these factors.

- TPEL/1800W. Single-phase AC/DC Electronic Load of 1800W (3 units).

The TPEL/1800W electrical load stands out for its versatility in operating in both AC and DC. With a wide power range from 0 to 1800VA and an adjustable frequency from 45 Hz to 450 Hz, this electronic source offers exceptional capabilities.

With its advanced measurement capabilities, 7-inch LCD display, and features such as the built-in oscilloscope, the TPEL/1800W is the ideal solution for laboratory testing of most of EDIBON’s unit such as UPS, inverters, AC power supplies, electrical generators and AC electronic components. In addition, its connectivity via LAN and USB interfaces ensures reliable and fast control, adding an additional level of efficiency to its capabilities.

Technical Features:

Frequency Range: 45 Hz~450 Hz.

Power Range: 0~1.8 kVA

Voltage Range: 50-420 Vrms, 15-260 Vrms

Parallel Connection/Three Phase Control: Capacity can be extended up to 43.2 kVA

7 Inch LCD Display: Provides a clear and accessible interface.

Oscilloscope Function: Allows display of voltage and current waveforms.

High Speed AD Sampling: Captures real-time waveforms.

Measurement Modes: Includes Vrms, Vpk, Vdc, Irms, Ipk, Idc, W, VA, VAR, CF, PF and FREQ.

Harmonic Measurement: Up to harmonic 50 (THD-V).

AC Electronic Load: DC/CR/CP modes.

DC Electronic Load: DC/CR/CP/CV modes.

External Analog Control: 0~10 V analog input, with voltage and current monitoring functions.

Protection Functions: OTP, OCP, OVP, UVP and OPP.

Communication Interfaces: LAN and USB, plus external interface for USB flash disk.

The complete unit includes as well:

EDIBON SCADA System (Supervisory, Control and Data Acquisition) always included.

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user´s knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON SCADA-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 Cables and Accessories, for normal operation.

3 Manuals:

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

*References 1 to 3 are the main items: AEL-MPSS-04C + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Study of generation, transmission and distribution power systems.

2.- Analysis of the measurements of the power flows of the synchronous generator, transmission lines and loads.

3.- Analysis of the active and reactive power of the synchronous generator against load variations.

4.- Automatic synchronization maneuvers of synchronous generator with the mains.

5.- Study of the synchronous generator in island operation mode.

6.- Study of the synchronous generator in grid parallel operation mode.

7.- Study of excitation/voltage regulation of synchronous generator in island mode.

8.- Study of turbine regulation (frequency control) in island mode.

9.- Study of excitation/voltage regulation of synchronous generator in parallel grid operation mode.

10.-Study of turbine regulation (frequency control) in parallel grid operation mode.

11.- Study of the power factor regulation of synchronous generator in parallel grid operation mode.

12.- Analysis and calculus of energy loses in transmission lines according to the line electrical parameters.

13.- Capacitive effect influence in transmission lines.

14.- Analysis of the reactive energy excess in transmission lines.

15.-Analysis of the influence of one or more line losses in the electric system.

16.-Power factor compensation and the effects in the power system.

17.-Double bus bar coupling maneuver.

18.-Operation logic with circuit breakers and disconnectors in a double bus bar substation.

19.-Load sharing with different feeders.

20.-Bus bar changeover without interruption.

Some practical exercises possibilities with the SCADA:

21.-Remotely control of generation power systems.

22.-Analysis with the SCADA software of synchronous generator power flows.

23.-Analysis with SCADA software of active and reactive power of synchronous generator.

24.-Remotely control of manual synchronization of synchronous generator with the mains.

25.-Remotely control of automatic synchronization of synchronous generator with the mains.

26.-Remotely control of synchronous generator in island grid operation mode.

27.-Study of Micro-Grids.

28.-Remotely control of synchronous generator in parallel grid operation mode.

29.-Remotely control of excitation/voltage regulation of synchronous generator in island mode.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

4 AEL-MPSS-04C/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

CUSTOM MADE CONFIGURATIONS

AEL-MPSS/G.

MODULAR SMART GRID POWER GENERATION APPLICATION, 5KW

TENDER SPECIFICATIONS (for main items)

1 AEL-MPSS/G. Unit:

a) POWER GENERATION INCLUDED ELEMENTS:

The “MPSS/G-UB” is the base unit for the ''AEL-MPSS/G'' application.

The Modular Smart Grid Power Generation Application Base Unit, 5 Kw, “MPSS/G-UB” unit includes the following elements:

N-ALI01. Industrial Main Power Supply:

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-PSUB3. Power Generation Substation Module 3.

Supply voltage: 400 VAC, 3PH+N.

ON/OFF switch.

Power and signals connection:

Auxiliary connection.

Three-phase turbine supply hose with IP44 3PN+E 32A 400V connecting plug.

Three-phase generator supply hose with IP44 3PN+E 32A 400V connecting plug.

Three switches to choose between the different modes:

Local and remote control mode.

Manual and automatic speed control.

Manual and automatic excitation control

Three control switches to:

Start and stop the turbine.

Give permission to synchronize the generator with the grid.

Give permission to close 52NET circuit breaker.

Two potentiometers to regulate:

Turbine speed.

Generator excitation.

Emergency stop button.

Two circuit breakers for synchronization and stand-alone operations.

Different terminals to measure.

Ethernet connection: RJ45 communication port for SCADA remote control.

Automatic speed and voltage controller (easygen):

Enables to connect up to 16 electric generators in parallel-island with distribution of active and reactive load and start/stop in function of the load demand.

Enables to connect a generator in parallel with the grid.

Enables different switches control modes, such as opening, closing and synchronization.

Analogical outputs to control voltage and frequency regulators.

Three-phase measurement of the grid and the generator voltage.

Three-phase measurement of the generator intensity and power.

Single-phase measurement of the grid intensity.

Protection system.

Generator:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), voltage asymmetry, detection of dead busbars, overvoltage (32), load unbalance (46), negative sequence power/reduced power (32R/F), overcurrent by defined curve (50/51), inverse time overcurrent (IEC255), measured ground fault (50N/51N), phase rotation, switches faults.

Network:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), vector jump, phase rotation.

Six alarms:

Alarm 1: Reverse power.

Alarm 2: Overcurrent.

Alarm 3: Over/undervoltage.

Alarm 4: Inverse time overcurrent.

Alarm 5: Over/under frequency.

Alarm 6: Shutdown alarms.

Four operation signals:

Ready for operation.

Start request.

Synchronization conditions.

Permission for synchronization.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

GMG4.5K3PH. 4.5 kW Generator-Motor group.

Generator-Motor group coupled in an aluminum frame with wheels.

Rated power of the generator: 4.5 KVA.

Stator nominal: 6.5 A.

Excitation nominal: 4 A.

RPM: 3000 rpm.

Motor rated power I: 5 KVA.

Nominal I: 7.2 A.

Computer Control + Data Acquisition + Data Management Software of Smart Grid Power Systems.

Note: Other Generation applications availabe and not included (see “d”).

With all elements included in paragraph “a” and “b”, the selected option can work properly. For more practical possibilities, add paragraphs “c” or “d”.

b) REQUIRED ELEMENTS

RCL-KIT-1C. Loads Kit with SCADA Control (only one RCL-KIT-1C is required):

-N-CAR36T3D. Three-phase Digital Bank of Commutable Inductances Module.

Configurable Star and Delta connection.

Three Banks with three-phase inductances of 5 H each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3x300) VAr.

-N-CAR19T3D. Three-phase Digital Bank of Commutable Capacitors Module.

Configurable Star and Delta connection.

Three Banks with three-phase capacitors of 2 μF each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) VAr.

-N-CAR35T3D. Three-phase Digital Bank of Commutable Resistors Module.

Configurable Star and Delta connections.

Three banks with three-phase resistors of 1600 Ω each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) W.

Digital bank of commutable resistors module.

AEL-PC. Touch Screen and Computer.

Touch Screen:

Energy efficiency class: A.

Screen diagonal: 68.6 cm (27 inch (s)).

Power consumption (operating): 26 watts.

Annual energy consumption: 38 kWh.

Power consumption (standby / off) 0.49 watts.

Screen resolution: 1920 x 1080 pixels.

Computer:

Processor Number: Intel Core i7-6600U Processor (4M Cache, up to 3,40 GHz).

Cache: 4 MB Intel Smart Cache.

Clock speed: 2.6 GHz.

# Of Cores/# of Threads: 2/4.

Max. TDP/Power: 15 W.

Memory Types: DDR4-2133, LPDDR3-1866, DDR3L-1600.

Graphics: Intel HD 530.

c) ADDITIONAL RECOMMENDED ELEMENTS

N-REL09. Time Electronic Relay against Overcurrents Module (0-16 A).

Nominal voltage: 230 / 24 VAC.

Contacts:

Normally Open Contact (NO).

Normally Close Contact (NC).

Common point of normally close/open contacts.

N-PPIM2. Instrumentation Module 2.

Three-Phase wattmeter:

Measured range: 0 - 5 kW.

Three-Phase varmeter:

Measured range: 0 - 5 kVar.

Voltmeter:

Measured range: 0 - 500 VAC.

Frequency meter:

Measured range: 45 - 55 Hz.

DC meter:

Measured range: 0 - 5 A.

Protection Relays for Power Generation:

- N-ERP-PDF01. Differencial Protection Relay Module.

Differential Protection Relay.

Power supply: 230 VAC.

Eight overcurrent elements for winding 1:

Phase: Instanteneous 50P1H, Define time 50P1, Inverser time 51P1.

Negative Sequence: Define time 50Q1, Inverser time 51Q1.

Residual: Instanteneous 50N1H, Define time 50N1, Inverser time 51N1.

Eight overcurrent elements for winding 2:

Phase: Instanteneous 50P2H, Define time 50P2, Inverser time 51P2.

Negative Sequence: Define time 50Q2, Inverser time 51Q2.

Residual: Instanteneous 50N2H, Define time 50N2, Inverser time 51N2.

Selogic Control Equations.

Event Reports.

ASCII. Binary, and Distributed Port Switch Communications.

Phase, Ground, Negative-Sequence, Differential and Harmonic Metering.

Restrained and Unrestrained Differential Elements.

Second- and Fourth Harmonic Restraint.

Fifth-Harmonic and DC Blocking.

CT and Transformer Connection Compensation.

Accuracy: +- 5%.

Current: 5 A (A. C.)

Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

- N-ERP-SFT01. Overcurrent and Earth Fault Protection Relay Module.

Overcurrent protection relay module.

Power supply: 230 VAC.

TRIP indicator lamps.

Overcurrent and Earth fault protection.

Communications connector DB9 RS-232.

Signals connector SUB-D 62 pin.

ON-OFF Switch.

Terminal connections.

Characteristics:

Phase, ground and negative sequence overcurrent protection.

Time-Overcurrent curves of US and IEC.

Reclosing relays of multiple trips with sequence coordination.

SELOGIC® enhanced control equations to develop traditional or advanced schemes.

Logic of local / remote control to change the schemes, operating circuit breakers, etc.

Recorder of the sequence of events (SER) and reports of events stored in nonvolatile memory.

Supports ASCII, SEL LMD, and Modbus RTU protocols.

- N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA remote control.

- N-PSM. Power Switch Module (2 units).

Supply voltage: single-phase 230 VAC.

Power terminals:

Four power input terminals (3PH+N).

Four power output terminals (3PH+N).

Auxiliary contacts:

One “NO” contact.

One “NC” contact.

Two push-buttons to open / close the power terminals and auxiliary contacts.

Two control contacts of 24 VDC.

Two voltage supply outputs of 24 VDC.

TRANS3/5KGR. Grid Transformer, 400/400 VAC, 5 kVA.

5KVA Three-Phase Grid transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

TRANS3/5KSU. Three-Phase step-up Transformer, 400/400 VAC, 5 kVA.

5KVA Step-Up transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

AEL-MPSS recommended applications:

-AEL-MPSS/T. Modular Smart Grid Power Transmission Application, 5kW.

-AEL-MPSS/DL. Modular Smart Grid Power Distribution and Loads Application, 5kW.

d) OTHER RECOMMENDED POWER GENERATION APPLICATIONS FOR MORE SMART GRIDS STUDIES

Renewable Energies:

-AEL-PHVGC. Computer Controlled Photovoltaic Power Plants Application.

-AEL-WPPIC. Wind Power Plants with Induction Generator Application, with SCADA.

-AEL-WPTC. Wind Power Application with Permanent Magnets Synchronous Generator, with SCADA.

-AEL-HPPPA. Advanced Hydroelectric Power Plants Application with Pelton Turbine.

-AEL-WPP. Wind Power Plants with Double Feed Induction Generator Application.

-AEL-HPPK. Hydroelectric Power Plants Application with Kaplan Turbine.

-AEL-HPPF. Hydroelectric Power Plants Application with Francis Turbine.

-AEL-SGSB. Smart Grids Battery Storage Application.

Conventional Energies:

-TDEGC. Computer Controlled Diesel Engine Electrical Generator Application.

The complete unit includes as well:

EDIBON SCADA System (Supervisory, Control and Data Acquisition) always included.

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user´s knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON SCADA-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 Cables and Accessories, for normal operation.

3 Manuals:

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

*References 1 to 3 are the main items: AEL-MPSS/G + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Study of power generation with the synchronous generator.

2.- Analysis of the measurements of the power flows of the synchronous generator with different circumstances.

3.- Analysis of the active and reactive power of the synchronous generator against load variations.

4.- Automatic synchronization maneuvers of synchronous generator with the mains.

5.- Study of the synchronous generator control in island operation mode.

6.- Study of the synchronous generator control in grid parallel operation mode.

7.- Study of excitation/voltage regulation of synchronous generator in island mode.

8.- Study of turbine regulation (frequency control) in island mode.

9.- Study of excitation/voltage regulation of synchronous generator in parallel grid operation mode.

10.-Study of turbine regulation (frequency control) in parallel grid operation mode.

11.- Study of the power factor regulation of synchronous generator in parallel grid operation mode.

Some practical exercises possibilities with the SCADA:

12.-Remotely control of generation power systems.

13.-Analysis with the SCADA software of synchronous generator power flows.

14.-Analysis with SCADA software of active and reactive power of synchronous generator.

15.-Remotely control of manual synchronization of synchronous generator with the mains.

16.-Remotely control of automatic synchronization of synchronous generator with the mains.

17.-Remotely control of synchronous generator in island grid operation mode.

18-Remotely control of synchronous generator in parallel grid operation mode.

19.-Remotely control of excitation/voltage regulation of synchronous generator in island mode.

Additional practical exercise with recommended protection relays:

20.-Single-Pole, Two-Pole and three-Pole faults with and without impedance.

21.- Programming of the differential protection relay.

22.-Programming of the over current and earth fault protection.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

4 AEL-MPSS/G/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

AEL-MPSS/T.

MODULAR SMART GRID POWER TRANSMISSION APPLICATION, 5KW

TENDER SPECIFICATIONS (for main items)

1 AEL-MPSS/T Unit.

a) POWER TRANSMISSION INCLUDED ELEMENTS:

The “MPSS/T-UB” is the base unit for the ''AEL-MPSS/G'' application.

The Modular Smart Grid Power Transmission Application Base Unit, 5Kw, “MPSS/T-UB” unit includes the following elements:

N-ALI01. Industrial Main Power Supply:

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

N-AE1CD. Transmission Lines Simulation Digital Unit (2 units).

Power supply voltage: 230 VAC +GND.

Line Voltages: 400 VAC + N.

Three-phase line with variable parameters.

Concentrated parameters line.

Two capacitances Banks between line and ground composed

by three capacitances of 2 μF.

Resistance of the line that can be wired independently:

One resistor of 15 Ω.

One resistor of 33 Ω.

Inductance of the line with several values: 32 mH, 72 mH.

Neutral resistor of 15 Ω.

Fuse: 1 A.

N-REG16. Voltage Regulation Module 1.

230 VAC+GND Power Supply terminals.

24 VDC output terminal.

24 VDC input terminal (up voltage).

24 VDC input terminal (down voltage).

Slide commutator with three positions.

Power connector. Signal connector.

Fuses: 3 x 10 A.

Input power terminals: Power input connections: L1, L2, L3, N.

Output power terminals: Power output connections: L1, L2, L3, N.

Ground Terminal.

TRANS3/5KRM. Three-Phase Autotransformer with Motor Voltage Regulator, 400/400 VAC, 5 kVA.

5 KVA distribution autotransformer.

Rated power: 5 KVA.

Voltage in primary winding: 400 VAC star.

Voltage in secondary winding: 400 VAC delta.

Signal connection to receive step up and down signals from the voltage regulator module.

With all elements included in paragraph “a” and “b”, the selected option can work properly. For more practical possibilities, add paragraphs “c” or “d”.

b) REQUIRED ELEMENTS

RCL-KIT-1C. Loads Kit with SCADA Control (only one RCL-KIT-1C is required):

-N-CAR36T3D. Three-phase Digital Bank of Commutable Inductances Module.

Configurable Star and Delta connection.

Three Banks with three-phase inductances of 5 H each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3x300) VAr.

-N-CAR19T3D. Three-phase Digital Bank of Commutable Capacitors Module.

Configurable Star and Delta connection.

Three Banks with three-phase capacitors of 2 μF each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) VAr.

-N-CAR35T3D. Three-phase Digital Bank of Commutable Resistors Module.

Configurable Star and Delta connections.

Three banks with three-phase resistors of 1600 Ω each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) W.

Digital bank of commutable resistors module.

-N-SGPS-CM. Control Module for Smart Grid Power Systems with SCADA (only one N-SGPS-CM is required to work with SCADA if AEL-MPSS/G application is not acquired).

Interface for Smart Grid control and data acquisition.

Power supply: 230 VAC.

Ethernet connection.

Modbus TCP-IP communication protocol.

c) ADDITIONAL RECOMMENDED ELEMENTS

-N-ASC. Arc Suppression Coil Module.

Nominal voltage: 230V.

Max. current: 1 A.

Coil: 0.5 to 1.5 H, 9 variable stages.

-N-PST/1K. 1 kVA Phase Shifting Transformer.

Input Voltage: 3 x 400 VAC.

Output Voltage 1: 3 x 400 VAC+N, 2 A.

3 x Auxiliary Windings: 4 x 30 VAC, 1.25 A.

Nominal power: 1 kVA.

GND terminal.

-N-UTL. Underground Transmission Line Module.

Resistance per phase: 0,5 Ohm, 1 Ohm, 2 Ohm.

Inductance per phase: 6 mH, 12 mH, 24 mH.

Capacity per phase: 2 x 2μF 7μF.

Max power consumption: 1kW.

Voltage: 230V AC.

Frequency: 50/60Hz.

Current: 2.5 A.

-N-REL09. Time Electronic Relay against Overcurrents Module (0-16 A).

Nominal voltage: 230 / 24 VAC.

Contacts:

Normally Open Contact (NO).

Normally Close Contact (NC).

Common point of normally close/open contacts.

Protection Relays for Transmission Lines:

- N-ERP-SDND01. Directional/Non directional Overcurrent Protection Module.

It enables a wide range of test and investigations and it demonstrates the latest relay technology.

Modern and robust enclosure (steel box) with carrying handles.

Modern industrial application directional/non directional overcurrent relay presented in an educational and teaching format.

The connections are via safety sockets.

The main functions:

Inverse-time overcurrent element settings include a wide and continuous pickup current range, continuous time-dial setting range, and time-current curve choices from both US (IEEE) and IEC standard curves.

Undervoltage Protection Element (27).

Phase Overvoltage Protection Element (59P).

Ground Overvoltage Protection Element (59G).

Negative Sequence Overvoltage Protection (59Q).

Creating fault and disturbance records.

Selectable blocking.

Selogic Control Equations.

Event Report.

Sequential Events Recorder (SER).

Breaker Wear Monitor.

Station Battery Monitor.

DNP3 Serial LAN/WAN Outstation (Slave).

Modbus RTU and TPC.

High-Accuracy Metering.

Remote and Local Control Switches.

Wye or Delta Voltage Connection.

Synchrophasor Measurements.

Fault Locator.

Fast SER Protocol.

Directional/Definite-Time Overcurrent Elements.

Two Residual-Ground Time-Overcurrent Elements.

Six Frequency Elements.

Sensitive Earth Fault Protection and Directional Protection for Various System Grounding Practices.

Load-Encroachment Logic.

Synchronism Check.

ACSELERATOR QuickSet Compatible.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%.

Current: 5 A (A. C.).

Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

-N-ERP-PD01. Distance Protection Relay Module.

It is used to enable investigations into protection and monitoring of overhead transmission lines and underground cables. It enables a wide range of test and investigations and it

demonstrates the latest relay technology.

Modern industrial application distance protection relay presented in an educational and teaching format.

The connections are via safety sockets.

The main functions:

Two zones of Phase Mho Distance Protection Element (21P).

Two zones of Ground Mho Distance Protection Element (21G).

Directional Phase Overcurrent Protection Element (67P).

Directional Ground Overcurrent Protection Element (67G).

Phase Overcurrent Protection Element (50P).

Ground Overcurrent Protection Element (50G).

Phase Time-Overcurrent Protection Element (51P).

Ground Time-Overcurrent Protection Element (51G).

Event Reports.

Breaker Wear Monitor.

Fault Locator.

Local Display.

Synchronophasors.

Load Encroachment.

Metering and Monitoring Functions.

Creating fault and disturbance records.

Blocking of any one protection element.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%. Current: 5 A (A. C.). Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

- N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA remote control.

- N-PSM. Power Switch Module (2 units).

Supply voltage: single-phase 230 VAC.

Power terminals:

Four power input terminals (3PH+N).

Four power output terminals (3PH+N).

Auxiliary contacts:

One “NO” contact.

One “NC” contact.

Two push-buttons to open / close the power terminals and auxiliary contacts.

Two control contacts of 24 VDC.

Two voltage supply outputs of 24 VDC.

TRANS3/5KGR. Grid Transformer, 400/400 VAC, 5 kVA.

5KVA Three-Phase Grid transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

AEL-MPSS recommended applications:

-AEL-MPSS/G. Modular Smart Grid Power Generation Application, 5kW.

-AEL-MPSS/DL. Modular Smart Grid Power Distribution and Loads Application, 5kW.

d) OTHER RECOMMENDED POWER GENERATION APPLICATIONS FOR MORE SMART GRIDS STUDIES

Renewable Energies:

-AEL-PHVGC. Computer Controlled Photovoltaic Power Plants Application.

-AEL-WPPIC. Wind Power Plants with Induction Generator Application, with SCADA.

-AEL-WPTC. Wind Power Application with Permanent Magnets Synchronous Generator, with SCADA.

-AEL-HPPPA. Advanced Hydroelectric Power Plants Application with Pelton Turbine.

-AEL-WPP. Wind Power Plants with Double Feed Induction Generator Application.

-AEL-HPPK. Hydroelectric Power Plants Application with Kaplan Turbine.

-AEL-HPPF. Hydroelectric Power Plants Application with Francis Turbine.

-AEL-SGSB. Smart Grids Battery Storage Application.

Conventional Energies:

-TDEGC. Computer Controlled Diesel Engine Electrical Generator Application.

The complete unit includes as well:

EDIBON SCADA System (Supervisory, Control and Data Acquisition) always included.

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user´s knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON SCADA-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 Cables and Accessories, for normal operation.

3 Manuals:

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

*References 1 to 3 are the main items: AEL-MPSS/T + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Analysis and calculus of energy loses in transmission lines according to the line electrical parameters.

2.-Study of the line length variations and the influence of this parameter in the energy losses.

3.- Capacitive effect influence in transmission lines.

4.- Analysis of the reactive energy excess in transmission lines.

5.- Analysis of the influence of one or more line losses in the electric system. Unbalance power transmission.

6.- Power factor compensation and the effects in the power transmission system.

7.- Study of voltage regulation transformer in transmission lines.

8.- Study of the compensation of the drop voltage in the transmission line with the motorized regulation transformer.

Some practical exercises possibilities with the SCADA:

9.- Measurement of energy losses in transmission lines.

10.-Monitoring of active power curves in transmission lines.

11.- Monitoring of reactive power curves in transmission lines.

12.-Monitoring of apparent power curves in transmission lines.

13.- Monitoring of drop voltage curves in transmission lines.

14.- Remote control of the motorized voltage transformer.

Additional practical exercise with recommended protection relays:

15.-Single-Pole, Two-Pole and three-Pole faults with and without impedance.

16.-Programming of the distance protection relay.

17.-Programming of the fault location according to the fault point (Mho zones).

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

4 AEL-MPSS/T/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

AEL-MPSS/DL.

MODULAR SMART GRID POWER DISTRIBUTION AND LOADS APPLICATION, 5KW

TENDER SPECIFICATIONS (for main items)

1 AEL-MPSS/DL Unit:

a) POWER DISTRIBUTION AND CONSUMPTION ELEMENTS

The “MPSS/DL-UB” is the base unit for the ''AEL-MPSS/DL'' application.

The Modular Smart Grid Power Distribution and Loads Application Base Unit, 5 Kw, “MPSS/DL-UB” unit includes the following elements:

N-ALI01. Industrial Main Power Supply:

Supply voltage: 400 VAC, 3PH+N+G.

ON-OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN+E 32A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

GND terminal.

N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

N-BUS08. Distribution Busbar Module (4 units).

Supply Voltage: 230 VAC.

Double busbar topology, with two disconnectors and one circuit breaker.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

N-BUS09. Coupling Busbar Module.

Supply Voltage: 230 VAC.

Double busbar topology, with two disconnectors and one circuit breaker.

Two interconnection terminals.

One Power Input/Output to connect lines, generation, loads, etc.

Two push-buttons by each disconnector / circuit breaker to open and close them.

State indications lamps:

Two lamps to indicate the state of busbars.

Three pilot-lights to indicate the state of the circuit breaker and the disconnectors.

Two Ethernet connections.

With all elements included in paragraph “a” and “b”, the selected option can work properly. For more practical possibilities, add paragraphs “c” or “d”.

b) REQUIRED ELEMENTS

RCL-KIT-1C. Loads Kit with SCADA Control (only one RCL-KIT-1C is required):

-N-CAR36T3D. Three-phase Digital Bank of Commutable Inductances Module.

Configurable Star and Delta connection.

Three Banks with three-phase inductances of 5 H each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3x300) VAr.

-N-CAR19T3D. Three-phase Digital Bank of Commutable Capacitors Module.

Configurable Star and Delta connection.

Three Banks with three-phase capacitors of 2 μF each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) VAr.

-N-CAR35T3D. Three-phase Digital Bank of Commutable Resistors Module.

Configurable Star and Delta connections.

Three banks with three-phase resistors of 1600 Ω each one.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) W.

Digital bank of commutable resistors module.

-N-SGPS-CM. Control Module for Smart Grid Power Systems with SCADA (only one N-SGPS-CM is required to work with SCADA if AEL-MPSS/G application is not acquired).

Interface for Smart Grid control and data acquisition.

Power supply: 230 VAC.

Ethernet connection.

Modbus TCP-IP communication protocol.

c) ADDITIONAL RECOMMENDED ELEMENTS

-N-REL09. Time Electronic Relay against Overcurrents Module (0-16 A).

Nominal voltage: 230 / 24 VAC.

Contacts:

Normally Open Contact (NO).

Normally Close Contact (NC).

Common point of normally close/open contacts.

-N-TRANS03. Three-Phase Autotransformer 400/230 VAC, 1 kVA, Module.

Three-phase autotransformer.

Nominal supply voltage: 400V AC (3PH).

Nominal output voltage: 3 x 230V AC (3PH+N).

Nominal power: 1 kVA.

Transformer connection: YY0.

Start/stop commutator for instantaneous connection /disconnection of the grid transformer.

Fuses: 3 x 5 A.

PFC-KIT. Power Factor Controller Kit:

-N-CFP. Advanced Power Factor Controller Module.

Automatic Power Factor Controller.

Power supply: 400 VAC.

4 x Input terminals.

4 x Output terminals.

Nominal current: 5A.

-N-CAR19T4D. Three-phase Digital Capacitor Banks Module.

Four banks with three three-phase capacitors of 2 μF.

Nominal voltage: 400V AC.

Nominal power: 4 x (3 x 300) VAr.

Protection Relays for Distribution and Loads:

-N-ERP-MA01. Feeder Management Relay Module.

This protection relay is used to test different short circuits in any point of the power system.

This protection relay allows investigations into protection and monitoring of overhead lines, underground cables and feeders.

The connections are via safety sockets.

The main functions:

Four levels of Phase Instantaneous Overcurrent Element (50P).

Four levels of Negative-Sequence Overcurrent Element (50Q).

Four levels of Residual Overcurrent Element (50G).

Four levels of Neutral Overcurrent Element (50G).

Two levels of Phase Time-Overcurrent Element (51P).

Two levels of Residual Time-Overcurrent Element (51G).

Two levels of Ground Time-Overcurrent Element (51G).

One level of Negative-Sequence Time-Overcurrent Element (51Q).

Phase to Ground Overvoltage (59G).

Phase to Phase Overvoltage (59P).

Negative-Sequence Overvoltage (59Q).

Residual Overvoltage (59G).

Phase to Ground Undervoltage (27G).

Phase to Phase Undervoltage (27P).

Six levels of Secure Overfrequency (81O).

Six levels of Secure Underfrequency (81U).

Two levels of Negative Power Flow with Definite Time Delay (32).

Two levels of Positive Power Flow with Definite Time Delay (32).

Station Battery Monitor.

Breaker Wear Monitoring.

Synchrophasor Protocol.

Peak Demand and Demand Metering.

Auto-Reclosing.

Creating fault and disturbance records.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%. Current: 5 A (A. C.). Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

-N-ERP-MF01. Digital Fault Simulator Module.

Enables injecting one, two or three pole different faults at the desired location through fault and line terminals.

Supply voltage: 230 VAC.

Trip time potentiometer.

Ethernet connection: Two communication ports for SCADA remote control.

-TRANS3/5KGR. Grid Transformer, 400/400 VAC, 5kVA. (only one TRANS3/5KGR is required for fault injection).

5KVA Three-Phase Grid transformer.

Rated Power: 5 KVA.

Rated Primary Voltage: 400 VAC Star.

Rated Secondary Voltage: 400 VAC Delta.

AEL-MPSS recommended applications:

-AEL-MPSS/G. Modular Smart Grid Power Generation Application, 5kW.

-AEL-MPSS/T. Modular Smart Grid Power Transmission Application, 5kW.

d) OTHER RECOMMENDED POWER GENERATION APPLICATIONS FOR MORE SMART GRIDS STUDIES

Renewable Energies:

-AEL-PHVGC. Computer Controlled Photovoltaic Power Plants Application.

-AEL-WPPIC. Wind Power Plants with Induction Generator Application, with SCADA.

-AEL-WPTC. Wind Power Application with Permanent Magnets Synchronous Generator, with SCADA.

-AEL-HPPPA. Advanced Hydroelectric Power Plants Application with Pelton Turbine.

-AEL-WPP. Wind Power Plants with Double Feed Induction Generator Application.

-AEL-HPPK. Hydroelectric Power Plants Application with Kaplan Turbine.

-AEL-HPPF. Hydroelectric Power Plants Application with Francis Turbine.

-AEL-SGSB. Smart Grids Battery Storage Application.

Conventional Energies:

-TDEGC. Computer Controlled Diesel Engine Electrical Generator Application.

The complete unit includes as well:

EDIBON SCADA System (Supervisory, Control and Data Acquisition) always included.

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user´s knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON SCADA-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 Cables and Accessories, for normal operation.

3 Manuals:

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

*References 1 to 3 are the main items: AEL-MPSS/DL + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Basic wiring of double bus bar substation.

2.- Double bus bar coupling maneuver.

3.- Logic operations with circuit breakers and disconnectors in a double bus bar substation.

4.- Load sharing with different feeders.

5.- Bus bar changeover without power flow interruption.

6.- Compensation of the power factor with capacitors bench.

Some practical exercises possibilities with the SCADA:

7.- Remote coupling maneuver of double bus bar.

8.- Remote control logic operations with circuit breakers and disconnectors in switching substations.

9.- Remote bus bar changeover maneuver without power flows interruption of supplying.

10.-Remote load sharing with different feeders.

11.-Remote electrical measurements in several points of switching substation.

Additional practical exercise with recommended protection relays:

12.-Single-Pole, Two-Pole and three-Pole faults with and without impedance.

13.-Programming of the feeder management protection relay.

14.-Automatic opening of circuit breakers and disconnectors through overcurrent relay.

15.-Automatic power factor correction.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

4 AEL-MPSS/DL/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.