TENDER SPECIFICATIONS

The “AEL-MRPC” application includes the following elements:

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3PH + N.

ON / OFF removable key.

Output voltage connections:

Three-phase + Neutral: 400 VAC.

Single-phase: 230 VAC.

Three-phase supply hose with IP44 3PN+E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-REFT. Three-phase Commutable Resistor Load Module.

Nominal voltage: 400 VAC.

Resistance: 3 x 150 Ohm.

Nominal current: 1.6 A.

Manual switch to turn ON / OFF resistors.

Fuses: 3 x 2 A.

Terminals:

Four input terminals (3PH + N).

Four output terminals (3PH + N).

• N-CAR18/C. Capacitors for Equivalent Circuit of an Electric Line Module (3 units).

Nominal voltage: 230 VAC.

Capacitors: 2 x (7 x 1 µF).

• N-INDT. Three-phase Commutable Inductive Load Module (2 units).

Nominal voltage: 400 VAC.

Inductance: 1.4 H.

Nominal current: 1.6 A.

Manual switch to turn ON / OFF inductances.

Fuses: 3 x 2 A.

Terminals:

Four input terminals (3PH + N).

Four output terminals (3PH + N).

• N-MED60. Network Analyzer Module.

ON / OFF switch.

Supply voltage: 230 VAC.

Fuses: 3 x 10 A.

Input terminals: three-phase input connection with neutral to the measurement point.

Output terminals: three-phase output connection with neutral to the measurement point.

Network analyzer display. It shows:

Active, reactive and apparent power.

Active, reactive and apparent energies.

Lines and phase currents:

IL-N: 0.03 to 10 A.

IL-L: 0.09 to 10 A.

Line and phase voltages:

VL-N: 160 V to 480 V.

VL-L: 277 V to 830 V.

Frequencies: 65 to 458 Hz ± 0.1 Hz.

Power factor for resistive, inductive and capacitive loads.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 1380 x 840 x 600 mm approx. (54.33 x 33.07 x 23.62 inches approx.). - Weight: 80 Kg approx. (176 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Wiring of resistive, inductive and capacitive loads.

2.- Measurement of the apparent, active and reactive powers  consumed by a receiver in a pure resistive circuit.

3.- Measurement of the apparent, active and reactive powers  consumed by a receiver in a pure inductive circuit.

4.- Measurement of the apparent, active and reactive powers  consumed by a receiver in a pure capacitive circuit.

5.- Measurement of the apparent, active and reactive powers consumed by a receiver in a RL circuit.

6.- Measurement of the power factor of a  receiver in a RL circuit.

7.- Calculation and wiring of the capacitive load needed to carry out an adequate power factor compensation.

8.- Comparison of apparent, active and reactive power after power factor compensation.

9.- Measurement of power factor after the compensation.

- Several other exercises can be done and designed by the user.

Optional

AEL-MRPC/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.