TENDER SPECIFICATIONS

The “AEL-PHVG” application includes the following modules:

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3PH + N.

ON / OFF removable key.

Output voltage connections:

Three-phase + Neutral: 400 VAC.

Single-phase: 230 VAC.

Three-phase supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-EALD/A. Network Analyzer Ethernet Module with Oscilloscope and Data Acquisition.

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Single and three-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

THD voltage and current, TDD and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

THD voltage and current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

Modbus TCP communication protocol with Ethernet interface.

• PSPS/A. Advanced Panel Simulator Power Supply.

This power source allows carry out the programming of characteristics curves of photovoltaic panels.

Open circuit voltage: 500 V.

Closed circuit current: 10 A.

Power output: 1500 W.

• N-PSM. Power Switch Module.

Power terminals:

Four input terminals (3PH + N).

Four output terminals (3PH + N).

Auxiliary contacts:

One NO contact.

One NC contact.

Two push-buttons to open/close the power switch and the auxiliary contacts.

Two 24 VDC control inputs.

Two 24 VDC voltage outputs.

• N-INV02. Three-Phase Grid Inverter Module 02.

DC circuit switch.

Ground voltage protection for bus terminals and photovoltaic.

Output DC voltage range: 25 – 100 V.

Ouput voltage: 3 x 400 V/50 Hz.

Output power: 3000 W.

Integrated web server.

• N-ZIS. Z-WAVE Zero Injection Smart Meter Module.

Nominal voltage: 400 VAC.

Maximum current: 3 x 10 A.

Self-consumption: 2.5 W.

Starting current: 40 mA.

Accuracy class: 1.

Active energy accuracy: Class B (UNE-EN50470).

Reactive energy accuracy: Class 2 (EN/IEC 62053-23).

Eight digits LCD display.

IP51 (front frame) and IP52 (terminals) protections.

Modbus RTU communication.

• N-REL09. Time Electronic Relay against Overcurrents Module (0-16 A).

Electronic thermal relay.

Overload protection.

Range: 0 – 16 A.

Reset and test function.

One NONC contact.

Temporization.

• N-REVT/1K. 1kW Three-Phase Variable Resistors Module.

Three banks with three-phase variable resistances of 150 – 500 Ohm.

Supply voltage: 3 x 150 – 500 Ohm.

Fuses: 3 x 2 A.

Fan forced cooling.

• N-INDT/3C. 3 x 300 Var Three-phase Configurable Inductances Module.

Configurable star and delta connection.

Inductance: 3 x (3 x 5) H.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 100) Var.

Supply voltage: 230 VAC.

Common point of normally close/open contacts.

Additional recommended elements (Not included):

• MED65. Digital Multimeter (2 units).

Digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• N-REV01. Single-Phase Variable Resistor Module 0-700 Ohm.

Variable resistor of 0 – 700 Ohm.

Maximum power: 500 W.

Potentiometer.

Fuses: 2 x 6.3 A.

Terminals:

Three terminals to choose maximum resistance or variable resistance.

• LP3. Three Lamps Panel.

Power: 3 x 250 W.

Switch ON / OFF.

Intensity regulator.

Aluminium frame.

• FVP96. 96W Photovoltaic Panel.

Maximum power: 96 W.

Voltage at maximum power: 17.8 V.

Current at maximum power: 3.7 A.

Short-circuit current: 4.05 A.

Opened-circuit voltage: 22.25 V.

• TPEL/1800W. Single-phase AC/DC Electronic Load of 1800W (3 units).

The TPEL/1800W electrical load stands out for its versatility in operating in both AC and DC. With a wide power range from 0 to 1800VA and an adjustable frequency from 45 Hz to 450 Hz, this electronic source offers exceptional capabilities.

With its advanced measurement capabilities, 7-inch LCD display, and features such as the built-in oscilloscope, the TPEL/1800W is the ideal solution for laboratory testing of most of EDIBON’s unit such as UPS, inverters, AC power supplies, electrical generators and AC electronic components. In addition, its connectivity via LAN and USB interfaces ensures reliable and fast control, adding an additional level of efficiency to its capabilities.

Technical Features:

Frequency Range: 45 Hz~450 Hz.

Power Range: 0~1.8 kVA

Voltage Range: 50-420 Vrms, 15-260 Vrms

Parallel Connection/Three Phase Control: Capacity can be extended up to 43.2 kVA

7 Inch LCD Display: Provides a clear and accessible interface.

Oscilloscope Function: Allows display of voltage and current waveforms.

High Speed AD Sampling: Captures real-time waveforms.

Measurement Modes: Includes Vrms, Vpk, Vdc, Irms, Ipk, Idc, W, VA, VAR, CF, PF and FREQ.

Harmonic Measurement: Up to harmonic 50 (THD-V).

AC Electronic Load: DC/CR/CP modes.

DC Electronic Load: DC/CR/CP/CV modes.

External Analog Control: 0~10 V analog input, with voltage and current monitoring functions.

Protection Functions: OTP, OCP, OVP, UVP and OPP.

Communication Interfaces: LAN and USB, plus external interface for USB flash disk.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Unit: - Dimensions: 1380 x 840 x 2010 mm approx. (54.33 x 33.07 x 79.13 inches approx.).- Weight: 100 Kg approx. (220 pounds approx.).

Photovoltaic Panel: - Dimensions: 730 x 510 x 1150 mm approx. (28.74 x 20.07 x 45.27 inches approx.) - Weight: 10 Kg approx. (22.04 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Measurement and calculation of the active power consumed by a three-phase variable resistive load.

2.- Measurement and calculation of the total power consumed by a three-phase R-L load.

3.- Configuration of the programmable power supply as PV Array.

4.- Maximum production of photovoltaic power with grid injection thorugh the grid inverter.

5.- Maximum production of photovoltaic power with grid injection and local energy consumption.

6.- Dynamic control of active power with the photovoltaic inverter. Zero injection control.

7.- Dynamic control of active power with the photovoltaic inverter. Grid injection control.

Some practical exercises with the recommended additional elements:

8.- Experimental calculation of I-V curve of a photovoltaic panel.

9.- Variation of solar radiation with the halogen lamps panel. Measurement of I-V characteristics.

- Several other exercises can be done and designed by the user.

Optional

AEL-PHVG/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.