TENDER SPECIFICATIONS (for main items)

1 AEL-PTSG Application.

AEL-PTSG Application.

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3PH + N.

ON / OFF removable key.

Output voltage connections:

Three-phase + Neutral: 400 VAC.

Single-phase: 230 VAC.

Three-phase supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-AE1. Transmission Lines Simulation Module (2 units).

Return line of 10 Ohm.

The resistive part: two resistance values of 15 Ohm and 33 Ohm with the following possible connections:

Only one:

15 Ohm.

33 Ohm.

Serie:

48 Ohm.

Parallel:

10.31 Ohm.

The inductive part:

Possibilities:

33 mH, 78 mH, 140 mH, 193 mH, 236 mH.

The capacitance between conductors:

0.5 µF and 1 µF for each conductor.

The capacitance between conductor and ground:

1 µF and 2 µF, also at the beginning and at the end of the line.

• N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

• N-REL09. Time Electronic Relay against Overcurrents Module (0-16 A).

Electronic thermal relay.

Overload protection.

Range: 0 - 16 A.

Reset and test function.

One NO / NC contact.

Temporization.

• N-REFT/3C. 3 x 300 W Three-phase Configurable Resistors Module.

Three three-phase banks with resistors of 1600 Ω each one.

Configurable star and delta connections.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) W.

• N-INDT/3C. 3 x 300 Var Three-phase Configurable Inductances Module.

Three three-phase banks with inductances of 5 H each one.

Configurable star and delta connection.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 100) Var.

• N-CAR19T/3C. 3 x 300 Var Three-phase Configurable Capacitors Module (2 units).

Three three-phase banks with capacitors of 2 µF each one.

Configurable star and delta connection.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 300) Var.

• N-TRANS09. Three-phase Isolating Transformer, 400/400 VAC, 1 kVA, Module (2 units).

Nominal power: 1 kVA.

Primary winding voltage: 3 x 400 VAC Δ.

Secondary winding voltage: 3 x 400 VAC Y.

Adjustable overcurrent protection: 1.6 - 2.5 A.

• N-FILT01. Three-phase Filter Module 1.

Filter for power electronics.

Nominal current: 5 A.

• N-INDT/L01. Three-phase Line Inductors Module 1.

Filter for power electronics.

Nominal current: 5 A.

• N-TRANS3R/1K. Three-phase Transformer with Motor Voltage Regulator Module (2 units).

3PH autotransformer.

Primary winding voltage: 3 x 400 VAC.

Secondary winding voltage: 3 x 450 VAC.

Nominal power: 1 kVA.

Frequency: 50 / 60 Hz.

Voltage regulation switch.

Digital input 1: 12 VDC (Regulation +).

Digital input 2: 12 VDC (Regulation -).

• N-IGBT01. Chopper/Inverter Module 1.

6 x IGBT.

Digital inputs for firing of IGBT.

Fuses.

• SVC-K1. TCR Thyristor Reactor Controller Kit.

• N-TCR01. TCR Thyristor Reactor Controller Module.

Supply voltage: 230 VAC.

Nominal power: 1 kVA.

Nominal current: 1.44 A.

Thyristor bridge firing angle control.

• N-INDT. Three-phase Commutable Inductive Load Module.

Nominal voltage: 400 VAC.

Inductance: 1.4 H.

Nominal current: 1.6 A.

Manual switch to turn ON / OFF inductances.

Fuses: 3 x 2 A.

Terminals:

Four input terminals (3PH + N).

Four output terminals (3PH + N).

• SVC-K2. TSC Thyristor Switch Capacitor Kit.

• N-TSC01. TSC Thyristor Switch Capacitor Module.

Supply voltage: 230 VAC.

Nominal power: 1 kVA.

Rated current: 1,44 A.

Thyristor bridge firing angle control.

• N-CONT. Three-phase Commutable Capacitive Load.

Nominal voltage: 400 VAC.

Capacitance: 3 x 7 µF.

Manual switch to turn ON / OFF capacitors.

Fuses: 3 x 4 A.

Terminals:

Four input terminals (3PH + N).

Four output terminals (3PH + N).

• SVC-K3. Dynamic Load Kit 1.

• EMT7/1K. 3PH Squirrel-Cage Motor, 1 kW.

Nominal power: 1100 W.

Nominal voltage: 3 x 230 / 400 VAC Δ / Y.

Frequency: 50 / 60 Hz

Number of poles: 2.

Speed: 2730 rpm.

Nominal current: 2.52 / 1.45 A.

Shaft height: 71 mm.

• FRENP. Magnetic Powder Brake.

Nominal torque: 5 Nm.

Maximum power dissipation: 100 W.

Maximum output current adjustment.

Operating modes “freewheel “ and “blocking”.

Nominal voltage: 24 VAC / VDC.

Maximum output current: 2 A.

Output load (resistor): 4 - 20 Ohm.

Maximum power consumed: 70 W.

Remote voltage control: 0 - 10 VDC.

Weight: 4 Kg.

• N-DLC01. Dynamic Load Controller Module 1.

Supply voltage: 230 VAC.

LCD display.

Configuration of the maximum, minimum and valley braking signal times for the actual simulation of daily energy consumption.

Manual and automatic braking.

GND terminal.

Recommended additional elements (Not included):

• AEL-TI-07. Power Transmission Application with Synchronous Generator.

• EMT6/1K. Independent Excitation 3PH Synchronous Motor-gnerator,1 kVA.

Nominal power: 1000 VA.

Power factor: 0.8.

Nominal output voltage: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Speed: 3000 rpm.

Nominal output current: 0.8 A.

Nominal excitation current: 5 A.

Shaft height: 71 mm.

• N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition.

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

• N-PSUB2. Power Generation Substation Module 2.

Supply voltage: 400 VAC, 3PH + N.

ON / OFF switch.

Power and signals connection:

Auxiliary connection.

Three-phase turbine supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Three-phase generator supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Three switches to choose between the different modes:

Local and remote control mode.

Manual and automatic speed control.

Manual and automatic excitation control

Three control switches to:

Start and stop the turbine.

Give permission to synchronize the generator with the grid.

Give permission to close 52NET circuit breaker.

Two potentiometers to regulate:

Turbine speed.

Generator excitation.

Emergency stop push-button.

Two circuit breakers for synchronization and stand-alone operations.

Different terminals to measure.

Ethernet connection: RJ45 communication port for SCADA remote control.

Automatic speed and voltage controller (easygen):

Enables to connect up to 16 electric generators in parallel-island with distribution of active and reactive load and start/stop in function of the load demand.

Enables to connect a generator in parallel with the grid.

Enables different switches control modes, such as opening, closing and synchronization.

Analogical outputs to control voltage and frequency regulators.

Three-phase measurement of the grid and the generator voltage.

Three-phase measurement of the generator intensity and power.

Single-phase measurement of the grid intensity.

Protection system:

Generator:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), voltage asymmetry, detection of dead busbars, overvoltage (32), load unbalance (46), negative sequence power/reduced power (32R/F), overcurrent by defined curve (50/51), inverse time overcurrent (IEC255), measured ground fault (50N/51N), phase rotation, switches faults.

Network:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), vector jump, phase rotation.

Six alarms:

Alarm 1: Reverse power.

Alarm 2: Overcurrent.

Alarm 3: Over/undervoltage.

Alarm 4: Inverse time overcurrent.

Alarm 5: Over/under frequency.

Alarm 6: Shutdown alarms.

Four operation signals:

Ready for operation.

Request for initiation.

Synchronization conditions.

Permission for synchronization.

• SERV01. AC Servomotor 1.

Nominal power: 2000 W.

Nominal voltage: 400 VAC.

Nominal speed: 3000 rpm.

Nominal current: 5 A.

• N-VPS01. AC 3PH Variable Power Supply Module.

ON / OFF removable key.

Supply voltage: 3 x 400 VAC + N.

Emergency stop push-button.

Three-phase supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Fuses: 3 x 6 A.

Motorized variable autotransformer:

Nominal power: 3000 VA.

Input voltage: 400 VAC.

Fixed output voltage: 3 x 400 VAC + N.

Variable output voltage:

0 - 450 VAC (3PH + N).

0 - 240 VDC.

Nominal current: 2 A.

Three position switch with automatic return:

Position I: Voltage reduction.

Position 0: Constant voltage.

Position II: Voltage increase.

DC ammeter: 0 - 5 A.

AC ammeter: 0 - 5 A.

DC voltmeter: 0 - 300 V.

AC voltmeter: 0 - 500 V.

Autotransformer.

Nominal power: 3000 VA.

• N-PPIM1. Instrumentation Module 1.

Three-phase wattmeter:

Measured range: 0 - 1.5 kW.

Three-phase varmeter:

Measured range: 0 - 1.5 KVAr.

Voltmeter:

Measured range: 0 - 500 V.

Frequency meter:

Measured range: 45 - 55 Hz.

DC meter:

Measured range: 0 - 10 A.

• All necessary cables to realize the practical exercises are included.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 AEL-PTSG/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

3 Cables and Accessories, for normal operation.

4 Manuals:

This unit is supplied with 7 manuals: Required Services, Assembly and Installation, Control Software, Starting-up, Safety, Maintenance, Practices Manuals.

*	References 1 to 4 are the main items: AEL-PTSG + AEL-PTSG/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Basic operation of HVDC transmission systems.

2.- DC current regulation and power flow control in HVDC transmission systems.

3.- Main components of a static VAR compensator (SVC).

4.- Dynamic power factor correction using a STATCOM.

5.- Dynamic power factor correction using an SVC.

6.- Voltage compensation of AC transmission lines using a STATCOM.

7.- Voltage compensation of AC transmission lines using an SVC.

8.- Voltage regulation characteristics.

9.- Voltage compensation.

10.- Voltage compensation in AC transmission lines.

11.- Voltage regulation and Displacement Power Factor (DPF) in thyristor three-phase bridges.

12.- Control of active and reactive power flow.

13.- Power transmission capacity.

Other possibilities to be done with this Unit:

14.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

15.- Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

16.- The Computer Control System with SCADA allows a real industrial simulation.

17.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

18.- This unit can be used for doing applied research.

19.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

20.- Visualization of all the sensors values used in the AEL-PTSG unit process.

- Several other exercises can be done and designed by the user.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

5 AEL-PTSG/ICAI. Interactive Computer Aided Instruction Software System.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

b) Multipost Expansions options

6 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.