TENDER SPECIFICATIONS (for main items)

1 AEL-PWEC Application.

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3PH+N+G.

ON/OFF removable key.

Output voltage connections:

Three-phase + Neutral: 400 VAC.

Single-phase: 230 VAC.

Three-phase supply hose with IP44 3PN+E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push button.

• N-REFT/3C. 3 x 300 W Three-phase Configurable Resistors Module.

Configurable three-phase load: Δ and Y.

Resistance: 3 x (3 x 1600) Ω.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 100) W.

• N-CAR19T/3C. 3 x 300 VAr Three-phase Configurable Inductances Module.

Nominal voltage: 400 VAC.

Supply voltage: 230 VAC.

Configurable connections: Y and Δ.

Commutable capacitors: 3 x (3 x 2) μF.

Nominal power: 3 x (3 x 100) VAr.

Fuses: 6 x 5 A.

• EMT10. 3PH Squirrel-Cage Motor, 2 speeds.

Nominal power: 240/370 W.

Nominal voltage: 3 x 400 VAC.

Frequency: 50/60 Hz.

RPM: 900/1420 rpm.

Nominal current: 1.05/1.35 A.

Shaft height: 71 mm.

• N-FILT02. Inductances and Capacitor Filter Module 2.

Filter for power electronics.

Nominal current: 5 A.

• N-FILT01. Three-phase Filter Module 1.

Filter for power electronics.

Nominal current: 5 A.

• N-TRANS09. Three-phase Isolating Transformer, 400/400 VAC, 1 kVA, Module.

Nominal power: 1 kVA.

Primary winding voltage: 3 x 400 VAC Δ.

Secondary winding voltage: 3 x 400 VAC Y.

Adjustable overcurrent protection: 1.6 - 2.5 A.

GND terminal.

• N-IGBT01. IGBT Chopper-Inverter Module 1.

6 x IGBT (insulated gate bipolar transistor).

Digital inputs for firing of IGBTs.

Fuses.

• BAT5. Lead-acid Battery.

Lead-acid battery.

Battery capacity: 70 Ah.

• N-THY01. Three-phase Power Thyristors Module 1.

6 x thyristors.

Digital inputs for firing of thyristors.

Fuses.

• N-TRDC01. Three-phase Rectifier Diodes and Capacitors Module 1.

Diodes module for three-phase rectifier purposes.

6 x diodes.

• N-PEDA. Power Electronics Data Acquisition and Control Interface.

Data acquisition interface for power electronics control.

Power supply: 230 VAC.

Additional recommended elements (Not included):

• EMT7. 3PH Squirrel-cage Motor.

Nominal power: 370 W.

Nominal voltage: 3 x 230/400 VAC Δ/Y.

Frequency: 50/60 Hz.

Poles number: 2.

RPM: 2730 rpm.

Shaft height: 71 mm.

• N-ASYB. Analog and Digital Synchronization Module.

Supply voltage: 230 VAC.

Input terminals:

Generation input terminals L1, L2, L3 and N.

Output terminals:

Network input terminals L1, L2, L3 and N.

Synchronization switch:

2 x 24 VDC connections.

Digital synchronoscope.

Synchronization switch.

Double frequency meter.

Double voltmeter.

400 VAC lamps.

• N-INDT/3C. 3 x 300 VAr Three-phase Configurable Capacitors Module.

Configurable three-phase load: Δ and Y.

Inductance: 3 x (3 x 5) H.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 100) VAr.

• N-AE1. Transmission Lines Simulation Module.

Supply voltage: 400 VAC, 3PH+N.

Three-phase line with variable parameters.

Concentrated parameters line.

Four capacitances benches between lines with three capacitances of 1 μF each one.

Two capacitances benches between line and ground composed by two capacitances of 1 and 2 μF.

Resistance of the line that can be wiring independently:

Three resistors of 15 Ω.

Three resistors of 30 Ω.

Inductance of the line with several set values: 33 mH, 78 mH, 140 mH, 193 mH and 236 mH.

Neutral resistor of 10 Ω.

• N-TRANS3R/1K. Three-phase Transformer with Motor Voltage Regulator.

3PH autotransformer.

Primary winding voltage: 3 x 400 VAC.

Secondary winding voltage: 3 x 450 V.

Nominal power: 1 kVA.

Frequency: 50/60 Hz.

Voltage regulation switch.

Digital input 1: 12 VDC (Regulation +).

Digital input 2: 12 VDC (Regulation -).

• AEL-SERIN/CA-1KW. 1 kW AC Industrial Servomotor Application.

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3PH+N+G.

ON/OFF removable key.

Output voltage connections:

Three-Phase + Neutral: 400 VAC.

Single-Phase: 230 VAC.

Three-Phase supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Differential magnetothermal, 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-DMC01. Torque and Speed Measurement Module 1.

Digital torque meter:

Torque signal connector.

Auxiliary contact NO.

Digital speed meter:

Speed signal connector.

Auxiliary contact NO.

IP66 protection.

• N-SERV1K. 1 kW Servomotor Module.

Dynamic and static four-quadrant operation.

Speed and torque signals.

Power supply terminals: 3 x 400 VAC.

Frequency: 50/60 Hz.

Nominal power: 1 kW.

Maximum power: 3 kW.

Maximum speed: 5000 rpm.

Nominal torque: 3.18 Nm.

Maximum torque: 9.55 Nm.

Temperature control.

Speed control potentiometer.

Torque control potentiometer

Mode selection switch: torque/speed control.

Motor turning reversal switch.

• All necessary cables to realize the practical exercises are included.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 AEL-PWEC/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

3 Cables and Accessories, for normal operation.

4 Manuals:

This unit is supplied with 7 manuals: Required Services, Assembly and Installation, Control Software, Starting-up, Safety, Maintenance & Practices Manuals.

*	References 1 to 4 are the main items: AEL-PWEC + AEL-PWEC/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- DC power electronics: diode, switching transistor, high-speed switching, ripples, battery charger, buck and boost choppers, four-quadrant chopper.

2.- DC motor drives: PWM DC drive, unidirectional and bidirectional PWM DC drive, regenerative braking, speed feedback, current control.

3.- Single-phase AC power electronics: diode rectifiers, PWM inverter.

4.- Three-phase AC power electronics: rectifiers, single-phase PWM inverter with dual polarity DC bus, three-phase PWM inverter.

5.- Thyristor power electronics: diode rectifiers, solid state relay, single and three AC power control, three-phase rectifier/inverter.

6.- Three-phase induction motor starters.

7.- Three-phase motor drives: variable-frequency, constant V/f ratio.

Other possibilities to be done with this unit:

8.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

9.- The Computer Control System with SCADA allows a real industrial simulation.

10.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

11.- This unit can be used for doing applied research.

12.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

13.- Control of the AEL-PWEC unit process through the control interface box without the computer.

14.- Visualization of all the sensors values used in the AEL-PWEC unit process.

- Several other exercises can be done and designed by the user.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

5 AEL-PWEC/ICAI. Interactive Computer Aided Instruction Software System.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

b) Multipost Expansions options

6 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.