TENDER SPECIFICATIONS

The “AEL-SWT” application includes the following elements:

• N-ALI02. Domestic Main Power Supply Module.

Supply voltage (single-phase): 230 VAC, 1PH + N.

ON/OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-shase supply hose connecting plug.

Differential magnetothermal, 2 poles, 25 A, 30 mA AC, 6 KA.

Emergency stop push-button.

• MED65. Digital Multimeter.

This module has a 3 ½ digit digital multimeter, with 4 mm double connector termination cables to facilitate interconnections.

With this digital multimeter we can measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• N-REV01. Single-Phase Variable Resistor Module 0-700 Ohm.

0 – 700 Ohm varIable resistor.

Maximum power: 500 W.

Potentiometer.

Terminals:

Three terminals for taking the maximum resistance or a variable value.

• WT-KIT-400W. 400 W Wind Turbine Kit with Regulator and Measurement Instrumentation.

• WT-24V/400W. Permanent Magnets Wind Turbine 24 V, 400 W.

Wind turbine.

Power: 400 W.

Voltage: 24 VDC.

• N-REG-24V/400W. Wind Turbine Regulator Module 24 V, 400 W.

16 A fuses.

Wind turbine controller.

Three-phase input terminals.

ON/OFF switch.

Output voltage: 24 – 36 VDC.

Battery voltage: 24 VDC.

DC output terminals.

• N-TPAD-3PH/400V. 400 V Three-Phase AC/DC Converter Module.

16 A fuses.

Three-phase input terminals.

ON/OFF switch.

Auxiliary ON/OFF switch.

DC output terminals.

Input voltage range: 0 – 400 VAC.

Output voltage range: 0 – 400 VDC.

• N-MED16. DC Voltmeter Module (0-50 V).

Analogue voltmeter.

Connection terminals.

Voltage range: 0 – 50 V.

• N-MED81. DC Ammeter Module (0-30 A).

Analogue ammeter.

Connection terminals.

Intensity range: 0 – 30 A.

• BAT2. AGM Battery, 25 Ah, 12 V (2 units).

Nominal voltage: 12 VDC.

• N-SERV400W. 400 W Servomotor Controller Module.

Servomotor SERV01.

Error LED indicator.

5 A fuse.

USB connector.

Encoder connector.

Power connector.

Speed control connector.

Switch for control modes: Local or SCADA.

ON/OFF switch.

Potentiometer for manual speed control.

Module supply voltage: 230 VAC.

Control speed: 0 – 3000 rpm.

Specific frequency: 250 Hz.

Operating intensity: 1.5 A.

Operating voltage: 101 VAC.

Additional recommended elements (Not included):

• N-MED72. Single-Phase Energy Counter Module.

Nominal voltage: 230 VAC.

Terminals:

Measurement terminals.

• N-MED10. AC Ammeter Module (0-5 A).

Measurement range: 0 – 5 A.

Terminals:

Measurement terminals.

• TECNEL/TM. Hand Tachometer.

9 V battery.

Three positions switch to choice the measurement method.

Speed recording push button.

Speed measurement push button.

Disassemble pieces for different shafts.

Speed digital display.

• All necessary cables to realize the practical exercises are included.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Dimensions: 1600 x 550 x 2000 mm approx. (62.99 x 21.65 x 78.74 inches approx.). Weight: 180 kg approx. (397 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Commissioning of the servomotor coupled to the wind turbine.

2.- Obtaining the characteristic curve of the wind generator.

3.- Energy measurement.

4.- Study of permanent magnet generator with AC to DC rectifier.

5.- Study of the complete circuit of a wind turbine energy storage system.

Additional practical possibilities:

6.- Study of the DC circuit of the permanent magnet wind generator.

7.- Measurement of the no-load voltage of the wind generator as a function of the speed of rotation.

8.- Study of the permanent magnet generator with direct output in AC.

9.- Study of permanent magnet generator with AC to DC rectifier.

10.- Study of the permanent magnet generator with variable load. Measurement of electrical parameters of voltage and current.

11.- Study of the electronic regulator of the wind turbine.

12.- Simulation of different wind conditions.

13.- Measurement of the charge current in the battery.

14.- Energy balance between generated current, charge current and consumed current.

Optional

AEL-SWT/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.