TENDER SPECIFICATIONS

The “AEL-TI-05” application includes the following elements:

• N-AE1. Transmission Line Simulation Module.

Return line of 10 Ohm.

The resistive part: two resistance values of 15 Ohm and 33 Ohm with the next possible connections:

Only one:

15 Ohm.

33 Ohm.

Series:

48 Ohm.

Parallel:

10.31 Ohm.

The inductive part:

Possibilities:

33 mH, 78 mH, 140 mH, 193 mH, 236 mH.

The capacitance between conductors:

0.5 µF and 1 µF for each conductor.

The capacitance between conductor and ground:

1 µF and 2 µF, also at the beginning and at the end of the line.

• N-EALD. Electrical Network Analyzer Module with Oscilloscope and Data Acquisition.

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and current THD, TDD and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and current THD, current TDD and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

Required element (Not included):

• AEL-TI-01. Analysis of Three-phase Power Lines Application.

• N-AE1. Transmission Lines Simulation Module.

Return line of 10 Ohm.

The resistive part: two resistance values of 15 Ohm and 33 Ohm with the next possible connections:

Only one:

15 Ohm.

33 Ohm.

Series:

48 Ohm.

Parallel:

10.31 Ohm.

The inductive part:

Possibilities:

33 mH, 78 mH, 140 mH, 193 mH, 236 Mh.

The capacitance between conductors:

0.5 µF and 1 µF for each conductor.

The capacitance between conductor and ground:

1 µF and 2 µF, also at the beginning and at the end of the line.

• N-REFT/3C. 3 x 300 W Three-Phase Configurable Resistors Module.

Configurable star and delta connections.

Three banks with three three-phase resistors of 1600 Ω.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 100) W.

• N-INDT/3C. 3 x 300 Var Three-Phase Configurable Inductances Module.

Configurable star and delta connection.

Inductance: 3 x (3 x 5) H.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 100) Var.

Supply voltage: 230 VAC.

Common point of normally close/open contacts.

• N-CAR19T/3C. 3 x 300 Var Three-Phase Configurable Capacitors Module.

Configurable star and delta connection.

Three banks with three three-phase capacitors of 2 µF.

Nominal voltage: 400 VAC.

Nominal power: 3 x (3 x 100) Var.

• N-EALD. Electrical Network Analyzer Module with Oscilloscope and Data Acquisition (2 units).

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

• N-PSM. Power Switch Module.

Supply voltage: single-phase 230 VAC.

Power terminals:

Four power input terminals (3PH + N).

Four power output terminals (3PH + N).

Auxiliary contacts:

One “NO” contact.

One “NC” contact.

Two push-buttons to open/close the power terminals and auxiliary contacts.

Two control contacts of 24 VDC.

Two voltage supply outputs of 24 VDC.

• N-REL09. Time Electronic Relay against Overcurrents Module (0-16 A).

Overcurrent electronic relay.

Overload protection.

Range: 0 – 16 A.

Test and reset function.

NO / NC contact.

Timing.

Recommended additional elements (Not included):

• AEL-TI-02. Distribution Transformer with Motor Regulation Application.

• N-TRANS3R/1K. Three-phase Transformer with Motor Voltage Regulator.

Primary: 3 x 400 VAC.

Secondary: 3 x 0 … 450 V.

Nominal power: 1 kVA.

Frequency: 50 / 60 Hz.

25 V input/”Increase voltage ” button.

25 V input/”Decrease voltage” button.

• AEL-TI-03. Arc Suppression Coil Application.

• N-ASC. Arc Extinction Coil Module.

Nominal voltage: 230 V.

Maxima current: 1 A.

Coil: 0.5 to 1.5 H, 9 variable stages.

• AEL-TI-04. Underground Transmission Lines Application.

• N-EALD. Electrical Network Analyzer Module with Oscilloscope and Data Acquisition.

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and current THD, TDD and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and current THD, current TDD and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

• N-UTL. Underground Transmission Line Module.

Resistance per phase: 0,5 Ohm, 1 Ohm, 2 Ohm.

Inductance per phase: 6 mH, 12 mH, 24 mH.

Capacity per phase: 2 x 2 µF 7 µF.

Maxima power consumption: 1 kW.

Voltage: 230 VAC.

Frequency: 50 / 60 Hz.

Current: 2.5 A.

• N-TRANS03. Three-Phase Autotransformer Module 400/230 VAC, 1 KVA.

Three-phase autotransformer.

Nominal supply voltage: 400 VAC (3PH).

Nominal output voltage: 3 x 230 VAC (3PH + N).

Nominal power: 1 kVA.

Transformer connection: YY0.

Start/stop commutator for instantaneous connection/disconnection of the grid transformer.

Fuses: 3 x 5 A.

• AEL-TI-06. Analysis of Power Flows in Transmission Lines Application.

• N-EALD. Electrical Network Analyzer Module with Oscilloscope and Data Acquisition.

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and current THD, TDD and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and current THD, current TDD and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

• N-PST/1K. 1 kVA Phase Shifting Transformer Module.

Input voltages: 3 x 400 V.

Output voltage 1: 3 x 400 V, 2 A.

Output voltage 2: 3 x 30 V, 1.25 A.

Power rating: 1 kVA.

Vector group: Dyn5.

• N-AE1. Transmission Lines Simulation Module.

Return line of 10 Ohm.

The resistive part: two resistance values of 15 Ohm and 33 Ohm with the next possible connections:

Only one:

15 Ohm.

33 Ohm.

Series:

48 Ohm.

Parallel:

10.31 Ohm.

The inductive part:

Possibilities:

33 mH, 78 mH, 140 mH, 193 mH, 236 mH.

The capacitance between conductors:

0.5 µF and 1 µF for each conductor.

The capacitance between conductor and ground:

1 µF and 2 µF, also at the beginning and at the end of the line.

• AEL-TI-07. Power Transmission Application with Sinchronous Generator.

• EMT6/1K. Independent Excitation 3PH Synchronous Motor-Generator, 1 kW.

Nominal power: 1000 VA.

Power factor: 0.8.

Nominal output voltage: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Speed: 3000 rpm.

Nominal output current: 0.8 A.

Nominal excitation current: 5 A.

Shaft height: 71 mm.

• N-EALD. Electrical Network Analyzer Module with Oscilloscope and Data Acquisition.

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

• N-PSUB2. Power Generation Substation Module 2.

Supply voltage: 400 VAC, 3PH + N.

ON / OFF switch.

Power and signals connection:

Auxiliary connection.

Three-phase turbine supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Three-phase generator supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Three switches to choose between the different modes:

Local and remote control mode.

Manual and automatic speed control.

Manual and automatic excitation control

Three control switches to:

Start and stop the turbine.

Give permission to synchronize the generator with the grid.

Give permission to close 52NET circuit breaker.

Two potentiometers to regulate:

Turbine speed.

Generator excitation.

Emergency stop button.

Two circuit breakers for synchronization and stand-alone operations.

Different terminals to measure.

Ethernet connection: RJ45 communication port for SCADA remote control.

Automatic speed and voltage controller (easygen):

Enables to connect up to 16 electric generators in parallel-island with distribution of active and reactive load and start/stop in function of the load demand.

Enables to connect a generator in parallel with the grid.

Enables different switches control modes, such as opening, closing and synchronization.

Analogical outputs to control voltage and frequency regulators.

Three-phase measurement of the grid and the generator voltage.

Three-phase measurement of the generator intensity and power.

Single-phase measurement of the grid intensity.

Protection system:

Generator:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), voltage asymmetry, detection of dead busbars, overvoltage (32), load unbalance (46), negative sequence power/reduced power (32R/F), overcurrent by defined curve (50/51), inverse time overcurrent (IEC255), measured ground fault (50N/51N), phase rotation, switches faults.

Network:

Maximum/minimum voltage (59/27), maximum/minimum frequency (81O/U), vector jump, phase rotation.

Six alarms:

Alarm 1: Reverse power.

Alarm 2: Overcurrent.

Alarm 3: Over/undervoltage.

Alarm 4: Inverse time overcurrent.

Alarm 5: Over/under frequency.

Alarm 6: Shutdown alarms.

Four operation signals:

Ready for operation.

Start request.

Synchronization conditions.

Permission for synchronization.

• SERV01. AC Servomotor 1.

Nominal power: 2000 W.

Nominal voltage: 400 VAC.

Nominal speed: 3000 rpm.

Nominal current: 5 A.

• N-VPS01. AC 3PH Variable Power Supply Module.

ON / OFF removable key.

Supply voltage: 3 x 400 VAC + N.

Emergency stop push-button.

Three-phase supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Fuses: 3 x 6 A.

Motorized variable autotransformer:

Nominal power: 3000 VA.

Input voltage: 400 VAC.

Fixed output voltage: 3 x 400 VAC + N.

Variable output voltage:

0 – 450 VAC (3PH + N).

0 – 240 VDC.

Nominal current: 2 A.

Three position switch with automatic return:

Position I: Voltage reduction.

Position 0: Constant voltage.

Position II: Voltage increase.

DC ammeter: 0 – 5 A.

AC ammeter: 0 – 5 A.

DC voltmeter: 0 – 300 V.

AC voltmeter: 0 – 500 V.

Autotransformer.

Nominal power: 3000 VA.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 600 x 300 x 700 mm approx. (23.62 x 11.81 x 27.55 inches approx.) - Weight: 30 Kg approx. (66 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Measurement of the most important electrical parameters with parallel lines of equal length.

2.- Measurement of the most important electrical parameters with parallel lines of different length.

3.- Measurement of the most important electrical parameters with lines in series of equal length.

4.- Measurement of the most important electrical parameters with lines in series of different length.

5.- Calculus of energy losses in series transmission lines.

6.- Calculus of energy losses in parallel transmission lines.

7.- Calculus of drop voltage in series transmission lines.

8.- Calculus of drop voltage in parallel transmission lines.

Other possibilities to be done with this application:

9.- Several students can see the results at the same time. A projector or electronic whiteboard can be used to see all the results in real time in class.

10.- The Computer Control System with CCSOF allows a real simulation.

11.- This application is completely safe since it has mechanical, electrical, electronic security devices and Software.

12.- This application may be used to carry out applied research.

13.- This application may be used for teaching training to industries, even to other institutions of technical education.

- Several other exercises can be done and designed by the user.

Optional

AEL-TI-05/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.