TENDER SPECIFICATIONS (for main items)

1 AEL-WPTC Application.

• N-ALI01. Industrial Main Power Supply Module.

Supply voltage: 400 VAC, 3PH + N.

ON / OFF removable key.

Output voltage connections:

Three-phase + Neutral: 400 VAC.

Single-phase: 230 VAC.

Three-phase supply hose with IP44 3PN + E 32 A 400 V connecting plug.

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-EALD. Network Analyzer Module with Oscilloscope and Data Acquisition.

The network analyzer module allows fulfilling measurements, displaying and analyzing all the parameters of the AC electrical networks. It has an LCD screen and push-buttons for the navigation through the different menus. It includes a specific software for monitoring current and voltage curves, harmonics display, tariffs programming, alarms programming and electrical parameters storage.

Features:

Multifunctional three-phase power meter:

Three-phase and single-phase voltage. Up to 690 VAC L-L.

Line and neutral nominal current: 10 A.

Active, reactive and apparent power.

Suitable frequencies: 25 Hz, 50 Hz, 60 Hz and 400 Hz.

Display of the V-I vector diagram.

Supply voltage: 85 – 265 VAC.

Energy quality control:

Current and voltage individual harmonics measurement. Up to the 40th harmonic.

Voltage and THD current, TDD current and K-Factor.

Maximums and minimums display.

Waveforms display, 128 samples/sec.

Events and data storage:

Harmonics analyzer:

Voltage and THD current, TDD current and K-Factor, up to the 40th harmonic.

Current and voltage harmonic spectrum and angles.

Tariff programming:

Class 0.5S IEC 62053 – 22, active and reactive power in four quadrants.

Measurement of the total and per phase three-phase active, reactive and apparent powers.

Usage time, four energy/demand records of total tariffs.

Eight tariffs, four seasons and four types of days.

Automatic daily report of energy consumption maximums and minimums.

Communications:

RS – 485 communication port.

• N-INV01. Single-Phase Isolated Inverter Module 01.

ON / OFF switch.

Nominal power: 240 VA.

Input voltage: 24 VDC.

Output voltage: 210 – 245 VAC.

Safety functions:

Cut out for excess battery voltage.

Over temperature and overload protection.

Short-circuit protection.

Pole reversal protection.

• N-LAM34. 3 AC Lamps Module.

Lamps voltage: 230 VAC (1PH + N).

Conventional lamp: 50 W.

Low consumption lamp: 8 W.

LED lamp: 2 W.

Three switches.

Fuses: 2 A.

• N-LAM35. 2 DC Lamps Module.

Lamps voltage: 12 VDC.

Halogen lamp: 6 W.

LED lamp: 2 W.

Two switches.

Fuses: 2 A.

• N-REV01. Single-Phase Variable Resistor Module 0-700 Ohm.

Variable resistance from 0 - 700 Ohm.

Maximum power: 500 W.

Potentiometer.

Terminals:

Three terminals for taking the maximum resistance or a variable value.

• N-SERV1K. 1 kW Servomotor Module.

Dynamic and static operating mode in four quadrants.

Speed and torque signals.

Power supply terminals: 3 x 400 VAC.

Frequency: 50 / 60 Hz.

Nominal power: 1 kW.

Maximum power: 3 kW.

Maximum speed: 5000 rpm.

Nominal torque: 3.18 Nm.

Maximum torque: 9.55 Nm.

Temperature control.

Speed control potentiometer.

Torque control potentiometer.

Mode selection switch: torque/speed control.

Motor reversing switch.

• N-REG02. Current Electronic Regulator Module 2.

ON / OFF switch.

Output terminals: 24 VDC.

Battery terminals: 24 VDC.

Module power supply: 230 VAC.

Nominal discharge current: 20 A.

Acceptable DC voltage range: 12 - 50 V.

Fuses: 16 A.

Monitoring of parameters:

Voltage.

Current.

Charge level of the battery.

Charging current.

State.

Devices with self-protection, battery and loads.

• N-TPAD-3PH/400V. 400 V Three-Phase AC/DC Converter Module.

Three-phase input terminals.

ON / OFF switch.

Auxiliary ON / OFF switch.

DC output terminals.

Input voltage range: 0 – 400 VAC.

Output voltage range: 0 – 400 VDC.

Fuses: 16 A.

• BAT6. Lead-Acid Battery 6. (2 units)

Battery voltage: 12 V.

Battery capacity: 66 Ah.

• EMT6C. Permanent Magnets 3PH Synchronous Motor-Generator, 8 poles, 24 VAC.

Nominal power: 450 W.

Nominal voltage: 24 VAC.

Synchronous speed: 1000 rpm.

Number of poles: 8.

• EM-SCADA. Control and Data Acquisition System Software for Electrical Machines.

Power supply: 230 VAC.

Input signals:

Current signal (x2).

RMS current signal (x2).

Voltage signal (x2).

RMS voltage signal (x2).

Torque and speed signals.

Output signals:

Torque control signal for the servomotor.

Speed control signal for the servomotor.

The three softwares are part of the SCADA system.

Compatible with actual Windows operating systems. Graphic and intuitive simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and simultaneous way.

Management, processing, comparison and storage of data.

It allows graphic representation in real time.

Comparative analysis of the obtained data, after the process and modification of the conditions during the process.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

Additional recommended elements (Not included):

• PMSWG. Permanent Magnets Small Wind Turbine.

Supplied with a wheeled base for easy movement and placement.

A foundation is required for installation and use.

Output power: 200 W.

Nominal speed: 11.5 m/s.

Rotor diameter: 1 m.

Maximum height: 4 m.

• All necessary cables to realize the practical exercises are included.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 AEL-WPTC/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

3 Cables and Accessories, for normal operation.

4 Manuals:

This unit is supplied with 7 manuals: Required services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance & Practices Manuals.

*	References 1 to 4 are the main items: AEL-WPTC + AEL-WPTC/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Start-up and working of the permanent magnets synchronous generator.

2.- Structure and operation of a wind power plant.

3.- Study of the energy storage and system optimization.

4.- Operation and working characteristics with different wind speeds and loads (AC and DC).

5.- Operation of a wind power plant in island mode for the generation of AC current.

6.- Real time torque monitoring.

7.- Real time speed monitoring.

8.- Real time monitoring of current, voltage and power values.

9.- Real time monitoring of current and voltage waveforms.

10.- Electrodynamic study of the motor/generator.

11.- Obtaining characteristic curves (torque-velocity curve, torque-current curve, etc.) and working points for operating conditions.

12.- Real time monitoring of the results.

Other possibilities to be done with this unit:

13.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

14.- Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

15.- The Computer Control System with SCADA allows a real industrial simulation.

16.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

17.- This unit can be used for doing applied research.

18.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

19.- Visualization of all the sensors values used in the AEL-WPTC unit process.

- Several other exercises can be done and designed by the user.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

5 AEL-WPTC/ICAI. Interactive Computer Aided Instruction Software System.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

b) Multipost Expansions options

6 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.