TENDER SPECIFICATIONS

Bench-top unit.

Transparent methacrylate working chamber for full visualization of the process:

Four heatable trays.

Total useful surface: 0.12 m².

Diameter of the trays: 200 mm.

Maximum capacity of the condenser: 6 kg.

Condenser final temperature: - 55 °C.

Total electrical power: 1400 W.

Product temperature control.

Vacuum control:

Relief valve that allows to work in a manual or automatic way.

Control by PLC touch screen and USB output:

Digital display allowing continuous reading of freeze-drying parameters (temperature, pressure, time).

Possibility to program the process for a correct adjustment of the operation conditions.

Temperature sensors in the working chamber and the condenser.

Pressure sensor in the condenser.

Vacuum pump:

Nominal flow rate: 6 m²/h.

Non-return valve.

Gas discharge filter.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 575 x 420 x 400 mm approx. (22.63 x 16.53 x 15.74 inches approx.). - Weights: 65 Kg approx. (143 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of the freeze drying process.

2.- Study of the influence of the heating temperature in the freeze drying process.

3.- Study of the influence of the pressure in the freeze drying process.

4.- Evaluations of the freeze drying time necessary for each product.

5.- Study of the influence of the condenser temperature in the freeze drying process.

6.- Calculation of the amount of solvent removed from the solid.

Optional

BLIO/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.