# TENDER SPECIFICATIONS

Test Modules

BS2-PLC. Temperature Test Module for PLC.

- BS2. Temperature Test Module.

Painted steel box. Connection diagrams for each transducer are represented graphically.

Bimetallic switch sensor:

Bimetallic contact thermal switch. Opening temperature: 50 °C. Closing temperatures: 30 °C. Configuration: normally closed contact.

Adjustable bimetallic thermostat:

With heater heating element that allows minimizing the differential cycles and preventing overpeaks. Temperature range: 0 °C – 30 °C. Normally closed contact.

Magnetic block:

Inside of an external case. Composed of a ferrite pipe, with a heater element inside of them.

Incandescent lamp.

Relay AC:

It allows to turn on and off the incandescent lamp placed over the temperature sensors. Voltage and current (nominal): 250 V – 10 A. Normally open contact. Switching voltage: 12 V.

Capillary thermostat:

Temperature range: 0 °C – 90 °C. Maximum temperature bulb: 150 °C. Nominal values contact: 15 A, 250 VAC. Normally closed contact.

Thermocouples:

Three chronel-alumel “K” type thermocouples, one in the vicinity of the capillary-type thermostat and the bimetallic switch sensor, one on the adjustable bimetallic thermostat and one inside the magnetic assembly. Each of these is used to measure the temperature being controlled by each of the sensors. Temperature range: -50 °C – 250 °C.

Sensor connections with the base unit and with power supplies are through 2 mm terminals located in the front panel of the test module.

- FACO. Power Supply.

DC Fixed outputs: + 5 V, ± 12 V, 1 A.

DC Variable outputs: ± 12 V, 0.5 A.

AC Outputs: 12 V or 24 V.

Outputs through 2 mm terminals, or connectors Sub-D of 25 pins (2 outputs).

Voltage LED indicators.

Robust construction.

Power: 110 / 220 VAC.

Frequency: 50 / 60 Hz.

Required elements (Not included):

The AE-PLC-PAN-UB, PANASONIC PLC Base Unit includes:

• N-ALI02. Main Domestic Power Supply Module.

Supply voltage (single–phase): 230 VAC, 1PH + N.

ON / OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-phase supply hose with connecting plug.

Differential magnetothermal 2 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-CPU-PAN. Panasonic CPU Module.

Supply voltage (single-phase): 230 VAC.

Overcurrent protection with fuse.

PLC device, Panasonic FP7:

High processing speed: 11 ns per basic instruction (step).

Programming capacity: 120 k basic instructions (step).

Data logging capacity: 256 k words.

Independent memory for comments: 3 MB.

Compatible with SD / SDHC memory cards up to 32 GB.

Sixteen digital inputs with voltage levels 0 V and 24 V.

Sixteen relay type digital outputs with voltage levels 0 V and 24 V.

Expansion module for extra channels of digital inputs and outputs.

Web server function:

HTML web server included in the PLC.

Up to sixteen sessions at the same time.

Compatible with the most common search motors.

Connector for the digital input and output signals.

Connector for the Ethernet switch module.

Programming software developed according to the norm IEC 61131 – 3.

Compatible with Windows operating systems.

Online monitoring of the PLC.

Five programming languages:

Ladder Diagrams (LD), Structured Text (ST), Instruction List (IL), Sequential Function Chart (SFC) and  Function Block Diagram (FBD).

Remote programming, service and diagnosis.

Minimum size of program.

Powerful debugging and monitoring tools.

Supports functions created by the user and function blocks.

PLCs programming through Ethernet network.

• N-SWT-8. 8 Ports Ethernet Switch Module.

Supply voltage (single-phase): 230 VAC.

Compact switch module:

Eight Ethernet ports.

Protection fuse (at supply voltage height).

The PAN-PLC-K1, PANASONIC PLC Kit 1 includes:

• N-MT. Test Module.

Supply voltage (single-phase): 230 VAC.

Twenty digital signal generators:

Ten toggle switches.

Ten push-buttons.

Every output has attached a green LED.

Output voltage levels of 0 VDC and 24 VDC.

Six analog signal generators:

Six potentiometers.

Output voltage range from -10 V to +10 V.

The PAN-PLC-K2, PANASONIC PLC Kit 2 includes:

• N-ESA-PAN. Panasonic Analog I/O Module.

Supply voltage (single-phase): 230 VAC, L + N + GND.

Expansion unit for analog inputs:

Input voltage range from -10 V to +10 V.

Four analog inputs.

Resolution of 12 bits.

Expansion unit for analog outputs:

Output voltage range from -10 V to +10 V.

Four analog outputs.

Resolution of 12 bits.

Connector for the analog input and output signals.

Connector to the Ethernet switch module.

Cables and accessories, for normal operation.

Manuals: This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Each module may operate independently of another.

Dimensions: 405 x 300 x 400 mm approx. (15.94 x 11.81 x 15.74 inches approx.)   Weight: 5 kg approx. (11.02 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  How to use the Curie effect as application of a high temperature thermostatic controller.

2.-  Adjustable bimetallic thermostat. To use the bimetallic thermostat as a temperature controller, calculating its hysteresis.

3.-  Adjustable bimetallic thermostat. How we can reduce the hysteresis by adding a heating element to the heating circuit.

4.-  To use the thermostat based on a bimetallic sensor to control the temperature.

5.-  To use the capillary thermostat.

6.-  Using the analog inputs and outputs of the PLC to read and write analog signals.

7.-  Read the temperature sensor signal with the PLC.

8.-  Manual control of the actuator through the PLC.

9.-  PID control of the temperature value through the PLC.

10.-Observe the effects of the temperature control to changes in the PID parameters.

BS3-PLC. Pressure Test Module for PLC.

- BS3. Pressure Test Module.

Painted steel box. Connection diagrams for each transducer are represented graphically.

Linear positioning sensor (potentiometer):

Heating element range: 500 Ω – 5 k Ω. Operation force: 200 – 750 g.

LVDT sensor:

Sensibility: 780 mV/mm. Power voltage: 5 – 12 VDC. Total path: 2.5 mm.

Differential pressure sensor:

Measurement range: 0 – 30 psi. Sensibility: 3.33 mV/psi. Overpressure: 60 psi. Power supply range: 10 – 16 VDC.

Two strain gauges mounted in a Wheatstone bridge:

Nominal heating element: 25 °C: 120 Ω. Gauge factor: 2.00 – 2.1 typical. Nominal heating element tolerance: +-0.5 %.

Manometric pressure sensor:

Measurement range: 0 – 30 psi. Sensibility: 3.33 mV/psi. Overpressure: 60 psi. Power supply range: 10 – 16 VDC.

Absolute pressure sensor:

Measurement range: 2 – 30 psi. Sensibility: -11 mV/psi. Overpressure: 60 psi. Power supply range: 10 – 12 VDC.

Air compressor (located inside the steel box): Air flow: 10 l/min. Pressure: 1.83 kg/cm². Power supply: 220 V, 50/60 Hz.

Sensor connections with the base unit and with power supplies are through 2 mm terminals located in the front panel of the test module.

- FACO. Power Supply.

DC Fixed outputs: + 5 V, ± 12 V, 1 A.

DC Variable outputs: ± 12 V, 0.5 A.

AC Outputs: 12 V or 24 V.

Outputs through 2 mm terminals, or connectors Sub-D of 25 pins (2 outputs).

Voltage LED indicators.

Robust construction.

Power: 110 / 220 VAC.

Frequency: 50 / 60 Hz.

Required elements (Not included):

The AE-PLC-PAN-UB, PANASONIC PLC Base Unit includes:

• N-ALI02. Main Domestic Power Supply Module.

Supply voltage (single–phase): 230 VAC, 1PH + N.

ON / OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-phase supply hose with connecting plug.

Differential magnetothermal 2 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-CPU-PAN. Panasonic CPU Module.

Supply voltage (single-phase): 230 VAC.

Overcurrent protection with fuse.

PLC device, Panasonic FP7:

High processing speed: 11 ns per basic instruction (step).

Programming capacity: 120 k basic instructions (step).

Data logging capacity: 256 k words.

Independent memory for comments: 3 MB.

Compatible with SD / SDHC memory cards up to 32 GB.

Sixteen digital inputs with voltage levels 0 V and 24 V.

Sixteen relay type digital outputs with voltage levels 0 V and 24 V.

Expansion module for extra channels of digital inputs and outputs.

Web server function:

HTML web server included in the PLC.

Up to sixteen sessions at the same time.

Compatible with the most common search motors.

Connector for the digital input and output signals.

Connector for the Ethernet switch module.

Programming software developed according to the norm IEC 61131 – 3.

Compatible with Windows operating systems.

Online monitoring of the PLC.

Five programming languages:

Ladder Diagrams (LD), Structured Text (ST), Instruction List (IL), Sequential Function Chart (SFC) and  Function Block Diagram (FBD).

Remote programming, service and diagnosis.

Minimum size of program.

Powerful debugging and monitoring tools.

Supports functions created by the user and function blocks.

PLCs programming through Ethernet network.

• N-SWT-8. 8 Ports Ethernet Switch Module.

Supply voltage (single-phase): 230 VAC.

Compact switch module:

Eight Ethernet ports.

Protection fuse (at supply voltage height).

The PAN-PLC-K1, PANASONIC PLC Kit 1 includes:

• N-MT. Test Module.

Supply voltage (single-phase): 230 VAC.

Twenty digital signal generators:

Ten toggle switches.

Ten push-buttons.

Every output has attached a green LED.

Output voltage levels of 0 VDC and 24 VDC.

Six analog signal generators:

Six potentiometers.

Output voltage range from -10 V to +10 V.

The PAN-PLC-K2, PANASONIC PLC Kit 2 includes:

• N-ESA-PAN. Panasonic Analog I/O Module.

Supply voltage (single-phase): 230 VAC, L + N + GND.

Expansion unit for analog inputs:

Input voltage range from -10 V to +10 V.

Four analog inputs.

Resolution of 12 bits.

Expansion unit for analog outputs:

Output voltage range from -10 V to +10 V.

Four analog outputs.

Resolution of 12 bits.

Connector for the analog input and output signals.

Connector to the Ethernet switch module.

Cables and accessories, for normal operation.

Manuals: This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Each module may operate independently of another.

Dimensions: 405 x 300 x 350 mm approx. (15.94 x 11.81 x 13.78 inches approx.)  Weight: 7.5 kg approx. (16.53 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Use of linear positioning sensor (potentiometer) to detect the displacement produced by a diaphragm expansion caused by the air pressure.

2.-  Use of a LVDT as an element to measure the diaphragm distortion that is consequence of the pressure inside the pressure chamber.

3.-  Differential pressure sensor with hole-board system. Use of a differential pressure sensor of the semiconductor type to measure the pressure fall in a hole-board system.

4.-  Strain gauges. To detect objects using an infrared sensor by light beam interruption.

5.-  Measure the pressure in the chamber, using two different types of sensors (manometric and absolute pressure sensor).

6.-  Strain gauges for measuring deformations: their resistance changes as the diaphragm expands due to the pressure coming from the pressure chamber.

7.-  Using the analog inputs and outputs of the PLC to read and write analog signals.

8.-  Read the pressure sensor signal with the PLC.

9.-  Manual control of the actuator through the PLC.

10.-PID control of the pressure value through the PLC.

11.-Observe the effects of the pressure control to changes in the PID parameters.

BS4-PLC. Flow Test Module for PLC.

- BS4. Flow Test Module.

Painted steel box. Connection diagrams for each transducer are represented graphically.

Flow switch:

Monitors the flow and closes an electric circuit. Contact form: normally open. Switching voltage AC: 240 VAC.

Switching voltage DC: 120 VDC.

Optical flow sensor:

It gives an output in pulses proportional to the liquid flow. At the output of this sensor we get a pulse signal with a frequency proportional to the flow volume that crosses the sensor.

Power supply: 5 VDC. Measurement range: 0.25 – 6.5 l/min. K factor: 4600 pulses per liter.

Underwater pump: the variation in the pump power supply voltage enables to change the water volume in the test module. Power supply: 12 VDC.

Pressure level sensor:

It is a sensor that measures the pressure caused by the water in relation to the atmospheric pressure, so the liquid level in the tank can be calculated. Pressure range: 0  – 1 psi. Sensitivity: 16.7 mV/psi. Power     supply: 10 – 16 VDC.

Differential pressure sensor (hole board system):

This sensor is connected to a hole-board system to measure the pressure difference caused by the volume narrowing of the conduct through which the water flows. On this way, with the measurement of the pressure difference between the hole board water output and input, it is possible to calculate the water volume that crosses the board.

Measurement range: 0 – 16 psi. Sensitivity: 1.5 mV/psi. Power supply: 10 – 16 VDC.

Changeable flow meter:

Using a small floating buoy that is inside the tube calibrated in liter per minute, it can be read the volume measure flowing through the pipe. Range: 0 – 2  l/min.

V narrowing:

The connection between the main and the secondary tank, a dam, includes a “V” narrowing. The altitude of the water level above the dam bottom is a very precise measure of the flow relation. The ruler fixed on the right end of the tank will show this height.

Main and secondary tanks.

Sensor connections with the base unit and with power supplies are through 2 mm terminals located in the front panel of the test module.

- FACO. Power Supply.

DC Fixed outputs: + 5 V, ± 12 V, 1 A.

DC Variable outputs: ± 12 V, 0.5 A.

AC Outputs: 12 V or 24 V.

Outputs through 2 mm terminals, or connectors Sub-D of 25 pins (2 outputs).

Voltage LED indicators.

Robust construction.

Power: 110 / 220 VAC

Frequency: 50 / 60 Hz.

Required elements (Not included):

The AE-PLC-PAN-UB, PANASONIC PLC Base Unit includes:

• N-ALI02. Main Domestic Power Supply Module.

Supply voltage (single–phase): 230 VAC, 1PH + N.

ON / OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-phase supply hose with connecting plug.

Differential magnetothermal 2 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-CPU-PAN. Panasonic CPU Module.

Supply voltage (single-phase): 230 VAC.

Overcurrent protection with fuse.

PLC device, Panasonic FP7:

High processing speed: 11 ns per basic instruction (step).

Programming capacity: 120 k basic instructions (step).

Data logging capacity: 256 k words.

Independent memory for comments: 3 MB.

Compatible with SD / SDHC memory cards up to 32 GB.

Sixteen digital inputs with voltage levels 0 V and 24 V.

Sixteen relay type digital outputs with voltage levels 0 V and 24 V.

Expansion module for extra channels of digital inputs and outputs.

Web server function:

HTML web server included in the PLC.

Up to sixteen sessions at the same time.

Compatible with the most common search motors.

Connector for the digital input and output signals.

Connector for the Ethernet switch module.

Programming software developed according to the norm IEC 61131 – 3.

Compatible with Windows operating systems.

Online monitoring of the PLC.

Five programming languages:

Ladder Diagrams (LD), Structured Text (ST), Instruction List (IL), Sequential Function Chart (SFC) and  Function Block Diagram (FBD).

Remote programming, service and diagnosis.

Minimum size of program.

Powerful debugging and monitoring tools.

Supports functions created by the user and function blocks.

PLCs programming through Ethernet network.

• N-SWT-8. 8 Ports Ethernet Switch Module.

Supply voltage (single-phase): 230 VAC.

Compact switch module:

Eight Ethernet ports.

Protection fuse (at supply voltage height).

The PAN-PLC-K1, PANASONIC PLC Kit 1 includes:

• N-MT. Test Module.

Supply voltage (single-phase): 230 VAC.

Twenty digital signal generators:

Ten toggle switches.

Ten push-buttons.

Every output has attached a green LED.

Output voltage levels of 0 VDC and 24 VDC.

Six analog signal generators:

Six potentiometers.

Output voltage range from -10 V to +10 V.

The PAN-PLC-K2, PANASONIC PLC Kit 2 includes:

• N-ESA-PAN. Panasonic Analog I/O Module.

Supply voltage (single-phase): 230 VAC, L + N + GND.

Expansion unit for analog inputs:

Input voltage range from -10 V to +10 V.

Four analog inputs.

Resolution of 12 bits.

Expansion unit for analog outputs:

Output voltage range from -10 V to +10 V.

Four analog outputs.

Resolution of 12 bits.

Connector for the analog input and output signals.

Connector to the Ethernet switch module.

Cables and accessories, for normal operation.

Manuals: This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Each module may operate independently of another.

Dimensions: 405 x 300 x 400 mm approx. (15.94 x 11.81 x 15.74 inches approx.)  Weight: 10 kg approx. (22.04 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  To measure the water volume produced by an underwater pump in the module using an optical flow sensor.

2.-  To use a high-resolution optical flow sensor to measure low flow rates.

3.-  Pressure level sensor. To use a differential pressure sensor to measure the liquid level in one of the tanks.

4.-	Differential pressure sensor. To measure the pressure-fall in the module hole board system, as a necessary parameter to determine the flow rate.

5.-  To measure the flow volume generated by the underwater pump using a flow meter of changeable area.

6.-  To obtain the flow-volume value in the secondary tank using the V narrowing weir.

7.- 	Using the analog inputs and outputs of the PLC to read and write analog signals.

8.-  Read the flow sensor signal with the PLC.

9.-  Manual control of the actuator through the PLC.

10.-PID control of the flow value through the PLC.

11.-Observe the effects of the flow control to changes in the PID parameters.

BS5-PLC. Ovens Test Module for PLC.

- BS5. Ovens Test Module.

Painted steel box. Connection diagrams for each transducer are represented graphically.

Oven chamber.

Heating element:

Oven heating element made up of two parallel resistances with a maximum dissipation power of 500 W. The heating element power supply is of 0 – 30 VAC. Inside the heating element there is a temperature sensor element.

Fan:

Fan with changeable speed that can be operated varying the fan energy supply voltage.

Energy supply voltage: +12 VDC (maximum). Maximum power: 0.96 W. Maximum air flow: 2.5 l/s.

Thermocouples:

Four thermocouples placed inside the oven, each one of them at a different height. Temperature range: -184 °C – 400 °C.

Platinum resistance thermometer:

Platinum resistance temperature detector, suitable for measuring air and gas temperatures. Temperature range: -70 °C – 600 °C. Resistance (0 °C): 100 +/-0.1 Ω.

Thermistor:

NTC thermistor for temperature measurement and control, with great sensitivity and stability. Resistance at 25 °C: 5.8 kΩ. Temperature range: -40 °C

– 125 °C.

Semiconductor temperature sensor:

Reverse polarized diode. The current through the diode depends on the temperature at which balance with the surrounding environment is achieved. Therefore it needs a conditioning circuit able to transform this current variation in voltage proportional to temperature.

Sensor connections with the base unit and with power supplies are through 2 mm terminals located in the front panel of the test module.

- FACO. Power Supply.

DC Fixed outputs: + 5 V, ± 12 V, 1 A.

DC Variable outputs: ± 12 V, 0.5 A.

AC Outputs: 12 V or 24 V.

Outputs through 2 mm terminals, or connectors Sub-D of 25 pins (2 outputs).

Voltage LED indicators.

Robust construction.

Power: 110 / 220 VAC

Frequency: 50 / 60 Hz.

Required elements (Not included):

The AE-PLC-PAN-UB, PANASONIC PLC Base Unit includes:

• N-ALI02. Main Domestic Power Supply Module.

Supply voltage (single–phase): 230 VAC, 1PH + N.

ON / OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-phase supply hose with connecting plug.

Differential magnetothermal 2 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-CPU-PAN. Panasonic CPU Module.

Supply voltage (single-phase): 230 VAC.

Overcurrent protection with fuse.

PLC device, Panasonic FP7:

High processing speed: 11 ns per basic instruction (step).

Programming capacity: 120 k basic instructions (step).

Data logging capacity: 256 k words.

Independent memory for comments: 3 MB.

Compatible with SD / SDHC memory cards up to 32 GB.

Sixteen digital inputs with voltage levels 0 V and 24 V.

Sixteen relay type digital outputs with voltage levels 0 V and 24 V.

Expansion module for extra channels of digital inputs and outputs.

Web server function:

HTML web server included in the PLC.

Up to sixteen sessions at the same time.

Compatible with the most common search motors.

Connector for the digital input and output signals.

Connector for the Ethernet switch module.

Programming software developed according to the norm IEC 61131 – 3.

Compatible with Windows operating systems.

Online monitoring of the PLC.

Five programming languages:

Ladder Diagrams (LD), Structured Text (ST), Instruction List (IL), Sequential Function Chart (SFC) and  Function Block Diagram (FBD).

Remote programming, service and diagnosis.

Minimum size of program.

Powerful debugging and monitoring tools.

Supports functions created by the user and function blocks.

PLCs programming through Ethernet network.

• N-SWT-8. 8 Ports Ethernet Switch Module.

Supply voltage (single-phase): 230 VAC.

Compact switch module:

Eight Ethernet ports.

Protection fuse (at supply voltage height).

The PAN-PLC-K1, PANASONIC PLC Kit 1 includes:

• N-MT. Test Module.

Supply voltage (single-phase): 230 VAC.

Twenty digital signal generators:

Ten toggle switches.

Ten push-buttons.

Every output has attached a green LED.

Output voltage levels of 0 VDC and 24 VDC.

Six analog signal generators:

Six potentiometers.

Output voltage range from -10 V to +10 V.

The PAN-PLC-K2, PANASONIC PLC Kit 2 includes:

• N-ESA-PAN. Panasonic Analog I/O Module.

Supply voltage (single-phase): 230 VAC, L + N + GND.

Expansion unit for analog inputs:

Input voltage range from -10 V to +10 V.

Four analog inputs.

Resolution of 12 bits.

Expansion unit for analog outputs:

Output voltage range from -10 V to +10 V.

Four analog outputs.

Resolution of 12 bits.

Connector for the analog input and output signals.

Connector to the Ethernet switch module.

Cables and accessories, for normal operation.

Manuals: This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Each module may operate independently of another.

Dimensions: 405 x 300 x 470 mm approx. (15.94 x 11.81 x 18.50 inches approx.) Weight: 7.5 kg approx. (16.53 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-   Heating element. Raise the oven internal temperature, over the environmental temperature, using a heating element to do tests and practices related with temperature measurement.

2.-   To use a fan as refrigerating element of the oven.

3.-   Using thermocouples as temperature sensors elements inside the oven. Temperature measurement using a thermocouple.

4.-   Temperature measurement inside the furnace by means of a platinum resistance thermometer.

5.-   To measure temperature inside the oven using a thermistor temperature sensor.

6.-   Temperature measurement using a thermistor, based on its negative temperature coefficient.

7.-   To obtain the temperature value inside the oven using a semiconductor sensor (diode).

8.-   Using the analog inputs and outputs of the PLC to read and write analog signals.

9.-   Read the temperature sensor signal with the PLC.

10.- Manual control of the actuator through the PLC.

11.- PID control of the temperature value through the PLC.

12.- Observe the effects of the temperature control to changes in the PID parameters.

BS6-PLC. Liquid Level Test Module for PLC.

- BS6. Liquid level Test Module.

Painted steel box. Connection diagrams for each transducer are represented graphically.

Water tanks.

Capacitive level sensor:

Level sensor immersed in the tank. Power supply: 12 – 35 VDC. Output: 4 – 20 mA.

Level sensor by pressure:

It is a differential pressure sensor that measures the pressure practiced by the water compared to the atmospheric pressure to measure the water level. Pressure range: 0 – 1 psi. Sensibility: 16.7 mV/psi. Excitation voltage: 10 – 16 VDC.

Float level switches with potentiometer:

It is a potentiometer fixed to a float arm that will vary its position depending to the water level. This system complements itself with two end and beginning path switches respectively. Switching voltage contacts: 250 VAC / 125 VDC.

Conductivity level sensor:

This sensor works with two electrodes immersed in one of the tanks. As the water level rises and covers the electrodes its resistance will decrease until it arrives to kΩ unit values; as long as the (water) does not touch the electrodes, the resistance between them will be very big and will behave like an open circuit.

Magnetic float level sensor:

Sensor formed by a small float that has inside a magnetic element, the float base has a Hall effect element that detects when the float has gone up due to the effect of the water. Switching voltage: 240 VAC / 120 VDC.

Optical level sensor:

It is a photodiode and phototransistor, which in presence of water changes its refraction properties and make the output state approximately change from 3 – 0 VDC. Power supply: 5 VDC. Load current: 20 mA maximum at 125 °C.

Two pumps:

The volume supplied by these pumps can be regulated varying the DC voltage value with which they are supplied. Power supply: 12 VDC (maximum voltage). Nominal volume: 1 l/min. Nominal current: 1 A.

Sensor connections with the base unit and with power supplies are through 2 mm terminals located in the front panel of the test module.

- FACO. Power Supply.

DC Fixed outputs: + 5 V, ± 12 V, 1 A.

DC Variable outputs: ± 12 V, 0.5 A.

AC Outputs: 12 V or 24 V.

Outputs through 2 mm terminals, or connectors Sub-D of 25 pins (2 outputs).

Voltage LED indicators.

Robust construction.

Power: 110 / 220 VAC.

Frequency: 50 / 60 Hz.

Required elements (Not included):

The AE-PLC-PAN-UB, PANASONIC PLC Base Unit includes:

• N-ALI02. Main Domestic Power Supply Module.

Supply voltage (single–phase): 230 VAC, 1PH + N.

ON / OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-phase supply hose with connecting plug.

Differential magnetothermal 2 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-CPU-PAN. Panasonic CPU Module.

Supply voltage (single-phase): 230 VAC.

Overcurrent protection with fuse.

PLC device, Panasonic FP7:

High processing speed: 11 ns per basic instruction (step).

Programming capacity: 120 k basic instructions (step).

Data logging capacity: 256 k words.

Independent memory for comments: 3 MB.

Compatible with SD / SDHC memory cards up to 32 GB.

Sixteen digital inputs with voltage levels 0 V and 24 V.

Sixteen relay type digital outputs with voltage levels 0 V and 24 V.

Expansion module for extra channels of digital inputs and outputs.

Web server function:

HTML web server included in the PLC.

Up to sixteen sessions at the same time.

Compatible with the most common search motors.

Connector for the digital input and output signals.

Connector for the Ethernet switch module.

Programming software developed according to the norm IEC 61131 – 3.

Compatible with Windows operating systems.

Online monitoring of the PLC.

Five programming languages:

Ladder Diagrams (LD), Structured Text (ST), Instruction List (IL), Sequential Function Chart (SFC) and  Function Block Diagram (FBD).

Remote programming, service and diagnosis.

Minimum size of program.

Powerful debugging and monitoring tools.

Supports functions created by the user and function blocks.

PLCs programming through Ethernet network.

• N-SWT-8. 8 Ports Ethernet Switch Module.

Supply voltage (single-phase): 230 VAC.

Compact switch module:

Eight Ethernet ports.

Protection fuse (at supply voltage height).

The PAN-PLC-K1, PANASONIC PLC Kit 1 includes:

• N-MT. Test Module.

Supply voltage (single-phase): 230 VAC.

Twenty digital signal generators:

Ten toggle switches.

Ten push-buttons.

Every output has attached a green LED.

Output voltage levels of 0 VDC and 24 VDC.

Six analog signal generators:

Six potentiometers.

Output voltage range from -10 V to +10 V.

The PAN-PLC-K2, PANASONIC PLC Kit 2 includes:

• N-ESA-PAN. Panasonic Analog I/O Module.

Supply voltage (single-phase): 230 VAC, L + N + GND.

Expansion unit for analog inputs:

Input voltage range from -10 V to +10 V.

Four analog inputs.

Resolution of 12 bits.

Expansion unit for analog outputs:

Output voltage range from -10 V to +10 V.

Four analog outputs.

Resolution of 12 bits.

Connector for the analog input and output signals.

Connector to the Ethernet switch module.

Cables and accessories, for normal operation.

Manuals: This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Each module may operate independently of another.

Dimensions: 405 x 300 x 380 mm approx. (15.94 x 11.81 x 14.96 inches approx.)  Weight: 10 kg approx. (22.04 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-   To use a capacitive sensor to measure the liquid level in the tank.

2.-   To use the differential pressure sensor as an element to determine the water level in a tank.

3.-   To use a changeable resistance fixed to a float system as a liquid level measurement element.

4.-   Conduction sensor. Use of a sensor made up of to steel electrodes to measure the water level of a tank.

5.-   Magnetic float level sensor. It detects a precise liquid level in the tank with a magnetic contact.

6.-   Control of the module left tank liquid level using an optical level sensor.

7.-   Using the analog inputs and outputs of the PLC to read and write analog signals.

8.-   Read the capacitive level sensor signal with the PLC.

9.-   Manual control of the actuator through the PLC.

10.- PID control of the water level through the PLC.

11.- Observe the effects of the water level control to changes in the PID parameters.

BS7-PLC. Tachometers Test Module for PLC.

- BS7. Tachometer Test Module.

Painted steel box. Connection diagrams for each transducer are represented graphically.

DC Motor:

Nominal voltage: 12 V. Heating element: 9.7 Ω. Maximum no-load speed: 8500 rpm. Maximum load speed: approx. 3500 rpm. Start voltage: 210 mV.

Inductive sensor:

Output voltage: up to 10 Vpp. Body housing material: Steel. Operating temperature range: -40 °C - 60 °C.

DC Tachometer: Voltage: 1.5 VDC. Power rating: 1.21 W.

Retroreflective optical sensor:

Sensor where an infrared emitting diode and an NPN phototransistor are encapsulated in black thermoplastic side by side. The emitter and receiver are positioned at a convergent angle to the disk. Vo at module output terminals: 0 – 400 mV for Vs = 12 VDC.

Slot optical sensor:

Slot optical sensor where an input LED and an output phototransistor are capsulated. Vo in output connectors of the module: 0 – 5 V for Vs = 5 VDC.

Hall effect sensor:

Hall effect position sensor where exist a relationship between supply voltage and the combined effects of a change in sensitivity (gain) and null voltage output at room temperature.

Supply voltage: 4 – 10 V. Supply current: 3.5 mA. Output type: differential. Output voltage: 0.25 – 2 V. Sensitivity: ±130 gauss; 0.75  – 1.06 mV/gauss. Vo in output connectors of the module: 0 – 1 V for Vs = 5 VDC.

Encoder:

This optical encoder contains a LED source, an integrated circuit with detectors and output circuitry, and a codewheel which rotates between the emitter and the detector IC. Supply voltage: -0.5 – 7 V. Output voltage: -0.5 – 7 V. Output current per channel: -1  – 5 mA. Velocity: 30000 rpm.

Sensor connections with the base unit and with power supplies are through 2 mm terminals located in the front panel of the test module.

- FACO. Power Supply.

DC Fixed outputs: + 5 V, ± 12 V, 1 A.

DC Variable outputs: ± 12 V, 0.5 A.

AC Outputs: 12 V or 24 V.

Outputs through 2 mm terminals, or connectors Sub-D of 25 pins (2 outputs).

Voltage LED indicators.

Robust construction.

Power: 110 / 220 VAC

Frequency: 50 / 60 Hz.

Required elements (Not included):

The AE-PLC-PAN-UB, PANASONIC PLC Base Unit includes:

• N-ALI02. Main Domestic Power Supply Module.

Supply voltage (single–phase): 230 VAC, 1PH + N.

ON / OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-phase supply hose with connecting plug.

Differential magnetothermal 2 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-CPU-PAN. Panasonic CPU Module.

Supply voltage (single-phase): 230 VAC.

Overcurrent protection with fuse.

PLC device, Panasonic FP7:

High processing speed: 11 ns per basic instruction (step).

Programming capacity: 120 k basic instructions (step).

Data logging capacity: 256 k words.

Independent memory for comments: 3 MB.

Compatible with SD / SDHC memory cards up to 32 GB.

Sixteen digital inputs with voltage levels 0 V and 24 V.

Sixteen relay type digital outputs with voltage levels 0 V and 24 V.

Expansion module for extra channels of digital inputs and outputs.

Web server function:

HTML web server included in the PLC.

Up to sixteen sessions at the same time.

Compatible with the most common search motors.

Connector for the digital input and output signals.

Connector for the Ethernet switch module.

Programming software developed according to the norm IEC 61131 – 3.

Compatible with Windows operating systems.

Online monitoring of the PLC.

Five programming languages:

Ladder Diagrams (LD), Structured Text (ST), Instruction List (IL), Sequential Function Chart (SFC) and  Function Block Diagram (FBD).

Remote programming, service and diagnosis.

Minimum size of program.

Powerful debugging and monitoring tools.

Supports functions created by the user and function blocks.

PLCs programming through Ethernet network.

• N-SWT-8. 8 Ports Ethernet Switch Module.

Supply voltage (single-phase): 230 VAC.

Compact switch module:

Eight Ethernet ports.

Protection fuse (at supply voltage height).

The PAN-PLC-K1, PANASONIC PLC Kit 1 includes:

• N-MT. Test Module.

Supply voltage (single-phase): 230 VAC.

Twenty digital signal generators:

Ten toggle switches.

Ten push-buttons.

Every output has attached a green LED.

Output voltage levels of 0 VDC and 24 VDC.

Six analog signal generators:

Six potentiometers.

Output voltage range from -10 V to +10 V.

The PAN-PLC-K2, PANASONIC PLC Kit 2 includes:

• N-ESA-PAN. Panasonic Analog I/O Module.

Supply voltage (single-phase): 230 VAC, L + N + GND.

Expansion unit for analog inputs:

Input voltage range from -10 V to +10 V.

Four analog inputs.

Resolution of 12 bits.

Expansion unit for analog outputs:

Output voltage range from -10 V to +10 V.

Four analog outputs.

Resolution of 12 bits.

Connector for the analog input and output signals.

Connector to the Ethernet switch module.

Cables and accessories, for normal operation.

Manuals: This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Each module may operate independently of another.

Dimensions: 405 x 300 x 250 mm approx. (15.94 x 11.81 x 9.84 inches approx.)  Weight: 5.5 kg approx. (12.12 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-   DC motor. Provide the force of movement to the set of sensors of the “BS7” module, coupled to the central axis of the unit.

2.-   DC Tachometer. To use a DC motor as a tachometer to measure the revolutions of the “BS7” module central axle.

3.-   Inductive sensor.

4.-   Retroreflective optical sensor. To measure the central axle revolutions of the module using a light reflection optical sensor.

5.-   To obtain the central axle speed value using a slot optical sensor through light interruption.

6.-   To obtain the central axle speed value using a Hall-effect position sensor.

7.-   To measure the central axle revolutions of the module using the encoder.

8.-   Using the analog inputs and outputs of the PLC to read and write analog signals.

9.-   Read the tachometer signal with the PLC.

10.- Manual control of the actuator through the PLC.

11.- PID control of the angular speed value through the PLC.

12.- Observe the effects of the angular speed control to changes in the PID parameters.

BS9-PLC. Pneumatic Test Module for PLC.

- BS9. Pneumatic Test Module.

Painted steel box. Connection diagrams for each transducer are represented graphically.

Proportional valves (1 and 2):

Nominal voltage: 24 VDC. Pressure range: 8 bar maximum, 0 – 6 bar control. Linearity: 1 % full scale.

Differential pressure sensor: Measurement range: 0 – 30 psi. Sensitivity: 3.33 mV/psi. Power supply range: 10 – 16 VDC.

Pneumatic switch: Activation: 24 VDC. Positions: 2. Maximum pressure: 6 bar.

LVDT Sensor: Power supply voltage: 24 VDC. Sensitivity: 60 mV/mm/10 VDC.

Regulation filter: Manual drainage. Maximum input pressure: 8 bar. Flux: 14.5 dm³/s.

Air compressor:

Air flow: 10 l/min. Pressure: 1.83 kg/cm².

Sensor connections with the base unit and with power supplies are through 2 mm terminals located in the front panel of the test module.

- FACO. Power Supply.

DC Fixed outputs: + 5 V, ± 12 V, 1 A.

DC Variable outputs: ± 12 V, 0.5 A.

AC Outputs: 12 V or 24 V.

Outputs through 2 mm terminals, or connectors Sub-D of 25 pins (2 outputs).

Voltage LED indicators.

Robust construction.

Power: 110 / 220 VAC.

Frequency: 50 / 60 Hz.

Required elements (Not included):

The AE-PLC-PAN-UB, PANASONIC PLC Base Unit includes:

• N-ALI02. Main Domestic Power Supply Module.

Supply voltage (single–phase): 230 VAC, 1PH + N.

ON / OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-phase supply hose with connecting plug.

Differential magnetothermal 2 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-CPU-PAN. Panasonic CPU Module.

Supply voltage (single-phase): 230 VAC.

Overcurrent protection with fuse.

PLC device, Panasonic FP7:

High processing speed: 11 ns per basic instruction (step).

Programming capacity: 120 k basic instructions (step).

Data logging capacity: 256 k words.

Independent memory for comments: 3 MB.

Compatible with SD / SDHC memory cards up to 32 GB.

Sixteen digital inputs with voltage levels 0 V and 24 V.

Sixteen relay type digital outputs with voltage levels 0 V and 24 V.

Expansion module for extra channels of digital inputs and outputs.

Web server function:

HTML web server included in the PLC.

Up to sixteen sessions at the same time.

Compatible with the most common search motors.

Connector for the digital input and output signals.

Connector for the Ethernet switch module.

Programming software developed according to the norm IEC 61131 – 3.

Compatible with Windows operating systems.

Online monitoring of the PLC.

Five programming languages:

Ladder Diagrams (LD), Structured Text (ST), Instruction List (IL), Sequential Function Chart (SFC) and  Function Block Diagram (FBD).

Remote programming, service and diagnosis.

Minimum size of program.

Powerful debugging and monitoring tools.

Supports functions created by the user and function blocks.

PLCs programming through Ethernet network.

• N-SWT-8. 8 Ports Ethernet Switch Module.

Supply voltage (single-phase): 230 VAC.

Compact switch module:

Eight Ethernet ports.

Protection fuse (at supply voltage height).

The PAN-PLC-K1, PANASONIC PLC Kit 1 includes:

• N-MT. Test Module.

Supply voltage (single-phase): 230 VAC.

Twenty digital signal generators:

Ten toggle switches.

Ten push-buttons.

Every output has attached a green LED.

Output voltage levels of 0 VDC and 24 VDC.

Six analog signal generators:

Six potentiometers.

Output voltage range from -10 V to +10 V.

The PAN-PLC-K2, PANASONIC PLC Kit 2 includes:

• N-ESA-PAN. Panasonic Analog I/O Module.

Supply voltage (single-phase): 230 VAC, L + N + GND.

Expansion unit for analog inputs:

Input voltage range from -10 V to +10 V.

Four analog inputs.

Resolution of 12 bits.

Expansion unit for analog outputs:

Output voltage range from -10 V to +10 V.

Four analog outputs.

Resolution of 12 bits.

Connector for the analog input and output signals.

Connector to the Ethernet switch module.

Cables and accessories, for normal operation.

Manuals: This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Each module may operate independently of another.

Dimensions: 405 x 300 x 350 mm approx. (15.94 x 11.81 x 13.78 inches approx.)  Weight: 7 kg approx. (15.43 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Proportional valves. To control electronically the vertical displacement of a double effect pneumatic piston using proportional valves.

2.- Differential pressure sensor. To use a pressure sensor for measuring the pressure difference between both pneumatic piston air inlets.

3.- Pneumatic switch. To deflect the air flow using a pneumatic switch.

4.- LVDT linear displacement sensor. To measure pneumatic piston displacement using an excitation and DC output LVDT.

5.- Using the analogs input and outputs of the PLC to read and write analog signals.

6.- Read the position sensor signal with the PLC.

7.- Manual control of the actuator through the PLC.

8.- PID control of the cylinder position through the PLC.

9.- Observe the effects of the position control to changes in the PID parameters.

BS10-PLC. Light Test Module for PLC.

- BS10. Light Test Module.

Painted steel box. Connection diagrams for each transducer are represented graphically.

Lamp:

Voltage: 12 V. Power 5 W.

Photodiode:

Power: 250 mW maximum. Sensibility: 0.34 A/N. This sensor converts light into either current or voltage, depending upon the mode of operation.

Phototransistor:

Current collector: 20 mA maximum. Peak wavelength: 570 nm. It also consists of a photodiode with internal gain.

Light dependent heating element:

Power dissipation: 250 mW maximum. Peak wavelength: 550 nm. A LDR is a heating element whose intensity decreases with increasing incident light intensity.

Photovoltaic cell:

Power: 250 mW maximum. Peak wavelength: 550 nm. A photovoltaic cell converts solar radiation into direct current electricity.

Infrared emitter-receiver:

Power: 470 mW maximum. Maximum current: 200 mA. Peak wavelength: 880 nm. This element consists of an IR emitter LED and IR phototransistor.

Sensor connections with the base unit and with power supplies are through 2 mm terminals located in the front panel of the test module.

- FACO. Power Supply.

DC Fixed outputs: + 5 V, ± 12 V, 1 A.

DC Variable outputs: ± 12 V, 0.5 A.

AC Outputs: 12 V or 24 V.

Outputs through 2 mm terminals, or connectors Sub-D of 25 pins (2 outputs).

Voltage LED indicators.

Robust construction.

Power: 110 / 220 VAC.

Frequency: 50 / 60 Hz.

Required elements (Not included):

The AE-PLC-PAN-UB, PANASONIC PLC Base Unit includes:

• N-ALI02. Domestic Main Power Supply Module.

Supply voltage (single–phase): 230 VAC, 1PH + N.

ON / OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-phase supply hose with connecting plug.

Differential magnetothermal 2 poles, 25 A, 30 mA AC 6 KA.

Emergency stop push-button.

• N-CPU-PAN. Panasonic CPU Module.

Supply voltage (single-phase): 230 VAC, L + N + GND.

Overcurrent protection with fuse.

PLC device, Panasonic FP7:

High processing speed: 11ns per basic instruction (step).

Programming capacity: 120k basic instructions (step).

Data logging capacity: 256k words.

Independent memory for comments: 3 MB.

Compatible with SD/SDHC memory cards up to 32 GB.

Sixteen digital inputs with voltage levels 0 V and 24 V.

Sixteen relay type digital outputs with voltage levels 0 V and 24 V.

Expansion module for extra digital inputs and outputs.

Web server function:

HTML web server included in the PLC.

Up to 16 sessions at the same time.

Compatible with most common search engines.

Connector for the digital input and output signals.

Connector to the Ethernet switch module.

Programming software developed according to the norm IEC 61131 – 3.

Compatible with Windows operating systems.

Online monitoring of the PLC.

Five programming languages:

Ladder Diagrams (LD), Structured Text (ST), Instruction List (IL), Sequential Function Chart (SFC) and  Function Block Diagram (FBD).

Remote programming, service and diagnosis.

Minimum size of program.

Powerful debugging and monitoring tools.

Supports functions created by the user and function blocks.

PLCs programming through Ethernet network.

• N-SWT-8. 8 Ports Ethernet Switch Module.

Supply voltage (single-phase): 230 VAC.

Compact switch module:

Eight Ethernet ports.

Protection fuse (at supply voltage height).

The PAN-PLC-K1, Test kit for PANASONIC PLC includes:

• N-MT. Test Module.

Supply voltage (single-phase): 230 VAC, L + N + GND.

Twenty digital signal generators:

Ten toggle switches.

Ten push-buttons.

Every output has attached a green LED.

Output voltage levels of 0 VDC and 24 VDC.

Six analog signal generators:

Six potentiometers.

Output voltage range from -10 V to +10 V.

The PAN-PLC-K2, Distributed analog inputs and outputs kit for PANASONIC PLC includes:

• N-ESA-PAN. Panasonic Analog I/O Module.

Supply voltage (single-phase): 230 VAC, L + N + GND.

Expansion unit for analog inputs:

Input voltage range from -10 V to +10 V.

Four analog inputs.

Resolution of 12 bits.

Expansion unit for analog outputs:

Output voltage range from -10 V to +10 V.

Four analog outputs.

Resolution of 12 bits.

Connector for the analog input and output signals.

Connector to the Ethernet switch module.

Cables and accessories, for normal operation.

Manuals: This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Each module may operate independently of another.

Dimensions: 405 x 300 x 300 mm approx. (15.94 x 11.81 x 11.81 inches approx.)  Weight: 6 kg approx. (13.22 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-   Study of the equivalent electrical circuit of a photodiode. Study the V-I characteristic of a photodiode.

2.-   Study of the normal operation mode of a photodiode. Study the “ON/OFF“ operation (light switch) of a phototransistor.

3.-   Measurement of light intensity using a solar cell.

4.-   Study of the properties of light dependent heating elements (LDR).

5.-   Study of the operation of IR sensors.

6.-   Using the analog inputs and outputs of the PLC to read and write analog signals.

7.-   Read the light sensor signal with the PLC.

8.-   Manual control of the actuator through the PLC.

9.-   PID control of the light intensity value through the PLC.

10.- Observe the effects of the light intensity control to changes in the PID parameters.

Optional

BS-PLC/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.