Tender Specifications (for main items)

1 CFGC. Unit:

Channel made up of group of modular parts of 2.5 m long. Each rectangular piece of different sections with transparent walls of 10 mm thick is made in such a way that guarantees a uniform section along the entire channel. All the sections are made of tempered glass, stainless steel and anodized aluminum, guaranteeing corrosion resistance. The alignment process and level testers guarantee a perfect alignment of the perfectly watertight assembled unit.

The assembly has inlet and outlet gates to carry out different experiments and safety level switches that prevent water from exceeding the maximum level.

Robust metal frame, made of welded steel, to support the assembly of sections. It allows for adjusting the tilt from -0.5 % to 2.5 %. The tilt of the channel is controlled and monitored from the computer through a displacement sensor.

Fiberglass inlet tank with draining valve and safety water level switch.

Fiberglass reception tank with draining valve and safety water level switch.

Recirculating water storage tanks. The tanks are provided with cover and drain valve on the lower part, capacity: 1200 l.

Computer controlled variable speed driving pump. The power of the pump varies in function of the channel version from 140 m³/h, 4 kW up to 480 m³/h, 12 kW. Water velocity inside the channel can be controlled from 0 m/s to the maximum flow rate supplied by the pump.

Instrumentation:

Displacement sensor to obtain the channel height position (tilt). The readout is displayed in the computer at all times.

Two differential pressure sensors for inlet flow measurement (included in CFGCTVC).

Displacement sensor (included in CFGCRM).

Differential pressure sensor (included in CFGCTP).

Available versions to choose:

- CFGC300/5. Computer Controlled Flow Channel (section: 300 x 450 mm), length: 5 m.

- CFGC300/7. Computer Controlled Flow Channel (section: 300 x 450 mm), length: 7.5 m.

- CFGC300/10. Computer Controlled Flow Channel (section: 300 x 450 mm), length: 10 m.

- CFGC300/12. Computer Controlled Flow Channel (section: 300 x 450 mm), length: 12.5 m

- CFGC310/5. Computer Controlled Flow Channel (section: 310 x 450 mm), length: 5 m.

- CFGC310/7. Computer Controlled Flow Channel (section: 310 x 450 mm), length: 7.5 m.

- CFGC310/10. Computer Controlled Flow Channel (section: 310 x 450 mm), length: 10 m.

- CFGC310/12. Computer Controlled Flow Channel (section: 310 x 450 mm), length: 12.5 m.

- CFGC400/5. Computer Controlled Flow Channel (section: 400 x 500 mm), length: 5 m.

- CFGC400/7. Computer Controlled Flow Channel (section: 400 x 500 mm), length: 7.5 m.

- CFGC400/10. Computer Controlled Flow Channel (section: 400 x 500 mm), length: 10 m.

- CFGC400/12. Computer Controlled Flow Channel (section: 400 x 500 mm), length: 12.5 m.

- CFGC600/5. Computer Controlled Flow Channel (section: 600 x 800 mm), length: 5 m.

- CFGC600/7. Computer Controlled Flow Channel (section: 600 x 800 mm), length: 7.5 m.

- CFGC600/10. Computer Controlled Flow Channel (section: 600 x 800 mm), length: 10 m.

- CFGC600/12. Computer Controlled Flow Channel (section: 600 x 800 mm), length: 12.5 m.

- CFGC1000/5. Computer Controlled Flow Channel (section: 1000 x 1100 mm), length: 5 m.

- CFGC1000/7. Computer Controlled Flow Channel (section: 1000 x 1100 mm), length: 7.5 m.

- CFGC1000/10. Computer Controlled Flow Channel (section: 1000 x 1100 mm), length: 10 m.

- CFGC1000/12. Computer Controlled Flow Channel (section: 1000 x 1100 mm), length: 12.5 m.

Note: We design any flow channel according to your specifications. Our proposal includes, for longer channels, the integration of channel expansion segments (CFGAM) and foot bridge (CFGPAS). Feel free to contact us for more information.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

National Instruments Data Acquisition board (250 KS/s, kilo samples per second).

Calibration exercises, which are included, teach the user how to calibrate a sensor and the importance of checking the accuracy of the sensors before taking measurements.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

Required elements (Not included):

- CFGCRM. Level Gauge for Water Height Measurement (Hook and Point Gauge) (to measure water level).

In many cases it is decisive in hydraulics to know the discharge depth. The ruler to measure the height is used to measure the water level in the fluids channel.

The “CFGCRM” accessory is an instrument consisting of a probe tip in contact with water and the level is measured by a displacement sensor.

Its length is enough to enable the measurement of any water level in the channel and its main elements are made of stainless steel.

The accessory is mounted on a movable support, which can be displayed along the whole fluids channel.

- CFGCTP. Pitot Tube (to measure velocity).

The Pitot tube is a device to measure the total pressure and the static pressure in a random point of the flow.

The pressure difference between the static pressure and the total pressure corresponds to the dynamic pressure from which the flow velocity and the flow rate in any point can be calculated.

The “CFGCTP” accessory is a Pitot tube mounted on a movable support that can be displaced along the whole channel, connected to a differential pressure sensor.

- CFGCTVC. Venturi Tube with Pressure Sensors for Inlet Flow Measurement (to measure the inlet flow to the channel).

This accessory is a Venturi tube located at the inlet of the channel with two pressure sensors.

A Venturi tube is a device designed to measure a fluid velocity or flow by using Venturi effect.

The Venturi effect is the pressure reduction of a fluid in motion inside a closed pipe when its velocity increases as it passes through a smaller section area.

Additional recommended elements (Not included):

- CFGPR. Adjustable Undershot Weir.

One way to regulate the flow in a channel is by using control floodgates. When the floodgate is totally closed, the flow of water is blocked, and when it is open, water flows underneath and a flow starts to circulate through the channel.

The “CFGPR” accessory consists of a PVC floodgate mounted on a frame that can be displaced along the whole fluids channel. The floodgate can be fixed at the desired height, allowing for measuring that height.

It has flexible lateral reinforcements to assure water-tightness.

*Available for CFGC/300 and CFGC/310.

- CFGPRE. Adjustable Undershot Weir with Lifting System.

One way to regulate the flow in a channel is by using control floodgates. When the floodgate is totally closed, the flow of water is blocked, and when it is open, water flows underneath and a flow starts to circulate through the channel.

The “CFGPRE” accessory consists of a metal floodgate that can be moved along the channel. It is provided with a screw to lower and raise the gate to the desired position.

It has flexible lateral reinforcements to assure water-tightness.

- CFGCVR. Vertical Flat Gate and Radial Gate.

One way to regulate the flow in a channel is by using control floodgates. When the floodgate is totally closed, the flow of water is blocked, and when it is open, water flows underneath and a flow circulating through the channel starts.

Radial floodgates are part of movable control structures and are normally used together with fixed control structures to adjust the flow according to the necessity.

The “CFGCVR” accessory consists of two floodgates, a flat vertical floodgate and a radial floodgate. The degree of inclination of the radial floodgate can be adjusted and it is mounted on a frame that can be displaced along the whole fluids channel.

They have flexible lateral reinforcements to assure water-tightness.

- CFGCDS. Adjustable Gate with Top Discharge.

One of the ways to regulate the flow rate through a channel is the use of control gates.

The “CFGCDS” accessory consists of a PVC gate that allows the gate to be fixed at the desired inclination. It has flexible lateral reinforcements that ensure watertightness.

- CFGVD. Sharp Crested Weir.

Sharp crested weirs are hydraulic weirs used, generally, to measure flow rates. They are called sharp-crested weirs because the discharge is done through a plate whose profile, regardless its shape, ends in a sharp edge.

The “CFGVD” accessory includes four PVC weirs (one triangular, two rectangular and one trapezoidal) lodged in slots designed for that purpose at the outlet of the channel, reinforced with flexible rubber, guaranteeing water-tightness.

- CFGVG. Broad Crested Weir.

Broad crested weirs have a lower discharge capacity for the same water load than sharp-crested weirs. They are most frequently used as level control structures, although they can also be calibrated and used as flow measurement structures.

The “CFGVG” accessory includes a broad-crested weir made of PVC thick enough to keep the verticality of the weir and its non-deformation and with flexible lateral reinforcements to assure water-tightness. It can be fixed to any part of the bottom of the channel. The weir can be located by one side (round edge) or the other side (straight edge).

- CFGVC. Crump Weir.

Crump weirs belong to control structures. It is a weir with triangular longitudinal profile, triangular transverse profile and smooth slopes. It is normally used as sill to reduce the flow rate and prevent erosion.

The “CFGVC” accessory includes a critical weir made of PVC; it can be fixed to any part of the bottom of the channel and has flexible lateral reinforcements to assure water-tightness. It has defined slopes upstream and downstream.

- CFGPV. Weirs.

Ogee-shaped weirs are fixed weirs and belong to control structures. They are normally used to divert flows and create pools in a river.

The “CFGPV” accessory includes three Ogee-shaped weirs with different discharge slopes.

They are made of PVC and can be fixed to any part of the bottom of the channel. They also have flexible lateral reinforcements to assure water-tightness.

- CFGPVO. Ogee Profile Spillway Dams.

Ogee-shaped weirs are fixed weirs and belong to control structures. They are normally used to divert flows and create pools in a river.

The “CFGPVO” accessory has an Ogee-shaped weir to which different discharge slopes can be incorporated.

They are made of PVC and can be fixed to any part of the bottom of the channel. They also have flexible lateral reinforcements to assure water-tightness.

- CFGPVO1. Outlet 1 of Ogee Profile Weir.

Ogee-shaped weirs are fixed weirs and belong to control structures. They are normally used to divert flows and create pools in a river.

The “CFGPVO1” accessory is a type of outlet to be incorporated into the spillway weir.

- CFGPVO2. Outlet 2 of Ogee Profile Weir.

Ogee-shaped weirs are fixed weirs and belong to control structures. They are normally used to divert flows and create pools in a river.

The “CFGPVO2” accessory is a type of outlet to be incorporated into the spillway weir.

- CFGPVO3. Outlet 3 of Ogee Profile Weir.

Ogee-shaped weirs are fixed weirs and belong to control structures. They are normally used to divert flows and create pools in a river.

The “CFGPVO3” accessory is a type of outlet to be incorporated into the spillway weir.

- CFGVOTP. Ogee Type Weir with Pressure Measurement.

Ogee-shaped weirs are fixed weirs and belong to control structures. They are normally used to divert flows and create pools in a river.

The back of the weir is normally made to facilitate the flow, having thus the largest discharge possible.

The “CFGVOTP” accessory includes an Ogee-shaped weir with eight pressure tappings perpendicular to the surface. This way, pressure distribution along the back of the weir can be studied. It has tube manometers to measure pressure.

It can be fixed to any part of the bottom of the channel. It also has flexible lateral reinforcements to assure water-tightness.

- CFGSDL. Syphon Spillway.

One way to regulate the water level in a channel is by using syphons.

Syphon weirs are part of fixed weirs. They are installed as spillways in reservoirs and have a high specific discharge capacity.

When the level exceeds a specific height water flows through the syphon, being the upstream level regulated.

The syphon spillway designed by EDIBON can be fixed to any part of the bottom of the channel and is made of PMMA to visualize flow lines. It has flexible lateral reinforcements to assure watertightness.

- CFGSDS. Air Regulated Syphon.

One way to regulate the water level in a channel is by using syphons.

Syphon weirs are part of fixed weirs. They are installed as spillways in reservoirs and have a high specific discharge capacity.

When the level exceeds a specific height water flows through the syphon, being the upstream level regulated.

The self-regulating syphon designed by EDIBON can be fixed to any part of the bottom of the channel and is made of PMMA to visualize flow lines. It has flexible lateral reinforcements to assure water-tightness.

- CFGMDE. Energy Dissipation Accessories.

The flow acquires kinetic energy during its descent. One of the aspects that generally deserves special attention when designing hydraulic works is to dissipate that energy. This situation arises in surplus weirs, waterfall structures, culvert outlets, etc.

Kinetic energy dissipation is achieved by applying different measures: generation of hydraulic jump, impact or roughness increase. The energy dissipating structure is an important part of the surplus work, whose objective is to dissipate the kinetic energy acquired by water when falling from

the duct to an appropriate place at the bottom of the bed, where it does not generate erosion or scour problems.

The “CFGMDE” accessory includes several energy dissipation elements, such as two jagged sills with five rectangular teeth, a jagged sill with five triangular teeth, two outlet sills with different heights and one block. They can be fixed to any part of the channel either in a combined or individual way.

- CFGRA. Rake.

Rakes are used in the primary stages of treatment plants to stop thick dirt that might damage the system.

The “CFGRA” rake prevents dirt from being introduced in the system. It includes different bar profiles so the tilt angle can be adjusted.

- CFGMU. Model of Sill.

Sills are normally used to smooth the drops of a channel and prevent erosion. Sills cause a constriction of the flow cross-section.

The “CFGMU” accessory includes a sill made of PVC, which can be fixed to any part of the bottom of the channel and has flexible lateral reinforcements to assure water-tightness.

- CFGMA. Models of Culvert.

Culverts belong to crossing structures and enable the passage of water. They can be a sewer, syphon, aqueduct, bridge, etc.

The “CFGMA” accessory consists of a crossing structure formed by a circular section hollow channel and a rectangular cross-section channel, which allow for observing the hydraulic jumps in culverts.

They can be fixed to any part of the bottom of the channel and have flexible lateral reinforcements to assure water-tightness.

- CFGCA. Culvert Fitting.

Culverts belong to crossing structures and enable the passage of water. They can be a sewer, syphon, aqueduct, bridge, etc.

The “CFGCA” accessory is made of PVC and represents the connection of the channel to the culvert, allowing the regulation of its height.

It can be fixed to any part of the channel and has flexible lateral reinforcements to assure watertightness.

- CFGPCG. Rotatory Short Piers.

Piers in a channel are obstacles that reduce the flow cross-section. This way, a pool can be created in the water before the obstacles.

The “CFGPCG” accessory includes several bridge piers of different profile and a device to fix the pier to the test channel and rotate the pier, measuring the angle between the end of the pier and the flow, to study the influence of the angle of attack.

Different profiles are included: rectangular, square, circular, rounded on one end, rounded on both ends, tapered on one end and tapered on both ends.

- CFGP. Long Piers.

Accessory with two removable transparent long piers to study the effect of flow between piers with or without sediments.

They are made of PMMA and can be fixed to any part of the channel.

- CFGPLR. Artificial Roughened Bed.

The flow behavior in a river depends particularly on slopes and the roughness of the base of the channel.

The “CFGPLR” accessory consists of PVC plates with different elements (three different sizes) that allow for simulating in the fluids channel a riverbed of three different slopes. They can be fixed to any part of the bottom of the channel.

- CFGFS. False Floor Sections.

The flow behavior in a river depends particularly on slopes and the roughness of the base of the channel.

The “CFGFS” accessory consists of PVC plates with different material of different roughness that allow for simulating in the fluids channel a riverbed of three different roughness. They can be fixed to any part of the bottom of the channel.

- CFGVEN. Venturi Flume.

In the same way that the Venturi meter in tubes is used to measure the flow in closed flows, the Venturi flume is used to measure the flow in open channels.

It is made of a transparent material that enables to visualize the flow inside.

It can be fixed to any part of the bottom of the channel and has flexible lateral reinforcements to assure water-tightness.

- CFGMP. Parshall Meter.

One of the most common methods to know the discharge of a channel is the use of gauge flumes.

The Parshall meter is a device designed to measure flow rates in channels or rivers.

It has particular elevations so the current concentrates in three sides.

It can be fixed to any part of the bottom of the channel and has flexible lateral reinforcements to assure water-tightness.

- CFGMT. Trapezoidal Meter.

One of the most common methods to know the discharge of a channel is the use of gauge flumes.

The trapezoidal meter is a device designed to measure flow rates in channels or rivers.

It has particular elevations so the current concentrates in three sides.

The section of the channel is trapezoidal and has smooth walls.

It can be adjusted to natural channel sections and fixed to any part of the bottom of the channel.

It also has flexible lateral reinforcements to assure water-tightness.

- CFGCGO. Computer Controlled Wave Generator.

The “CFGCGO” accessory enables to generate waves with a displacement plate that develops a rotating motion.

The plate is made of PVC and is driven by an electric motor with variable frequency drive. It enables the user to vary the frequency and amplitude of the waves through a computer.

It is located on a frame made of aluminum profiles that enables to place it in any part of the channel.

The Computer Controlled Wave Generator, “CFGCGO”, can be adjusted, thereby altering the frequency and height of the waves generated by the paddle. This adjustment allows for the regulation of wave height as needed.

- CFGCGOA. Random Wave Generator.

The “CFGCGOA” accessory enables to generate waves with a displacement plate that develops a rotating motion.

The plate is made of PVC and is driven by an electric motor with variable frequency drive. It enables the user to vary the frequency and amplitude of the waves through a computer.

It is located on a frame made of aluminum profiles that enables to place it in any part of the channel.

The Random Wave Generator, “CFGCGOA”, can adjust the motor rotation frequency, thereby altering the frequency and height of the waves generated by the paddle. This adjustment allows for the regulation of wave height as needed.

- CFGMPL.  Models of Beaches for Channel.

The “CFGMPL” accessory represents different models of beaches that enable to study the breakers in different beaches. A wave generator is required to use this accessory.

It includes models of beaches, such as a smooth beach, a rough beach and a permeable beach.

It enables to regulate the slope of the beaches to study the breakers with different conditions. They are made of PVC and have flexible lateral reinforcements to assure water-tightness.

- CFGPVI. Set of Vibrating Piles.

Drilling platforms, such as oil platforms, normally stand on piles in the water.

Circulating water exerts forces on the part of the piles immersed in the water and causes vibrations.

Karman vortexes can be generated in the flow around a pile. The separation of those vortexes makes the flow direction to be modified.

The “CFGPVI” accessory allows to observe vibrating piles formed by rods of different diameter with weights added.

- CFGSRS. Sediment Recirculation System.

The sediment recirculation system consists of a pipe system with pump to impel water with sediments from the sediment trap to the sediment feeder.

The pump is located in the discharge tank of the channel inside a mesh basket that allows the flow of fluids but retains the sediments.

Recirculation is done through pipes with a flow regulation valve to vary the flow of sediments.

The sediment feeder “CFGAS” and the sediment trap “CFGTS” are required to use this accessory.

- CFGAS. Sediment Feeder.

The “CFGAS” accessory transports and measures out sediments of different grain size.

It consists of a vibrating hopper of 50 l and an arm that enables to distribute the sediments in the channel uniformly at a transport rate of 0.5 m³/h. It is mounted on a rail to facilitate its motion along the whole channel.

This accessory requires the sediment trap “CFGTS” and the sediment recirculation system “CFGSRS”.

- CFGTS. Sediment Trap.

Flows in rivers, channels and coastal zones are normally accompanied by sediment transport. In this case, the transport of sediments dragged by the current plays an important role, since solid matter moves in the base of the waters.

The “CFGTS” accessory consists of a fine mesh located under the water outlet device, thus clean water flows to the tank. This way the sediments do not go to the pump or to the flowmeter, preventing them from blocking.

This accessory requires the sediment feeder “CFGAS” and the sediment recirculation system “CFGSRS”.

- CFGRMD. Digital Water Level Indicator.

In many cases it is decisive in hydraulics to know the discharge depth. The ruler to measure the height is used to measure the water level in the fluids channel.

The “CFGRMD” accessory is an instrument formed by a probe tip in contact with water and the level is directly read in a display.

Its length is enough to enable the measurement of any water level in the channel and its main elements are made of stainless steel.

The accessory is mounted on a movable support, which can be displayed along the whole fluids channel.

- CFGMV. Velocity Meter.

The “CFGMV” accessory consists of a flow velocity meter. The device consists of a wheel with blades, which rotates proportionally to the flow velocity, read in a display.

The accessory can be displaced up and down the length and width of the fluids channel.

- CFGCAU. Flowmeter.

The “CFGCAU” accessory consists of an electromagnetic flowmeter located at the inlet of the channel allowing to know the working flow rate.

- CFGCUS. Ultrasonic Level Gauge.

The “CFGCUS” accessory consists of an ultrasonic level meter which helps to level the channel.

- CFGSMI. Movable Instruments Support.

Support for measurement accessories, such as the Pitot tube (CFGCTP) or the level gauge for water height (CFGCRM).

Thanks to some guides, this support allows for displacing the meter along the channel.

It includes graduated lines to determine the exact position of the meter.

- CFGPM. Gauge Panel (20 tubes).

Pressure gauge panel for pressure measurement.

- CFGTAA. Additional Water Tank.

Additional water tank of 1200 l capacity.

- CFGPAS. Metallic Footbridge.

This accessory is an elevated platform to facilitate the access to the channel in order to work with it.

- CFG10SP-KIT. Kit for Pressure Measurement along the Channel.

The kit for pressure measurement along the channel consists of ten measurement intakes with height indicating tube distributed along the channel.

It enables to represent the pressure height in function of flow.

- CFGC10SP. Ten Pressure Sensors Module.

Console with ten pressure sensors where different accessories of the channel are connected. It will send the measurements to the computer through the electronic interface. This allows for obtaining and analyzing different pressure distributions in the elements under study.

- CFGBAE. Scale, drag and lift.

The objective of the “CFGBAE” model is to calculate the forces generated by water on various bodies, such as a cube, a cylinder or two discs of different diameter. Three force sensors are included.

- CFGZG. “Zagni” Flow Monitoring Model.

The “Zagni” Flow Monitoring Model consists of a manometer board and a Pitot tube for the study of pressure distribution and flow velocity.

- APIV/30. PIV 2D Flow Visualization for Speeds up to 30 m/s and 100X100mm Area.

The “APIV/30” model uses the particle image velocimetry technique to measure the flow velocity in many points. A laser light sheet projector, a camera system and processing software are included.

Required elements (Not included):

- CFGSMPIV.  APIV/30 Instrument Holder.

- CFGCVPIV. APIV/30 Glass Cut.

2 CFGC/CIB. Control Interface Box:

The Control Interface Box is part of the SCADA system.

Control interface box with process diagram in the front panel.

The unit control elements are permanently computer controlled.

Simultaneous visualization in the computer of all parameters involved in the process.

Calibration of all sensors involved in the process.

Real time curves representation about system responses.

All the actuators’ values can be changed at any time from the keyboard allowing the analysis about curves and responses of the whole process.

Shield and filtered signals to avoid external interferences.

Real time computer control with flexibility of modifications from the computer keyboard of the parameters, at any moment during the process.

Real time computer control for parameters involved in the process simultaneously.

Open control allowing modifications, at any moment and in real time, of parameters involved in the process simultaneously.

Three safety levels, one mechanical in the unit, another electronic in the control interface and the third one in the control software.

3 DAB. Data Acquisition Board:

The Data Acquisition board is part of the SCADA system.

PCI Express Data acquisition board (National Instruments) to be placed in a computer slot.

Analog input: Channels= 16 single-ended or 8 differential. Resolution=16 bits, 1 in 65536. Sampling rate up to: 250 KS/s (kilo samples per second).

Analog output: Channels=2. Resolution=16 bits, 1 in 65536.

Digital Input/Output: Channels=24 inputs/outputs.

The Data Acquisition board model may change at any moment, providing the same or better features than those required for the unit.

4 CFGC/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

5 Cables and Accessories, for normal operation.

6 Manuals:

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

*References 1 to 6 are the main items: CFGC + CFGC/CIB + DAB + CFGC/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.-  Measurement of water level and speed along the channel.

2.-  Flow rate measurement using sharp-crested weirs.

3.-  Flow rate measurement through changes in the channel section.

4.-  Flow rate measurement using Venturi flume.

5.-  Flow rate control using gates.

6.-  Level control using syphons.

7.-  Flow over overflow weirs.

8.-  Flow between the piers of a bridge.

9.-  Connection of a channel to a culvert.

10.-Characterization of the hydraulic jump.

11.-Profiles of the water free surface.

12.-Manning coefficient calculation for channels with sedimentation.

13.-Comparison of the discharge coefficient in gates with or without sedimentation.

14.-Simulation of the effect of the piers of a bridge in a channel with sediments.

15.-Study of turbulences using ink.

16.-Visualization of the transitions of the sediments on the bed when abrupt discharges are generated.

17.-Dependence of the sediments shape on the flow rate variation.

18.-Study of the sediments transport and settling mechanisms.

Additional practical possibilities:

19.-Investigation of currents and torrential floods states.

20.-Water levels measurement.

21.-Discharge process in a submergible spillway.

22.-Pressure drop in open channels.

23.-Operation and study of a syphon.

24.-Flow and discharge coefficient of a syphon.

25.-Flow in pipes.

26.-Comparison between overflow and syphon.

27.-Study of the amplitude of the hydraulic jump.

28.-Generation of different flow states using an underwater dam.

29.-Study of the discharge processes under an adjustable weir:

- Study of alternating changes during the discharge.

30.-Relationship between backwater level and discharge level.

31.-Study of discharge under a radial gate:

- Study of alternating changes during the discharge.

32.-Hydrostatic pressure on a weir.

33.-Study of waves.

34.-Behaviour of structures under swell conditions (in rough sea).

35.-Application and understanding of Manning formula.

36.-Study of subcritical and supercritical flows.

37.-Learning how to apply the force, momentum and energy equations in typical situations.

38.-Study of the transition from flowing current to accelerated current.

39.-Calculation of the water flow.

40.-Use of the limnimeter.

Other possibilities to be done with this Unit:

41.-Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

42.-Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

43.-The Computer Control System with SCADA allows a real industrial simulation.

44.-This unit is totally safe as uses mechanical, electrical and electronic, and software safety devices.

45.-This unit can be used for doing applied research.

46.-This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

47.-Control of the CFGC unit process through the control interface box without the computer.

48.-Visualization of all the sensors values used in the CFGC unit process.

- By using PLC-PI additional 19 more exercises can be done.

- Several other exercises can be done and designed by the user.

Additional practical possibilities with the expansions:

ESN. EDIBON Scada-Net:

49.-Control any unit from any post located in the laboratory.

50.-Supervise different experiments about data acquisition and representation, from the units, in real time.

51.-Visualize any experiment from any laboratory post.

52-Supervise as many experiments as desired, performed in different units at the same time.

53.-Generate reports with the results obtained with the units.

54.-Perform different experiments at the same time.

55.-Show to the laboratory members the appropriate manual or automatic operations to perform with each laboratory unit.

56.-Create more elaborate practical exercises using more than one unit from the laboratory.

57.-Suggest multidisciplinary experiments, in other words, mix in the same experiment units from different study fields.

58.-Modify any parameter of any unit included in the system from any workstation in the laboratory.

59.-Cause an abnormal functioning in a unit for the students to practice fault finding exercises.

60.-Assess the knowledge of a student or group of students about a particular unit (any unit included in the “ESN” system).

61.-Develop guided practical exercises for a better understanding of each unit.

62.-Individual training practical exercises.

63.-Group exams or practical exercises.

64.-Perform interactive exercises (using the chat between manager-users).

65.-Exchange of obtained results among the members of the “ESN” system.

66.-Any exercise directly related to the SCADA software of each unit.

67.-Some of the practical possibilities may be done only with the “ESN” complete system.

ICAI. Interactive Computer Aided Instruction Software System:

68.-Carrying out practices from the first day. EDIBON provides a huge variety of default contents and pre-programmed tasks available for your use from the first session.

* Ask us for information about the practices you could perform with each of our units.

69.-The material provided can be updated and extended periodically.

70.-Automatic evaluation of all tests.

ECR. EDIBON Industrial Modular System with NI CompactRIO:

71.-Any practical exercise related to EDIBON units.

72.-Practical exercises related to embedded control and monitoring (Edge monitoring).

73.-Practical exercises related to synchronized and deterministic communications.

74.-Practical exercises related to customizable hardware (user-programmable FPGA, “Hardware in the loop”).

75.-Practical exercises related to real-time control and measurement (PID and other control strategies, “Adaptative Control”).

76.-Practical exercises related to industrial communications (EtherCAT, Ethernet/IP, Modbus, PROFIBUS, etc.)

77.-Practical exercises related to high performance processing.

78.-Practical exercises related to acquisition and analysis of signals.

79.-Practical exercises related to vision and control algorithms.

80.-Practical exercises related to sensors calibration.

81.-Practical exercises related to preventive maintenance.

82.-Practical exercises related to machine learning.

83.-Practical exercises related to digital twin.

ELK. EDIBON Software Development KIT, Powered by NI LabVIEW™:

84.-Basic practical exercises to get started with LabVIEWTM and build simple applications.

85.-Basic practical exercises to get started with EDIBON TECHNICAL TEACHING UNITS.

86.-Specific applications intended for the study of several engineering areas, such as Fluid Mechanics, Thermodynamics, Process Control, Chemical Engineering, Power Systems, Renewable Energies, etc.

87.-Numerical and calculation practical exercises to perform complex mathematical operations, create and edit your own formulas and to obtain characteristic process parameters and variables.

88.-Data acquisition practical exercises to develop your custom supervision and control applications as well as to adjust its main parameters, such as sampling frequency, amount of data, number of signals to manage and more.

89.-Sensor calibration practical exercises to properly scale measurements using engineering units. Possibility of applying new calibration methods for any sensor.

90.-Signal processing practical exercises. Possibility of implementing your custom signal processing algorithms.

91.-Signal filtering practical exercises to study transients, refine data and remove unwanted components, such as noise.

92.-Signal plotting practical exercises to implement different graphical representations of the acquired signals, calculations and process variables in order to observe trends, patterns and variations in real time.

93.-Automatic control practical exercises to implement open/closed loop control algorithms reaching a higher level in the unit operation and automation. Examples: PID, ON/OFF Control, PWM, etc.

94.-DSC (Datalogging and Supervisory Control) practical exercises to log, view and manage historical data as well as to customize your own alarms & data reports.

95.-Fault simulation practical exercises to reproduce hardware breakdowns and their symptoms in a safe way, without any real damage. Additionally, possibility of incorporating your custom simulated faults.

96.-Hardware security elements management practical exercises to incorporate and supervise additional protections for EDIBON TECHNICAL TEACHING UNITS.

97.-User interface design practical exercises to customize the general appearance and layout of your own application.

PLC. PLC Industrial Process Control:

98.-Sample program to use Variables, Timers and Counters.

99.-Sample program to program in different languages: ST (Structured Text), LD (Ladder Diagram) and SFC (Sequential Function Chart).

100.-Sample program to use Digital Inputs/Outputs.

101.-Sample program to use Analog Inputs/Outputs.

102.-Sample program to program an HMI.

103.-Sample program for Data Sensor Acquisition.

104.-Sample program for Data Sensor Calibration.

105.-Sample program for Manual Control of a Process (analog).

106.-Sample program for Manual Control of a Process (digital).

107.-Sample program for PID Control of a Process.

108.-Sample program for ON-OFF Control of a Process.

109.-Sample program for a Generic Process Controller.

Tender Specifications (for optional items)

7 ESN. EDIBON Scada-Net Systems:

The EDIBON Scada-Net Systems, “ESN”, consists on the integration of EDIBON computer controlled units into the SCADA system in a local network.

The main feature of this system is the remote control of any EDIBON unit belonging to it from any control station included in the local network. In addition, any of these units can be visualized from any workstation.

Consequently, the efficiency of a laboratory with the “ESN” system is higher than the efficiency of a conventional laboratory.

-Higher laboratory performance since several students can work simultaneously.

-Several users can operate various units at the same time.

-Possibility of dividing the classroom into workgroups.

-Several experiments can be performed at the same time.

-Collaborative experiments performance.

-There are different user levels (manager, basic, intermediate and advanced) with different permissions.

-The manager has the absolute control of the system.

-The manager/teacher can supervise from his/her computer the operations every user is performing in any unit of the laboratory.

-Users and manager are connected at all times.

-Real time display and control of the whole system from an interactive whiteboard (touchscreen).

-CENTRALIZED AND SECURE SYSTEM, it can be totally controlled from the central computer (manager).

-The “ESN” System is MODULAR, OPEN and EXPANDIBLE.

-A vision system for real time monitoring of experiments is supplied.

-Visualization of the changes in a unit from any computer of the laboratory.

-All units can work simultaneously.

-The system is made up of as many units as required.

-The required infrastructure, both hardware and software is provided.

8 ICAI. Interactive Computer Aided Instruction Software System.

The Interactive Computer Aided Instruction Software, “ICAI”, is a software to HELP the teacher and the student to carry out the practices incorporating all the novelties included in each of the three system packages.

The Interactive Computer Aided Instruction Software, “ICAI”, incorporates distance learning into the curriculum in response to one of the instructor’s main tasks, providing the students the right tools to learn by themselves in the most efficient and painless way.

The Interactive Computer Aided Instruction Software, “ICAI”, helps both the teacher and the students.

It helps the teachers by:

Scheduling their classes and tasks easily.

Checking in real time what any student is doing and enabling the instructors to teach faster and more efficiently.

Supervising the students understanding progress and level, questions and answers as well as the whole class evolution.

Ensuring more individual attention.

Adapting the learning patterns.

Reducing the preparation time for lessons.

Teaching easily.

It helps the students by:

Enabling them to understand the operation of any EDIBON Teaching Unit and the principles involved easily. This software can be used for all manual computer controlled EDIBON SCADA units.

Providing them modern tools so that they are able to get clear ideas and quick understanding.

Saving time.

9 ECR. EDIBON Industrial Modular System with NI CompactRIO.

EDIBON Industrial Modular System with NI CompactRIO contains three components: a real time controller, a reconfigurable field-programmable gate array (FPGA) an industrial I/O modules.

The real-time controller contains an industrial processor that reliably and deterministically executes LabVIEW Real-Time applications and offers multiplate sampling control, execution tracing, integrated data logging, and communication with peripherals.

The reconfigurable FPGA inside the chassis is the center of the embedded system architecture. The reconfigurable I/O (RIO) modules of the FPGA are directly connected to the I/O modules for high-performance access to the I/O circuits of each module and unlimited timing and triggering and flexible synchronization.

I/O modules include insulation, conversion circuits, signal conditioning and built-in connectivity for direct connection to industrial sensors/ actuators.

With EDIBON Software Development KIT, users can get started in the fields of instruments and hardware control and programming. Researchers can work without limits with any value and parameter, control the data acquisition and its subsequent processing and change the control algorithms.

The readings of sensors and calculated values can be viewed in real time and the hardware elements, such as valves, pumps, turbines, etc., can be controlled.

Also a ICAI and ELK licenses are included free of charge.

10 ELK. EDIBON Software Development KIT, Powered by NI LabVIEW™.

EDIBON Software Development KIT, Powered by NI LabVIEW™, “ELK”, is a software package, designed by EDIBON engineers, based on National Instruments LabVIEWTM environment, offered as an optional item for some EDIBON ENGINEERING TEACHING UNITS.

It is a set of instructions and programs (VIs) addressed to users who need to get started in the fields of programming and instruments and hardware control.

LabVIEWTM is a development environment specifically designed by EDIBON, for engineers and scientists who want to visualize, create and code engineering systems. It is based on a graphical programming language that uses a dataflow model instead of sequential lines of text, allowing the user to write functional code using a visual layout that resembles the process to be developed.

EDIBON ENGINEERING TEACHING UNITS is a powerful learning tool that combined with LabVIEWTM development environment allows users to acquire and control processes, measure variables, display sensors and actuators graphically, etc. from currently used real and authentic hardware, apart from studying common processes and industrial systems.

Additionally, every ENGINEERING TEACHING UNITS is supplied by EDIBON with SCADA control application. Thus, the user can carry out practical exercises, check acquisitions and signals status, compare collected data, develop potential applications, etc.

Also the ICAI expansion is included.

11 PLC. PLC Industrial Process Control.

The PLC expansion is a PLC-based system designed to work in conjunction with other units from EDIBON. These units can be controlled by the PLC expansion to obtain a required function.

The objective is to learn how PLCs are integrated in real industrial applications. The unit includes an industrial PLC, a HMI to expand the I/O functionality of the PLC system and different I/O modules such as a digital I/O module to acquire binary signals and control two-state actuators, an analog I/O to acquire analog signals (sensors, transducers and other analog signal sources) and control analog actuators (valves, pumps, etc.) and a communication module to communicate with a PC via USB.

12 PLCHMI. IIoT local/remote Control and Monitoring with HMI.

The expansion for PLC and HMI, “PLCHMI”, is a system composed of an interface that includes PLC modules such as CPU, digital I/O module, analog I/O module, communications module, etc. and a control box with HMI display (required elements (at least one): “PLCHMI-TS”, “PLCHMI-TS15” and/or “PLCHMI-TS21”).

The PLC interface is the module that contains the PLC controller, different analog and digital I/O modules and the necessary communication modules to communicate with different devices such as HMI, PC, tablet, etc. To communicate with the HMI and/or a PC, the unit has two Ethernet ports. There is also a SCSI connector to connect the PLC interface with unit that carries out process control. In addition, the PLC interface could be provided with any other connector or

communication port (USB, DB-9 or DB-25 serial connector, etc.) to establish a communication between the expansion and the process control unit.

The HMI control box contains a touch panel (required elements (at least one): “PLCHMI-TS”, “PLCHMI-TS15” and/or “PLCHMI-TS21”) to monitor and control the process control unit. By means of the HMI screen the variables and results of the process can be visualized graphically as well as to control the different actuators. Communication with the control interface is via Ethernet.

13 ECL. EDIBON Cloud Learning.

EDIBON Cloud Learning expansion, “ECL”, is a solution designed to control EDIBON Technology based laboratories remotely in a simple and easy way.

EDIBON Cloud Learning, “ECL”, is divided in two platforms:

Users Online Platform:

The main advantages of the Users Online Platform are:

The administrators have full control over their laboratories thanks to the powerful class-administrator tool that allows the users management, logs visualization and progression monitoring. It also enables to assign users permissions to let them control EDIBON units or just display them. Furthermore, the administrator can upload and download measurements, data and multimedia resources.

The users can learn interactively in a flexible environment as if they were in the laboratory, accessing through the Remote App to work with EDIBON units. Several users can work with one unit or one user with several units. The users can also upload and download measurements, data and graphs, multimedia resources and reports.

Remote App Platform:

Thanks to the Remote App Platform, the users can control EDIBON units and EDIBON SCADA software as if they were in the laboratory and share their expertise with the users community.