TENDER SPECIFICATIONS

Hardware support and power supply.

Modules supporting unit.

DC Fixed outputs: + 5 V, + 12 V, -12 V.

DC Variable outputs: ± 12 V.

AC Outputs: 12 V or 24 V.

Outputs through either 2 mm contact terminals, or through 25 pins Sub-D connector.

Voltage LED indicators.

Robust construction.

Power: 110/220 VAC.

Frequency: 50/60 Hz.

Dimensions: 410 x 298 x 107 mm approx.  (16.14 x 11.73 x 4.21 inches approx.). Weight: 2 kg approx.  (4.4 pounds approx.)