TENDER SPECIFICATIONS

Stainless steel frame and painted steel panels.

The unit includes wheels for easy mobility.

Main metallic elements made of stainless steel.

Diagram on the front panel with similar distribution to that of the elements in the real unit.

Circulation hose in specific polymer for fuels.

Cellulose filter with ten micron pore size.

Purification compartment with ion exchange resin.

Single-phase pump specific for diesel fuels:

Stainless steel interior.

Seals in polymer resistant to chemicals and fuels.

Max. flow rate: 80 l/min.

Max. discharge height: 25 m.

Reactor tank:

Truncated cone-shaped vessel made of AISI 304 stainless steel.

Lower outlet for decanting.

Intermediate outlet to obtain biodiesel without previous decantation.

Capacity: 120 l.

Incorporates:

3 kW electric heating resistance.

Two level switches made of stainless steel.

“J” type temperature sensor.

Level sight glass made of stainless steel and glass, incorporates sampling valve.

Mixing tank:

Truncated cone-shaped vessel made of AISI 304 stainless steel.

Lower outlet for decanting.

Capacity: 40 l.

Oil tank:

Fuel resistant high density polyethylene container.

Capacity: 250 l.

Incorporates:

Lid to prevent the deposition of dust and other impurities.

Removable mesh filter for solid particles.

Manual shut-off valve.

Drain valve.

Graduated volumetric scale up to 250 l.

Methylate tank:

Chemical resistant high density polyethylene container.

Capacity: 25 l.

Incorporates:

Lower tap for sampling.

Graduated volumetric scale up to 25 l.

Glycerin tank:

Container made of high density polyethylene resistant to fuels.

Capacity: 60 l.

Incorporates:

Lower tap for sampling.

Graduated volumetric scale up to 60 l.

Biodiesel tank:

Container made of high density polyethylene resistant to fuels.

Capacity: 250 l.

Incorporates:

Lid to prevent the deposition of dust and other impurities.

Removable mesh filter for solid particles.

Manual shut-off valve.

Drain valve.

Graduated volumetric scale up to 250 l.

Instrumentation:

Load cell for measuring the mass of glycerin and biodiesel obtained; range: 0 - 300 kg.

pH sensor for the study of the quality of the biodiesel obtained; range: 0 - 14 pH.

Manometer.

Titration kit:

Bottle suitable for methanol.

Titrant bottle.

Four 7 ml droppers.

Three 250 ml glass beakers.

Pipette with hand pump 10 ml.

Plastic wash bottle 500 ml.

Electronic console:

Metallic box.

Temperature sensor connection.

Digital display for the temperature sensor.

Heating element switch and control.

Switch and regulator for the pump (0 - 100%).

Main switch.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Unit: - Dimensions: 2500 x 2500 x 1600 mm approx. (98,42 x 98,42 x 62,99 inches approx.) - Weight: 200 Kg approx. (440 pounds approx.)

Electronic console: - Dimensions: 490 x 330 x 310 mm approx. (19.29 x 13 x 12.20 inches approx.) - Weight: 10 Kg approx. (22 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study and performance of tests to determine the appropriate amount of catalyst to be used in the biodiesel generation process (titration).

2.- Familiarization with the operation of a biodiesel production unit during the products reaction, extraction and washing process.

3.- Study of the agitation and mixing level influence on the final quality of the obtained biodiesel.

4.- Study of the washing and purifying stage influence on the final quality of the obtained biodiesel.

5.- Study of the influence of temperature during the vegetable oils preheating and reaction stage on the final quality of the obtained biodiesel.

6.- Analysis and tests to determine the biodiesel quality.

Additional practical possibilities:

7.- Study of vegetable oils transesterification with an alcohol to produce biodiesel.

Optional

EBDB/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.