TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Two packed anaerobic digesters of 5  l. Reactors packing: 25 mm diameter bactoballs.

Two heating blankets of 120 W with a thermostat and a temperature probe to control the heating temperature. Temperature range: 0 – 90 °C.

Four peristaltic pumps.

Feeding flows measurement by the pumps calibration.

Two volumetric tanks for the storage and volume measurement of the generated biogas.

Buffer vessel, of 1  l  of capacity.

Two glass vessels, of 1  l  of capacity, for the acid and the base.

Methane sensor to measure its concentration in the generated biogas, 0 – 100 %.

Two pH meters, range: 0 – 14.

Two “J” type temperature sensors.

Electronic console:

Metallic box.

Temperature sensors connections.

Digital display for the temperature sensors.

Selector for the temperature sensors.

Methane sensor connection.

Digital display for the methane sensor.

Pumps switches.

Pumps controllers.

Heating blankets switches.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Unit: - Dimensions: 1000 x 800 x 1000 mm approx. (39.37 x 31.49 x 39.37 inches approx.) - Weight: 70 Kg approx. (154.32 pounds approx.)

Electronic console: - Dimensions: 490 x 330 x 310 mm approx.(19.29 x 13 x 12.20 inches approx.) - Weight: 10 Kg approx. (22 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of the stabilization process.

2.- Study of the effect of temperature in the anaerobic digestion, purification and quality of the obtained biogas.

3.- Study of the pH effect of the feeding waste water in the anaerobic digestion, purification and quality of the obtained biogas.

4.- Study of the influence of the feeding rate in the anaerobic digestion, purification and quality of the obtained biogas.

5.- Study of the influence of the type of the feeding waste water in the anaerobic digestion, purification and quality of the obtained biogas.

6.- Study of the  concentration of nutrients influence of the feeding waste water in the anaerobic digestion, purification and quality of the obtained biogas.

7.- Study of the hydraulic load effect in the anaerobic digestion, purification and quality of the obtained biogas.

8.- Study of the inhibitors influence in the anaerobic digestion, purification and quality of the obtained biogas.

9.- Comparison between the mesophilic and thermophilic anaerobic digestion and their influence in the biogas obtention.

10.- Determination of the optimum operation temperature.

11.- Determination of the optimum feeding rate.

12.- Determination of the optimum solids/water relation.

13.- Determination of the optimum degradable/non degradable solids relation.

14.- Determination of the multistage nature in the anaerobic digestion.

15.- Determination of the kinetics.

16.- Carbon balance.

17.- Solids balance.

18.- Biogas balance.

Optional

EBGB/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.