EDIBON

Edition:ED01/24
Date:June/2024
EC6B
PEM FUEL CELL ADVANCED UNIT

TENDER SPECIFICATIONS
Bench-top unit.

Anodized aluminum frame and panels made of painted steel. 

Main metallic elements made of stainless steel. 

Diagram in the front panel with distribution of the elements similar to the real one.

Pressure regulator for the hydrogen inlet at the PEM fuel cell, range: 0 – 1 bar.

Pressure regulator for the H2 bottle. Inlet at 200 bar and outlet at 5 – 50 bar.

Solenoid valve to supply H2.

Purge solenoid valve.

Suitable tubes and hoses for use with H2 with a high safety factor: up to 210 bar.

Load module: Rheostat (22 R – 760 W) + four wirewound resistors (10 R – 300 W).

Battery and charger (12 V).

Fuel cell stack:

    72 cells self – humidifying (do not require any type of external humidification).

    Rated power: 1000 W.

    Integrated fan in the stack

Instrumentation:

   Flow meter to measure the inlet H2 flow to the stack.

   Pressure meter (manometer) to measure the H2 pressure at the stack inlet. 

   Temperature sensor type “J” to measure the temperature of the purge stream.

   Temperature sensor type “J” to measure and control the temperature in the stack.

   Current and voltage sensors.

Safety measures and protections:

   Failure protection with solenoid valve at the stack inlet.

   Over current shut down.

   Low voltage shut down.

   Over temperature shut down in the stack. 

   Hydrogen leakage detector (4 – 20 mA; IP65).

Electronic console:

    Metallic box.

    Temperature sensors connectors.

    Selector for the temperature sensors.

    Digital display for the temperature sensors.

    Voltage digital display and current digital display.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals. 

Requires at least one bottle and one electrolyzer (Not included):  

    - EDILAB-HSB/300. 300 NL Hydride Storage Bottle. 

    - EDILAB-HSB/2000. 2000 NL Hydride Storage Bottle.    

    - EDILAB-ELEC1. Electrolyzer (3 Nl/h).

    - EDILAB-ELEC2. Electrolyzer (60 Nl/h).
Unit: - Dimensions: 700 x 400 x 550 mm approx. 27.55 x 15.75 x 21.65 inches approx.) - Weight: 25 Kg approx. (55 pounds approx.)

Load module: - Dimensions: 490 x 450 x 470 mm approx. (19.29 x 17.71 x 18.50 inches approx.) - Weight: 12 Kg approx. (26.4 pounds approx.)

Electronic console: - Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.) - Weight: 10 Kg approx. (22 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES
  1.- Study of the fundamental principles of operation of a proton exchange fuel cell (PEM).

  2.- Study of the structure and main principles of a metal hydride bottle.

  3.- Calculation of a fuel cell efficiency.

  4.- Study of the influence of air consumption and hydrogen in the efficiency of a fuel cell.

  5.- Study of the influence of the generated power in the efficiency of a fuel cell.

  6.- Determination of the voltage - current density characteristics of a fuel cell.

  7.- Study of the power density of a fuel cell.

  8.- Representation of the polarization curve of a fuel cell.

  9.- Study of the influence of the reagents’ flows in the generation of electrical power. 

10.- Study of the use of reagents and transport phenomena. 

11.- Influence of hydrogen consumption in the electric power generation.

- Several other exercises can be done and designed by the user.

Optional
EC6B/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features: 

• User Data Base Management. 

• Administration and assignment of Workgroup, Task and Training sessions. 

• Creation and Integration of Practical Exercises and Multimedia Resources. 

• Custom Design of Evaluation Methods. 

• Creation and assignment of Formulas & Equations. 

• Equation System Solver Engine. 

• Updatable Contents. 

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features: 

• Student Log-In & Self-Registration. 

• Existing Tasks checking & Monitoring. 

• Default contents & scheduled tasks available to be used from the first session. 

• Practical Exercises accomplishment by following the Manual provided by EDIBON. 

• Evaluation Methods to prove your knowledge and progression. 

• Test self-correction. 

• Calculations computing and plotting. 

• Equation System Solver Engine. 

• User Monitoring Learning & Printable Reports. 

• Multimedia-Supported auxiliary resources.
1

