TENDER SPECIFICATIONS

Bench-top unit with adjustable legs.

Anodized aluminum frame and panels made of painted steel.

The “EEICI” unit mainly consists of:

Pendulum: It is supported by bearings and has an length of 330 mm. On one of its ends we can mount the appropriate hammer for each test, be it Charpy or Izod.

Initial angle: 150°.

Charpy potential energy: 5 J, 7.5 J and 10 J.

Izod potential energy: 8.5 J.

Hammers:

The Charpy Hammer has the shape of a “C” and it is used for impact tests on specimens that are supported on both ends.

The Izod Hammer is used to impact on specimens that are fitted vertically.

Charpy clamp. It is composed with the accessories needed for supporting the specimens, according to standard ISO 179.

Izod clamp. It is composed with the accessories needed for supporting the specimens, according to standard ISO 180.

Allen keys in order to tighten the specimens into the clamps.

Graduated disc with a pointer will mark the energy used to break the specimen.

Specimens made in different plastic materials:

They have a notch in order to make their breaking easier.

They are made of PVC, PTFE and PMMA.

Their dimensions are 80 mm length and its cross section is 10 mm x 4 mm.

Support system for the pendulum at the starting point of the test.

Protection transparent cover that allows the safe viewing of the experiments by the student.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Additional recommended elements (Not included):

- EEICI-SP. Spare Specimens for EEICI.

Includes:

2 Specimens for Charpy Test (PVC).

2 Specimens for Charpy Test (PMMA).

2 Specimens for Charpy Test (PTFE).

2 Specimens for Izod Test (PVC).

2 Specimens for Izod Test (PMMA).

2 Specimens for Izod Test (PTFE).

- Dimensions: 1000 x 600 x 600 mm approx. (39.37 x 23.62 x 23.62 inches approx.). - Weight: 70 Kg approx. (154.32 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Experimental determination of the energy needed in order to break specimens of different materials using the Charpy method.

2.- Experimental determination of the energy necessary to break specimens of different materials using the Izod method.

3.- Experimental determination of the pendulum’s friction losses.

Optional

EEICI/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

BDAS. Data Acquisition System and Sensors:

For being used with mechanical units.

BDAS is designed to monitor the measurements of each mechanical unit from a computer.