TENDER SPECIFICATIONS

The “EESFB” is an unit for the study of the conversion of solar energy into electric energy.

Anodized aluminum structure and panels in painted steel.

This unit includes wheels for its mobility.

Main metallic elements made of stainless steel.

Diagram on the front panel with similar distribution to the elements in the real unit.

The unit includes:

Two photovoltaic solar panels (polycrystalline):

Tempered glass modules with high level of transmissivity.

Encapsulating material: modified ethylene-vinyl acetate.

Output nominal power: 66 W.

Area of the panel: 0.51 m2.

Maximum current: 3.76 A. Maximum voltage: 17.53 V.

Thirty six cells, 156 x156 mm each.

Solar simulator composed of:

Aluminum frame.

Eight halogen lamps of 400 W each one, distributed into two independent voltage regulated circuits.

Electrically safe.

Ventilation system that allows to analyze the temperature influence on the unit operation, formed by:

Four axial compact fans with plastic guards.

DC load and battery charger regulator:

It regulates how power generated in the photovoltaic solar panels is distributed to and from the auxiliary battery and to the load. A display informs about the state of the charge, operating parameters and fault messages. The functions of the electronic protection are:

Overvoltage disconnection, short circuit protection of load and module, overvoltage protection at module input, over-temperature and overload protection, and battery overvoltage shutdown.

Auxiliary battery charger:

It carefully assesses the battery and then delivers the optimum charge required.

Battery:

Nominal voltage: 12 V. Nominal capacity (20 hours rate): 24 Ah.

DC loads module:

Metallic box with diagram on the front panel.

Two 24 V lamps.

DC motor: Voltage: 36 V, power: 5 W.

Rheostat of 500 W.

Independent connection for every load with the help of the four positions selector:

Solar panels work at open-circuit.

Rheostat and lamps are connected directly to the solar panels. These loads can be connected individually or in parallel with the aid of manual switches.

The DC motor is directly connected to the solar panels.

The DC load is disconnected and the solar panels are directly connected to the charge regulator.

Sensors:

Solar radiation sensor to study the behaviour of solar photovoltaic panels.

Three “J” type temperature sensors to measure the environmental temperature, the temperature in the solar panel nº 1 and the temperature in the solar panel nº 2.

DC current sensor and DC voltage sensor.

The unit includes four blinds to reduce a direct visual contact with the halogen lamps and to reduce the direct contact with the photovoltaic solar panels when the unit is working.

Electronic console:

Metallic box.

Connector for the solar radiation sensor. Digital display for the solar radiation sensor.

Connectors for the temperature sensors. Digital display for the temperature sensors. Selector for temperature sensors.

Connectors for the DC current and voltage sensor. Digital display for the current (DC). Digital display for the voltage (DC).

Two switches for the lamps  of the two independent circuits.

Two regulators for the light intensity of lamps of the two independent circuits.

Switch for the ventilation system.

Switch to connect the solar panels in parallel or series.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance, & Practices Manuals.

Additional recommended elements (at least one) (Not included):

- EE-KIT. Kit of Conversion and Consumption Simulation (AC):

• Single-phase inverter:

Single-phase.

25 kHz switch mode technology.

Start-up power of 200 %.

Short-circuit protection.

High temperature protection.

Overcharge protection.

Operation state indicating LED.

Rear connection/disconnection switch.

• AC Loads Module:

Metallic box.

Diagram in the front panel.

Axial compact fan of 230 V with plastic guards.

Three lamps of 220 V – 240 V, power: 11 W.

Independent connection for every load with the help of the four positions selector:

- Inverter operation with no load.

- Fan motor connected.

- One AC lamp connected.

- Two AC lamps connected in parallel.

• AC voltage and current sensor. The value of AC power can be visualized with the software.

- EE-HYB-KIT. Hybrid Grid Inverter Kit with Self-Energy Management:

This inverter can take electrical energy either from the laboratory power grid (50/60 Hz) or from a photovoltaic panel (not included) to supply power to a local load (included) or to store such energy in a battery (included). This criteria will depend on the amount of stored energy in the battery at any given time and whether or not sufficient solar energy is available to supply the energy demand at that time.

In order to study the different modes of operation of the hybrid inverter, this kit consists of a battery, a variable resistive load and several analog DC and AC current and voltage meters.

Depending on the energy stored in the battery and the energy demanded by the variable load, it will be possible to observe the inverter behavior by means of the analog meters located at different points of the electrical circuit. For example, it will be possible to measure the current flows in and out of the battery, the current consumed by the resistive load and also, the current flows coming from the grid in case there is not enough energy in the battery to supply the demand of the resistive load.

Supply voltage: 230 VAC.

Frequency: 50/60 Hz.

Nominal power: 1000 W.

Power switch.

Bidirectional DC ammeter: -50 A – 0 – 50 A.

DC voltmeter: 0 – 15 VDC.

AC ammeter for load consumption measurement: 0 – 5 A.

AC voltmeter for measuring the voltage at the load: 0 – 250 VAC.

AC ammeter for measuring input current of the network: 0 – 5 A.

AC voltmeter for mains voltage measurement: 0 – 250 VAC.

Mains disconnecting switch.

Load disconnecting switch.

Battery disconnecting switch.

Battery circuit breaker: 40 A.

Differential circuit breaker: 230 VAC, 10 A, 30 mA.

Fuses: 2 x 16 A.

Variable resistor: 0 – 1000 Ohm, 1000 W.

Hybrid inverter:

Battery voltage: 12 VDC.

MPPT regulator: 17 – 80 VDC.

Gel battery:

Nominal voltage: 12 VDC.

Capacity: 60 Ah.

Unit: -Dimensions: 2200 x 1200 x 2005 mm approx. (86.61 x 47.24 x 78.93 inches approx.) -Weight: 300 Kg approx. (661 pounds approx.)

Electronic console: -Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.) -Weight: 10 Kg approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Identification and familiarization with all components of the unit and how they are associated with its operation.

2.- Determination of the solar panel characteristic parameters.

3.- Study of the materials that make up the solar cell.

4.- Study of the p and n sides of a solar cell.

5.- Study of the I-V and P-V curves.

6.- Study of the inverse current or the saturation current.

7.- Study of V, I and W according to different loads.

8.- Measurement of the open-circuit voltage and the short-circuit current for a solar panel with load.

9.- Measurement of the maximum power for a solar panel with load.

10.- Study of the relationship between power generated and solar radiation power.

11.- Study of the solar panel maximum power.

12.- Study of the influence of temperature on the solar panel opencircuit voltage.

13.- Determination of the photo-conversion efficiency.

14.- Study of the efficiency of the solar panels connected in parallel.

15.- Study of the efficiency of the solar panels connected in series.

16.- Study of the efficiency, depending on the temperature, of the photovoltaic system connected in parallel.

17.- Study of the operation of the photovoltaic generation system supplying power to different DC loads without an auxiliary battery.

18.- Study of the photovoltaic power generation system operation with an auxiliary battery and supplying different DC/AC loads.

19.- Study of the operation of the photovoltaic system in series/parallel with connection of different loads and without the support of the storage battery.

20.- Study of the operation of the photovoltaic system in series/parallel with connection of different loads DC and with the support of the storage battery.

Additional practical possibilities:

21.- Lamps illumination profile study.

22.- Determination of the resistance of a solar cell connected in series and in parallel.

23.- Study of the parameters that define the quality of a solar cell.

24.- Study of the dependence of the voltage of open circuit (V∞) on the lumens.

Practices to be done with the additional recommended element “EE-KIT”:

25.- Study of the operation of the photovoltaic system in series/parallel with connection of different loads and without the support of the storage battery.

26.- Study of the operation of the photovoltaic system in series/parallel with connection of different AC loads and with the support of the storage battery.

27.- Study of the connection of loads to an alternating voltage of 220 V.

Practices to be done with the additional recommended element “EE-HYB-KIT”:

28.- Study of the hybrid inverter’s grid connection procedure: correct sequence of battery and grid switches.

29.- Study of the hybrid inverter configuration.

30.- Study of the hybrid inverter in grid connection mode.

31.- Study of the hybrid inverter in island mode.

32.- Study of the behavior of the hybrid inverter in the event of a blackout.

33.- Study of the charging process of the battery from the laboratory grid through the hybrid inverter.

34.- Study of the battery charging process from a renewable energy source.

35.- Study of the power flows of the battery and the grid under variations of the energy demand with the variable resistive load.

36.- Study of the response of the hybrid inverter when the critical discharge point of the battery is reached.

37.- Study of the energy balance between the battery-charge-grid by means of the analog ammeters and voltmeters incorporated in the kit.

Optional

EESFB/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.