TENDER SPECIFICATIONS (for main items)

1 FUB. Base Frame and Robot for EFAC:

This unit is required for the use of all type sets “F” and can work with one or several sets.

Anodized aluminum frame and panels made of painted steel.

Cartesian robot, controlled by three motors:

Movement in the X, Y and Z axes.

Support for the different sensors.

Robot arm, computer controlled, with a sweeping area.

Electronic box for the motors multiplexing. This Electronic box is controlled by a PLC allocated into the Control Interface Box.

Cables.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

National Instruments Data Acquisition board (250 KS/s, kilo samples per second).

Calibration exercises, which are included, teach the user how to calibrate a sensor and the importance of checking the accuracy of the sensors before taking measurements.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

Required elements (at least one) (Not included):

FCE. Electric Fields Study Set.

- Sensor:

Electric field sensor. Is supplied a probe capable of measuring the potential created by any charge distribution. This probe consists of a conductive cable that measures the potential difference between a reference and the point where it is located.

- Elements:

- Two nickel-plated conductor sphere with insulating rod.

- Two nickel-plated conductor cylinders with insulating rod.

- Tank.

- Red conductor cable with banana-crocodile.

- Black conductor cable with banana-crocodile.

The teacher can use any element that creates ELECTRICAL FIELDS, so the UNIT IS OPEN and can do MANY OTHER EXPERIMENTS.

Required elements (Not included):

- FUB. Base Frame and Robot for EFAC.

This unit is supplied with 8 manuals: Required services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices manuals.

FCE/CCSOF. Control Software + Data Acquisition + Data Management:

The three softwares are part of the SCADA system.

Compatible with actual Windows operating systems. Graphic and intuitive

simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and

simultaneous way.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Comparative analysis of the obtained data, after the process and modification of the conditions during the process.

Open software, allowing the teacher to modify texts, instructions.

Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

FCM. Magnetic Field Study Set.

- Sensor:

Hall probe capable of measuring the intensity of the static and dynamic magnetic fields.

-  Elements:

- Electromagnet.

- Two magnets of AlNiCo.

- Rectangular loop.

- Two conductive loops of 325 turns.

- Two conductive loops of 200 turns.

- Solenoid with a diameter of 200 mm.

- Solenoid with a diameter of 110 mm.

- Two ferrite cores.

- Stainless steel core.

- Brass core.

- Iron core.

- 100 g of iron powder.

The teacher can use any element that creates MAGNETIC FIELDS, so the UNIT IS OPEN and can do MANY OTHER EXPERIMENTS.

Required elements (Not included):

- FUB. Base Frame and Robot for EFAC.

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

FCM/CCSOF. Control Software + Data Acquisition + Data Management:

The three softwares are part of the SCADA system.

Compatible with actual Windows operating systems. Graphic and intuitive

simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and

simultaneous way.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Comparative analysis of the obtained data, after the process and modification of the conditions during the process.

Open software, allowing the teacher to modify texts, instructions.

Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

FM. Mechanics Study Set.

- Elements:

- Cameras (2 units).

- Experiment drawer.

- Linear motion rails.

- Height rails supports.

- Linear motions black sphere.

- Black sphere with pendular motions rope.

- Pendular hook for the robot.

The teacher can use any element suitable for MECHANICS study, so the UNIT IS OPEN and can do MANY OTHER EXPERIMENTS.

Required elements (Not included):

- FUB. Base Frame and Robot for EFAC.

This unit is supplied with 8 manuals: Required services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices manuals.

FM/CCSOF. Control Software + Data Acquisition + Data Management:

The three softwares are part of the SCADA system.

Compatible with actual Windows operating systems. Graphic and intuitive

simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and

simultaneous way.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Comparative analysis of the obtained data, after the process and modification of the conditions during the process.

Open software, allowing the teacher to modify texts, instructions.

Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

FAC. Acoustics Study Set.

- Sensor:

Highly sensitive acoustic sensor (microphone) that allows the acoustic signal to be captured and saved at different points in the space.

- Elements:

- High sensibility microphone.

- Two acoustic sources (trumpets) high-frequency 3000 Hz, with 3V DC power supply.

- Anechoic chamber. The simple chamber can be made with the panels provided with thick polyurethane supplied with the unit, and will allow isolating your experiments from external noises, allowing you to obtain the waves generated by the supplied sound source:

- Walls covered with high-density polyurethane (4 units).

- 170 x 200 mm flat wall with a high-density polyurethane covering and a hole of 10 mm.

- 170 x 200 mm flat wall with a high-density polyurethane covering and two holes of 10 mm.

- 170 x 200 mm flat wall with a high-density polyurethane covering without holes.

The teacher can use any element suitable for ACOUSTICS study, so the UNIT IS OPEN and can do MANY OTHER EXPERIMENTS

Required elements (Not included):

- FUB. Base Frame and Robot for EFAC.

This unit is supplied with 8 manuals: Required services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices manuals.

FAC/CCSOF. Control Software + Data Acquisition + Data Management:

The three softwares are part of the SCADA system.

Compatible with actual Windows operating systems. Graphic and intuitive

simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and

simultaneous way.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Comparative analysis of the obtained data, after the process and modification of the conditions during the process.

Open software, allowing the teacher to modify texts, instructions.

Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

FOP. Optics Study Set.

- Sensor:

Sensor for the study of optics consisting of a diode capable of measuring light.

- Elements:

- Magnifying glass with stand.

- Torch with focusing head.

- Base for the torch.

- Two methacrylate plates.

- LED panel.

- Light diffuser for the panel.

- Two methacrylate tanks.

- Plane mirror.

The teacher can use any element suitable for OPTICS study, so the UNIT IS OPEN and can do MANY OTHER EXPERIMENTS.

Required elements (Not included):

- FUB. Base Frame and Robot for EFAC.

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

FOP/CCSOF. Control Software + Data Acquisition + Data Management:

The three softwares are part of the SCADA system.

Compatible with actual Windows operating systems. Graphic and intuitive

simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and

simultaneous way.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Comparative analysis of the obtained data, after the process and modification of the conditions during the process.

Open software, allowing the teacher to modify texts, instructions.

Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

FTT. Thermodynamics Study Set.

- Sensor:

Temperature sensor: without the thermowell in a metal rod-shaped holder.

- Elements:

- Experiment tank.

- Cu tank with resistance inside (hot spot). The resistor will be directly connected to the mains (230 V).

- Cu tank (cold focus).

- Insulating plates: six vertical (250 x 110) and six horizontal (343 x 73).

- Plate fixing nuts.

The teacher can use any element suitable for THERMODYNAMICS study, so the UNIT IS OPEN and can do MANY OTHER EXPERIMENTS.

Required elements (Not included):

- FUB. Base Frame and Robot for EFAC.

This unit is supplied with 8 manuals: Required services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices manuals.

FTT/CCSOF. Control Software + Data Acquisition + Data Management:

The three softwares are part of the SCADA system.

Compatible with actual Windows operating systems. Graphic and intuitive

simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and

simultaneous way.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Comparative analysis of the obtained data, after the process and modification of the conditions during the process.

Open software, allowing the teacher to modify texts, instructions.

Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

2 EFAC/CIB. Control Interface Box:

This control interface is common for the required elements (at least one) (Not included).

Control interface box with process diagram in the front panel.

The unit control elements are permanently computer controlled.

Simultaneous visualization in the computer of all parameters involved in the process.

Calibration of all sensors involved in the process.

Real time curves representation about system responses.

All the actuators’ values can be changed at any time from the keyboard allowing the analysis about curves and responses of the whole process.

Shield and filtered signals to avoid external interferences.

Real time computer control with flexibility of modifications from the computer keyboard of the parameters, at any moment during the process.

Real time computer control for parameters involved in the process simultaneously.

Open control allowing modifications, at any moment and in real time, of parameters involved in the process simultaneously.

Three safety levels, one mechanical in the unit, another electronic in the control interface and the third one in the control software.

3 DAB. Data Acquisition Board:

Common for the required elements (at least one) (Not included).

PCI Express Data acquisition board (National Instruments) to be placed in a computer slot.

Analog input: Channels= 16 single-ended or 8 differential. Resolution=16 bits, 1 in 65536. Sampling rate up to: 250 KS/s (kilo samples per second).

Analog output: Channels=2. Resolution=16 bits, 1 in 65536.

Digital Input/Output: Channels=24 inputs/outputs.

The Data Acquisition board model may change at any moment, providing the same or better features than those required for the unit.

4 Cables and Accessories, for normal operation.

5 Manuals:

This unit is supplied with 8 manuals: Required services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices manuals.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

Practical exercises to be done with the Electric Fields Study Set (FCE):

Level 1:

1.- Electric field created by two parallel flat sheets.

2.- Visualisation of the field lines created by a point charge.

3.- Spatial representation of the equipotential lines and the intensity of the electric field created by a point charge.

4.- Visualisation of the field lines generated by two point charges.

5.- Spatial representation of the equipotential curves created by two spherical charges.

Level 2:

6.- All those of level 1.

7.- Calculation of the charge enclosed by a plane-parallel capacitor. Gauss’s theorem (I).

8.- Experimental demonstration of Gauss’ law for a sphere and two conducting planes.

9.- Study of the charge stored in a plane-parallel capacitor as a function of the distance between the plates. Concept of capacitance.

10.- Experimental study of edge effects.

11.- Spatial representation of the equipotential lines created by a cylinder and a conductive plane. Principle of superposition (II).

12.- Spatial study of the electric field created by a non-regular body. Edge effects.

13.- Visualisation and calculations of the intensity of the electric field generated by a plane-parallel capacitor with a dielectric sphere inside it. Dielectric (I).

14.- Spatial representation of the electric field and equipotential lines generated by introducing a conducting sphere into a plane-parallel capacitor. Superposition principle (III).

15.- Electric field lines and equipotential surfaces generated by two conducting spheres equidistant from a conducting plane. Image effect.

16.- Experimental calculation of the redistribution of charge and potential energy of a series and parallel configuration of two plane-parallel capacitors.

IMPORTANT: The teacher can use his own elements, so these practical possibilities are NEARLY UNLIMITED.

Other possibilities to be done with this unit:

17.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

18.- Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

19.- The Computer Control System with SCADA allows a real industrial simulation.

20.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

21.- This unit can be used for doing applied research.

22.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

23.- Control of the FCE unit process through the control interface box without the computer.

24.- Visualization of all the sensors values used in the FCE unit process.

- Several other exercises can be done and designed by the user.

Practical exercises to be done with the Magnetic Field Study Set (FCM):

Level 1:

25.- Visualisation of the magnetic field lines generated by a magnet.

26.- Decay of the magnetic field.

27.- Three-dimensional representation of the magnetic field generated by a magnet.

28.- Magnetic field generated by two magnets. Spatial representation of the field lines and intensity.

29.- Magnetic field generated by parallel rectilinear conductors. Visualisation of field lines and calculation of magnetic intensity. Principle of superposition (I).

30.- Magnetic field generated by a loop. Three-dimensional representation of the intensity and visualisation of the field lines.

31.- Magnetic field generated by rectangular coils. Visualisation of field lines and calculation of the magnetic intensity. Superposition principle (I).

32.- Magnetic field generated by two loops crossed by currents in the same direction and in the opposite direction. Principle of Superposition (III).

33.- Magnetic field generated by a solenoid of N turns. Ampère’s Law (II).

Level 2:

34.- All those of level 1.

35.- Sources of the magnetic field.

36.- Experimental demonstration of the existence of sources and sinks. Gauss’s theorem.

37.- Helzmholtz coils. Three-dimensional study of the magnetic field.

38.- Magnetic field generated by a real coil.

39.- Magnetic field in matter.

IMPORTANT: The teacher can use his own elements, therefore the practical possibilities are NEARLY UNLIMITED.

Other possibilities to be done with this unit:

40.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

41.- Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

42.- The Computer Control System with SCADA allows a real industrial simulation.

43.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

44.- This unit can be used for doing applied research.

45.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

46.- Control of the FCM unit process through the control interface box without the computer.

47.- Visualization of all the sensors values used in the FCM unit process.

- Several other exercises can be done and designed by the user.

Practical exercises to be done with the Mechanics Study Set (FM):

Level 1:

48.- Calibration of the cameras.

49.- Guided horizontal movement analysis.

50.- Inclined plane movement analysis.

51.- Simple damped pendulum analysis.

52.- Circular damped pendulum movement analysis.

Level 2:

53.- All those of level 1.

54.- Calibration of the chambers.

IMPORTANT: The teacher can use his own elements, so these practical possibilities are NEARLY UNLIMITED.

Other possibilities to be done with this unit:

55.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

56.- Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

57.- The Computer Control System with SCADA allows a real industrial simulation.

58.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

59.- This unit can be used for doing applied research.

60.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

61.- Control of the FM unit process through the control interface box without the computer.

62.- Visualization of all the sensors values used in the FM unit process.

- Several other exercises can be done and designed by the user.

Practical exercises to be done with the Acoustics Study Set (FAC):

Level 1:

63.- Temporal visualisation of an acoustic wave.

64.- Three-dimensional study of an acoustic wave.

65.- Signal generated by two identical sources (Interference I).

66.- Acoustic attenuation produced by an obstacle.

67.- Wave fronts generator (Diffraction I).

68.- Spatial representation of an acoustic attenuation.

Level 2:

69.- All those of level 1.

70.- Experimental determination of the power of an acoustic emitter.

71.- Spatio-temporal study of the signal generated by two acoustic sources (Interference II).

72.- Acoustic media.

73.- Effects on the acoustic shielding of the wave frequency.

74.- Effects on the acoustic shielding of the amplitude of the wave.

75.- Effects of the wavelength on the diffraction phenomenon (Diffraction II).

76.- Diffraction-Interference.

IMPORTANT: The teacher can use his own elements, so these practical possibilities are NEARLY UNLIMITED.

Other possibilities to be done with this unit:

77.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

78.- Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

79.- The Computer Control System with SCADA allows a real industrial simulation.

80.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

81.- This unit can be used for doing applied research.

82.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

83.- Control of the FAC unit process through the control interface box without the computer.

84.- Visualization of all the sensors values used in the FAC unit process.

- Several other exercises can be done and designed by the user.

Practical exercises to be done with the Optics Study Set (FOP):

Level 1:

85.- Determination of beam divergence.

86.- Focusing point of the torch beam.

87.- Analysis of intensity loss with distance.

88.- Phenomenon of reflection.

89.- Transmission.

90.- Variation of the luminosity with methacrylate without inclination.

91.- Variation of the luminosity on having fallen with an angle on the methacrylate.

92.- Refraction.

93.- Influence of the medium in the refraction.

94.- Calculation of the focal length of a lens (magnifying glass).

Level 2:

95.- All those of level 1.

96.- Luminosity analysis.

IMPORTANT: The teacher can use his own elements, so these practical possibilities are NEARLY UNLIMITED.

Other possibilities to be done with this unit:

97.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

98.- Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

99.- The Computer Control System with SCADA allows a real industrial simulation.

100.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

101.- This unit can be used for doing applied research.

102.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

103.- Control of the FOP unit process through the control interface box without the computer.

104.- Visualization of all the sensors values used in the FOP unit process.

- Several other exercises can be done and designed by the user.

Practical exercises to be done with the Thermodynamics Study Set (FTT):

Level 2:

105.- Determination of temperature distribution in a water tank.

106.- Temperature distribution in the presence of hot and cold focus. Dependence on the temperature difference.

107.- Temperature distribution in the presence of a hot and a cold source. Dependence with the distance between them.

108.- Temperature distribution in the presence of hot and cold sources. Dependence on their position and geometry.

IMPORTANT: The teacher can use his own elements, so these practical possibilities are NEARLY UNLIMITED.

Other possibilities to be done with this unit:

109.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

110.- Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

111.- The Computer Control System with SCADA allows a real industrial simulation.

112.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

113.- This unit can be used for doing applied research.

114.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

115.- Control of the FTT unit process through the control interface box without the computer.

116.- Visualization of all the sensors values used in the FTT unit process.

- Several other exercises can be done and designed by the user.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

6 EFAC/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

7 EFAC/FSS. Faults Simulation System.

Faults Simulation System (FSS) is a Software package that simulates several faults in any EDIBON Computer Controlled Unit.

The "FAULTS" mode consists in causing several faults in the unit normal operation. The student must find them and solve them.

There are several kinds of faults that can be grouped in the following sections:

Faults affecting the sensors measurement:

- An incorrect calibration is applied to them.

- Non-linearity.

Faults affecting the actuators:

- Actuators channels interchange at any time during the program execution.

- Response reduction of an actuator.

Faults in the controls execution:

- Inversion of the performance in ON/OFF controls.

- Reduction or increase of the calculated total response.

- The action of some controls is annulled.

On/off faults:

- Several on/off faults can be included.

b) Multipost Expansions options

8 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.