TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Test tank, made in fibreglass reinforced polyester, 1000 mm of length x 500 mm of width and 240 mm of depth.

Two membrane valves to regulate water inlet flows to the test tank.

Two wells simmetrically located in the test tank.

Two membrane valves to regulate water outlet flows from the wells.

Nineteen tappings to measure the hydraulic gradients, connected to column water manometers of 300 mm long. The manometers have individual ball valves to purge the tubes.

Air manual pump connected to the manometers.

Included elements that make it easy the construction of the different models object of study:

1.- Rectangular model for a lake construction.

2.- Rectangular model for an excavation construction.

3.- Cylindrical model for a confined aquifer construction.

Flexible pipes and quick connectors.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Required elements (only one) (Not included):

- FME00. Hydraulics Bench.

Mobile hydraulic bench, made of fibreglass reinforced polyester, and mounted on wheels for its mobility.

Centrifugal pump: 0.37 kW, 30 – 80 l/min at 20.1 – 12.8 m, single-phase 200 VAC – 240 VAC/50 Hz or 110 VAC – 127 VAC/60 Hz.

Runner made of stainless steel.

Sump tank capacity: 165 l.

Small channel: 8 l.

Flow measurement: volumetric tank, gauged from 0 – 7 l for low flow values and from 0 – 40 l for high flow values.

Control valve for regulating the flow.

Open channel to place the test unit.

Measuring cylinder is provided for the measurement of small flow rates.

Remote hand-operating dump valve in the base of the volumetric tank.

Rapid and easy interchange of the different units.

or

- FME00/B. Basic Hydraulic Feed System.

The FME00/B is a service unit:

Centrifugal pump: 0.37 kW, 30 – 80 l/min at 20.1 – 12.8 m, single-phase 200 VAC – 240 VAC/50 Hz or 110 VAC – 127 VAC/60 Hz.

Stainless steel impeller.

Tank capacity: 140 l approx.

Flowmeter.

Membrane type flow adjusting valve.

Safety switch ON/OFF.

Supports for accommodating the test module.

This unit incorporates wheels for its mobility.

- Dimensions: 1100 x 650 x 1400 mm approx. (43.30 x 25.59 x 55.11 inches approx.) - Weight: 100 Kg approx. (220 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Demonstration of hydraulic gradients in ground water flow, including the effect of permeability.

2.- Investigation of hydraulic gradients for different models built on the test tank.

3.- Determination of the ground water level between inlet and outlet.

4.- Demonstration of the Darcy’s law.

5.- Study of the cone of depression for a well in a confined aquifer.

6.- Study of the cone of depression for a well in a free aquifer.

7.- Study of the cone of depression cone for two wells.

8.- Experiment to obtain hydraulic gradients for a model with two wells. Compare it with the result of only one well by the superposition method.

9.- Draining of or lake model.

10.- De-watering of an excavation model under freatic level.

11.- De-watering of an excavation model using two wells.

12.- Interaction of cones of depression by two adjoining wells.

13.- Draw-down curves for one well and two wells systems.

14.- Comparison of different profiles, combinations.

15.- Filling of the manometric tubes.

Optional

EFAS/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.