EDIBON

Edition:ED01/25
Date:October/2025
EFO
PHOTOELASTICITY UNIT

TENDER SPECIFICATIONS
Bench-top unit.

Anodized aluminium structure.

Main metallic elements in stainless steel.

Light source, two fluorescent tubes of 30 cm and 8 W.

Monochromatic light 35 W.

Opalescent diffuser plate.

Double effect polarizing filters (linear polarization and circular polarization), of 30 x 30 cm and protected by methacrylate plates.

Load  frame with pulling jack.

Load cell for direct force measurement.

Ten pressure screws and accessories.

The “EFO” unit includes the following elements: 

    - EFO-K1. Kit of Static Test Specimens (Basic kit), formed by:

          N°3.   Stepped Rectangular Specimen.

          N°4.   Compact Circular Specimen.

          N°5.   Circular with Orifice Specimen.

          N°9.   Medium Rectangular Specimen.

          N°13. “C” Specimen Probe

          N°14. Specimen with Arch Probe.

          N°17. Square with Diagonal Bar Specimen Probe.

Additional recommended elements (Not included):

    - EFO-K2. Kit of Static Test Specimens (Advanced kit), formed by:

          N°1.   Big Irregular Specimen.

          N°2.   Small Irregular Specimen.

          N°6.   Notches Rectangular Specimen.

          N°7.   Trapezoidal Specimen.

          N°8.   Big Rectangular Specimen.

          N°10. Small Rectangular Specimen.

          N°11. “U” Specimen.

          N°12. Wide Rectangular Specimen.

          N°15. Triangular Specimen.

          N°16. Hollow Square Specimen.

          N°18. Square with Two Diagonal Bars Specimen.

          N°19. “T” Beam Specimen.

          N°20. Double “T” Beam Specimen.

          N°21. Rectangular with Hole Specimen.

    - EFO-K5. Kit of Articulated Structures, formed by:

          N°30. Articulated Structure 1.

          N°31. Articulated Structure 2.

          N°32. Articulated Structure 3.

    - EFO-K6. Kit of Dynamic Panels, formed by:

          N°40. Dynamic Panel 1.

          N°41. Dynamic Panel 2.   

    - EFO-ICL. Accessory with Independent Circular and Linear Sheets.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance, & Practices manuals.

- Dimensions: 750 x 400 x 550 mm approx. (29.53 x 15.75 x 21.65 inches approx.). - Weight: 20 Kg approx. (44 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES
  1.- Introduction to photoelasticity: optical elements, isochromatic, isoclinic, band order, band factor, edge tension sign, etc.

  2.- Determination of principal stress difference.

  3.- Isochromatics.

  4.- Illustration of the themes about elasticity, strength of materials and structures using photoelastic tests.

  5.- Pure traction/optical-tensional law.

  6.- Diametrically compressed disc.

  7.- Ring with diametrical compression traction.

  8.- Ring with diametrical compression.

  9.- Plate with circular drill with traction.

10.- Comparison of the effects from different engraves in piece with traction.

11.- Pure traction in a piece with section linearly variable.

12.- Pure flexion.

13.- Simple flexion.

14.- Simple flexion, compound beams.

15.- Compound flexion.

16.- Compound central core of the section.

17.- Piece with a great curvature subjected to flexion.

18.- Arch built-in with a central charge.

19.- Triangular structure.

20.- Comparison of the structures.

21.- Comparison of the effect of different notches.

22.- Tardy compensation method (requires EFO-ICL).  

- Several other exercises can be done and designed by the user.
Optional
EFO/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features: 

• User Data Base Management. 

• Administration and assignment of Workgroup, Task and Training sessions. 

• Creation and Integration of Practical Exercises and Multimedia Resources. 

• Custom Design of Evaluation Methods. 

• Creation and assignment of Formulas & Equations. 

• Equation System Solver Engine. 

• Updatable Contents. 

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features: 

• Student Log-In & Self-Registration. 

• Existing Tasks checking & Monitoring. 

• Default contents & scheduled tasks available to be used from the first session. 

• Practical Exercises accomplishment by following the Manual provided by EDIBON. 

• Evaluation Methods to prove your knowledge and progression. 

• Test self-correction. 

• Calculations computing and plotting. 

• Equation System Solver Engine. 

• User Monitoring Learning & Printable Reports. 

• Multimedia-Supported auxiliary resources.
1

