EDIBON

Edition:ED01/25
Date:October/2025
EFOV
COMPUTER CONTROLLED PHOTOELASTICITY UNIT WITH ARTIFICIAL VISION SYSTEM, WITH SCADA

TENDER SPECIFICATIONS (for main items)
1 EFOV. Unit:

The “EFOV” unit includes the following items:

    - EFO.Unit:

          Bench-top unit.

          Anodized aluminum frame and painted steel panels.

          Main metal elements made of stainless steel. 

          Light source, two fluorescent tubes of 30 cm and 8 W. 

          Monochromatic light 35 W.

          Opalescent diffuser plate.

          Double effect polarizing filters (linear polarization and circular polarization), of 30 x 30 cm and protected by methacrylate plates.

          Load frame with pulling jack.

          Ten pressure screws and accessories.

          The “EFO” unit includes the following items:

              - EFO-K1. Kit of Static Test Specimens (Basic kit), formed by:

                    N°3. Stepped Rectangular Specimen.

                    N°4. Compact Circular Specimen.

                    N°5. Circular with Orifice Specimen.

                    N°9. Medium Rectangular Specimen.

                    N°13. “C” Specimen Probe.

                    N°14. Specimen with Arch Probe.

                    N°17. Square with Diagonal Bar Specimen Probe.    

     - EFO-K3. Kit of Test Specimens with Strain Gauges (Basic kit), formed by:

           N°7-G. Trapezoidal Specimen with strain gauges + N°7. Trapezoidal Specimen.

           N°8-G. Big Rectangular Specimen with strain gauges + N°8. Big Rectangular Specimen.

           N°19-G. “T” Beam Specimen with strain gauges + N°19. “T” Beam Specimen.

    - EFOC/KIT. Photoelasticity Kit with Strain Gauges. 

          Load cell for direct force measurement. 

          Electronics, hardware and software for strain gauges measurement from PC, and direct force measurement applied to the specimens:

              - Control Interface Box:

                    Metallic box.

                    Sensors connectors.

                    Main switch.

              - USB Data Acquisition Board:

                    National Instruments High Speed Multifunction Data Acquisition Board (500kS/s).

                    Signal Streaming technology through USB to ensure high speed and bidirectional data transfer.

                    USB compatibility: USB2.0 Hi Speed (480Mbits/s) or full speed. 

                    Truly Plug & Play: the PC will automatically detect the new device and install the software.     

              - Computer Control+Data Acquisition+Data Management Software:

                    Compatible with actual Windows operating systems.

                    Control and data acquisition in real time.

                    Management, processing, comparison and storage of data.

                    Main functions of the software: 

                        Analysis and measurement of the strains. 

                        Young ´s module calculation.

                        Poisson´s ration calculation.    

                        Measurement the force applied. 

                        Analysis and measurement of stresses. 

                        Register of the (experimental) practical exercises. 

                        Calibration of sensors.  

    - EFOV/KIT. Photoelasticity Kit with Artificial Vision System. 

          Hardware (webcam) and software for image acquisition and treatment.           

          Main functions of the software: 

              Generation of directional field and analysis of isoclines.

              Analysis of the color spectrum in one pictures or part of the picture.

              Analysis and determination of the fringe factor.

              Quantitative measurement between points of interest. 

              Visualization and storange of pictures and videos from the webcam. 

The complete unit includes as well:
Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

National Instruments Data Acquisition board (250 KS/s, kilo samples per second).

Calibration exercises, which are included, teach the user how to calibrate a sensor and the importance of checking the accuracy of the sensors before taking measurements.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.
Additional recommended elements (Not included):

    - EFO-K2. Kit of Static Test Specimens (Advanced kit), formed by:

          N°1.   Big Irregular Specimen.

          N°2.   Small Irregular Specimen.

          N°6.   Notches Rectangular Specimen.

          N°7.   Trapezoidal Specimen.

          N°8.   Big Rectangular Specimen.

          N°10. Small Rectangular Specimen.

          N°11. “U” Specimen.

          N°12. Wide Rectangular Specimen.

          N°15. Triangular Specimen.

          N°16. Hollow Square Specimen.

          N°18. Square with Two Diagonal Bars Specimen.

          N°19. “T” Beam Specimen.

          N°20. Double “T” Beam Specimen.

          N°21. Rectangular with Hole Specimen.

    - EFO-K4. Kit of Test Specimens with Strain Gauges (Advanced kit), formed by:

          N°9-G. Medium Rectangular Specimen with strain gauges + N°9. Medium Rectangular Specimen.

          N°10-G.  Small Rectangular Specimen with strain gauges + N°10. Small Rectangular Specimen.

          N°11-G. “U” Specimen with strain gauges + N°11. “U” Specimen.

          N°20-G. Double “T” Beam Specimen with strain gauges + N°20. Double “T” Beam Specimen.

    - EFO-K5. Kit of Articulated Structures, formed by:

          N°30. Articulated Structure 1.

          N°31. Articulated Structure 2.

          N°32. Articulated Structure 3.

    - EFO-K6. Kit of Dynamic Panels, formed by:

          N°40. Dynamic Panel 1.

          N°41.Dynamic Panel 2.      

    - EFO-ICL. Accessory with Independent Circular and Linear Sheets.  

2 Cables and Accessories, for normal operation.
3 Manuals: 

This unit is supplied with 8 manuals: Required services, Assembly and Installation, Control software, Starting-up, Safety, Maintenance, Calibration & Practices manuals.

*References 1 to 3 are the main items: EFOV + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.
EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS
  1.- Introduction to photoelasticity: optical elements, isochromatic, isoclinic, band order, band factor, edge tension sign, etc.

  2.-  Determination of principal stress difference.

  3.-  Isochromatics.

  4.- Illustration of the themes about elasticity, strength of materials and structures using photoelastic tests.

  5.- Pure traction/optical-tensional law.

  6.- Diametrically compressed disc.

  7.- Ring with diametrical compression traction.

  8.- Ring with diametrical compression.

  9.- Plate with circular drill with traction.

10.- Comparison of the effects from different engraves in piece with traction.

11.- Pure traction in a piece with section linearly variable.

12.- Pure flexion.

13.- Simple flexion.

14.- Simple flexion, compound beams.

15.- Compound flexion.

16.- Compound central core of the section.

17.- Piece with a great curvature subjected to flexion.

18.- Arch built-in with a central charge.

19.- Triangular structure.

20.- Comparison of the structures.

21.- Comparison of the effect of different notches.

22.- Strain and stress analysis and measurements with strain gauges using computer.

23.- Image acquisition and treatment with software. 

24.- Tardy compensation method (requires EFO-ICL).  

Other possibilities to be done with this unit:

25.- Many students view results simultaneously.

       To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

26.- Open Control, Multicontrol and Real Time Control.

       This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

27.- The Computer Control System with SCADA allows a real industrial simulation.

28.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices. 

29.- This unit can be used for doing applied research.

30.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

31.- Visualization of all the sensors values used in the EFOV unit process.

- Several other exercises can be done and designed by the user.
Tender Specifications (for optional items)
a) Technical and Vocational Education configuration
4 EFOV/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine. 

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

b) Multipost Expansions options
5 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation. 

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.
4

