TENDER SPECIFICATIONS

All elements are mounted in a metallic box, with power supply and block diagrams.

Signal generators blocks:

Square signal generator block:

Amplitude: +12 V.

Frequency range: 1 Hz to 50 KHz.

Sine signal generator block:

Amplitude: ± 2.5 V.

Frequency range: 1 Hz to 100 KHz.

Triangle signal generator block:

Amplitude: ± 2.5 V.

Frequency range: 1 Hz to 100 KHz.

Each signal generator contains an encoder to change the signal frequency and four BNC connectors with different output impedance.

Transmission lines block:

Two transmission lines.

Two BNC connectors for each transmission line.

Five test points along of each transmission line. The first and the last test point are straight connected with the BNC connectors and there is 10 m of coaxial cable between test points.

40 m of RG-174 coaxial cable in each line, a total of 80 m in the two lines.

Load block:

Type of loads: resistive, inductive and capacitive loads.

First group of loads:

1 KΩ potentiometer.

33 Ω resistance.

1 nF capacitor.

4.7 µH inductance.

Short circuit/open circuit.

Second group of loads:

1 KΩ  potentiometer.

50 Ω  resistance.

10 nF capacitor.

4.7 µH inductance.

Short circuit/open circuit.

Switches to connect and disconnect each load.

Three BNC connectors.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Required elements (Not included):

- MED87. Two Channel Digital Oscilloscope 70 MHz.

- Dimensions:  490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.) - Weight: 20 Kg approx. (44 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Familiarization with the unit.

2.- Analysis of the attenuation measurement along the line with Sine signal.

3.- Analysis of the attenuation and distortion measurements along the line with triangle signal.

4.- Analysis of the attenuation and distortion measurements along the line with square signal.

5.- Calculation of insertion losses.

6.- Measuring of VSWR of a matched and mismatched load and the conversion in return loss and reflection coefficient.

7.- Calculation of line impedance and reflection coefficient with the Smith chart.

8.- Analysis of the velocity of propagation with time domain reflectometry (TDR).

9.- Measuring the length of a line with TDR.

10.- Use TDR to identify faults in the transmission line.

11.- Use TDR to identify the differences between matched loads and mismatched loads and study of the transmission line impedance.

12.- Use TDR to identify the differences between inductive and capacitive loads.

13.- Finding discontinuities on a line with TDR.

Optional

ELT/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.