TENDER SPECIFICATIONS

The “EMI” unit basically consists of:

Electronic console (in metallic box):

Gunn oscillator connector.

Power meter connector.

Power meter display.

SMA connector to slotted line.

SWR measurement display.

Power meter:

Based on thermistor. Wide frequency range: 10 – 12000 MHz.

Level range: -55 dBm – 18 dBm. Stability over temperature. Slope: -25mV/dB.

Connector to electronic console.

Slotted line:

Tunnel diode detector mounted. Frequency range: 2 – 18 Ghz. VSWR max: 3.5:1.

Maximum input power: 100 mW (20 dBm). Work in the quadratic detection zone.

Designed for 8.2 – 12.4 GHz (X-band). Longitudinal movable diode detector holder.

Millimeter ruler. Waveguide in the standard size WR-90.

SMA connector to electronic console.

Gunn oscillator (microwave signal generator):

Gunn oscillator diode. Frequency band: X band (fixed at 10.525 Ghz).

Power output: 17 dBm. Waveguide in the standard size WR-90.

Connector to electronic console.

Broad-wall waveguide directional coupler:

Designed for 8.2 – 12.4 GHz (X-band). Three ports (input, output and coupled).

Waveguide in the standard size WR-90.

Cross-guide waveguide directional coupler:

Designed for 8.2 – 12.4 GHz (X-band). Four ports (input, output, isolated and coupled). Waveguide in the standard size WR-90.

Hybrid Tee:

Designed for 8.2 – 12.4 GHz (X-band).

3 dB coupler. Four ports (two co-linear, sum and difference). Waveguide in the standard size WR-90.

6 dB fixed attenuator:

Designed for 8.2 – 12.4 GHz (X-band). Fixed attenuator at 6 dB. Waveguide in the standard size WR-90.

15 dB fixed attenuator:

Designed for 8.2 – 12.4 GHz (X-band). Fixed attenuator at 15 dB. Waveguide in the standard size WR-90.

Vertical variable attenuator:

Designed for 8.2 – 12.4 GHz (X-band). Precision micrometer. Waveguide in the standard size WR-90.

Horizontal variable attenuator:

Designed for 8.2 – 12.4 GHz (X-band). Precision micrometer. Waveguide in the standard size WR-90.

Termination load (dummy load):

Designed for 8.2 – 12.4 GHz (X-band). Adapted load. Waveguide in the standard size WR-90.

Two short circuit terminations.

Two horn antennas:

Designed for 8.2 – 12.4 GHz (X-band). Sectorial horn flared in the direction of the electric plane (H-plane).

Waveguide in the standard size WR-90.

Adjustable termination:

Designed for 8.2 – 12.4 GHz (X-band). Movable short circuit. Precision micrometer. Waveguide in the standard size WR-90.

Microwave absorber plate: plate with resistive material.

Microwave reflector plate: plate with metallic material.

Four tower antennas with adjustable height, including each one: waveguide holder and degree disc with position indicator.

Ten quick release fasteners for an easy operation with the waveguide devices.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Unité: - Dimensions: 800 x 600 x 450 mm approx. - Poids: 20 Kg approx.

Console électronique: - Dimensions: 310 x 220 x 180 mm approx. - Poids: 3 Kg approx.

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Familiarization with the microwave unit.

2.- Power emission measurement.

3.- Study of different fixed attenuators and variable attenuators.

4.- Calibration of variable attenuators.

5.- Wavelength, frequency and SWR measurement with the waveguide slotted line.

6.- Basic principles of Smith chart.

7.- Calculation of impedance, admittance and reflection coefficient, with the Smith chart.

8.- Calculation of impedance, admittance and reflection coefficient for different terminations, with the Smith chart.

9.- Comparison between matched and mismatched loads.

10.- Study of the broad-wall waveguide directional coupler.

11.- Study of the cross-guide waveguide directional coupler.

12.- Study of the hybrid T.

13.- Measure of power emission in free space.

14.- Measure of wavelength, frequency and SWR measurement in free space.

15.- Radiation pattern of a horn antenna.

16.- Study of gain and directivity of a horn antenna (dBi).

17.- Reflectance and absorbance of metallic and resistive plates.

Optional

EMI/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.