TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

This unit includes wheels for its mobility and steps for a correct visualization of the practical exercises performed in the test tank.

Test tank, made of fiberglass, with four windows made of polycarbonate, to be filled with sand. It provides a large working surface, dimensions: 2 m long, 1 m wide and 0.40 m deep.

Lifting system to regulate the tilt.

Two storage tanks of 400  l, that supply the water required to the test tank. These tanks are interconnected with a butterfly valve and spillways and include a drain device and a filter to stop any possible solid particle.

Two flexible separate hoses, placed at the test tank front side, allow to add great inlet flows.

Tank attached to the inlet of the test tank and other tank attached to the outlet of the test tank to simulate a river:

Both tanks include a valve to drain them.

The river outlet tank allows to measure the amount of sediment collected over a certain period of time.

The communication of the river tanks with the test tank is done through a floodgate that includes two trap doors. The unit includes two hermetic trap doors and two meshed trap doors.

Spray and shower nozzles located above the test tank to simulate rain:

It has a metallic frame located at the upper side of the test tank. It includes a curtain to reduce possible spillages.

Eight spray nozzles are mounted at a double line mobile bridge to give an even distribution across the test tank. These nozzles are also adjustable in height and width. Each nozzle has an associated ball valve, allowing a wide variety of moving rainfall patterns to be simulated.

Two shower nozzles with multiple flows allow to simulate storms and local inputs. These nozzles are also adjustable in height and length and can be separated from the holder to move them manually.

Two french drains: they include a metallic filter to avoid sand transport to the storage tanks.

Two drainages: they include a metallic filter to avoid sand transport to the storage tanks.

Two overflows: they allow to keep water table (or phreatic surface) constant in the test tank.

Three outlet tanks (made of PVC glass) for the flow measurement in the drainages and french drains:

Each outlet tank includes: one spillway and one depth gauge that allow to determine the flow removed in the drainages and french drains. They include a valve to drain them.

Centrifugal pump, with speed control, (maximum pressure: 7 bar, maximum flow: 106 l/min) that impels water from the storage tank to the test tank through six different inlets. A cylindrical filter at the inlet of the pump stops any possible solid particle.

The test tank includes 23 tapping points, configured in a cruciform pattern. These tapping points have two functions: to take water samples and to use with two panels with 23 manometric tubes to show the water table (or phreatic surface) levels, length: 500 mm.

Six orifice plates that, together with a panel of manometric tubes and a flow meter (range: 600 – 6000 l/h), allow to determine the flow through every inlet that connect the outlet of the pump to the test tank.

Nine diaphragm valves: six of them are located in each inlet that connect the outlet of the pump to the test tank, and three of them are located in each outlet that connect the drainages and french drains to the outlet tanks.

Electronic console:

Metallic box.

Switch for the centrifugal pump.

Speed regulation for the centrifugal pump.

Cables and accessories, for normal operation.

Manuals: This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Additional recommended elements (Not included):

- ESH-1. SSurface models for use with ESH.

The additional recommended element “ESH-1” contains a set of models with different shapes to investigate surface flow effects and run-off effects when using those models.

-Dimensions: 2700 x 1500 x 2000 mm approx. (106.30 x 59.05 x 78.74 inches approx.) -Weight: 950 kg approx. (2094 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Determination of the surface drag.

2.-  Determination of a hydrograph.

3.-  Study of the hydrograph of one or several storms.

4.-  Calculation of concentration time for a short storm.

5.-  Determination of the compactness index.

6.-  Determination of the drainage density.

7.-  Obtaining of the pressure profile in a dike.

8.-  Determination of the water obtained thanks to the gravity force and the field capacity.

9.-  Study of fluvial-mechanical experiments.

10.-Formation and development of rivers over time.

11.-Study of sediment transport in models of rivers.

12.-Study of a meandering river.

13.-Study of the erosion on river beds and the speed of the flow.

14.-Study of groundwater catchment.

15.-Study of the cone of depression of a well.

16.-Study of the interaction of cones of depression by two adjoining wells.

17.-Study of a well in the center of a round island (it requires the additional recommended element ESH-1).

18.-Influence of a rainfall water catchment reservoir (it requires the additional recommended element ESH-1).

19.-Obstacle in a riverbed (it requires the additional recommended element ESH-1).

20.-Extracting water from an isolated well in a confined aquifer (it requires the additional recommended element ESH-1).

21.-Draining an excavation area (it requires the additional recommended element ESH-1).

22.-Draining a polder or lake (it requires the additional recommended element ESH-1).

23.-Well at the center of a round island (it requires the additional recommended element ESH-1).

Additional practical possibilities:

24.-Study of the storm hydrograph of a previously saturated catchment.

25.-Study of the storm hydrograph of an impermeable catchment.

26.-Study of the effect of a moving storm on a flood hydrograph.

27.-Study of the effect of reservoir storage on a flood hydrograph.

28.-Study of the effect of drain pipes on a flood hydrograph.

29.-Investigation of stream flows modeled in alluvial material.

30.-Study of sediment transport, bedload motion, scour and erosion.

31.-Construction of drawdown curves for one well and two wells systems.

Optional

ESH(2x1m)/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.