TENDER SPECIFICATIONS

FMDU-UB. FMDU Base Unit:

A self-contained unit to demonstrate the characteristics of flow meters used in measurement of water flow through pipes or open channels.

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Pipe circuit, including:

Flow regulation valve.

Several pressure measurement tappings.

Air entrainment device.

Flexible pipe to connect to the Hydraulics Bench.

Additional pipes to change the pipe circuit configuration.

Water manometer of 1 m length and two Bourdon type manometers from 0 – 2.5 bar, precision 1%, to measure the pressure drop.

Flow meters are mounted in pipes that can be fitted into the unit test zone quickly and easily.

Quick and easy removal of pipes with test flow meters for evaluation and inspection.

Meters can be used independently to support research or student project work.

Hydraulics Bench:

Mobile hydraulic bench, made in polyester reinforced with fibreglass, and mounted on wheels for mobility.

Centrifugal pump, 0.55 kW, 2.5 bar, 150  l/min, single phase 200 VAC – 240 VAC/50 Hz or 110 VAC – 127 VAC/60 Hz. Pump breaker starting.

Sump tank capacity: 165  l.

Small channel: 8  l.

Flow measurement: volumetric tank, gauged from 0 – 7  l for low flow values and from 0 – 40  l for high flow values.

Remote hand-operating dump valves in the base of the volumetric tank.

Level tube with a scale that shows the water level in the upper tank.

Flow stilling baffle for reducing the turbulence rate.

Manufactured with corrosion resistant materials ensuring a long life of the unit. Safety and contact light.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Required elements (Not included):

- FMDU08. Electromagnetic Flowmeter for FMDU.

PVC pipe: Dn32.

Range: 0.05 – 10 m/s.

Measure error: +/- 2 %.

Linearity: +/- 1 %.

Reproducibility: 0.25 % of medium value.

Conductivity: minimum 20 mS/cm.

Operation temperature: 0 – 80 ºC.

- FMDU19. FMDU05, FMDU07, FMDU08 Auxiliary Supply Box.

Electronic console:

Metallic box.

Main on/off switch.

Flow meters connections.

Digital display for the helical rotary meter FMDU07.

Additional recommended elements (Not included):

- FMDU01. FMDU Orifice Plate.

Material: transparent methacrylate.

Pipe diameter D1: 35 mm.

Orifice diameter D2: 20 mm.

Area 1: 9.079-4 x 10 m².

Area 2: 3.14 x 10-4 m².

- FMDU02. FMDU Venturi Tube.

Material: transparent methacrylate.

Diameter h1: 32 mm.

Diameter h2: 20 mm.

Diameter h3: 32 mm.

Distance between h1 and h2: 67.5 mm.

Distance between h2 and h3: 87.5 mm.

Area 1: 8.04 x 10-4 m².

Orifice diameter: 20 mm.

Area 2: 3.14 x 10-4 m².

Upstream narrowing: 14º.

Downstream narrowing: 21º.

- FMDU03. Shunt Gapmeter for FMDU.

Material: steel.

Range: 0 – 20 m³/h.

- FMDU04. FMDU Pitot Tube.

Material: transparent methacrylate.

Pipe diameter: 35 mm.

- FMDU05. FMDU Rotary Piston Volumetric Meter.

Precision: +/- 0.8 %.

Repeatability: +/- 0.3 %.

Measurement range: 30/1800  l/h.

- FMDU06. Swinging Flap for FMDU.

Pipe flowmeter: Dn40.

Range: 1 – 12 m³/h.

- FMDU07. FMDU Helical Rotary Meter.

Material: stainless steel.

Range: 1 – 150 l/min.

Precision: +/- 1 % of the reading.

Repeatability: +/- 0.05 %.

Maximum pressure: 450 bar.

- FMDU09. Current Velocity Meter for FMDU.

Measurement range: 0 – 40 m/s.

Precision: 0.5 % of the value.

Resolution: 0.1 m/s.

- FMDU10. FMDU Inferential Multistream.

Maximum flow Qmax: 20 m³/h.

Nominative flow Qn: 10 m³/h.

Minimum flow Qmin: 200  l/h.

Sensibility: 48  l/h.

Minimum reading: 0.05  l.

Maximum reading: 1000000 m³.

Maximum pressure Pmax: 16 bar.

- FMDU11. FMDU Broad Crested Weir.

- FMDU12. FMDU Crump Weir.

- FMDU13. FMDU “H” Flume.

- FMDU14. FMDU Washington Flume.

- FMDU16. FMDU Digital Manometer.

Differential pressure manometer.

Two measure scales, ranges:

0 – 199.9 mbar.

0 – 2000 mbar.

Precision: 0.15% above the range.

- FMDU17. FMDU Hook and Point Gauge.

- FMDU18. FMDU Sharp-Crested Rectangular Weirs.

Dimensions: 3200 x 1300 x 1500 mm approx. (125.98 x 51.18 x 59.05 inches approx.). Weight: 300 Kg approx. (661.3 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  To demonstrate the important characteristics of fifteen types of flow meters used in the measurement of water flow through pipes or open channels.

2.-  Comparing the use, application and limitations of different types of flow meters.

3.-  To study the application of Bernoulli’s Theorem.

4.-  Understanding the principles on which various types of flow meters are based.

5.-  Implications of performance, convenience, accuracy, head loss, etc., on flow meters selection.

6.-  Effect of the air in the hydraulic stream on flow meter performance.

7.-  To use manometers to measure pressure drop.

8.-  Relating pressure drop across a flow meter to flow rate.

9.-  Measure error determination using the venturimeter.

10.-Factor Cd determination in the venturi.

11.-Strangulation determination in the venturi.

12.-Measure error determination using the orifice plate.

13.-Factor Cd determination in the orifice plate.

14.-Effective area determination in the orifice plate.

15.-Measure error determination using the Pitot tube.

16.-Factor Cd determination in the Pitot tube.

17.-Measure error using the swinging flap meter.

18.-Measure error using the rotary piston meter.

19.-Measure error using the shunt gap meter.

20.-Energy loss comparison in the different meters.

21.-Measure error using the helical rotary type flow meter.

22.-Measure error using the inferential multi stream type flow meter.

23.-Broad crested weir.

24.-Crump weir.

25.-”H” flume.

26.-Washington flume.

Optional

FMDU/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.