# TENDER SPECIFICATIONS

Structural Specifications:

Stainless frame.

Screws, nuts, plates and all the metallic elements in stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Quick connections for adaptation to feed hydraulics source.

Technical Data:

Channel of rectangular section with transparent walls in methacrylate, length: 1 m.

Rigid and flexible pipes.

Regulating valves.

Storage tank.

Tank with soothing of flow.

Easy and quick coupling system built-in.

Anodized aluminum structure.

Wide range of available accessories.

Required elements (only one) (Not included):

- Hydraulics Bench (FME00) or Basic Hydraulic Feed System (FME00/B).

- Chronometer.

Dimensions: 1500 x 500 x 500 mm approx. (59.04 x 19.68 x 19.68 inches approx.).  Weight: 40 kg approx. (88 pounds approx.).

Available Accessories for the Flow Channel, 1 m. length (FME25):

FME25TP. Pitot Tube for FME25:

Pitot tube with a panel (with two manometric tubes) that is introduced in the channel to measure pressures and obtain the speed and flow rates at different points of the channel.

The FME25TP accessory consists of a Pitot tube mounted on a movable XYZ stand, which can move all the length and breadth of the flow channel, and a panel with two manometric tubes to measure static and total pressure. The difference between both pressures allows us to calculate the speed of the fluid and, knowing the section, the flow can be calculated at any point.

Practical possibilities:

1.- Measurement of the flow rate with a Pitot tube.

2.- Determination of the static and total pressure.

3.- Filling of manometric tubes.

FME25CV. Vertical flat gate for FME25:

The FME25CV accessory is a vertical flat gate made of PVC that is located at the outlet of the channel to avoid the flow of fluid.

FME25SDL. Syphon spillway for FME25:

One way to regulate the flow in a channel is by using a syphon. When the level exceeds a specific height, water flows through the syphon and the level is regulated upstream of the syphon.

The FME25SDL accessory can be fixed to any part of the channel.

Practical possibilities:

1.- Understanding the operation of a syphon with free discharge.

2.- Calculation of the maximum flow admitted by the syphon.

3.- Level control through a syphon with free discharge.

FME25SDS. Self-regulating Syphon for FME25:

One way to regulate the flow in a channel is by using a syphon. When the level exceeds a specific height, water flows through the syphon and the level is regulated upstream of the syphon.

The FME25SDS accessory can be fixed to any part of the channel.

Practical possibilities:

1.- Understanding the operation of a syphon with submerged discharge.

2.- Calculation of the maximum flow admitted by the syphon.

3.- Level control through a syphon with submerged discharge.

FME25RM. Scale to Measure the Water Level (Limnimeter), for FME25:

The limnimeter is used to measure the water level in the flow channel.

The instrument consists of several feeler tips that can move along a graduated scale from 0 to 500 mm to obtain the level.

The scale is divided into tenth parts of a millimeter (adjustable Vernier scale).

Main metallic elements are made of stainless steel and this device can move along the whole channel.

Practical possibilities:

1.- Use of a limnimeter.

2.- Measuring the water level in the flow channel.

FME25PR. Adjustable Undershot Weir for FME25:

One way to regulate the flow in a channel is by using control gates. When the gate is totally closed, no water flows, and when the gate is open, water starts to flow through the channel.

The FME25PR accessory consists of a PVC gate mounted on a frame that can be displaced along the channel.

This system allows the gate to be fixed to the desired height and to measure that height. It has flexible lateral reinforcements that guarantee watertightness.

Practical possibilities:

1.- Flow control with gates.

2.- Observation of discharge processes when using a weir.

3.- Observation of alternating changes during the discharge.

FME25VD. Sharp Crested Discharge Weirs (two different models) for FME25:

Sharp crested weirs are hydraulic weirs, generally used to measure flow rates. Their name is due to the fact that the discharge is done through a plate whose profile, regardless of its shape, ends in a sharp edge.

The FME25VD accessory includes 2 weirs (a V shaped and a U shaped one) made of PVC lodged in slots, reinforced with flexible rubber, designed for that purpose at the outlet of the channel, guaranteeing watertightness.

Practical possibilities:

1.- Comparison between the main types of weirs.

2.- Measurement of the flow rate with a triangular sharp-crested weir (V shaped).

3.-Measurement of the flow rate with a rectangular sharp-crested weir (U shaped).

4.- Comparison between the theoretical and experimental flows.

FME25VG. Broad Crested Weirs (two different models) for FME25:

Broad crested weirs have a lower discharge capacity for the same volume of water than sharp crested weirs. They are most frequently used as level control structures, although they can also be calibrated and used as flow measurement structures.

The FME25VG accessory includes two broad crested weirs, made of PVC, which can be fixed to any part of the bottom of the channel. The edge of one of the weirs is rounded and the edge of the other one is straight. Both weirs have flexible lateral reinforcements that guarantee watertightness.

Practical possibilities:

1.- Measurement of the flow rate with a broad crested weir.

2.- Comparison between the theoretical and experimental flows.

FME25PV. Ogee-Crested Weir for FME25:

The Ogee weir is a fixed weir, that is to say, it does not allow regulation of the water surface profile.

They are used to divert flow rates since, if it is compared to other types of weirs, the special shape of their crest enables the maximum discharge for the same water level.

It is made of PVC, can be fixed to any part of the bottom of the channel and has flexible lateral reinforcements that guarantee watertightness.

Practical possibilities:

1.- Measurement of the flow rate with an Ogee-crested weir.

2.- Comparison between the theoretical and experimental flows.

FME25CC. Closed Channel Study for FME25:

The flow of water in a duct can be open channel flow or pipe flow, which is known as a closed channel.

The FME25CC accessory includes an upper limit of PMMA, so that a high enough water level is achieved for the flow to pass through the whole study section and thus be able to determine the pressures in a pipe.

It has flexible lateral reinforcements that guarantee watertightness.

Practical possibilities:

1.- Study of the flow in closed channels.

2.- Pressure measurement.

3.- Determination of the flow rate. It has flexible lateral reinforcements that guarantee watertightness.

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of the fundamental aspects of fluid flow.

Practical possibilities depending on the accessories used:

2.- Measurement of water level and velocity along the channel.

3.- Measurement of flow rate using a Pitot tube.

4.- Determination of the static and total pressure.

5.- Use of hydraulic structures to control level.

6.- Study of the effects of gradual and sudden changes in cross section (energy losses).

7.- Use of a contraction to measure flow.

8.- Use of hydraulic structures to measure flow in an open channel.

9.- Study of flow patterns associated with flow around hydraulic structures.

10.- Comparison between the theoretical and experimental flow.

Optional

FME25/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

BDAS. Data Acquisition System and Sensors:

For being used with units type “FME”.

BDAS is designed to monitor the measurements of each unit type “FME” from a computer (PC).

This system can monitor any unit, checking the revolutions given by the water pump or the torque, differential pressures for Bernoulli theorems, pressure measurements, flow measurements, etc.

It consist of:

BDAS/BFA. Electronic box, data acquisition board & software.

Base unit:

Anodized aluminum frame and panel made of painted steel.

Main metallic elements made of stainless steel.

The unit includes wheels to facilitate its mobility.

Sensors (only the sensors that correspond according to the purchased unit/s will be included):

Two pressure sensors, range: 0 – 100 PSI (0 – 7 bar).

Two differential pressure sensors: they measure displacement through two manometers with a range of up to 1 meter, scale: 0.1 mm.

Flow sensor for high working flows, range: 5 – 150 l/min.

Flow sensor for low working flows, range: 1.5 – 30 l/min.

Piezoresistive force sensor. It measures from 0 Kg to 1.5 kg and converts the value into Newton.

Force sensor to calculate the braking torque of turbines. It measures from 0 kg to 2 kg and converts the value into Newton.

Optical speed sensor to measure the speed of turbines.

Measurements of the speed and torque of the pumps.

Data Acquisition System:

Data Acquisition Electronic Box, with connectors for the different sensors.

PCI Express data acquisition board (National Instruments) that is lodged in a slot of the computer. PCI Express bus.

Data acquisition software.

This system enables:

To represent the system responses curves in real time.

To record all the measurement values and results in a file.

To plot the characteristic curves.

To calibrate the sensors that take part in the process.

Dimensions: Base unit:  300 x 550 x 1200 mm approx. Weight: 10 kg approx.

Data Acquisition Electronic Box: 490 x 330 x 310 mm approx. Weight: 10 kg approx.

FME25/BDAS-BFI: Specific Software and accessories for FME25.

These accessories are used to adapt each unit in order to operate them and connect them to the Base Unit (BDAS/BFA) easily.