TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Vacuum-meter, range (-9800 [ mmH2O] – 0).

Vacuum-meter, range (-1000 [ mmH2O] – 0).

Manometer, range (0 – 1000 [ mmH2O] ).

Manometer, range (0 – 2.5 [ bar]).

Mobile Piston (syringe).

Eight valves.

Non-return valve.

Polyurethane tubes.

This system is supplied with atm, bars, psi, mmHg, mmH2O, conversion tables.

This system allows the calibration of 6 sensors (same type) simultaneously.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 720 x 300 x 570 mm approx. (28.34 x 11.81 x 22.44 inches approx.). - Weight: 15 Kg approx. (33 pounds approx.)