TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Inclination: 30° approx.

Twenty manometric tubes, length: 250 mm.

Tubes inner diameter: 8 mm, to avoid bubbles.

Water tank for filling.

Twenty points for differential pressure measurement, with key.

Common collector.

Drain valve.

Millimeter precision rules, length: 250 mm.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 1400 x 1400 x 700 mm approx. (55.11 x 55.11 x 27.55 inches approx.). - Weight: 10 Kg approx. (22 pounds approx.)