TENDER SPECIFICATIONS

Designed for wall assembly.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

U-shape manometer of 1000 mm length.

Millimeter precision rules of 1000 mm length.

Upper collector.

Lower collector.

Drain valve.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 170 x 40 x 1400 mm approx. (6.69 x 1.57 x 55.11 inches approx.). - Weight: 2 Kg approx. (4 pounds approx.)