TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Vertical position.

Eight manometric tubes, length: 500 mm.

Tubes inner diameter: 8 mm, to avoid bubbles.

Air pump for pressurization.

Eight points for differential pressure measurement, with key.

Common collector.

Non-return valve.

Drain valve.

Millimeter precision rules, length: 500 mm.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 300 x 500 x 870 mm approx. (11.81 x 19.68 x 34.25 inches approx.) - Weight: 4 Kg approx. (8 pounds approx.)