TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Heat pump:

Heating capacity: approx. 2.3 kW at 5/65 °C.

Heating and source circuit pumps:

Max. flow rate: 3 m³/h.

Max. head: 4 m.

Heating controller:

Inputs: up to 16.

Outputs: up to 16.

Interfaces: DL bus, CAN, LAN.

Refrigerant: R410A.

Measuring ranges:

Temperature:

Four units; range: -50 °C to 180 °C.

Three units; range: 0 °C to 120 °C.

One unit; range: -20 °C to 60 °C.

Flow rate: one unit; range: 20 to 2500 l/h.

Pressure:

One unit; range: -1 to 15 bar.

One unit; range: -1 to 49 bar.

Two units; range: 0 to 6 bar.

Two units; range: 0 to 50 bar.

One unit; range: 0 to 18 bar.

Two units; range: 0 to 10 bar.

400 V, 50 Hz, 3 phases; 400 V, 60 Hz, 3 phases.

230 V, 60 Hz, 3 phases; UL/CSA optional.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Required elements (at least one) (Not included):

- UHHS. Underfloor Heating and/or Heat Source for Heat Pump.

- FHAH. Fan Heater and/or Air Heat Exchanger.

- Dimensions: 1600 x 850 x 1600 mm approx. (62,99 x 33,46 x 62,99 inches approx.) - Weight: 50 kg approx. (110 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of the different applications of a heat pump for heating and cooling.

2.- Study and adjustment of a heating controller for the control of a heat pump.

3.- Study of the operation and adjustment in case of variable heat supply.

4.- Study of the operation and adjustment in case of variable heat demand.

5.- Study of the dependence of the performance coefficient on the temperature of the sources and exchangers and their optimization.

Optional

HPSE/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.