TENDER SPECIFICATIONS

Functional model of Radial Flow Turbine:

Nozzle:

Inlet diameter: 21 mm.

Outlet diameter: 2 mm.

Discharge angle: 180°.

Turbine rotor:

External diameter: 69 mm.

Internal diameter: 40 mm.

Number of nozzles: 2.

Inlet angle of the nozzle: 180°.

Outlet angle of the nozzle: 180°.

Material: aluminum.

Required elements (at least one) (Not included):

FEM-FR. Electromagnetic Brake for HT-FR.

Magnetic powder brake:

Nominal braking torque: 2 N/m.

Rated current: 0.45 A.

PB. Prony Brake.

Band brake:

Adjustable braking voltage.

Pulley diameter: 50 mm.

Load cell - force sensor, range: 0 - 50 N.

Easy connection to the Hydraulic Turbines Base Unit, “HT-UB”.

This unit is supplied with 8 manuals: Required services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices manuals.

HT-FR/CCSOF. PID Computer Control + Data Acquisition + Data Management Software.

The three softwares are part of the SCADA system.

Compatible with actual Windows operating systems. Graphic and intuitive simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and simultaneous way.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Analog and digital PID control.

PID menu and set point selection required in the whole work range.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Comparative analysis of the obtained data, after the process and modification of the conditions during the process.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

Required elements (Not included):

- HT-UB. Hydraulic Turbines Base Unit:

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Computer controlled centrifugal water pump:

Maximum pressure: 7 bar.

Maximum water flow: 160  l/min.

Power: 1,5 kW.

Speed adjustable through variable-speed drive.

Transparent water tank, capacity: 120  l approx.

Regulation valve.

Instrumentation and sensors:

Two water pressure sensors for inlet (range: 0 - 15 psi) and outlet (range: 0 - 100 psi) of the pump.

Pump speed sensor.

Pump torque sensor.

Water flow sensor, range: 2 - 150 l/min.

Turbine inlet pressure sensor: 0 - 100 psi.

Optical sensor to measure the speed, range: 0 - 60000 rpm (turbine speed).

The complete unit includes as well:

Advanced Real-Time SCADA and PID Control.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

National Instruments Data Acquisition board (250 KS/s, kilo samples per second).

Calibration exercises, which are included, teach the user how to calibrate a sensor and the importance of checking the accuracy of the sensors before taking measurements.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user’s knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- To determination of the operating characteristics of the different turbines at different speeds.

2.- Determination of the hydraulic jump of the turbines.

3.- Determination of the characteristic curves of the different turbines: power (W), torque (Nm) and efficiency (%) as a function of the turbine speed and the inlet flow rate.

4.- Investigation of the conversion of hydraulic energy into mechanical energy.

5.- Calculation of the power of the turbine.

6.- Determination of the hydraulic efficiency of the turbine.

7.- Determination of the torque and speed of the turbine.

8.- Determination of the characteristic curve of a centrifugal pump.

9.- Study of the characteristic variables of a centrifugal pump.

Additional practical possibilities:

10.- Sensors calibration.