TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

The unit includes:

Single stage axial fan with speed regulation, range: 0 – 7000 rpm.

Transparent straight duct for suction and discharge:

Diameter: 115 mm.

Included an air flow rectifier and an orifice plate with air flow measurement.

Adjustable aperture system to regulate the air flow rate.

Speed sensor, range: 0 – 7000 rpm.

Slanted tube manometer to measure the differential pressure and the air flow, range: 0 – 3 inch H2O (0 – 76 mm H2O).

Slanted tube manometer to measure the static pressure, range: 0 – 3 inch H2O (0 – 76 mm H2O).

Weather station, with room temperature, pressure and humidity measurement to know the conditions of the inlet air.

Electronic console:

Metallic box.

Speed variator to modify the speed of the axial fan.

Speed sensor connector.

Digital display for the speed sensor.

Digital display for the wattmeter.

Wattmeter.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Unit: - Dimensions: 1800 x 580 x 700 mm approx.(70.87 x 22.83 x 27.56 inches approx.) - Weight: 55 Kg approx. (121.25 pounds approx.)

Electronic console: - Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.)  - Weight: 10 Kg approx. (22 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Calculation of the flow by means of the orifice plate.

2.- Calculation of the flow through a measurement of the static, dynamic and total pressure with an adjustable orifice.

3.- Measurement of machine performance in terms static and total pressure, and motor input power, as an inlet flow function.

4.- Introduction to the scaling similitude law.

Additional practical possibilities:

5.- Calculation of the characteristic curve of the axial fan at a constant speed according to the flow used by the adjustable aperture.

6.- Study of the axial fan regulation varying its turning speed.

7.- Study and comparison of the practical results and the results calculated by the students.

Optional

HVAB/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.