TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Centrifugal fan with speed regulation, speed range: 0 – 3000 rpm.

Aspiration transparent duct:

Inner diameter: 114 mm.

Includes a butterfly valve to regulate the air flow and an orifice plate with air flow measurement.

Discharge transparent duct:

Inner diameter: 144 mm.

Includes a butterfly valve to regulate the air flow.

The unit is supplied with a set of three interchangeable turbines:

With the blades curved forwards.

With the blades curved backwards.

With perpendicular blades.

Two inclined manometers:

Manometer to measure the differential pressure between inlet and outlet, range: 0 – 3 inches H2O (0 – 76 mm H2O).

Manometer to measure the pressure fall through the orifice plate, range: 0 – 1 inch H2O (0 – 25 mm H2O).

Speed sensor, range: 0 – 3000 rpm.

Wattmeter.

Temperature and humidity meter to know the inlet air conditions:

Temperature range: -20 – 60°C.

Humidity range: 10 – 95 % relative humidity.

Manometer to know the inlet air conditions, range: 0 – 15 PSI.

Electronic console:

Metallic box.

Fan speed controller.

Speed sensor connector.

Digital display for the speed sensor.

Digital display for the wattmeter.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Additional recommended elements (Not included):

- HVCC-C2TP. 114 mm diameter duct with two static pressure takings.

- HVCC-C1TP. 114 mm diameter duct with one static pressure taking.

- HVCC-CTPP. 64 mm diameter duct and pressure taking with Pitot.

- HVCC-CTPG. 114 mm. diameter duct and pressure taking with Pitot.

- HVCC-EFCG. 114 mm diameter flow straightener by cells.

- HVCC-EFCP. 64 mm diameter flow straightener by cells.

- HVCC-EFS. Flow straightener by sectors.

- HVCC-AA7. Angle adapter (less than 7°).

- HVCC-AA3. Angle adapter (less than 3°).

- HVCC-CDP. Cylinder pressure distribution accessory.

- HVCC-OS. Symmetrical shutter.

- HVCC-T2D. Nozzle with two diameters: 64 mm. and 114 mm.

- HVCC-TC. Heat transfer model.

- HVCC-TA. Pipe fittings.

Dimensions: Unit: 1200 x 600 x 700 mm approx. (47.24 x 23.62 x 27.56 inches approx.). Weight: 60 kg approx. (132 pounds approx.).

Electronic console: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.). Weight: 10 kg approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Calculation of the flow with the orifice plate.

2.-  Calculation of the typical curve of a fan at a constant turning speed (turbine with blades curved forwards).

3.-  Calculation of the typical curve of a fan at a constant turning speed (turbine with blades curved backward).

4.-  Calculation of the typical curve of a fan at a constant turning speed (turbine with perpendicular blades).

5.-  Study of the dependency on the type of turbine. Comparison of the results of the different types of blades.

6.-  Calculation of the efficiency of the fan.

7.-  Introduction to affinity laws for fans.

8.-  Study of the static pressure increase.

Additional practical possibilities:

9.-  Measurement of performance at constant speeds.

10.-Study and comparison of the practical results and the results calculated by the students.

Additional practical possibilities (Additional recommended elements):

11.-Measurement of the static pressure in a duct with one or two static pressure takings (HVCC-C1TP or HVCC-C2TP accessories).

12.-Measurement of the flow in a duct with one pressure taking with Pitot (HVCB-CTPP or HVCC-CTPG accessories).

13.-Study of the influence of straighteners (HVCC-EFCG, HVCC-EFCP or HVCC-EFS accessories).

14.-Study of the influence of a symmetrical shutter (HVCC-OS accessory).

15.-Measurement of the flow in a duct with a nozzle (HVCC-T2D accessory).

16.-Measurement of the pressure distribution around a cylinder subjected to transverse incident flow (HVCC-CDP accessory).

17.-Measurement of the pressure losses in different pipe elements (HVCC-TA accessory).

18.-Study of the effect of differently shaped pipe inlets (HVCC-TA accessory).

19.-Study of a cooling curve (HVCC-TC accessory).

20.-Determination of the heat transfer coefficients from the cooling curve (HVCC-TC accessory).

21.-Measurement of the total pressure in the wake of a cylinder (HVCB-CDP and HVCC-CTPG accessories).

22.-Determination of the drag coefficient from the pressure distribution in the wake of a cylinder (HVCC-CDP and HVCC-CTPG accessories).

23.-Demonstration of the wake depression (HVCC-CDP and HVCC-CTPG accessories).

Optional

HVCB/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.